## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-116-B--Spectrum--010 | 0.37866 | 0.021801 | 0.021674 | 0.0023484 | 103.6658 | 0.049426 | 0.0013692 | 0.049518 | 5.978 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36278 | 0.020318 | 0.37866 | 0.021801 | 0.34162 | 0.029575 | SupCrit | 103.8972 | 0.049518 | 1284.2556 | 0.047179 | 36.8181 | 1284.2556 | 107.7673 | 1.0985 | 1.2001 | 0.62366 | 2.197 | Flagged Warnings: | 1388.1528 | 0.015039 | 79.2148 | 1388.1528 | 161.5638 | 0.7731 | 0 | 1.4205 | 0.59882 | 1.5462 | Flagged Warnings: | [15 empty] | 1.1217 | 1.0619 | 0.26739 | 0.059671 | 1.0289 | 1.079 | 0.044668 | 0.019519 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:41:52 PM | 45712 | [5 empty] | 45712 | 0.99777 | 0.99776 | 0.99779
1 | 187-1-116-B--Spectrum--012 | 0.37518 | 0.017874 | 0.017719 | 0.0023484 | 103.6579 | 0.04047 | 0.0013578 | 0.040538 | 5.95 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35963 | 0.016914 | 0.37518 | 0.017874 | 0.33687 | 0.024304 | SupCrit | 103.8898 | 0.040538 | 1284.2118 | 0.037533 | 40.5846 | 1284.2118 | 106.1963 | 0.93595 | 1.1839 | 0.73992 | 1.8719 | Flagged Warnings: | 1388.1016 | 0.015316 | 75.5682 | 1388.1016 | 155.5628 | 0.68031 | 0 | 1.2418 | 0.91965 | 1.3606 | Flagged Warnings: | [15 empty] | 1.0624 | 1.0481 | 0.11678 | 0.046123 | 1.1803 | 1.0261 | 0.24536 | 0.018005 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:55:21 PM | 46521 | [5 empty] | 46521 | 0.99777 | 0.99775 | 0.99778
2 | 187-1-116-B--Spectrum--013 | 0.38174 | 0.021682 | 0.021555 | 0.0023484 | 103.6728 | 0.049088 | 0.0013537 | 0.04918 | 5.944 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36556 | 0.020197 | 0.38174 | 0.021682 | 0.3458 | 0.029299 | SupCrit | 103.9051 | 0.04918 | 1284.2915 | 0.046425 | 33.8894 | 1284.2915 | 93.5973 | 1.0198 | 1.3328 | 0.66366 | 2.0395 | Flagged Warnings: | 1388.1966 | 0.016229 | 69.5041 | 1388.1966 | 153.2792 | 0.7654 | 0 | 1.314 | 0.81004 | 1.5308 | Flagged Warnings: | [15 empty] | 1.0654 | 1.1023 | 0.1334 | 0.060182 | 1.0582 | 1.2104 | 0.08904 | 0.022025 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:00:42 PM | 46842 | 1097.1771 | 6.7578 | 10.3351 | Spline | 0.027373 | 46842 | 0.99776 | 0.99775 | 0.99778
3 | 187-1-117-A--Spectrum--020 | 0.49097 | 0.014079 | 0.013881 | 0.0023543 | 103.9156 | 0.030067 | 0.0013465 | 0.030104 | 5.93 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46174 | 0.013557 | 0.49097 | 0.014079 | 0.48413 | 0.016441 | SupCrit | 104.1489 | 0.030104 | 1283.7352 | 0.030041 | 1441.8204 | 1283.7352 | 4312.5643 | 1.1112 | 9.001 | 0.65119 | 2.2224 | Flagged Warnings: | 1387.8842 | 0.0019493 | 3188.7591 | 1387.8842 | 7066.1422 | 0.79915 | 0 | 7.4777 | 0.72098 | 1.5983 | Flagged Warnings: | 1263.2329 | 662.0463 | 2.9979 | 1409.3266 | 694.5611 | 1.501 | [9 empty] | 1.0197 | 1.0411 | 0.043774 | 0.0015414 | 1.1055 | 1.0986 | 0.16861 | 0.00050123 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 1:14:20 PM | 47660 | 1112.7963 | 537.6246 | 61.2063 | Spline | 0.047248 | 47660 | 0.99776 | 0.99775 | 0.99777
4 | 187-1-117-A--Spectrum--021 | 0.49431 | 0.0037975 | 0.0029794 | 0.0023546 | 103.9228 | 0.0064435 | 0.0013422 | 0.0063163 | 5.923 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4646 | 0.0069846 | 0.49431 | 0.0037975 | 0.48806 | 0.0038756 | SupCrit | 104.1564 | 0.0063163 | 1283.7384 | 0.0060353 | 1482.2641 | 1283.7385 | 4454.5645 | 1.1201 | 8.0602 | 0.64283 | 2.2402 | Flagged Warnings: | 1387.8949 | 0.0018629 | 3307.2357 | 1387.8949 | 7329.7911 | 0.79606 | 0 | 7.7053 | 0.73056 | 1.5921 | Flagged Warnings: | 1263.3724 | 637.1553 | 2.672 | 1409.3177 | 735.812 | 1.5102 | [9 empty] | 1.012 | 1.0054 | 0.026828 | 0.0015113 | 1.1106 | 1.0987 | 0.17612 | 0.0004814 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:20:26 PM | 48026 | 1113.9331 | 483.5808 | 53.9104 | Spline | 0.041036 | 48026 | 0.99776 | 0.99774 | 0.99777
5 | 187-1-117-A--Spectrum--022 | 0.49254 | 0.003655 | 0.0027957 | 0.0023544 | 103.9189 | 0.0060512 | 0.0013382 | 0.0059147 | 5.916 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46308 | 0.0069132 | 0.49254 | 0.003655 | 0.48598 | 0.0036896 | SupCrit | 104.1528 | 0.0059147 | 1283.7486 | 0.0056353 | 1524.0131 | 1283.7487 | 4586.8491 | 1.121 | 8.3165 | 0.64443 | 2.2421 | Flagged Warnings: | 1387.9015 | 0.0017964 | 3376.8101 | 1387.9015 | 7544.6391 | 0.80694 | 0 | 7.5327 | 0.71745 | 1.6139 | Flagged Warnings: | 1263.4337 | 667.1843 | 2.6139 | 1409.319 | 753.3227 | 1.5311 | [9 empty] | 1.049 | 1.0636 | 0.10987 | 0.0014712 | 1.1165 | 1.1054 | 0.18799 | 0.00047793 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:26:10 PM | 48370 | 1112.6974 | 424.7097 | 49.5174 | Spline | 0.035009 | 48370 | 0.99775 | 0.99774 | 0.99777
6 | 187-1-117-B--Spectrum--024 | 0.46314 | 0.0032408 | 0.0022299 | 0.0023517 | 103.8549 | 0.0048942 | 0.0013327 | 0.0047199 | 5.914 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43769 | 0.006496 | 0.46314 | 0.0032408 | 0.45073 | 0.0032062 | SupCrit | 104.0889 | 0.0047199 | 1283.8938 | 0.0042058 | 1051.9853 | 1283.8938 | 3171.2925 | 1.1309 | 5.128 | 0.62726 | 2.2617 | Flagged Warnings: | 1387.9827 | 0.0021422 | 2282.7011 | 1387.9827 | 5044.0226 | 0.79912 | 0 | 6.6233 | 0.71444 | 1.5982 | Flagged Warnings: | 1263.6179 | 509.9182 | 2.7738 | 1409.3963 | 564.3203 | 1.6322 | [9 empty] | 1.0998 | 1.1314 | 0.22582 | 0.0021499 | 1.0871 | 1.1178 | 0.13928 | 0.00070015 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:33:19 PM | 48799 | 1114.1308 | 110.3812 | 16.0087 | Spline | 0.013436 | 48799 | 0.99775 | 0.99774 | 0.99776
7 | 187-1-117-B--Spectrum--025 | 0.46246 | 0.004109 | 0.0033695 | 0.0023516 | 103.8534 | 0.0073978 | 0.0013295 | 0.0072937 | 5.899 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4371 | 0.0068519 | 0.46246 | 0.004109 | 0.4499 | 0.0044548 | SupCrit | 104.0876 | 0.0072937 | 1283.8955 | 0.0070186 | 1043.8419 | 1283.8956 | 3136.7524 | 1.1256 | 4.9107 | 0.63053 | 2.2511 | Flagged Warnings: | 1387.9832 | 0.0019843 | 2283.1997 | 1387.9831 | 5021.1244 | 0.79078 | 0 | 6.1834 | 0.72808 | 1.5816 | Flagged Warnings: | 1263.7486 | 447.7033 | 2.4936 | 1409.386 | 563.8909 | 1.679 | [9 empty] | 1.0932 | 1.0946 | 0.20973 | 0.0021566 | 1.0654 | 1.0854 | 0.10337 | 0.0006927 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:38:25 PM | 49105 | 1114.3285 | 131.1307 | 14.5639 | Spline | 0.016074 | 49105 | 0.99775 | 0.99774 | 0.99776
8 | 187-1-117-B--Spectrum--026 | 0.46102 | 0.0032526 | 0.0022471 | 0.0023515 | 103.8502 | 0.0049369 | 0.0013209 | 0.0047677 | 5.895 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43584 | 0.0064816 | 0.46102 | 0.0032526 | 0.44813 | 0.0032311 | SupCrit | 104.0849 | 0.0047677 | 1283.9097 | 0.0042645 | 1013.9733 | 1283.9098 | 3049.4717 | 1.1245 | 4.9184 | 0.63516 | 2.2491 | Flagged Warnings: | 1387.9947 | 0.0021319 | 2215.0823 | 1387.9947 | 4914.2882 | 0.7931 | 0 | 6.5369 | 0.74192 | 1.5862 | Flagged Warnings: | 1263.6977 | 475.509 | 2.7153 | 1409.4407 | 553.843 | 1.6332 | [9 empty] | 1.0788 | 1.0859 | 0.17728 | 0.0022181 | 1.0588 | 1.0878 | 0.093306 | 0.00071609 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:53:17 PM | 49997 | 1112.6974 | 139.944 | 17.2199 | Spline | 0.017573 | 49997 | 0.99774 | 0.99773 | 0.99776
9 | 187-1-118-A--Spectrum--033 | 0.49933 | 0.0028655 | 0.0016322 | 0.0023552 | 103.9336 | 0.0035215 | 0.0013134 | 0.0032748 | 5.898 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46889 | 0.0066971 | 0.49933 | 0.0028655 | 0.49392 | 0.0025328 | SupCrit | 104.1691 | 0.0032748 | 1283.7203 | 0.002305 | 1645.7081 | 1283.7204 | 4943.5914 | 1.1204 | 5.1432 | 0.64088 | 2.2409 | Flagged Warnings: | 1387.8895 | 0.0023262 | 3627.1219 | 1387.8895 | 8132.6037 | 0.80362 | 0 | 9.745 | 0.73591 | 1.6072 | Flagged Warnings: | 1263.6041 | 706.2383 | 2.4919 | 1409.3039 | 947.934 | 1.8189 | [9 empty] | 1.0273 | 1.0306 | 0.061115 | 0.0013617 | 1.0774 | 1.0815 | 0.12443 | 0.00044312 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:10:42 PM | 51042 | 1097.1771 | 168.481 | 15.9322 | Spline | 0.012885 | 51042 | 0.99774 | 0.99773 | 0.99775
10 | 187-1-118-A--Spectrum--034 | 0.50308 | 0.0028539 | 0.0016112 | 0.0023556 | 103.9417 | 0.00347 | 0.0013111 | 0.00322 | 5.898 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4721 | 0.0067287 | 0.50308 | 0.0028539 | 0.49829 | 0.0025065 | SupCrit | 104.1774 | 0.00322 | 1283.7158 | 0.0025771 | 1625.8228 | 1283.7158 | 4854.4428 | 1.1103 | 5.7684 | 0.64831 | 2.2207 | Flagged Warnings: | 1387.8933 | 0.0019306 | 3572.7737 | 1387.8933 | 8009.947 | 0.79571 | 0 | 9.8188 | 0.75891 | 1.5914 | Flagged Warnings: | 1263.5966 | 691.3885 | 2.4872 | 1409.3645 | 909.3888 | 1.7432 | [9 empty] | 1.0965 | 1.0944 | 0.21434 | 0.0013659 | 1.1222 | 1.1209 | 0.19451 | 0.00044543 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:16:13 PM | 51373 | 1097.1771 | 232.3972 | 17.2667 | Spline | 0.018065 | 51373 | 0.99774 | 0.99773 | 0.99775
11 | 187-1-119-A--Spectrum--042 | 0.33646 | 0.0051268 | 0.0045567 | 0.0023495 | 103.5687 | 0.010581 | 0.0013005 | 0.010525 | 6.04 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32429 | 0.0065566 | 0.33646 | 0.0051268 | 0.28259 | 0.0067711 | SupCrit | 103.804 | 0.010525 | 1284.5127 | 0.010165 | 277.6093 | 1284.5127 | 753.8295 | 0.99463 | 3.5129 | 0.68313 | 1.9893 | Flagged Warnings: | 1388.3168 | 0.0027273 | 581.3467 | 1388.3167 | 1170.544 | 0.72839 | 0 | 2.2204 | 0.7136 | 1.4568 | Flagged Warnings: |  |  |  | 1409.8574 | 139.2124 | 1.3044 | [9 empty] | 1.2481 | 1.3095 | 0.49355 | 0.0071657 | 1.0251 | 1.0363 | 0.036502 | 0.0025059 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:31:34 PM | 52294 | [5 empty] | 52294 | 0.99773 | 0.99772 | 0.99775
12 | 187-1-120-reg1-A--Spectrum--053 | 0.26103 | 0.0083459 | 0.0080063 | 0.0023564 | 103.3909 | 0.019152 | 0.0012929 | 0.019152 | 6.049 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25383 | 0.0088002 | 0.26103 | 0.0083459 | 0.1693 | 0.012694 | SupCrit | 103.6263 | 0.019152 | 1284.8989 | 0.017678 | 115.3867 | 1284.8989 | 284.773 | 0.90538 | 2.373 | 0.67942 | 1.8108 | Flagged Warnings: | 1388.5252 | 0.0073682 | 224.8903 | 1388.5252 | 418.2508 | 0.68922 | 0 | 2.1298 | 0.65473 | 1.3784 | Flagged Warnings: | [15 empty] | 1.367 | 1.2737 | 0.66446 | 0.015693 | 1.0622 | 1.0846 | 0.085724 | 0.0061294 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:49:49 PM | 53389 | 1097.0782 | 81.7265 | 13.9409 | Spline | 0.11625 | 53389 | 0.99773 | 0.99772 | 0.99774
13 | 187-1-120-reg1-A--Spectrum--054 | 0.26419 | 0.0071961 | 0.0067995 | 0.002356 | 103.3984 | 0.016246 | 0.0012912 | 0.016231 | 6.052 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25683 | 0.0078415 | 0.26419 | 0.0071961 | 0.17426 | 0.010784 | SupCrit | 103.634 | 0.016231 | 1284.9271 | 0.014954 | 144.5661 | 1284.9271 | 353.2878 | 0.90361 | 2.386 | 0.6602 | 1.8072 | Flagged Warnings: | 1388.5611 | 0.0063121 | 284.94 | 1388.5611 | 527.8013 | 0.70739 | 0 | 2.3676 | 0.58005 | 1.4148 | Flagged Warnings: | [15 empty] | 1.2604 | 1.3035 | 0.47063 | 0.012501 | 1.019 | 1.0588 | 0.026884 | 0.0049652 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:58:11 PM | 53891 | [5 empty] | 53891 | 0.99773 | 0.99771 | 0.99774
14 | 187-1-120-reg1-A--Spectrum--055 | 0.25035 | 0.0069678 | 0.0065567 | 0.0023579 | 103.3653 | 0.015746 | 0.0012896 | 0.015729 | 6.052 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.24369 | 0.007625 | 0.25035 | 0.0069678 | 0.15244 | 0.010573 | SupCrit | 103.6009 | 0.015729 | 1284.9421 | 0.014338 | 152.8116 | 1284.9421 | 383.5008 | 0.92709 | 2.5857 | 0.66249 | 1.8542 | Flagged Warnings: | 1388.543 | 0.0064655 | 303.2115 | 1388.543 | 568.3465 | 0.70062 | 0 | 2.5134 | 0.63365 | 1.4012 | Flagged Warnings: | [15 empty] | 1.0485 | 1.2186 | 0.089941 | 0.012134 | 1.0289 | 1.0429 | 0.040518 | 0.0046213 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:04:11 PM | 54251 | [5 empty] | 54251 | 0.99773 | 0.99771 | 0.99774
15 | 187-1-120-reg2-A--Spectrum--060 | 0.28445 | 0.0045558 | 0.0039008 | 0.0023536 | 103.4466 | 0.0092488 | 0.0012891 | 0.0091794 | 6.056 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27593 | 0.0059007 | 0.28445 | 0.0045558 | 0.20557 | 0.0062199 | SupCrit | 103.6827 | 0.0091794 | 1284.7886 | 0.0087563 | 308.1657 | 1284.7886 | 754.4866 | 0.90258 | 3.6536 | 0.66749 | 1.8052 | Flagged Warnings: | 1388.4714 | 0.0027547 | 610.6096 | 1388.4713 | 1116.936 | 0.65977 | 0 | 2.3297 | 0.72053 | 1.3195 | Flagged Warnings: |  |  |  | 1409.834 | 127.578 | 1.1877 | [9 empty] | 1.1245 | 1.2046 | 0.22475 | 0.0058578 | 1.1114 | 1.0827 | 0.147 | 0.002161 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:15:07 PM | 54907 | 1092.6791 | 262.0081 | 21.194 | Spline | 0.14 | 54907 | 0.99772 | 0.99771 | 0.99774
16 | 187-1-121-A--Spectrum--068 | 0.60815 | 0.003203 | 0.0021522 | 0.0023722 | 104.1623 | 0.0044023 | 0.0012968 | 0.0042166 | 6.062 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5595 | 0.0078154 | 0.60815 | 0.003203 | 0.61185 | 0.0027109 | SupCrit | 104.4005 | 0.0042166 | 1283.2107 | 0.0037076 | 954.4011 | 1283.2108 | 2963.4863 | 1.1034 | 4.7484 | 0.75835 | 2.2068 | Flagged Warnings: | 1387.6113 | 0.0020082 | 1981.776 | 1387.6113 | 4777.4025 | 0.85089 | 0 | 5.9721 | 0.77221 | 1.7018 | Flagged Warnings: | 1263.2527 | 488.7568 | 3.2577 | 1408.9925 | 637.0564 | 2.1462 | [9 empty] | 1.0664 | 1.1414 | 0.14642 | 0.0023123 | 1.0857 | 1.0614 | 0.14587 | 0.00085871 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 3:36:52 PM | 56212 | [5 empty] | 56212 | 0.99772 | 0.99771 | 0.99773
17 | 187-1-121-B--Spectrum--070 | 0.62019 | 0.0028805 | 0.0016305 | 0.0023746 | 104.1868 | 0.0033153 | 0.0012972 | 0.003058 | 6.065 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.56924 | 0.0078473 | 0.62019 | 0.0028805 | 0.62385 | 0.0022928 | SupCrit | 104.4252 | 0.003058 | 1283.1293 | 0.0023067 | 1462.1821 | 1283.1293 | 4182.5912 | 1.0131 | 5.111 | 0.76561 | 2.0262 | Flagged Warnings: | 1387.5545 | 0.0020076 | 2946.0956 | 1387.5545 | 6865.2248 | 0.81536 | 0 | 8.8098 | 0.79236 | 1.6307 | Flagged Warnings: | 1263.0384 | 660.1097 | 3.0291 | 1408.9783 | 856.4871 | 2.1212 | [9 empty] | 1.0251 | 1.0428 | 0.05091 | 0.0013858 | 1.0186 | 1.0029 | 0.030323 | 0.00055352 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 3:42:31 PM | 56551 | [5 empty] | 56551 | 0.99772 | 0.99771 | 0.99773
48 | 187-1-121-C--Spectrum--072 | 0.66411 | 0.0027659 | 0.0014019 | 0.0023843 | 104.2752 | 0.0027884 | 0.0012986 | 0.0024732 | 6.067 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.60423 | 0.008241 | 0.66411 | 0.0027659 | 0.66593 | 0.0020786 | SupCrit | 104.5138 | 0.0024732 | 1282.9534 | 0.0022478 | 1231.0583 | 1282.9535 | 3447.3051 | 0.98174 | 3.532 | 0.78907 | 1.9635 | Flagged Warnings: | 1387.4673 | 0.0010314 | 2440.8953 | 1387.4673 | 5569.1431 | 0.81676 | 0 | 2.7681 | 0.75395 | 1.6335 | Flagged Warnings: | 1262.8364 | 528.9952 | 2.9396 | 1408.9213 | 576.341 | 1.8516 | 1369.781 | 73.038 | 0.4084 | 1389.1734 | 682.886 | 17.244 |  |  |  | 1.0278 | 1.0292 | 0.054541 | 0.001595 | 1.0186 | 1.022 | 0.030313 | 0.00066923 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 3:48:06 PM | 56886 | [5 empty] | 56886 | 0.99772 | 0.9977 | 0.99773
49 | 187-1-121-C--Spectrum--073 | 0.66086 | 0.0027887 | 0.0014475 | 0.0023836 | 104.2687 | 0.0028838 | 0.0012989 | 0.0025807 | 6.065 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.60167 | 0.0082148 | 0.66086 | 0.0027887 | 0.66291 | 0.00211 | SupCrit | 104.5074 | 0.0025807 | 1282.9575 | 0.002287 | 1324.1351 | 1282.9576 | 3758.6416 | 0.98737 | 3.989 | 0.80719 | 1.9747 | Flagged Warnings: | 1387.465 | 0.0011955 | 2619.1519 | 1387.465 | 5999.8915 | 0.82473 | 0 | 3.0736 | 0.74153 | 1.6495 | Flagged Warnings: | 1262.7873 | 569.6926 | 2.9571 | 1408.8527 | 620.4698 | 1.9287 | 1369.7818 | 79.8619 | 0.41248 | 1388.4385 | 764.8256 | 16.9602 |  |  |  | 1.0363 | 1.0327 | 0.071747 | 0.0014913 | 1.0266 | 1.0293 | 0.043941 | 0.00062977 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 3:53:34 PM | 57214 | [5 empty] | 57214 | 0.99772 | 0.9977 | 0.99773
50 | 187-1-121-C--Spectrum--074 | 0.65857 | 0.0028087 | 0.0014866 | 0.002383 | 104.2641 | 0.0029651 | 0.0012994 | 0.0026713 | 6.067 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.59986 | 0.0081972 | 0.65857 | 0.0028087 | 0.66078 | 0.0021368 | SupCrit | 104.5029 | 0.0026713 | 1282.9565 | 0.0024457 | 1375.8163 | 1282.9566 | 3868.5823 | 0.97865 | 4.5206 | 0.80592 | 1.9573 | Flagged Warnings: | 1387.4595 | 0.0010743 | 2740.0268 | 1387.4595 | 6229.2265 | 0.81082 | 0 | 2.8618 | 0.76323 | 1.6216 | Flagged Warnings: | 1262.8054 | 611.5883 | 2.9313 | 1408.9434 | 656.0678 | 1.8108 | 1369.7185 | 79.3751 | 0.40547 | 1388.5558 | 827.768 | 17.9947 |  |  |  | 1.0017 | 1.0293 | 0.0033573 | 0.0014226 | 1.0377 | 1.0433 | 0.061194 | 0.00059184 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 3:58:46 PM | 57526 | [5 empty] | 57526 | 0.99772 | 0.9977 | 0.99773
18 | 187-1-121-D--Spectrum--075 | 0.60732 | 0.0048157 | 0.004191 | 0.002372 | 104.1606 | 0.0085762 | 0.0012989 | 0.0084967 | 6.067 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55883 | 0.0083344 | 0.60732 | 0.0048157 | 0.61102 | 0.004522 | SupCrit | 104.3992 | 0.0084967 | 1283.2025 | 0.0081418 | 370.1656 | 1283.2025 | 1056.3842 | 1.0242 | 3.8442 | 0.73197 | 2.0484 | Flagged Warnings: | 1387.6017 | 0.0024302 | 759.7085 | 1387.6017 | 1735.8571 | 0.80545 | 0 | 2.5345 | 0.775 | 1.6109 | Flagged Warnings: |  |  |  | 1409.039 | 205.569 | 2.0261 | [9 empty] | 1.018 | 1.0642 | 0.036878 | 0.0055338 | 1.0294 | 1.0074 | 0.04728 | 0.0021204 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:04:12 PM | 57852 | [5 empty] | 57852 | 0.99771 | 0.9977 | 0.99773
19 | 187-1-121-E--Spectrum--078 | 0.63311 | 0.00438 | 0.0036787 | 0.0023773 | 104.213 | 0.0074317 | 0.0013005 | 0.0073338 | 6.064 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57961 | 0.0083966 | 0.63311 | 0.00438 | 0.6365 | 0.0039237 | SupCrit | 104.4518 | 0.0073338 | 1283.0762 | 0.0070199 | 618.1089 | 1283.0762 | 1779.6026 | 1.0251 | 6.1556 | 0.75086 | 2.0501 | Flagged Warnings: | 1387.528 | 0.0021226 | 1269.37 | 1387.528 | 2977.2432 | 0.82569 | 0 | 3.7369 | 0.77829 | 1.6514 | Flagged Warnings: |  |  |  | 1408.8731 | 377.0045 | 2.2478 | [9 empty] | 1.0698 | 1.0966 | 0.14319 | 0.0033168 | 1.0266 | 1.0116 | 0.043902 | 0.001301 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:10:13 PM | 58213 | [5 empty] | 58213 | 0.99771 | 0.9977 | 0.99773
51 | 187-1-121-F--Spectrum--080 | 0.67371 | 0.0044825 | 0.0037943 | 0.0023866 | 104.2942 | 0.0075108 | 0.0013026 | 0.0074139 | 6.063 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.61178 | 0.00878 | 0.67371 | 0.0044825 | 0.6748 | 0.0038357 | SupCrit | 104.5333 | 0.0074139 | 1282.8899 | 0.0071186 | 471.2367 | 1282.8899 | 1313.2384 | 0.97515 | 3.3741 | 0.79124 | 1.9503 | Flagged Warnings: | 1387.4231 | 0.0020716 | 929.7362 | 1387.4231 | 2141.1311 | 0.82421 | 0 | 2.0016 | 0.75291 | 1.6484 | Flagged Warnings: |  |  |  | 1408.9124 | 230.9468 | 1.9365 |  |  |  | 1383.974 | 247.2254 | 18.1353 |  |  |  | 1.0515 | 1.0725 | 0.10046 | 0.0041387 | 1.0474 | 1.0474 | 0.078173 | 0.001773 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:15:52 PM | 58552 | 1097.1276 | 17.7178 | 11.2139 | Spline | 0.0051291 | 58552 | 0.99771 | 0.9977 | 0.99773
20 | 187-1-121-G--Spectrum--083 | 0.62893 | 0.0046617 | 0.0040105 | 0.0023764 | 104.2046 | 0.008119 | 0.0013039 | 0.008032 | 6.059 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57626 | 0.0084581 | 0.62893 | 0.0046617 | 0.63243 | 0.0042403 | SupCrit | 104.4435 | 0.008032 | 1283.1124 | 0.0076739 | 488.2256 | 1283.1124 | 1441.9694 | 1.0428 | 5.1013 | 0.77044 | 2.0856 | Flagged Warnings: | 1387.556 | 0.0023716 | 995.6228 | 1387.556 | 2346.4316 | 0.83203 | 0 | 3.3086 | 0.77168 | 1.6641 | Flagged Warnings: |  |  |  | 1408.8813 | 304.1821 | 2.182 | [9 empty] | 1.1389 | 1.1506 | 0.28966 | 0.0042717 | 1.0223 | 1.0159 | 0.037129 | 0.0016714 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:25:55 PM | 59155 | 1093.2723 | 966.6952 | 62.0133 | Spline | 0.25517 | 59155 | 0.99771 | 0.9977 | 0.99772
21 | 187-1-121-H--Spectrum--085 | 0.58644 | 0.0053086 | 0.0047511 | 0.002368 | 104.1177 | 0.0098238 | 0.0013045 | 0.0097591 | 6.058 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54182 | 0.0083656 | 0.58644 | 0.0053086 | 0.58971 | 0.0051861 | SupCrit | 104.3565 | 0.0097591 | 1283.2979 | 0.0093203 | 387.4052 | 1283.2979 | 1190.3815 | 1.0954 | 4.5909 | 0.74781 | 2.1908 | Flagged Warnings: | 1387.6544 | 0.0028934 | 826.251 | 1387.6543 | 1968.9438 | 0.83618 | 0 | 3.3547 | 0.78595 | 1.6724 | Flagged Warnings: |  |  |  | 1408.9436 | 265.5935 | 2.2384 | [9 empty] | 1.1161 | 1.0628 | 0.25442 | 0.0056551 | 1.0159 | 1.0464 | 0.026598 | 0.002024 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:32:05 PM | 59525 | [5 empty] | 59525 | 0.99771 | 0.9977 | 0.99772
22 | 187-1-121-I--Spectrum--088 | 0.61506 | 0.0028589 | 0.0015935 | 0.0023736 | 104.1764 | 0.0032484 | 0.0013082 | 0.0029802 | 6.047 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.56509 | 0.0077932 | 0.61506 | 0.0028589 | 0.61876 | 0.0022762 | SupCrit | 104.4154 | 0.0029802 | 1283.1485 | 0.0021832 | 1203.0925 | 1283.1485 | 3413.4222 | 1.0052 | 3.6471 | 0.76456 | 2.0104 | Flagged Warnings: | 1387.564 | 0.0020286 | 2391.9754 | 1387.5639 | 5535.0891 | 0.81034 | 0 | 7.3808 | 0.79056 | 1.6207 | Flagged Warnings: | 1262.9789 | 519.3164 | 2.8931 | 1408.8831 | 715.6943 | 2.2591 | [9 empty] | 1.0134 | 1.0261 | 0.026986 | 0.0016711 | 1.025 | 1.0015 | 0.040517 | 0.00067755 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:41:08 PM | 60068 | 1090.4055 | 44.1168 | 65.3586 | Spline | 0.0049301 | 60068 | 0.99771 | 0.9977 | 0.99772
23 | 187-1-121-I--Spectrum--089 | 0.62009 | 0.0028753 | 0.0016213 | 0.0023746 | 104.1866 | 0.0032967 | 0.0013102 | 0.0030321 | 6.037 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.56916 | 0.0078451 | 0.62009 | 0.0028753 | 0.62375 | 0.0022866 | SupCrit | 104.4257 | 0.0030321 | 1283.1393 | 0.002277 | 1298.8606 | 1283.1394 | 3671.3371 | 1.0095 | 3.9566 | 0.74578 | 2.019 | Flagged Warnings: | 1387.5652 | 0.0020022 | 2600.439 | 1387.5651 | 6059.8905 | 0.82156 | 0 | 7.5279 | 0.77484 | 1.6431 | Flagged Warnings: | 1262.9556 | 558.3919 | 2.879 | 1408.9561 | 751.5786 | 2.1243 | [9 empty] | 1.1403 | 1.0885 | 0.2833 | 0.0015544 | 1.0143 | 1.0044 | 0.023521 | 0.00063186 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:46:36 PM | 60396 | [5 empty] | 60396 | 0.99771 | 0.9977 | 0.99772
24 | 187-1-121-J--Spectrum--091 | 0.647 | 0.0047131 | 0.0040678 | 0.0023804 | 104.241 | 0.0081607 | 0.0013136 | 0.0080728 | 6.036 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.59069 | 0.0086283 | 0.647 | 0.0047131 | 0.64985 | 0.0041985 | SupCrit | 104.4802 | 0.0080728 | 1283.053 | 0.0076457 | 397.3895 | 1283.053 | 1108.9077 | 1.0025 | 4.0023 | 0.72955 | 2.005 | Flagged Warnings: | 1387.5332 | 0.0025912 | 790.3383 | 1387.5332 | 1848.6148 | 0.81927 | 0 | 2.7885 | 0.79015 | 1.6385 | Flagged Warnings: |  |  |  | 1408.8484 | 243.0759 | 2.388 | [9 empty] | 1.0117 | 1.0743 | 0.023549 | 0.0050455 | 1.0082 | 1.04 | 0.013431 | 0.0020732 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:53:33 PM | 60813 | [5 empty] | 60813 | 0.99771 | 0.9977 | 0.99772
25 | 187-1-121-K--Spectrum--093 | 0.58215 | 0.0048737 | 0.0042601 | 0.0023673 | 104.1088 | 0.0088273 | 0.0013146 | 0.0087489 | 6.028 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53829 | 0.0081511 | 0.58215 | 0.0048737 | 0.58524 | 0.0047316 | SupCrit | 104.3477 | 0.0087489 | 1283.323 | 0.0083756 | 331.7437 | 1283.323 | 959.1689 | 1.0348 | 3.3384 | 0.73857 | 2.0695 | Flagged Warnings: | 1387.6707 | 0.0025285 | 698.9321 | 1387.6707 | 1582.0056 | 0.79626 | 0 | 2.325 | 0.77973 | 1.5925 | Flagged Warnings: |  |  |  | 1409.2167 | 193.5223 | 1.9381 | [9 empty] | 1.0519 | 1.0659 | 0.10746 | 0.0062384 | 1.0514 | 1.086 | 0.081843 | 0.0022785 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:59:45 PM | 61185 | [5 empty] | 61185 | 0.99771 | 0.9977 | 0.99772
26 | 187-1-121-L--Spectrum--095 | 0.59158 | 0.0028109 | 0.001513 | 0.002369 | 104.1283 | 0.0031204 | 0.0013179 | 0.0028349 | 6.033 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54602 | 0.0075571 | 0.59158 | 0.0028109 | 0.595 | 0.0022601 | SupCrit | 104.3673 | 0.0028349 | 1283.2771 | 0.002082 | 1390.2498 | 1283.2772 | 4019.6327 | 1.0403 | 4.2939 | 0.72817 | 2.0806 | Flagged Warnings: | 1387.6445 | 0.0019241 | 2850.266 | 1387.6444 | 6605.8517 | 0.81445 | 0 | 8.3183 | 0.78228 | 1.6289 | Flagged Warnings: | 1263.2737 | 605.9007 | 2.7029 | 1409.0556 | 812.0755 | 2.0697 | [9 empty] | 1 | 1.0092 | 0 | 0.0014965 | 1.0165 | 1.016 | 0.026869 | 0.00057149 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 5:06:27 PM | 61587 | [5 empty] | 61587 | 0.99771 | 0.9977 | 0.99772
27 | 187-1-121-M--Spectrum--097 | 0.5832 | 0.0032035 | 0.0021582 | 0.0023675 | 104.1109 | 0.0044696 | 0.001321 | 0.0042797 | 6.033 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53916 | 0.0075827 | 0.5832 | 0.0032035 | 0.58634 | 0.0027813 | SupCrit | 104.3499 | 0.0042797 | 1283.3187 | 0.0037347 | 643.9396 | 1283.3188 | 1952.8975 | 1.1046 | 2.8674 | 0.69893 | 2.2092 | Flagged Warnings: | 1387.6688 | 0.00209 | 1335.5314 | 1387.6687 | 3173.1553 | 0.84922 | 0 | 3.8775 | 0.7427 | 1.6984 | Flagged Warnings: | 1263.28 | 282.0671 | 2.6603 | 1409.0698 | 407.8926 | 2.054 | [9 empty] | 1.1645 | 1.1564 | 0.36331 | 0.0034308 | 1.0079 | 1.0341 | 0.013347 | 0.0012717 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:13:15 PM | 61995 | [5 empty] | 61995 | 0.99771 | 0.9977 | 0.99772
28 | 187-1-122-A--Spectrum--104 | 0.4793 | 0.0036841 | 0.0028347 | 0.0023531 | 103.8902 | 0.0061743 | 0.0013241 | 0.0060445 | 6.035 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.45169 | 0.0068102 | 0.4793 | 0.0036841 | 0.47027 | 0.0037858 | SupCrit | 104.1287 | 0.0060445 | 1283.8227 | 0.0056376 | 565.7645 | 1283.8228 | 1684.6605 | 1.1384 | 3.2657 | 0.57904 | 2.2767 | Flagged Warnings: | 1387.9515 | 0.0021804 | 1282.1291 | 1387.9515 | 2812.0489 | 0.7897 | 0 | 3.4805 | 0.72484 | 1.5794 | Flagged Warnings: | 1263.6725 | 218.5289 | 2.2103 | 1409.3836 | 293.3634 | 1.5186 | [9 empty] | 1.1685 | 1.1243 | 0.38368 | 0.0040242 | 1.1007 | 1.1044 | 0.159 | 0.0012319 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:24:14 PM | 62654 | [5 empty] | 62654 | 0.99771 | 0.9977 | 0.99772
29 | 187-1-122-B--Spectrum--106 | 0.557 | 0.0036843 | 0.0028267 | 0.002363 | 104.0563 | 0.0059303 | 0.0013296 | 0.0057926 | 6.038 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51752 | 0.0074931 | 0.557 | 0.0036843 | 0.55859 | 0.003466 | SupCrit | 104.2952 | 0.0057926 | 1283.4453 | 0.005416 | 830.9713 | 1283.4453 | 2463.1258 | 1.0938 | 4.5702 | 0.66751 | 2.1875 | Flagged Warnings: | 1387.7405 | 0.0020545 | 1775.5298 | 1387.7405 | 4028.67 | 0.81003 | 0 | 4.5887 | 0.74509 | 1.6201 | Flagged Warnings: | 1263.0106 | 357.0097 | 2.8945 | 1409.1609 | 400.8863 | 1.6445 | [9 empty] | 1.0327 | 1.0258 | 0.071443 | 0.0026325 | 1.0789 | 1.0756 | 0.12781 | 0.00091243 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:30:01 PM | 63001 | 1113.9331 | 217.6671 | 25.871 | Spline | 0.03353 | 63001 | 0.99771 | 0.9977 | 0.99772
30 | 187-1-122-C--Spectrum--107 | 0.58304 | 0.0027853 | 0.0014673 | 0.0023674 | 104.1106 | 0.0030391 | 0.0013338 | 0.0027371 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53902 | 0.007469 | 0.58304 | 0.0027853 | 0.58617 | 0.0022422 | SupCrit | 104.3496 | 0.0027371 | 1283.3361 | 0.0021103 | 1895.8304 | 1283.3361 | 5530.5888 | 1.0637 | 5.0505 | 0.69615 | 2.1274 | Flagged Warnings: | 1387.6857 | 0.0017431 | 3922.2854 | 1387.6857 | 8988.5509 | 0.81172 | 0 | 9.84 | 0.76382 | 1.6234 | Flagged Warnings: | 1263.1997 | 784.5592 | 2.6404 | 1409.0485 | 1073.0157 | 2.0436 | [9 empty] | 1.0175 | 1.0034 | 0.037145 | 0.0011221 | 1.0103 | 1.0088 | 0.016668 | 0.0004139 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:35:48 PM | 63348 | [5 empty] | 63348 | 0.99771 | 0.9977 | 0.99772
31 | 187-1-122-D--Spectrum--109 | 0.60149 | 0.0028927 | 0.0016573 | 0.0023709 | 104.1486 | 0.0034014 | 0.0013385 | 0.0031341 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55409 | 0.0076721 | 0.60149 | 0.0028927 | 0.60512 | 0.002346 | SupCrit | 104.3877 | 0.0031341 | 1283.2486 | 0.0023484 | 2179.2668 | 1283.2487 | 6393.2983 | 1.0444 | 7.8761 | 0.75377 | 2.0888 | Flagged Warnings: | 1387.6364 | 0.0020756 | 4533.4361 | 1387.6364 | 10530.028 | 0.80966 | 0 | 14.4777 | 0.80117 | 1.6193 | Flagged Warnings: | 1263.1864 | 1031.7966 | 3.125 | 1408.9663 | 1354.0898 | 2.277 | [9 empty] | 1.0032 | 1.0137 | 0.0067163 | 0.00095848 | 1.0334 | 1.0015 | 0.05409 | 0.00035719 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:42:33 PM | 63753 | [5 empty] | 63753 | 0.99771 | 0.9977 | 0.99772
32 | 187-1-122-E--Spectrum--111 | 0.57119 | 0.004568 | 0.0039079 | 0.0023654 | 104.086 | 0.0081414 | 0.0013431 | 0.0080483 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52928 | 0.0079397 | 0.57119 | 0.004568 | 0.57375 | 0.004448 | SupCrit | 104.3249 | 0.0080483 | 1283.3987 | 0.007771 | 525.6554 | 1283.3987 | 1557.8254 | 1.0705 | 5.6409 | 0.71663 | 2.141 | Flagged Warnings: | 1387.7237 | 0.0020945 | 1133.7557 | 1387.7236 | 2595.9466 | 0.8049 | 0 | 3.2417 | 0.78141 | 1.6098 | Flagged Warnings: |  |  |  | 1409.1862 | 298.23 | 1.9898 | [9 empty] | 1.035 | 1.0136 | 0.075003 | 0.004073 | 1.0379 | 1.0643 | 0.061003 | 0.0014199 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:50:28 PM | 64228 | 1092.0366 | 777.4457 | 49.7884 | Spline | 0.18717 | 64228 | 0.99771 | 0.9977 | 0.99772
33 | 187-1-122-F--Spectrum--114 | 0.5942 | 0.0030332 | 0.0018936 | 0.0023695 | 104.1337 | 0.0039003 | 0.0013498 | 0.0036677 | 6.046 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54816 | 0.0076391 | 0.5942 | 0.0030332 | 0.59769 | 0.0025395 | SupCrit | 104.3726 | 0.0036677 | 1283.2986 | 0.0031333 | 918.2175 | 1283.2987 | 2650.937 | 1.0696 | 3.106 | 0.65726 | 2.1393 | Flagged Warnings: | 1387.6713 | 0.0019063 | 1956.1608 | 1387.6713 | 4459.506 | 0.81346 | 0 | 5.0003 | 0.7464 | 1.6269 | Flagged Warnings: | 1263.131 | 352.2771 | 2.6772 | 1409.1047 | 489.638 | 1.9002 | [9 empty] | 1.1109 | 1.0859 | 0.2373 | 0.0023298 | 1.0041 | 1.0266 | 0.0066541 | 0.00083169 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:59:04 PM | 64744 | 1112.1537 | 73.3222 | 12.3691 | Spline | 0.010312 | 64744 | 0.99771 | 0.9977 | 0.99772
34 | 187-1-123-reg1-A--Spectrum--122 | 0.21179 | 0.0053169 | 0.0047622 | 0.0023645 | 103.272 | 0.011591 | 0.0013473 | 0.011539 | 6.045 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20675 | 0.0061902 | 0.21179 | 0.0053169 | 0.089834 | 0.0081097 | SupCrit | 103.5089 | 0.011539 | 1285.2573 | 0.010093 | 171.4981 | 1285.2573 | 361.8918 | 0.79005 | 2.0841 | 0.62956 | 1.5801 | Flagged Warnings: | 1388.7662 | 0.0055921 | 341.7184 | 1388.7662 | 565.1201 | 0.61253 | 0 | 2.7539 | 0.65607 | 1.2251 | Flagged Warnings: | [15 empty] | 1.0901 | 1.1511 | 0.14238 | 0.0092135 | 1.0638 | 1.1302 | 0.078195 | 0.003585 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:10:37 PM | 65437 | 1093.1734 | 236.5108 | 20.5736 | Spline | 0.25513 | 65437 | 0.99771 | 0.9977 | 0.99772
35 | test--Spectrum--123 | 0.097878 | 0.014227 | 0.013709 | 0.0038037 | 102.9973 | 0.034598 | 0.0013484 | 0.034651 | 45.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.097878 | 0.014227 | 0.10079 | 0.013979 | -0.10547 | 0.025681 | SupCrit | 103.2335 | 0.034651 | 1285.8486 | 0.029466 | 53.3884 | 1285.8486 | 83.219 | 0.60726 | 2.1142 | 0.52928 | 1.2145 | Flagged Warnings: | 1389.0821 | 0.018232 | 89.5641 | 1389.0821 | 106.4314 | 0.50308 | 0 | 2.3299 | 0.30624 | 1.0062 | Flagged Warnings: | [15 empty] | 1.0368 | 1.0571 | 0.044745 | 0.022749 | 1.0133 | 1 | 0.013371 | 0.011234 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '7s'] | 6:16:28 PM | 65788 | 1092.5803 | 155.7868 | 17.5953 | Spline | 0.82144 | 65788 | 0.99771 | 0.9977 | 0.99773
36 | test--Spectrum--124 | 0.17991 | 0.0077449 | 0.007373 | 0.0023713 | 103.194 | 0.018129 | 0.0013512 | 0.01812 | 45.987 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17584 | 0.0082204 | 0.17991 | 0.0077449 | 0.036028 | 0.012793 | SupCrit | 103.4307 | 0.01812 | 1285.3792 | 0.016812 | 147.2727 | 1285.3792 | 293.6608 | 0.73412 | 3.412 | 0.67071 | 1.4682 | Flagged Warnings: | 1388.8099 | 0.0067602 | 274.7729 | 1388.8098 | 451.8512 | 0.59252 | 0 | 2.9356 | 0.72277 | 1.185 | Flagged Warnings: |  |  |  | 1410.2139 | 59.6542 | 0.59499 | [9 empty] | 1.1535 | 1.0437 | 0.22536 | 0.0099696 | 1.0842 | 1.1396 | 0.099828 | 0.0043128 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:16:44 PM | 65804 | [5 empty] | 65804 | 0.99771 | 0.9977 | 0.99773
37 | test--Spectrum--126 | 0.10293 | 0.0073716 | 0.0063124 | 0.003807 | 103.01 | 0.015931 | 0.0013492 | 0.01591 | 45.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10293 | 0.0073716 | 0.10587 | 0.0067846 | -0.096053 | 0.011904 | SupCrit | 103.2462 | 0.01591 | 1285.6792 | 0.014515 | 171.8739 | 1285.6792 | 331.0118 | 0.70447 | 3.5344 | 0.68644 | 1.4089 | Flagged Warnings: | 1388.9255 | 0.0065155 | 297.8224 | 1388.9254 | 473.1989 | 0.58669 | 0 | 2.5164 | 0.66361 | 1.1734 | Flagged Warnings: |  |  |  | 1410.2806 | 78.0637 | 0.88768 | [9 empty] | 1.0525 | 1.086 | 0.073969 | 0.0081975 | 1.1858 | 1.1537 | 0.21806 | 0.0039399 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:17:18 PM | 65838 | [5 empty] | 65838 | 0.99771 | 0.9977 | 0.99773
38 | test--Spectrum--127 | 0.20138 | 0.015976 | 0.0158 | 0.0023666 | 103.2466 | 0.038586 | 0.0013527 | 0.03865 | 45.981 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19668 | 0.015828 | 0.20138 | 0.015976 | 0.072458 | 0.026569 | SupCrit | 103.4834 | 0.03865 | 1285.2689 | 0.034469 | 58.3854 | 1285.2689 | 140.1242 | 0.8457 | 2.1736 | 0.77499 | 1.6914 | Flagged Warnings: | 1388.7523 | 0.017485 | 153.6122 | 1388.7523 | 204.8811 | 0.42455 | 0 | 2.3335 | 1 | 0.8491 | Flagged Warnings: | [15 empty] | 1.1617 | 1.0794 | 0.27344 | 0.02897 | 1.3286 | 1.3717 | 0.27903 | 0.0055275 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:17:47 PM | 65867 | [5 empty] | 65867 | 0.99771 | 0.9977 | 0.99773
39 | test--Spectrum--128 | 0.19145 | 0.01639 | 0.016217 | 0.0023687 | 103.2223 | 0.039732 | 0.0013528 | 0.0398 | 45.978 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18706 | 0.016256 | 0.19145 | 0.01639 | 0.055711 | 0.027561 | SupCrit | 103.459 | 0.0398 | 1285.4057 | 0.034032 | 49.7106 | 1285.4057 | 80.686 | 0.52786 | 2.1577 | 0.9544 | 1.0557 | Flagged Warnings: | 1388.8647 | 0.020637 | 82.1383 | 1388.8647 | 132.53 | 0.52549 | 0 | 2.226 | 0.95131 | 1.051 | Flagged Warnings: | [15 empty] | 1.2749 | 1.3121 | 0.29024 | 0.021237 | 1.0669 | 1.0616 | 0.07026 | 0.012795 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:18:12 PM | 65892 | [5 empty] | 65892 | 0.99771 | 0.9977 | 0.99773
40 | 187-1-123-reg2-A--Spectrum--130 | 0.23647 | 0.0038812 | 0.0030812 | 0.0023601 | 103.3318 | 0.0074362 | 0.0013554 | 0.0073284 | 6.022 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23045 | 0.0052079 | 0.23647 | 0.0038812 | 0.13021 | 0.0052949 | SupCrit | 103.5688 | 0.0073284 | 1285.0925 | 0.0068825 | 321.7095 | 1285.0925 | 690.1178 | 0.76759 | 2.9435 | 0.73901 | 1.5352 | Flagged Warnings: | 1388.6613 | 0.0025172 | 600.9541 | 1388.6613 | 1014.9804 | 0.62235 | 0 | 2.0586 | 0.66893 | 1.2447 | Flagged Warnings: |  |  |  | 1410.0785 | 110.2794 | 1.0378 | [9 empty] | 1.0424 | 1.1289 | 0.065108 | 0.004772 | 1.112 | 1.0214 | 0.13946 | 0.0020712 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:19:44 PM | 65984 | [5 empty] | 65984 | 0.99771 | 0.9977 | 0.99773
41 | 187-1-123-reg2-B--Spectrum--132 | 0.2365 | 0.0038582 | 0.0030522 | 0.0023601 | 103.3319 | 0.0073662 | 0.0013605 | 0.0072561 | 6.023 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23047 | 0.0051923 | 0.2365 | 0.0038582 | 0.13025 | 0.0052509 | SupCrit | 103.5688 | 0.0072561 | 1285.1134 | 0.0068611 | 322.0672 | 1285.1134 | 673.8719 | 0.74881 | 3.1277 | 0.73863 | 1.4976 | Flagged Warnings: | 1388.6823 | 0.0023615 | 609.7147 | 1388.6822 | 1019.2909 | 0.61407 | 0 | 2.225 | 0.67665 | 1.2281 | Flagged Warnings: |  |  |  | 1410.0584 | 119.687 | 1.0256 | [9 empty] | 1.0276 | 1.0564 | 0.041314 | 0.00465 | 1.1605 | 1.1125 | 0.19706 | 0.0020143 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:25:49 PM | 66349 | 1097.1276 | 96.9444 | 14.1003 | Spline | 0.057256 | 66349 | 0.99771 | 0.9977 | 0.99773
42 | 187-1-123-reg2-C--Spectrum--134 | 0.20841 | 0.0064927 | 0.0060466 | 0.0023651 | 103.2638 | 0.014733 | 0.0013646 | 0.014704 | 6.024 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20348 | 0.0071524 | 0.20841 | 0.0064927 | 0.084206 | 0.010233 | SupCrit | 103.5004 | 0.014704 | 1285.2818 | 0.013713 | 110.4664 | 1285.2818 | 220.815 | 0.73483 | 1.6342 | 0.6744 | 1.4697 | Flagged Warnings: | 1388.7822 | 0.0053055 | 212.8943 | 1388.7822 | 328.5364 | 0.55488 | 0 | 1.6458 | 0.72752 | 1.1098 | Flagged Warnings: | [15 empty] | 1.0791 | 1.1194 | 0.1162 | 0.013304 | 1.0855 | 1.0532 | 0.094851 | 0.0052127 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:31:31 PM | 66691 | 1093.0746 | 1213.5232 | 75.2564 | Spline | 2.209 | 66691 | 0.99771 | 0.9977 | 0.99773
43 | 187-1-123-reg3-A--Spectrum--137 | 0.19536 | 0.0042763 | 0.0035609 | 0.0023678 | 103.2319 | 0.0087136 | 0.0013715 | 0.0086247 | 6.026 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19085 | 0.0053342 | 0.19536 | 0.0042763 | 0.062325 | 0.0062908 | SupCrit | 103.4684 | 0.0086247 | 1285.3386 | 0.0076203 | 212.8062 | 1285.3386 | 399.5589 | 0.68386 | 2.1417 | 0.69676 | 1.3677 | Flagged Warnings: | 1388.807 | 0.0040394 | 393.2081 | 1388.807 | 590.5136 | 0.55183 | 0 | 2.1947 | 0.67546 | 1.1037 | Flagged Warnings: | [15 empty] | 1.0095 | 1.0353 | 0.012995 | 0.006427 | 1.0027 | 1.019 | 0.0030237 | 0.0028068 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:39:43 PM | 67183 | [5 empty] | 67183 | 0.99771 | 0.9977 | 0.99773
44 | 187-1-123-reg3-B--Spectrum--139 | 0.20589 | 0.0034452 | 0.0025047 | 0.0023656 | 103.2576 | 0.0061081 | 0.001377 | 0.0059645 | 6.024 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20105 | 0.0047773 | 0.20589 | 0.0034452 | 0.080011 | 0.0045689 | SupCrit | 103.4941 | 0.0059645 | 1285.2718 | 0.0055656 | 398.8917 | 1285.2719 | 778.8381 | 0.6985 | 2.9111 | 0.73991 | 1.397 | Flagged Warnings: | 1388.766 | 0.0021446 | 733.7694 | 1388.766 | 1141.3593 | 0.5784 | 0 | 2.3948 | 0.6466 | 1.1568 | Flagged Warnings: | 1262.9155 | 456.8339 | 0.37444 | 1410.2096 | 107.3198 | 0.81746 | [9 empty] | 1.0975 | 1.1184 | 0.13615 | 0.0035022 | 1.0873 | 1.0438 | 0.10102 | 0.0015765 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:45:20 PM | 67520 | [5 empty] | 67520 | 0.99772 | 0.9977 | 0.99773
45 | test--Spectrum--142 | 0.30865 | 0.010508 | 0.010241 | 0.0023513 | 103.5037 | 0.024052 | 0.0013865 | 0.024067 | 45.986 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29856 | 0.010676 | 0.30865 | 0.010508 | 0.242 | 0.015303 | SupCrit | 103.7407 | 0.024067 | 1284.6406 | 0.020981 | 119.1284 | 1284.6406 | 286.4278 | 0.80594 | 3.3102 | 0.88845 | 1.6119 | Flagged Warnings: | 1388.3813 | 0.011791 | 204.8434 | 1388.3813 | 411.3462 | 0.71115 | 0 | 2.7914 | 0.76334 | 1.4223 | Flagged Warnings: | [15 empty] | 1.2339 | 1.15 | 0.377 | 0.013531 | 1.1092 | 1.0346 | 0.15529 | 0.0069434 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 5 | 1 | 50 | ['0h', '0m', '7s'] | 6:51:54 PM | 67914 | [5 empty] | 67914 | 0.99772 | 0.9977 | 0.99773
46 | 187-1-123-reg4-A--Spectrum--144 | 0.34284 | 0.0080346 | 0.0076835 | 0.0023492 | 103.5835 | 0.017794 | 0.0013883 | 0.01778 | 6.014 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33016 | 0.0086991 | 0.34284 | 0.0080346 | 0.29172 | 0.011081 | SupCrit | 103.8206 | 0.01778 | 1284.5075 | 0.016673 | 114.4731 | 1284.5075 | 314.5175 | 0.97171 | 1.9842 | 0.76647 | 1.9434 | Flagged Warnings: | 1388.3281 | 0.0061779 | 245.1697 | 1388.3281 | 486.0818 | 0.69656 | 0 | 2.1274 | 0.78193 | 1.3931 | Flagged Warnings: | [15 empty] | 1.2418 | 1.3457 | 0.46988 | 0.016977 | 1.2 | 1.2018 | 0.27862 | 0.0056822 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 6:52:38 PM | 67958 | [5 empty] | 67958 | 0.99772 | 0.9977 | 0.99773
47 | FO1--Spectrum--146 | 0.096695 | 0.0052705 | 0.003649 | 0.0038031 | 102.9943 | 0.0092091 | 0.0013892 | 0.0091245 | 11.955 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.096695 | 0.0052705 | 0.099601 | 0.0043774 | -0.10768 | 0.0070892 | SupCrit | 103.2299 | 0.0091245 | 1285.9584 | 0.0075177 | 145.3289 | 1285.9584 | 194.5754 | 0.50597 | 1.4956 | 0.60635 | 1.0119 | Flagged Warnings: | 1389.1884 | 0.0051711 | 261.236 | 1389.1884 | 300.5893 | 0.46056 | 0 | 1.5847 | 0.45873 | 0.92112 | Flagged Warnings: | [15 empty] | 1.2161 | 1.2244 | 0.21871 | 0.0069631 | 1.1705 | 1.2092 | 0.15701 | 0.003526 | PseudoVoigtModel | PseudoVoigtModel | January 19, 2024 | January | 19 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 7:01:36 PM | 68496 | [5 empty] | 68496 | 0.99772 | 0.9977 | 0.99773