## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-124-reg1-A--Spectrum--013 | 0.48654 | 0.0087614 | 0.0084393 | 0.0023538 | 103.9059 | 0.018319 | 0.0025552 | 0.01818 | 6.002 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.45793 | 0.0096943 | 0.48654 | 0.0087614 | 0.4789 | 0.010142 | SupCrit | 104.1375 | 0.01818 | 1283.7716 | 0.01708 | 204.2592 | 1283.7716 | 630.0071 | 1.1792 | 2.4586 | 0.57715 | 2.3585 | Flagged Warnings: | 1387.9091 | 0.0062284 | 431.6213 | 1387.9091 | 1002.823 | 0.86641 | 0 | 3.1922 | 0.63941 | 1.7328 | Flagged Warnings: | [15 empty] | 1.0835 | 1.0511 | 0.19683 | 0.011547 | 1.0235 | 1.0392 | 0.040692 | 0.0040147 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:44:16 PM | 49456 | 1095.3908 | 1053.4875 | 76.1207 | Spline | 0.64519 | 49456 | 0.99778 | 0.99775 | 0.9978
1 | 187-1-124-reg1-B--Spectrum--015 | 0.5787 | 0.0032288 | 0.0021963 | 0.0023667 | 104.1016 | 0.0045588 | 0.0025396 | 0.0037944 | 5.978 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53546 | 0.0075479 | 0.5787 | 0.0032288 | 0.58164 | 0.0028258 | SupCrit | 104.3344 | 0.0037944 | 1283.391 | 0.0033404 | 640.5185 | 1283.391 | 1844.191 | 1.0626 | 2.1747 | 0.66672 | 2.1252 | Flagged Warnings: | 1387.7255 | 0.0017998 | 1364.2107 | 1387.7254 | 3050.838 | 0.78842 | 0 | 3.3096 | 0.7745 | 1.5768 | Flagged Warnings: | 1263.0583 | 246.0297 | 2.607 | 1409.228 | 312.6726 | 1.7353 | [9 empty] | 1.0503 | 1.0253 | 0.10695 | 0.0033179 | 1.0169 | 1.0195 | 0.02667 | 0.0011559 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:52:50 PM | 49970 | [5 empty] | 49970 | 0.99777 | 0.99774 | 0.99779
2 | 187-1-124-reg1-C--Spectrum--019 | 0.56276 | 0.0064105 | 0.0059587 | 0.0023639 | 104.0684 | 0.012466 | 0.0025223 | 0.012235 | 5.97 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5223 | 0.0087082 | 0.56276 | 0.0064105 | 0.56478 | 0.0065836 | SupCrit | 104.3019 | 0.012235 | 1283.4502 | 0.011193 | 219.0272 | 1283.4502 | 631.653 | 1.0223 | 2.6828 | 0.76108 | 2.0446 | Flagged Warnings: | 1387.7521 | 0.0049421 | 474.5763 | 1387.7521 | 1072.0943 | 0.79329 | 0 | 3.0139 | 0.78302 | 1.5866 | Flagged Warnings: | [15 empty] | 1.087 | 1.0023 | 0.17779 | 0.0093349 | 1.0042 | 1.0268 | 0.0066246 | 0.0033432 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:00:28 PM | 50428 | [5 empty] | 50428 | 0.99776 | 0.99774 | 0.99779
3 | 187-1-124-reg1-D--Spectrum--021 | 0.57762 | 0.0036523 | 0.0027819 | 0.0023665 | 104.0994 | 0.0057773 | 0.0025121 | 0.0052143 | 5.962 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53457 | 0.0076677 | 0.57762 | 0.0036523 | 0.58051 | 0.0033473 | SupCrit | 104.3335 | 0.0052143 | 1283.3893 | 0.0049051 | 649.7867 | 1283.3894 | 1900.9962 | 1.078 | 3.0689 | 0.67054 | 2.1559 | Flagged Warnings: | 1387.7229 | 0.0017688 | 1389.0992 | 1387.7229 | 3138.5715 | 0.80811 | 0 | 3.1761 | 0.74068 | 1.6162 | Flagged Warnings: | 1263.0794 | 248.7742 | 2.5009 | 1409.2122 | 311.5252 | 1.6262 | [9 empty] | 1.0565 | 1.0202 | 0.1219 | 0.0033179 | 1.0104 | 1.0295 | 0.016766 | 0.0011635 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:06:06 PM | 50766 | [5 empty] | 50766 | 0.99776 | 0.99773 | 0.99778
4 | 187-1-124-reg1-E--Spectrum--025 | 0.45924 | 0.0090066 | 0.0086943 | 0.0023514 | 103.8463 | 0.019117 | 0.0024743 | 0.018999 | 5.936 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4343 | 0.0097648 | 0.45924 | 0.0090066 | 0.44595 | 0.010815 | SupCrit | 104.0817 | 0.018999 | 1283.6363 | 0.018178 | 257.1216 | 1283.6363 | 671.3652 | 0.93513 | 4.9736 | 0.73695 | 1.8703 | Flagged Warnings: | 1387.718 | 0.0055247 | 426.5299 | 1387.718 | 977.0255 | 0.79831 | 0 | 3.0211 | 0.80055 | 1.5966 | Flagged Warnings: | [15 empty] | 2.6978 | 2.7968 | 3.1754 | 0.0072738 | 1.0693 | 1.0174 | 0.11059 | 0.0037433 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:26:45 PM | 52005 | [5 empty] | 52005 | 0.99774 | 0.99771 | 0.99776
5 | 187-1-124-reg1-E--Spectrum--026 | 0.5716 | 0.0065524 | 0.0061105 | 0.0023654 | 104.0868 | 0.012728 | 0.002471 | 0.012514 | 5.933 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52961 | 0.0088387 | 0.5716 | 0.0065524 | 0.57417 | 0.0066641 | SupCrit | 104.3235 | 0.012514 | 1283.404 | 0.011453 | 208.086 | 1283.404 | 603.0662 | 1.0581 | 2.3884 | 0.69093 | 2.1163 | Flagged Warnings: | 1387.7275 | 0.0050426 | 452.8584 | 1387.7275 | 1025.3848 | 0.78872 | 0 | 3.019 | 0.80169 | 1.5774 | Flagged Warnings: | [15 empty] | 1.0389 | 1.0011 | 0.082318 | 0.01017 | 1.0541 | 1.0796 | 0.085359 | 0.0034833 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:35:15 PM | 52515 | [5 empty] | 52515 | 0.99773 | 0.99771 | 0.99776
6 | 187-1-124-reg1-F--Spectrum--028 | 0.57645 | 0.0033982 | 0.0024389 | 0.0023663 | 104.0969 | 0.0050679 | 0.0024596 | 0.0044411 | 5.917 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53361 | 0.0075774 | 0.57645 | 0.0033982 | 0.57929 | 0.0030429 | SupCrit | 104.335 | 0.0044411 | 1283.3899 | 0.0039948 | 962.4828 | 1283.39 | 2793.3811 | 1.0841 | 4.3146 | 0.6373 | 2.1681 | Flagged Warnings: | 1387.725 | 0.0019403 | 2065.9712 | 1387.725 | 4687.4065 | 0.80252 | 0 | 5.3304 | 0.76689 | 1.605 | Flagged Warnings: | 1263.1718 | 384.3299 | 2.615 | 1409.1099 | 499.9353 | 1.8073 | [9 empty] | 1.0172 | 1.0067 | 0.037382 | 0.0022526 | 1.0553 | 1.0804 | 0.08879 | 0.0007769 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:53:39 PM | 53619 | [5 empty] | 53619 | 0.99772 | 0.99769 | 0.99774
7 | 187-1-124-reg1-G--Spectrum--030 | 0.5596 | 0.003117 | 0.0020322 | 0.0023634 | 104.0618 | 0.004258 | 0.0024572 | 0.0034854 | 5.903 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51967 | 0.0073373 | 0.5596 | 0.003117 | 0.56139 | 0.0027366 | SupCrit | 104.3005 | 0.0034854 | 1283.456 | 0.0029989 | 879.6674 | 1283.456 | 2554.7654 | 1.0829 | 3.0305 | 0.64173 | 2.1657 | Flagged Warnings: | 1387.7566 | 0.0017763 | 1874.9918 | 1387.7566 | 4248.6601 | 0.80032 | 0 | 4.3295 | 0.77033 | 1.6006 | Flagged Warnings: | 1263.072 | 360.1331 | 2.6369 | 1409.1291 | 459.0284 | 1.7997 | [9 empty] | 1.0526 | 1.0493 | 0.11399 | 0.002462 | 1.0252 | 1.0403 | 0.040268 | 0.00085368 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:04:58 PM | 54298 | [5 empty] | 54298 | 0.99771 | 0.99769 | 0.99773
8 | 187-1-124-reg1-H--Spectrum--032 | 0.58483 | 0.0033576 | 0.0023806 | 0.0023678 | 104.1143 | 0.0049263 | 0.00246 | 0.0042779 | 5.897 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54049 | 0.0076424 | 0.58483 | 0.0033576 | 0.58803 | 0.0029663 | SupCrit | 104.3538 | 0.0042779 | 1283.3355 | 0.0038092 | 638.9315 | 1283.3356 | 1876.8456 | 1.0751 | 2.7562 | 0.68727 | 2.1501 | Flagged Warnings: | 1387.6894 | 0.0019469 | 1346.2744 | 1387.6894 | 3060.6036 | 0.8082 | 0 | 3.5389 | 0.7551 | 1.6164 | Flagged Warnings: | 1263.1811 | 260.7289 | 2.8022 | 1409.1156 | 341.6635 | 1.8182 | [9 empty] | 1.0802 | 1.0537 | 0.17243 | 0.0033652 | 1.0062 | 1.0236 | 0.0099983 | 0.0012006 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:13:22 PM | 54802 | [5 empty] | 54802 | 0.99771 | 0.99768 | 0.99773
9 | 187-1-124-reg1-H--Spectrum--033 | 0.5861 | 0.0033258 | 0.0023353 | 0.002368 | 104.1169 | 0.0048294 | 0.0024629 | 0.0041638 | 5.897 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54154 | 0.0076448 | 0.5861 | 0.0033258 | 0.58935 | 0.0029234 | SupCrit | 104.3568 | 0.0041638 | 1283.3417 | 0.0036899 | 682.915 | 1283.3418 | 1982.2786 | 1.0757 | 2.4332 | 0.65695 | 2.1513 | Flagged Warnings: | 1387.6986 | 0.0019291 | 1425.8375 | 1387.6986 | 3273.0372 | 0.8042 | 0 | 3.9397 | 0.7892 | 1.6084 | Flagged Warnings: | 1263.0285 | 271.6001 | 2.9158 | 1409.0906 | 343.8234 | 1.8656 | [9 empty] | 1.0317 | 1.0498 | 0.068187 | 0.0031502 | 1.0337 | 1.0087 | 0.054178 | 0.001128 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:19:57 PM | 55197 | [5 empty] | 55197 | 0.9977 | 0.99768 | 0.99773
10 | 187-1-124-reg2-A--Spectrum--036 | 0.53241 | 0.006691 | 0.0062613 | 0.0023593 | 104.0044 | 0.013294 | 0.0024701 | 0.013093 | 5.89 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.49695 | 0.00866 | 0.53241 | 0.006691 | 0.53163 | 0.0071739 | SupCrit | 104.2448 | 0.013093 | 1283.5393 | 0.011885 | 188.4233 | 1283.5393 | 538.1574 | 1.0904 | 2.4721 | 0.58087 | 2.1808 | Flagged Warnings: | 1387.7841 | 0.005494 | 381.2813 | 1387.7841 | 883.726 | 0.81549 | 0 | 2.6525 | 0.77854 | 1.631 | Flagged Warnings: | [15 empty] | 1.2235 | 1.1677 | 0.48751 | 0.011574 | 1.14 | 1.0863 | 0.22841 | 0.0042776 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:33:02 PM | 55982 | [5 empty] | 55982 | 0.99769 | 0.99767 | 0.99772
11 | 187-1-124-reg2-B--Spectrum--038 | 0.49469 | 0.006947 | 0.0065358 | 0.0023547 | 103.9236 | 0.014132 | 0.0024782 | 0.013945 | 5.895 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46493 | 0.0085832 | 0.49469 | 0.006947 | 0.4885 | 0.0078439 | SupCrit | 104.1643 | 0.013945 | 1283.7364 | 0.012813 | 211.3909 | 1283.7364 | 620.5864 | 1.0588 | 3.0677 | 0.72037 | 2.1175 | Flagged Warnings: | 1387.9006 | 0.0055042 | 443.6307 | 1387.9006 | 996.9804 | 0.79797 | 0 | 2.7841 | 0.75719 | 1.5959 | Flagged Warnings: | [15 empty] | 1.3067 | 1.1068 | 0.64943 | 0.010017 | 1.1502 | 1.1451 | 0.23975 | 0.0035974 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:42:05 PM | 56525 | 1095.4352 | 284.4139 | 32.7 | Spline | 0.17583 | 56525 | 0.99769 | 0.99767 | 0.99771
12 | 187-1-124-reg2-C--Spectrum--040 | 0.50581 | 0.017395 | 0.017234 | 0.0023559 | 103.9476 | 0.037066 | 0.0024954 | 0.037068 | 5.893 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47443 | 0.016107 | 0.50581 | 0.017395 | 0.50144 | 0.019979 | SupCrit | 104.1889 | 0.037068 | 1283.6963 | 0.035105 | 59.6888 | 1283.6963 | 175.0462 | 1.0301 | 1.6386 | 0.78247 | 2.0602 | Flagged Warnings: | 1387.8852 | 0.011901 | 125.6217 | 1387.8852 | 289.5812 | 0.83504 | 0 | 1.6588 | 0.70983 | 1.6701 | Flagged Warnings: | [15 empty] | 1.0838 | 1.0605 | 0.1726 | 0.034515 | 1.0496 | 1.0858 | 0.082814 | 0.013294 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:53:35 PM | 57215 | 1095.4352 | 316.7328 | 32.0843 | Spline | 0.68169 | 57215 | 0.99768 | 0.99766 | 0.99771
13 | FO-1--Spectrum--045 | 0.094637 | 0.0066385 | 0.0054418 | 0.0038022 | 102.9891 | 0.013733 | 0.0025639 | 0.013524 | 5.907 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.094637 | 0.0066385 | 0.097535 | 0.0059644 | -0.11153 | 0.01037 | SupCrit | 103.2297 | 0.013524 | 1285.9465 | 0.011669 | 107.4058 | 1285.9465 | 145.8814 | 0.52414 | 1.4809 | 0.55357 | 1.0483 | Flagged Warnings: | 1389.1762 | 0.0068358 | 186.769 | 1389.1762 | 215.7492 | 0.45159 | 0 | 1.4941 | 0.52038 | 0.90318 | Flagged Warnings: | [15 empty] | 1.0898 | 1.0714 | 0.094158 | 0.0097601 | 1.1456 | 1.2122 | 0.1315 | 0.0048358 | PseudoVoigtModel | PseudoVoigtModel | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 4:34:39 PM | 59679 | [5 empty] | 59679 | 0.99767 | 0.99764 | 0.99769