## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-125-reg1-A--Spectrum--012 | 0.5857 | 0.060061 | 0.060014 | 0.0023679 | 104.1161 | 0.12409 | 0.00035328 | 0.1244 | 6.039 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54121 | 0.049723 | 0.5857 | 0.060061 | 0.58893 | 0.062205 | SupCrit | 104.3758 | 0.1244 | 1283.0707 | 0.11915 | 15.5086 | 1283.0707 | 39.0782 | 1.1836 | 1.4922 | 1.3928e-07 | 2.3672 | Flagged Warnings: | 1387.4465 | 0.035766 | 40.3484 | 1387.4465 | 93.9691 | 0.80424 | 0 | 1.5769 | 0.82157 | 1.6085 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0432 | 1.0517 | 0.10236 | 0.15264 | 1.1264 | 1.1817 | 0.20325 | 0.039865 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:48:43 PM | 60523 | [5 empty] | 60523 | 0.99751 | 0.99751 | 0.99752
1 | 187-1-125-reg1-A--Spectrum--014 | 0.59863 | 0.0074682 | 0.0070821 | 0.0023703 | 104.1428 | 0.014555 | 0.00035002 | 0.014587 | 6.043 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55177 | 0.0094807 | 0.59863 | 0.0074682 | 0.60222 | 0.0073945 | SupCrit | 104.4023 | 0.014587 | 1283.0616 | 0.013007 | 160.901 | 1283.0616 | 480.4137 | 1.0718 | 2.1404 | 0.7315 | 2.1436 | Flagged Warnings: | 1387.4639 | 0.0066028 | 333.124 | 1387.4639 | 797.1834 | 0.85033 | 0 | 2.7185 | 0.75548 | 1.7007 | Flagged Warnings: | [15 empty] | 1.0047 | 1.0915 | 0.010017 | 0.013322 | 1.0318 | 1.0506 | 0.054097 | 0.0051052 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:59:36 PM | 61176 | [5 empty] | 61176 | 0.99751 | 0.99751 | 0.99752
2 | 187-1-125-reg1-A--Spectrum--015 | 0.60424 | 0.0069919 | 0.0065774 | 0.0023714 | 104.1543 | 0.01348 | 0.00034855 | 0.01351 | 6.047 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55633 | 0.0092728 | 0.60424 | 0.0069919 | 0.6079 | 0.0068436 | SupCrit | 104.4137 | 0.01351 | 1283.0597 | 0.011799 | 204.1318 | 1283.0597 | 626.4007 | 1.0932 | 2.7029 | 0.7495 | 2.1863 | Flagged Warnings: | 1387.4734 | 0.0065791 | 422.6505 | 1387.4734 | 1029.7513 | 0.85908 | 0 | 3.618 | 0.77353 | 1.7182 | Flagged Warnings: | [15 empty] | 1.0342 | 1.0881 | 0.074804 | 0.01071 | 1.0019 | 1.0241 | 0.0033298 | 0.0040652 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '47s'] | 5:06:14 PM | 61574 | 1097.1276 | 215.6393 | 16.3159 | Spline | 0.13021 | 61574 | 0.99752 | 0.99751 | 0.99752
3 | 187-1-125-reg1-B--Spectrum--017 | 0.50792 | 0.0068017 | 0.0063806 | 0.0023562 | 103.9521 | 0.013709 | 0.00034706 | 0.013739 | 6.048 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47623 | 0.0085743 | 0.50792 | 0.0068017 | 0.50389 | 0.0075374 | SupCrit | 104.211 | 0.013739 | 1283.4973 | 0.012094 | 150.0888 | 1283.4973 | 450.154 | 1.0476 | 1.9134 | 0.79539 | 2.0952 | Flagged Warnings: | 1387.7082 | 0.0065179 | 311.3878 | 1387.7082 | 720.0452 | 0.80785 | 0 | 2.5143 | 0.79493 | 1.6157 | Flagged Warnings: | [15 empty] | 1.1068 | 1.084 | 0.22373 | 0.01396 | 1.0564 | 1.0102 | 0.091073 | 0.0051887 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:10:48 PM | 61848 | 1095.4965 | 180.1569 | 15.2192 | Spline | 0.15395 | 61848 | 0.99752 | 0.99751 | 0.99752
4 | 187-1-125-reg2-A--Spectrum--021 | 0.53275 | 0.0031056 | 0.0020194 | 0.0023594 | 104.0051 | 0.004287 | 0.00034631 | 0.0042836 | 6.05 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.49723 | 0.0070836 | 0.53275 | 0.0031056 | 0.53201 | 0.0027958 | SupCrit | 104.264 | 0.0042836 | 1283.3866 | 0.003709 | 562.8163 | 1283.3866 | 1716.1521 | 1.128 | 2.6919 | 0.66138 | 2.2561 | Flagged Warnings: | 1387.6507 | 0.002143 | 1190.2407 | 1387.6507 | 2798.8316 | 0.84351 | 0 | 3.7453 | 0.73407 | 1.687 | Flagged Warnings: | 1263.3864 | 269.2575 | 2.6442 | 1409.1223 | 357.8769 | 1.9057 | [9 empty] | 1.0349 | 1.0718 | 0.078741 | 0.0040086 | 1.0735 | 1.0343 | 0.12394 | 0.0014174 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:18:41 PM | 62321 | [5 empty] | 62321 | 0.99752 | 0.99751 | 0.99752
5 | 187-1-125-reg2-B--Spectrum--023 | 0.53837 | 0.0045448 | 0.0038839 | 0.0023602 | 104.0171 | 0.0082228 | 0.00034608 | 0.0082359 | 6.053 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.50196 | 0.0076596 | 0.53837 | 0.0045448 | 0.53825 | 0.0046033 | SupCrit | 104.276 | 0.0082359 | 1283.3276 | 0.0078879 | 522.3617 | 1283.3276 | 1565.2014 | 1.0573 | 5.6945 | 0.77178 | 2.1146 | Flagged Warnings: | 1387.6036 | 0.0023688 | 1061.1011 | 1387.6036 | 2487.8795 | 0.83727 | 0 | 3.7567 | 0.74476 | 1.6745 | Flagged Warnings: |  |  |  | 1408.9842 | 318.7048 | 2.004 | [9 empty] | 1.0306 | 1.0056 | 0.064699 | 0.0040482 | 1.0262 | 1.0014 | 0.043801 | 0.0015781 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:23:03 PM | 62583 | [5 empty] | 62583 | 0.99752 | 0.99751 | 0.99752
6 | 187-1-125-reg2-C--Spectrum--025 | 0.48721 | 0.0062677 | 0.0058089 | 0.0023539 | 103.9074 | 0.012605 | 0.00034562 | 0.012632 | 6.053 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4585 | 0.0081438 | 0.48721 | 0.0062677 | 0.47969 | 0.0070804 | SupCrit | 104.166 | 0.012632 | 1283.5778 | 0.011182 | 204.2775 | 1283.5778 | 643.716 | 1.14 | 2.7132 | 0.71291 | 2.2801 | Flagged Warnings: | 1387.7438 | 0.0058767 | 425.901 | 1387.7438 | 1002.8856 | 0.83945 | 0 | 3.2478 | 0.74781 | 1.6789 | Flagged Warnings: | [15 empty] | 1.0343 | 1.0497 | 0.078271 | 0.011162 | 1.0631 | 1.0548 | 0.106 | 0.003942 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:28:02 PM | 62882 | [5 empty] | 62882 | 0.99752 | 0.99751 | 0.99752
7 | 187-1-125-reg2-D--Spectrum--027 | 0.49872 | 0.0063071 | 0.0058509 | 0.0023551 | 103.9323 | 0.012627 | 0.00034595 | 0.012653 | 6.058 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46837 | 0.0082376 | 0.49872 | 0.0063071 | 0.49322 | 0.0070254 | SupCrit | 104.191 | 0.012653 | 1283.482 | 0.011219 | 189.7937 | 1283.482 | 563.7105 | 1.0767 | 2.7266 | 0.70804 | 2.1534 | Flagged Warnings: | 1387.673 | 0.005851 | 388.6763 | 1387.673 | 898.5542 | 0.82382 | 0 | 2.7961 | 0.74878 | 1.6476 | Flagged Warnings: | [15 empty] | 1.1091 | 1.131 | 0.23498 | 0.011346 | 1.0776 | 1.0639 | 0.1278 | 0.0042391 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:34:46 PM | 63286 | [5 empty] | 63286 | 0.99752 | 0.99751 | 0.99752
8 | 187-1-126-reg1-A--Spectrum--036 | 0.2139 | 0.0080823 | 0.0077288 | 0.0023641 | 103.2772 | 0.018798 | 0.00034551 | 0.018842 | 6.06 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20878 | 0.0085324 | 0.2139 | 0.0080823 | 0.093328 | 0.012921 | SupCrit | 103.5343 | 0.018842 | 1285.0479 | 0.017221 | 135.676 | 1285.0479 | 282.4574 | 0.73564 | 2.8379 | 0.76853 | 1.4713 | Flagged Warnings: | 1388.5822 | 0.0076441 | 239.0941 | 1388.5822 | 398.3265 | 0.62598 | 0 | 2.4019 | 0.6207 | 1.252 | Flagged Warnings: | [15 empty] | 1.0441 | 1.0957 | 0.064859 | 0.010844 | 1.0245 | 1.0174 | 0.030618 | 0.0052362 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:48:09 PM | 64089 | 1093.4206 | 1646.1629 | 104.2404 | Spline | 2.418 | 64089 | 0.99752 | 0.99751 | 0.99752
9 | 187-1-126-reg2-A--Spectrum--038 | 0.24565 | 0.0058077 | 0.0053072 | 0.0023586 | 103.354 | 0.012767 | 0.00034745 | 0.012794 | 6.057 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23921 | 0.0066735 | 0.24565 | 0.0058077 | 0.14495 | 0.0086684 | SupCrit | 103.6114 | 0.012794 | 1284.8257 | 0.011381 | 179.0731 | 1284.8257 | 404.3817 | 0.79389 | 2.6185 | 0.78038 | 1.5878 | Flagged Warnings: | 1388.4371 | 0.0058448 | 340.7444 | 1388.4371 | 600.3101 | 0.65111 | 0 | 2.6623 | 0.6614 | 1.3022 | Flagged Warnings: | [15 empty] | 1.1064 | 1.1161 | 0.16899 | 0.0088667 | 1.1317 | 1.0782 | 0.17153 | 0.0038217 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:55:37 PM | 64537 | 1092.5803 | 276.051 | 19.1383 | Spline | 0.27476 | 64537 | 0.99752 | 0.99751 | 0.99752
10 | 187-1-126-reg2-B--Spectrum--040 | 0.25954 | 0.003712 | 0.002868 | 0.0023566 | 103.3873 | 0.0068645 | 0.00035158 | 0.0068725 | 6.06 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25242 | 0.0052116 | 0.25954 | 0.003712 | 0.16696 | 0.0048561 | SupCrit | 103.6451 | 0.0068725 | 1284.7543 | 0.0065787 | 421.0618 | 1284.7543 | 970.8607 | 0.84338 | 3.7635 | 0.68652 | 1.6868 | Flagged Warnings: | 1388.3995 | 0.0019879 | 843.0021 | 1388.3994 | 1491.8148 | 0.6539 | 0 | 2.2693 | 0.66212 | 1.3078 | Flagged Warnings: |  |  |  | 1409.8123 | 151.7842 | 0.95351 | [9 empty] | 1.006 | 1.0828 | 0.010141 | 0.004006 | 1.1471 | 1.1118 | 0.19232 | 0.0015514 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:08:20 PM | 65300 | [5 empty] | 65300 | 0.99751 | 0.99751 | 0.99752
11 | 187-1-126-reg3-A--Spectrum--042 | 0.276 | 0.0039825 | 0.0032119 | 0.0023545 | 103.4266 | 0.0076402 | 0.00035381 | 0.007651 | 6.059 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26798 | 0.0054753 | 0.276 | 0.0039825 | 0.19259 | 0.0052685 | SupCrit | 103.6846 | 0.007651 | 1284.6432 | 0.0074001 | 426.1803 | 1284.6432 | 1026.3434 | 0.87874 | 4.4649 | 0.69237 | 1.7575 | Flagged Warnings: | 1388.3278 | 0.0019436 | 871.1221 | 1388.3278 | 1594.389 | 0.66924 | 0 | 2.4301 | 0.68766 | 1.3385 | Flagged Warnings: |  |  |  | 1409.8317 | 169.2248 | 1.166 | [9 empty] | 1.0703 | 1.1493 | 0.12352 | 0.0041238 | 1.1176 | 1.1101 | 0.15747 | 0.0015365 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:13:38 PM | 65618 | 1095.4965 | 352.2859 | 24.2399 | Spline | 0.13442 | 65618 | 0.99751 | 0.99751 | 0.99751
12 | 187-1-126-reg3-B--Spectrum--044 | 0.27849 | 0.0047414 | 0.0041156 | 0.0023542 | 103.4325 | 0.0097806 | 0.00035676 | 0.0097985 | 6.06 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27032 | 0.006 | 0.27849 | 0.0047414 | 0.19642 | 0.0065783 | SupCrit | 103.6907 | 0.0097985 | 1284.6422 | 0.0087811 | 252.3326 | 1284.6422 | 602.0388 | 0.88814 | 3.0001 | 0.64376 | 1.7763 | Flagged Warnings: | 1388.3329 | 0.0043477 | 519.8253 | 1388.3329 | 951.599 | 0.67463 | 0 | 2.8305 | 0.66834 | 1.3493 | Flagged Warnings: | [15 empty] | 1.045 | 1.1858 | 0.07995 | 0.0070395 | 1.0905 | 1.0827 | 0.12204 | 0.0025956 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:20:12 PM | 66012 | [5 empty] | 66012 | 0.99751 | 0.99751 | 0.99751
13 | 187-1-126-reg3-C--Spectrum--046 | 0.30097 | 0.0064978 | 0.0060572 | 0.0023519 | 103.4857 | 0.014269 | 0.00036327 | 0.0143 | 6.061 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2914 | 0.0073854 | 0.30097 | 0.0064978 | 0.23055 | 0.009245 | SupCrit | 103.7445 | 0.0143 | 1284.5657 | 0.012846 | 130.698 | 1284.5657 | 311.577 | 0.86997 | 1.8422 | 0.69211 | 1.7399 | Flagged Warnings: | 1388.3102 | 0.0062835 | 260.8309 | 1388.3102 | 482.7097 | 0.69277 | 0 | 2.1595 | 0.62995 | 1.3855 | Flagged Warnings: | [15 empty] | 1.0218 | 1.1017 | 0.037899 | 0.013313 | 1.0167 | 1.0335 | 0.023092 | 0.005312 | PseudoVoigtModel | PseudoVoigtModel | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:32:17 PM | 66737 | [5 empty] | 66737 | 0.99751 | 0.9975 | 0.99751