## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-126-reg1-A--Spectrum--015 | 0.38408 | 0.0055622 | 0.0050422 | 0.0023484 | 103.6781 | 0.011472 | 0.0013621 | 0.011419 | 6 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36767 | 0.0071036 | 0.38408 | 0.0055622 | 0.34897 | 0.0070375 | SupCrit | 103.933 | 0.011419 | 1284.0911 | 0.010141 | 280.6795 | 1284.0911 | 818.5401 | 1.0573 | 3.5126 | 0.70791 | 2.1145 | Flagged Warnings: | 1388.0241 | 0.0052479 | 578.1734 | 1388.0241 | 1269.1165 | 0.79623 | 0 | 4.077 | 0.70656 | 1.5925 | Flagged Warnings: | [15 empty] | 1.1475 | 1.1422 | 0.3118 | 0.0075335 | 1.0343 | 1.0811 | 0.054677 | 0.0027543 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 12:29:57 PM | 44997 | [5 empty] | 44997 | 0.99755 | 0.99754 | 0.99756
1 | 187-1-126-reg1-B--Spectrum--018 | 0.34699 | 0.0083453 | 0.0080078 | 0.0023491 | 103.5931 | 0.018513 | 0.0013591 | 0.018508 | 5.989 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33396 | 0.0089518 | 0.34699 | 0.0083453 | 0.29761 | 0.01148 | SupCrit | 103.8479 | 0.018508 | 1284.2966 | 0.017209 | 110.2125 | 1284.2966 | 294.222 | 1.0361 | 2.2282 | 0.5389 | 2.0723 | Flagged Warnings: | 1388.1445 | 0.0068129 | 240.7532 | 1388.1445 | 482.4866 | 0.73577 | 0 | 2.1375 | 0.6775 | 1.4715 | Flagged Warnings: | [15 empty] | 1.2765 | 1.3029 | 0.57301 | 0.018802 | 1.0068 | 1.0576 | 0.010056 | 0.0061123 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 12:39:38 PM | 45578 | [5 empty] | 45578 | 0.99755 | 0.99753 | 0.99756
2 | 187-1-126-reg1-C--Spectrum--022 | 0.33222 | 0.0090022 | 0.0086901 | 0.0023497 | 103.5588 | 0.020214 | 0.0013576 | 0.020218 | 5.987 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32039 | 0.009445 | 0.33222 | 0.0090022 | 0.27649 | 0.012659 | SupCrit | 103.8137 | 0.020218 | 1284.3262 | 0.018807 | 87.8925 | 1284.3262 | 235.5796 | 1.0105 | 1.6829 | 0.61243 | 2.0209 | Flagged Warnings: | 1388.1399 | 0.0074214 | 183.7481 | 1388.1399 | 367.1353 | 0.73288 | 0 | 1.7228 | 0.67975 | 1.4658 | Flagged Warnings: | [15 empty] | 1.4762 | 1.2713 | 0.96234 | 0.022993 | 1.0711 | 1.0298 | 0.1042 | 0.007977 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 12:46:14 PM | 45974 | [5 empty] | 45974 | 0.99754 | 0.99753 | 0.99756
3 | 187-1-126-reg1-D--Spectrum--025 | 0.38071 | 0.014856 | 0.01467 | 0.0023484 | 103.6705 | 0.033425 | 0.0013574 | 0.03348 | 5.998 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36463 | 0.014314 | 0.38071 | 0.014856 | 0.3444 | 0.020007 | SupCrit | 103.9259 | 0.03348 | 1284.1039 | 0.032102 | 52.2063 | 1284.1039 | 151.656 | 1.122 | 1.5429 | 0.55126 | 2.2441 | Flagged Warnings: | 1388.0298 | 0.0095032 | 118.2122 | 1388.0298 | 242.8616 | 0.71785 | 0 | 1.2214 | 0.79459 | 1.4357 | Flagged Warnings: | [15 empty] | 1.614 | 1.3758 | 1.3779 | 0.042985 | 1.0335 | 1.0739 | 0.048086 | 0.012145 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 12:57:09 PM | 46629 | [5 empty] | 46629 | 0.99754 | 0.99753 | 0.99756
4 | 187-1-126-reg1-E--Spectrum--028 | 0.38078 | 0.0043733 | 0.0036892 | 0.0023484 | 103.6706 | 0.0084059 | 0.0013565 | 0.0083162 | 6.005 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36469 | 0.0063693 | 0.38078 | 0.0043733 | 0.3445 | 0.0053023 | SupCrit | 103.9262 | 0.0083162 | 1284.0873 | 0.0079471 | 463.2851 | 1284.0873 | 1348.7201 | 1.081 | 5.119 | 0.64982 | 2.162 | Flagged Warnings: | 1388.0135 | 0.00245 | 983.4792 | 1388.0135 | 2089.0349 | 0.78041 | 0 | 3.3746 | 0.67638 | 1.5608 | Flagged Warnings: |  |  |  | 1409.3803 | 240.551 | 1.4766 | [9 empty] | 1.1333 | 1.1358 | 0.28827 | 0.0046668 | 1.0484 | 1.0887 | 0.075468 | 0.001587 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 1:04:14 PM | 47054 | [5 empty] | 47054 | 0.99754 | 0.99753 | 0.99755
5 | 187-1-126-reg1-F--Spectrum--031 | 0.39706 | 0.0045331 | 0.0038773 | 0.0023485 | 103.7076 | 0.0087711 | 0.0013564 | 0.0086869 | 6.012 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37934 | 0.0065715 | 0.39706 | 0.0045331 | 0.3664 | 0.0054401 | SupCrit | 103.9633 | 0.0086869 | 1284.0362 | 0.0082975 | 389.4991 | 1284.0362 | 1120.2725 | 1.0866 | 4.4828 | 0.6071 | 2.1732 | Flagged Warnings: | 1387.9996 | 0.002572 | 833.0473 | 1387.9995 | 1788.6294 | 0.77373 | 0 | 2.6037 | 0.72277 | 1.5475 | Flagged Warnings: |  |  |  | 1409.408 | 186.235 | 1.3496 | [9 empty] | 1.1564 | 1.1501 | 0.33991 | 0.0055796 | 1.0625 | 1.1078 | 0.096716 | 0.0018576 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 1:09:11 PM | 47351 | [5 empty] | 47351 | 0.99754 | 0.99753 | 0.99755
6 | 187-1-126-reg1-G--Spectrum--035 | 0.35278 | 0.0046763 | 0.0040436 | 0.0023489 | 103.6064 | 0.0093252 | 0.0013538 | 0.0092492 | 6.032 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33926 | 0.0063636 | 0.35278 | 0.0046763 | 0.30578 | 0.00595 | SupCrit | 103.8623 | 0.0092492 | 1284.2337 | 0.0088141 | 322.1741 | 1284.2337 | 892.4664 | 1.023 | 3.7742 | 0.66335 | 2.0459 | Flagged Warnings: | 1388.096 | 0.0028033 | 657.5387 | 1388.096 | 1378.5714 | 0.7536 | 0 | 2.6117 | 0.72882 | 1.5072 | Flagged Warnings: |  |  |  | 1409.572 | 152.3117 | 1.3535 | [9 empty] | 1.3417 | 1.3217 | 0.69909 | 0.0063504 | 1.0339 | 1.0369 | 0.051034 | 0.0022922 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 1:25:53 PM | 48353 | [5 empty] | 48353 | 0.99754 | 0.99752 | 0.99755
7 | 187-1-126-reg1-H--Spectrum--039 | 0.42376 | 0.0044658 | 0.0037979 | 0.0023493 | 103.7676 | 0.0084887 | 0.0013557 | 0.0084005 | 6.063 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40313 | 0.0067266 | 0.42376 | 0.0044658 | 0.40134 | 0.0051754 | SupCrit | 104.0246 | 0.0084005 | 1283.8963 | 0.0080774 | 454.4503 | 1283.8963 | 1371.0091 | 1.1336 | 4.9682 | 0.62053 | 2.2673 | Flagged Warnings: | 1387.9209 | 0.0023075 | 991.2809 | 1387.9209 | 2184.963 | 0.78002 | 0 | 3.3701 | 0.76569 | 1.56 | Flagged Warnings: |  |  |  | 1409.4475 | 245.575 | 1.5977 | [9 empty] | 1.1597 | 1.1445 | 0.36218 | 0.004989 | 1.1114 | 1.0876 | 0.17373 | 0.0015738 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:06:59 PM | 50819 | [5 empty] | 50819 | 0.99753 | 0.99752 | 0.99754
8 | 187-1-126-reg1-I--Spectrum--042 | 0.38401 | 0.0083558 | 0.008019 | 0.0023484 | 103.678 | 0.018245 | 0.0013552 | 0.01824 | 6.07 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3676 | 0.0090586 | 0.38401 | 0.0083558 | 0.34888 | 0.010988 | SupCrit | 103.9349 | 0.01824 | 1284.0932 | 0.018084 | 453.5229 | 1284.0932 | 1301.9614 | 1.0792 | 4.5688 | 0.61954 | 2.1583 | Flagged Warnings: | 1388.0282 | 0.0023777 | 971.0307 | 1388.0281 | 2046.492 | 0.77986 | 0 | 2.9868 | 0.65893 | 1.5597 | Flagged Warnings: |  |  |  | 1409.4193 | 225.7618 | 1.3774 | [9 empty] | 1.1379 | 1.1916 | 0.29758 | 0.004759 | 1.0459 | 1.0862 | 0.071516 | 0.0016063 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:17:31 PM | 51451 | [5 empty] | 51451 | 0.99753 | 0.99751 | 0.99754
9 | 187-1-126-reg1-J--Spectrum--045 | 0.37209 | 0.0048926 | 0.0042921 | 0.0023485 | 103.6508 | 0.0098166 | 0.0013553 | 0.0097467 | 6.076 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35684 | 0.0066155 | 0.37209 | 0.0048926 | 0.33264 | 0.0061449 | SupCrit | 103.9078 | 0.0097467 | 1284.177 | 0.0093006 | 256.1625 | 1284.177 | 733.7779 | 1.0714 | 3.0701 | 0.63196 | 2.1428 | Flagged Warnings: | 1388.0848 | 0.0029152 | 547.7446 | 1388.0848 | 1144.1773 | 0.77811 | 0 | 2.0585 | 0.64268 | 1.5562 | Flagged Warnings: |  |  |  | 1409.5268 | 132.9334 | 1.4144 | [9 empty] | 1.1889 | 1.2164 | 0.4048 | 0.0083652 | 1.0393 | 1.0905 | 0.061161 | 0.0028411 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:22:03 PM | 51723 | [5 empty] | 51723 | 0.99753 | 0.99751 | 0.99754
10 | 187-1-126-reg2-A--Spectrum--048 | 0.30733 | 0.0068596 | 0.006444 | 0.0023514 | 103.5006 | 0.015142 | 0.0013541 | 0.015119 | 6.079 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29733 | 0.0076847 | 0.30733 | 0.0068596 | 0.24004 | 0.0097418 | SupCrit | 103.7573 | 0.015119 | 1284.5309 | 0.014414 | 188.4764 | 1284.5309 | 605.9896 | 1.2566 | 3.2223 | 0.5211 | 2.5131 | Flagged Warnings: | 1388.2883 | 0.004564 | 419.6417 | 1388.2882 | 927.2205 | 0.83281 | 0 | 2.5104 | 0.61352 | 1.6656 | Flagged Warnings: |  |  |  | 1409.8442 | 117.6698 | 1.2069 | [9 empty] | 1.5191 | 1.4927 | 1.3045 | 0.013334 | 1.1905 | 1.2181 | 0.31726 | 0.0039691 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:29:24 PM | 52164 | [5 empty] | 52164 | 0.99753 | 0.99751 | 0.99754
11 | 187-1-126-reg2-B--Spectrum--052 | 0.2269 | 0.0077563 | 0.007388 | 0.0023617 | 103.3087 | 0.01789 | 0.0013542 | 0.017883 | 6.083 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22128 | 0.0082579 | 0.2269 | 0.0077563 | 0.11469 | 0.012189 | SupCrit | 103.5652 | 0.017883 | 1284.8981 | 0.016048 | 100.7075 | 1284.8981 | 259.7846 | 0.92406 | 1.79 | 0.73641 | 1.8481 | Flagged Warnings: | 1388.4633 | 0.0078898 | 199.5175 | 1388.4633 | 380.4262 | 0.68036 | 0 | 1.949 | 0.74566 | 1.3607 | Flagged Warnings: | [15 empty] | 1.161 | 1.1604 | 0.29761 | 0.018351 | 1.1289 | 1.1259 | 0.17535 | 0.00682 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:49:00 PM | 53340 | [5 empty] | 53340 | 0.99752 | 0.99751 | 0.99754
12 | 187-1-126-reg2-C--Spectrum--055 | 0.29588 | 0.0054597 | 0.004927 | 0.0023524 | 103.4737 | 0.01163 | 0.0013574 | 0.011579 | 6.084 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28665 | 0.0065907 | 0.29588 | 0.0054597 | 0.22291 | 0.0076347 | SupCrit | 103.7307 | 0.011579 | 1284.5626 | 0.010496 | 171.2878 | 1284.5626 | 439.6154 | 0.96482 | 2.0887 | 0.61948 | 1.9296 | Flagged Warnings: | 1388.2933 | 0.0048897 | 352.9582 | 1388.2933 | 680.0968 | 0.70157 | 0 | 2.1091 | 0.69755 | 1.4031 | Flagged Warnings: | [15 empty] | 1.0122 | 1.0983 | 0.023573 | 0.011265 | 1.0925 | 1.1157 | 0.12973 | 0.0039754 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:55:01 PM | 53701 | [5 empty] | 53701 | 0.99752 | 0.99751 | 0.99754
13 | 187-1-126-reg3-A--Spectrum--058 | 0.27337 | 0.0041087 | 0.003367 | 0.0023548 | 103.4203 | 0.0080171 | 0.0013597 | 0.0079206 | 6.088 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2655 | 0.0055436 | 0.27337 | 0.0041087 | 0.18853 | 0.0055097 | SupCrit | 103.6774 | 0.0079206 | 1284.696 | 0.0075769 | 291.353 | 1284.696 | 713.0428 | 0.87841 | 3.0407 | 0.73176 | 1.7568 | Flagged Warnings: | 1388.3734 | 0.0023078 | 575.4637 | 1388.3733 | 1083.2629 | 0.66633 | 0 | 2.012 | 0.76484 | 1.3327 | Flagged Warnings: |  |  |  | 1409.8817 | 120.7864 | 1.1392 | [9 empty] | 1.1204 | 1.1667 | 0.21154 | 0.0060299 | 1.2129 | 1.1701 | 0.28377 | 0.0023158 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 3:10:07 PM | 54607 | [5 empty] | 54607 | 0.99752 | 0.99751 | 0.99753
14 | 187-1-126-reg3-B--Spectrum--061 | 0.31292 | 0.0090754 | 0.0087656 | 0.002351 | 103.5138 | 0.020551 | 0.0013654 | 0.020557 | 6.088 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30253 | 0.0094763 | 0.31292 | 0.0090754 | 0.24832 | 0.013064 | SupCrit | 103.7713 | 0.020557 | 1284.4794 | 0.018952 | 69.8941 | 1284.4794 | 174.7893 | 0.92146 | 1.3695 | 0.6687 | 1.8429 | Flagged Warnings: | 1388.2507 | 0.0079621 | 135.6755 | 1388.2507 | 256.1304 | 0.68273 | 0 | 1.3539 | 0.71375 | 1.3655 | Flagged Warnings: | [15 empty] | 1.2955 | 1.2877 | 0.5445 | 0.026367 | 1.0918 | 1.1331 | 0.12536 | 0.010064 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 3:28:29 PM | 55709 | 1095.4471 | 246.5579 | 28.588 | Spline | 0.57217 | 55709 | 0.99752 | 0.99751 | 0.99753
15 | 187-1-126-reg3-C--Spectrum--065 | 0.3833 | 0.0060999 | 0.0056297 | 0.0023484 | 103.6764 | 0.012813 | 0.0013846 | 0.01277 | 6.091 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36696 | 0.0074497 | 0.3833 | 0.0060999 | 0.34791 | 0.007818 | SupCrit | 103.9348 | 0.01277 | 1284.0919 | 0.01145 | 156.8914 | 1284.0919 | 443.6464 | 1.0162 | 2.0584 | 0.72891 | 2.0323 | Flagged Warnings: | 1388.0267 | 0.0056532 | 329.0569 | 1388.0267 | 700.3736 | 0.76822 | 0 | 2.254 | 0.71848 | 1.5364 | Flagged Warnings: | [15 empty] | 1.0185 | 1.0904 | 0.037636 | 0.012954 | 1.0632 | 1.1266 | 0.097112 | 0.0046692 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 4:19:34 PM | 58774 | [5 empty] | 58774 | 0.99751 | 0.9975 | 0.99753
16 | 187-1-126-reg3-D--Spectrum--068 | 0.29672 | 0.0098812 | 0.0095971 | 0.0023523 | 103.4756 | 0.022646 | 0.0013844 | 0.02266 | 6.09 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28743 | 0.010138 | 0.29672 | 0.0098812 | 0.22417 | 0.014557 | SupCrit | 103.7336 | 0.02266 | 1284.5831 | 0.021258 | 78.9728 | 1284.5831 | 202.1289 | 0.93827 | 1.4817 | 0.68116 | 1.8765 | Flagged Warnings: | 1388.3167 | 0.0078486 | 165.2614 | 1388.3167 | 319.1759 | 0.70551 | 0 | 1.397 | 0.68966 | 1.411 | Flagged Warnings: | [15 empty] | 1.0911 | 1.1634 | 0.17092 | 0.023762 | 1.0235 | 1.0712 | 0.033123 | 0.0085382 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:25:42 PM | 59142 | [5 empty] | 59142 | 0.99751 | 0.9975 | 0.99753
17 | 187-1-126-reg4-A--Spectrum--072 | 0.25927 | 0.0031048 | 0.0020213 | 0.0023566 | 103.3866 | 0.0048384 | 0.0013862 | 0.0046471 | 6.089 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25216 | 0.0048396 | 0.25927 | 0.0031048 | 0.16653 | 0.0036547 | SupCrit | 103.6444 | 0.0046471 | 1284.767 | 0 | 251.2189 | 1284.767 | 595.7612 | 0.86608 | 2.9798 | 0.69026 | 1.7322 | Flagged Warnings: | 1388.4114 | 0.0046471 | 497.3065 | 1388.4114 | 903.9992 | 0.66902 | 0 | 3.0531 | 0.67155 | 1.338 | Flagged Warnings: | [15 empty] | 1.1723 | 1.2009 | 0.2984 | 0.006895 | 1.0895 | 1.0459 | 0.11977 | 0.0026906 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:32:56 PM | 59576 | [5 empty] | 59576 | 0.99751 | 0.9975 | 0.99753
18 | 187-1-126-reg4-B--Spectrum--075 | 0.27711 | 0.0387 | 0.038629 | 0.0023544 | 103.4292 | 0.091826 | 0.0013898 | 0.092044 | 6.095 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26903 | 0.036671 | 0.27711 | 0.0387 | 0.19431 | 0.05952 | SupCrit | 103.6872 | 0.092044 | 1284.6461 | 0.091917 | 194.587 | 1284.6461 | 486.4049 | 0.91013 | 2.7986 | 0.69757 | 1.8203 | Flagged Warnings: | 1388.3332 | 0.0048433 | 411.72 | 1388.3332 | 770.317 | 0.66588 | 0 | 2.634 | 0.75173 | 1.3318 | Flagged Warnings: | [15 empty] | 1.3444 | 1.4154 | 0.62692 | 0.0093545 | 1.3444 | 1.4154 | 0.45867 | 0.0032346 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:39:51 PM | 59991 | [5 empty] | 59991 | 0.99751 | 0.9975 | 0.99753
19 | 187-1-126-reg4-B--Spectrum--076 | 0.27834 | 0.0049769 | 0.0043848 | 0.0023542 | 103.4321 | 0.010421 | 0.0013946 | 0.010353 | 6.096 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27018 | 0.0061661 | 0.27834 | 0.0049769 | 0.19619 | 0.0069788 | SupCrit | 103.6901 | 0.010353 | 1284.6559 | 0.0091037 | 206.1644 | 1284.6559 | 498.5892 | 0.88048 | 2.3048 | 0.69775 | 1.761 | Flagged Warnings: | 1388.3461 | 0.0049302 | 426.2549 | 1388.3461 | 804.884 | 0.67899 | 0 | 2.6853 | 0.72741 | 1.358 | Flagged Warnings: | [15 empty] | 1.0098 | 1.1222 | 0.017197 | 0.0085415 | 1.0741 | 1.0757 | 0.10059 | 0.0031858 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:50:13 PM | 60613 | [5 empty] | 60613 | 0.99751 | 0.9975 | 0.99752
20 | 187-1-126-reg4-C--Spectrum--079 | 0.31735 | 0.0047963 | 0.0041808 | 0.0023506 | 103.5241 | 0.0097845 | 0.0013994 | 0.0097081 | 6.097 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30664 | 0.0062344 | 0.31735 | 0.0047963 | 0.25484 | 0.0063896 | SupCrit | 103.7824 | 0.0097081 | 1284.4443 | 0.0093539 | 345.7362 | 1284.4443 | 933.3572 | 0.99722 | 4.3311 | 0.66262 | 1.9944 | Flagged Warnings: | 1388.2268 | 0.0025982 | 735.4987 | 1388.2268 | 1452.2171 | 0.71725 | 0 | 2.7048 | 0.70351 | 1.4345 | Flagged Warnings: |  |  |  | 1409.5736 | 157.127 | 1.1789 | [9 empty] | 1.213 | 1.2343 | 0.42474 | 0.0057687 | 1.0278 | 1.0722 | 0.03994 | 0.0019504 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:57:28 PM | 61048 | [5 empty] | 61048 | 0.99751 | 0.9975 | 0.99752
21 | 187-1-126-reg5-A--Spectrum--083 | 0.39037 | 0.0047284 | 0.0041039 | 0.0023485 | 103.6924 | 0.0093114 | 0.001409 | 0.0092272 | 6.102 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37333 | 0.0066362 | 0.39037 | 0.0047284 | 0.35745 | 0.0057724 | SupCrit | 103.9512 | 0.0092272 | 1284.0946 | 0.008756 | 416.9893 | 1284.0946 | 1229.4356 | 1.0787 | 4.9101 | 0.6859 | 2.1574 | Flagged Warnings: | 1388.0459 | 0.0029109 | 878.085 | 1388.0458 | 1877.8774 | 0.78535 | 0 | 3.2397 | 0.67742 | 1.5707 | Flagged Warnings: |  |  |  | 1409.489 | 196.8939 | 1.3212 | [9 empty] | 1.0047 | 1.0887 | 0.01005 | 0.0051738 | 1.0325 | 1.0865 | 0.050997 | 0.0017888 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 5:11:54 PM | 61914 | [5 empty] | 61914 | 0.99751 | 0.9975 | 0.99752
22 | 187-1-126-reg5-B--Spectrum--089 | 0.35283 | 0.0048574 | 0.0042518 | 0.0023489 | 103.6066 | 0.0098051 | 0.0014699 | 0.0097186 | 6.087 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33931 | 0.0064762 | 0.35283 | 0.0048574 | 0.30586 | 0.0062303 | SupCrit | 103.8653 | 0.0097186 | 1284.2499 | 0.0092812 | 331.4205 | 1284.2499 | 941.3924 | 1.0342 | 4.3941 | 0.69767 | 2.0684 | Flagged Warnings: | 1388.1152 | 0.0028827 | 699.6285 | 1388.1151 | 1466.5287 | 0.74857 | 0 | 2.7545 | 0.74437 | 1.4971 | Flagged Warnings: |  |  |  | 1409.4892 | 178.3595 | 1.6343 | [9 empty] | 1.2014 | 1.2647 | 0.41665 | 0.0062409 | 1.0203 | 1.0821 | 0.030416 | 0.0021399 | PseudoVoigtModel | PseudoVoigtModel | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 6:49:19 PM | 67759 | 1095.4471 | 514.2565 | 39.9568 | Spline | 0.21357 | 67759 | 0.99751 | 0.99749 | 0.99752