## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-102-A--Spectrum--019 | 0.30622 | 0.0043745 | 0.0036888 | 0.0023515 | 103.498 | 0.0086718 | 0.00050626 | 0.0086754 | 6.018 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2963 | 0.0058972 | 0.30622 | 0.0043745 | 0.23839 | 0.0057699 | SupCrit | 103.7181 | 0.0086754 | 1284.8353 | 0.0081644 | 355.214 | 1284.8353 | 885.3221 | 0.9111 | 3.7896 | 0.68795 | 1.8222 | Flagged Warnings: | 1388.5534 | 0.0029334 | 706.1251 | 1388.5534 | 1334.6619 | 0.68003 | 0 | 2.8713 | 0.72652 | 1.3601 | Flagged Warnings: |  |  |  | 1409.9205 | 142.4622 | 1.2377 | [9 empty] | 1.2563 | 1.2819 | 0.46703 | 0.0051299 | 1.0225 | 1.0703 | 0.030601 | 0.0019261 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 12:04:42 PM | 43482 | 1097.1276 | 342.705 | 25.5244 | Spline | 0.15437 | 43482 | 0.99788 | 0.99787 | 0.99788
1 | 187-1-102-A--Spectrum--020 | 0.29287 | 0.0046503 | 0.0040113 | 0.0023527 | 103.4666 | 0.0094798 | 0.00050479 | 0.0094865 | 5.986 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28383 | 0.0060077 | 0.29287 | 0.0046503 | 0.21837 | 0.0063223 | SupCrit | 103.687 | 0.0094865 | 1284.8681 | 0.0090253 | 361.4461 | 1284.8681 | 911.7268 | 0.91099 | 4.5074 | 0.71704 | 1.822 | Flagged Warnings: | 1388.5552 | 0.0029221 | 733.6494 | 1388.5551 | 1377.7835 | 0.67555 | 0 | 2.8917 | 0.72692 | 1.3511 | Flagged Warnings: |  |  |  | 1409.8985 | 148.0005 | 1.2114 | [9 empty] | 1.3176 | 1.3646 | 0.57865 | 0.0050408 | 1.0278 | 1.1048 | 0.03753 | 0.0018416 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 12:11:49 PM | 43909 | 1097.1771 | 210.3245 | 17.8034 | Spline | 0.091864 | 43909 | 0.99787 | 0.99787 | 0.99788
2 | 187-1-102-A--Spectrum--021 | 0.29757 | 0.0044463 | 0.0037731 | 0.0023523 | 103.4776 | 0.0089006 | 0.00050394 | 0.0089053 | 5.969 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28822 | 0.0058959 | 0.29757 | 0.0044463 | 0.22544 | 0.0059466 | SupCrit | 103.6984 | 0.0089053 | 1284.8571 | 0.0082735 | 377.8573 | 1284.8571 | 957.0431 | 0.92256 | 4.1732 | 0.69664 | 1.8451 | Flagged Warnings: | 1388.5556 | 0.0032946 | 770.4214 | 1388.5555 | 1442.9912 | 0.68215 | 0 | 3.1242 | 0.69727 | 1.3643 | Flagged Warnings: |  |  |  | 1409.9314 | 153.1595 | 1.1704 | [9 empty] | 1.365 | 1.3369 | 0.67349 | 0.0048831 | 1.0324 | 1.0876 | 0.044229 | 0.0017709 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 12:16:56 PM | 44216 | 1097.1276 | 178.5378 | 17.5231 | Spline | 0.07439 | 44216 | 0.99787 | 0.99787 | 0.99788
3 | 187-1-102-B--Spectrum--025 | 0.36409 | 0.017305 | 0.017145 | 0.0023486 | 103.6325 | 0.039347 | 0.00050233 | 0.039428 | 5.988 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34957 | 0.016461 | 0.36409 | 0.017305 | 0.32159 | 0.023847 | SupCrit | 103.8544 | 0.039428 | 1284.4923 | 0.038517 | 71.6758 | 1284.4923 | 192.4123 | 1.0021 | 1.4708 | 0.63694 | 2.0041 | Flagged Warnings: | 1388.3467 | 0.0084262 | 149.9496 | 1388.3467 | 305.3629 | 0.7092 | 0 | 1.407 | 0.80222 | 1.4184 | Flagged Warnings: | [15 empty] | 1.0099 | 1.0528 | 0.01981 | 0.027961 | 1.11 | 1.1543 | 0.15609 | 0.0094592 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 12:31:26 PM | 45086 | [5 empty] | 45086 | 0.99786 | 0.99786 | 0.99787
4 | 187-1-102-B--Spectrum--026 | 0.34238 | 0.012971 | 0.012756 | 0.0023492 | 103.5824 | 0.029547 | 0.00050119 | 0.029606 | 5.985 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32974 | 0.012767 | 0.34238 | 0.012971 | 0.29107 | 0.01826 | SupCrit | 103.8046 | 0.029606 | 1284.5668 | 0.027281 | 51.5816 | 1284.5668 | 136.5625 | 1.0148 | 1.2352 | 0.57076 | 2.0296 | Flagged Warnings: | 1388.3714 | 0.011499 | 108.9278 | 1388.3714 | 222.1267 | 0.72969 | 0 | 1.2739 | 0.73899 | 1.4594 | Flagged Warnings: | [15 empty] | 1.1723 | 1.2711 | 0.3498 | 0.039347 | 1.0628 | 1.0706 | 0.091635 | 0.013398 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 12:37:34 PM | 45454 | [5 empty] | 45454 | 0.99786 | 0.99785 | 0.99786
5 | 187-1-102-B--Spectrum--027 | 0.37863 | 0.021412 | 0.021283 | 0.0023484 | 103.6657 | 0.048536 | 0.00050049 | 0.048638 | 5.985 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36275 | 0.019978 | 0.37863 | 0.021412 | 0.34157 | 0.029045 | SupCrit | 103.8886 | 0.048638 | 1284.4716 | 0.046695 | 36.4943 | 1284.4716 | 106.9917 | 1.0637 | 1.227 | 0.70606 | 2.1274 | Flagged Warnings: | 1388.3602 | 0.013612 | 84.7482 | 1388.3602 | 161.2178 | 0.64763 | 0 | 1.2737 | 0.85383 | 1.2953 | Flagged Warnings: | [15 empty] | 1.447 | 1.2513 | 0.95086 | 0.058293 | 1.2813 | 1.2285 | 0.3644 | 0.015284 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 12:45:40 PM | 45940 | [5 empty] | 45940 | 0.99785 | 0.99785 | 0.99786
6 | 187-1-102-C--Spectrum--031 | 0.36356 | 0.0070253 | 0.0066211 | 0.0023486 | 103.6312 | 0.015199 | 0.00049712 | 0.015224 | 6.049 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34909 | 0.0080062 | 0.36356 | 0.0070253 | 0.32085 | 0.0093542 | SupCrit | 103.8556 | 0.015224 | 1284.5036 | 0.014167 | 235.8524 | 1284.5036 | 666.0011 | 1.046 | 3.8552 | 0.65586 | 2.092 | Flagged Warnings: | 1388.3592 | 0.0055738 | 504.2336 | 1388.3592 | 993.3412 | 0.70628 | 0 | 3.2583 | 0.73444 | 1.4126 | Flagged Warnings: | [15 empty] | 1.2272 | 1.2943 | 0.47528 | 0.0088698 | 1.1204 | 1.136 | 0.17006 | 0.0028014 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 1:15:30 PM | 47730 | 1115.5642 | 107.3644 | 14.9542 | Spline | 0.064703 | 47730 | 0.99784 | 0.99784 | 0.99784
7 | 187-1-102-C--Spectrum--032 | 0.34756 | 0.0064904 | 0.0060504 | 0.002349 | 103.5944 | 0.013984 | 0.00049642 | 0.014006 | 6.064 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33449 | 0.0075551 | 0.34756 | 0.0064904 | 0.29842 | 0.0087429 | SupCrit | 103.819 | 0.014006 | 1284.5356 | 0.013284 | 242.3216 | 1284.5356 | 683.0057 | 0.99239 | 3.9151 | 0.77691 | 1.9848 | Flagged Warnings: | 1388.3546 | 0.0044387 | 501.9858 | 1388.3545 | 1018.4785 | 0.73474 | 0 | 2.0846 | 0.71065 | 1.4695 | Flagged Warnings: |  |  |  | 1409.8335 | 81.7206 | 1.255 | [9 empty] | 1.0935 | 1.2674 | 0.18563 | 0.0081907 | 1.1707 | 1.1678 | 0.25089 | 0.0029273 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:22:06 PM | 48126 | 1113.2905 | 104.9431 | 13.9889 | Spline | 0.061677 | 48126 | 0.99784 | 0.99783 | 0.99784
8 | 187-1-102-C--Spectrum--033 | 0.35999 | 0.0074076 | 0.0070254 | 0.0023487 | 103.623 | 0.016152 | 0.00049619 | 0.016179 | 6.072 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34583 | 0.008274 | 0.35999 | 0.0074076 | 0.31588 | 0.0099492 | SupCrit | 103.8479 | 0.016179 | 1284.4859 | 0.015172 | 232.5275 | 1284.4859 | 661.6221 | 1.0178 | 4.0617 | 0.73981 | 2.0356 | Flagged Warnings: | 1388.3338 | 0.0056192 | 486.1846 | 1388.3338 | 989.8936 | 0.73652 | 0 | 2.9094 | 0.71317 | 1.473 | Flagged Warnings: | [15 empty] | 1.1979 | 1.2391 | 0.40276 | 0.0087542 | 1.1675 | 1.1783 | 0.2467 | 0.0030298 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:27:22 PM | 48442 | 1112.302 | 105.4228 | 14.6792 | Spline | 0.063834 | 48442 | 0.99783 | 0.99783 | 0.99784
9 | 187-1-102-B--Spectrum--036 | 0.36209 | 0.0037189 | 0.0028834 | 0.0023486 | 103.6279 | 0.0066233 | 0.00049562 | 0.0066191 | 6.082 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34775 | 0.0058805 | 0.36209 | 0.0037189 | 0.31881 | 0.004371 | SupCrit | 103.8533 | 0.0066191 | 1284.4842 | 0.0060661 | 585.0177 | 1284.4842 | 1653.0443 | 1.0454 | 4.1396 | 0.66097 | 2.0908 | Flagged Warnings: | 1388.3376 | 0.0026487 | 1265.9924 | 1388.3375 | 2573.7334 | 0.72221 | 0 | 4.0228 | 0.75653 | 1.4444 | Flagged Warnings: | 1264.0448 | 257.6614 | 2.7365 | 1409.7661 | 278.5014 | 1.3518 | [9 empty] | 1.0886 | 1.1596 | 0.18531 | 0.003574 | 1.1861 | 1.1837 | 0.26881 | 0.0011409 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 1:37:46 PM | 49066 | 1111.264 | 113.038 | 13.8258 | Spline | 0.026743 | 49066 | 0.99783 | 0.99783 | 0.99783
10 | 187-1-102-B--Spectrum--037 | 0.35928 | 0.0035798 | 0.0027016 | 0.0023487 | 103.6214 | 0.0062131 | 0.00049533 | 0.0062068 | 6.089 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34519 | 0.0057874 | 0.35928 | 0.0035798 | 0.31489 | 0.0041527 | SupCrit | 103.847 | 0.0062068 | 1284.4893 | 0.0057773 | 566.221 | 1284.4894 | 1610.5389 | 1.0531 | 3.8266 | 0.65983 | 2.1062 | Flagged Warnings: | 1388.3365 | 0.0022687 | 1211.1404 | 1388.3364 | 2460.0052 | 0.73855 | 0 | 3.4376 | 0.70121 | 1.4771 | Flagged Warnings: | 1264.1178 | 272.7098 | 3.1307 | 1409.7874 | 254.1173 | 1.2251 | [9 empty] | 1.1007 | 1.1745 | 0.21203 | 0.0037197 | 1.1103 | 1.1171 | 0.16297 | 0.0012196 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:43:31 PM | 49411 | [5 empty] | 49411 | 0.99783 | 0.99782 | 0.99783
11 | 187-1-102-B--Spectrum--038 | 0.37038 | 0.0036491 | 0.0027929 | 0.0023485 | 103.6469 | 0.0063925 | 0.00049525 | 0.0063872 | 6.095 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35528 | 0.0059065 | 0.37038 | 0.0036491 | 0.33028 | 0.0042175 | SupCrit | 103.8728 | 0.0063872 | 1284.4559 | 0.0059785 | 575.4243 | 1284.4559 | 1601.9176 | 1.0294 | 4.4409 | 0.66266 | 2.0589 | Flagged Warnings: | 1388.3288 | 0.002248 | 1222.6559 | 1388.3287 | 2505.0409 | 0.73348 | 0 | 3.7537 | 0.73832 | 1.467 | Flagged Warnings: | 1264.1874 | 277.1177 | 2.9634 | 1409.8304 | 255.6777 | 1.2356 | [9 empty] | 1.208 | 1.2428 | 0.42816 | 0.003578 | 1.149 | 1.1387 | 0.21863 | 0.0011998 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:49:04 PM | 49744 | 1111.1157 | 83.1535 | 11.0022 | Spline | 0.020247 | 49744 | 0.99783 | 0.99782 | 0.99783
12 | 187-1-103-A--Spectrum--044 | 0.38012 | 0.008938 | 0.008624 | 0.0023484 | 103.6691 | 0.019655 | 0.00049509 | 0.019692 | 6.1 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3641 | 0.0094903 | 0.38012 | 0.008938 | 0.34361 | 0.011853 | SupCrit | 103.8956 | 0.019692 | 1284.3266 | 0.018521 | 209.4726 | 1284.3266 | 611.6683 | 1.0566 | 3.9642 | 0.7125 | 2.1132 | Flagged Warnings: | 1388.2222 | 0.0066888 | 442.4034 | 1388.2222 | 922.4411 | 0.78011 | 0 | 3.4846 | 0.63126 | 1.5602 | Flagged Warnings: | [15 empty] | 1.4112 | 1.2841 | 0.86893 | 0.010088 | 1.0215 | 1.035 | 0.033481 | 0.0035267 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:00:28 PM | 50428 | [5 empty] | 50428 | 0.99782 | 0.99782 | 0.99783
13 | 187-1-103-A--Spectrum--045 | 0.39411 | 0.0095342 | 0.0092404 | 0.0023485 | 103.7009 | 0.020931 | 0.00049519 | 0.020971 | 6.104 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37669 | 0.0099793 | 0.39411 | 0.0095342 | 0.36246 | 0.012465 | SupCrit | 103.9277 | 0.020971 | 1284.2834 | 0.0201 | 200.1178 | 1284.2834 | 587.4856 | 1.0529 | 4.3721 | 0.73349 | 2.1058 | Flagged Warnings: | 1388.2111 | 0.0059803 | 428.6924 | 1388.2111 | 904.0359 | 0.77031 | 0 | 2.9149 | 0.68978 | 1.5406 | Flagged Warnings: | [15 empty] | 1.1675 | 1.0113 | 0.35277 | 0.010523 | 1.06 | 1.0063 | 0.092437 | 0.0035938 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:06:41 PM | 50801 | 1113.2411 | 154.835 | 18.2908 | Spline | 0.10381 | 50801 | 0.99782 | 0.99781 | 0.99782
14 | 187-1-103-A--Spectrum--046 | 0.41199 | 0.010662 | 0.0104 | 0.0023489 | 103.7413 | 0.023369 | 0.00049539 | 0.023415 | 6.106 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39268 | 0.010882 | 0.41199 | 0.010662 | 0.38608 | 0.01369 | SupCrit | 103.9683 | 0.023415 | 1284.2453 | 0.022404 | 185 | 1284.2453 | 565.4334 | 1.1319 | 4.4542 | 0.65642 | 2.2638 | Flagged Warnings: | 1388.2137 | 0.0068082 | 402.4899 | 1388.2137 | 858.4751 | 0.78394 | 0 | 3.1421 | 0.67481 | 1.5679 | Flagged Warnings: | [15 empty] | 1.2139 | 1.219 | 0.48432 | 0.012237 | 1.0346 | 1.0867 | 0.054182 | 0.0038955 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:13:19 PM | 51199 | 1112.7468 | 152.1195 | 21 | Spline | 0.10683 | 51199 | 0.99782 | 0.99781 | 0.99782
15 | 187-1-103-B--Spectrum--050 | 0.36891 | 0.0059493 | 0.0054661 | 0.0023485 | 103.6435 | 0.012519 | 0.00049524 | 0.012537 | 6.109 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35395 | 0.0072759 | 0.36891 | 0.0059493 | 0.32825 | 0.0077348 | SupCrit | 103.871 | 0.012537 | 1284.4126 | 0.012059 | 300.0651 | 1284.4126 | 829.0406 | 0.9771 | 4.4414 | 0.76655 | 1.9542 | Flagged Warnings: | 1388.2836 | 0.0034271 | 626.1928 | 1388.2835 | 1264.1694 | 0.72729 | 0 | 2.3695 | 0.72329 | 1.4546 | Flagged Warnings: |  |  |  | 1409.8254 | 123.2499 | 1.196 | [9 empty] | 1.14 | 1.1897 | 0.27352 | 0.0065126 | 1.0205 | 1.0549 | 0.029888 | 0.0023229 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:29:55 PM | 52195 | 1112.2525 | 105.0498 | 16.2229 | Spline | 0.050186 | 52195 | 0.99781 | 0.99781 | 0.99781
16 | 187-1-103-B--Spectrum--051 | 0.37496 | 0.0060243 | 0.0055477 | 0.0023484 | 103.6574 | 0.012673 | 0.00049557 | 0.012691 | 6.11 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35943 | 0.0073569 | 0.37496 | 0.0060243 | 0.33656 | 0.0077878 | SupCrit | 103.8851 | 0.012691 | 1284.4032 | 0.012132 | 292.1364 | 1284.4032 | 812.921 | 1.0191 | 4.3389 | 0.68358 | 2.0381 | Flagged Warnings: | 1388.2883 | 0.0037232 | 600.8998 | 1388.2882 | 1258.9825 | 0.76123 | 0 | 2.7372 | 0.70302 | 1.5225 | Flagged Warnings: |  |  |  | 1409.8229 | 117.2803 | 1.0908 | [9 empty] | 1.0784 | 1.1614 | 0.15972 | 0.0069767 | 1.0604 | 1.081 | 0.091961 | 0.0025336 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:36:39 PM | 52599 | 1075.1817 | 172.6941 | 258.2053 | Spline | 0.08335 | 52599 | 0.99781 | 0.9978 | 0.99781
17 | 187-1-103-B--Spectrum--052 | 0.37155 | 0.0066115 | 0.0061803 | 0.0023485 | 103.6496 | 0.014139 | 0.00049579 | 0.014161 | 6.112 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35634 | 0.0077438 | 0.37155 | 0.0066115 | 0.33188 | 0.0086697 | SupCrit | 103.8774 | 0.014161 | 1284.4015 | 0.013314 | 270.6121 | 1284.4015 | 778.6557 | 1.0452 | 4.1803 | 0.70326 | 2.0904 | Flagged Warnings: | 1388.279 | 0.0048243 | 587.4558 | 1388.2789 | 1190.1761 | 0.72196 | 0 | 2.7992 | 0.74922 | 1.4439 | Flagged Warnings: |  |  |  | 1409.7473 | 126.9451 | 1.2996 | [9 empty] | 1.1443 | 1.1759 | 0.3017 | 0.0077246 | 1.1127 | 1.1322 | 0.16274 | 0.0024579 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:42:12 PM | 52932 | 1110.1766 | 88.5587 | 12.7475 | Spline | 0.04498 | 52932 | 0.99781 | 0.9978 | 0.99781
18 | 187-1-103-C--Spectrum--056 | 0.41224 | 0.015625 | 0.015447 | 0.0023489 | 103.7418 | 0.034706 | 0.00049719 | 0.034779 | 6.004 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3929 | 0.014893 | 0.41224 | 0.015625 | 0.38641 | 0.02024 | SupCrit | 103.9703 | 0.034779 | 1284.1591 | 0.03271 | 68.972 | 1284.1591 | 192.2709 | 0.96589 | 2.1427 | 0.8139 | 1.9318 | Flagged Warnings: | 1388.1294 | 0.011818 | 138.1262 | 1388.1294 | 303.5787 | 0.80148 | 0 | 1.9423 | 0.69382 | 1.603 | Flagged Warnings: | [15 empty] | 1.284 | 1.1242 | 0.54867 | 0.028008 | 1.0756 | 1.0137 | 0.12111 | 0.011605 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:57:19 PM | 53839 | 1115.5642 | 99.2509 | 14.7821 | Spline | 0.20016 | 53839 | 0.9978 | 0.9978 | 0.99781
19 | 187-1-103-C--Spectrum--057 | 0.43756 | 0.015807 | 0.015632 | 0.00235 | 103.7984 | 0.034718 | 0.00049858 | 0.034791 | 6.005 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41531 | 0.01499 | 0.43756 | 0.015807 | 0.41894 | 0.019828 | SupCrit | 104.0274 | 0.034791 | 1284.0963 | 0.032944 | 71.1085 | 1284.0963 | 207.4568 | 1.0602 | 2.121 | 0.70228 | 2.1203 | Flagged Warnings: | 1388.1237 | 0.011185 | 147.5808 | 1388.1237 | 315.8348 | 0.77379 | 0 | 1.8979 | 0.71427 | 1.5476 | Flagged Warnings: | [15 empty] | 1.2302 | 1.0392 | 0.48816 | 0.029818 | 1.0177 | 1.059 | 0.027452 | 0.010486 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:10:23 PM | 54623 | 1113.34 | -1.1838 | -11.9445 | Spline | -0.0022623 | 54623 | 0.9978 | 0.99779 | 0.9978
20 | 187-1-103-C--Spectrum--058 | 0.43177 | 0.014488 | 0.014296 | 0.0023497 | 103.7855 | 0.031835 | 0.00049982 | 0.031902 | 5.999 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41021 | 0.013926 | 0.43177 | 0.014488 | 0.41159 | 0.018281 | SupCrit | 104.0148 | 0.031902 | 1284.1174 | 0.029436 | 87.155 | 1284.1174 | 246.6632 | 1.1228 | 2.5922 | 0.48207 | 2.2456 | Flagged Warnings: | 1388.1322 | 0.012298 | 186.5975 | 1388.1322 | 405.5821 | 0.78528 | 0 | 1.7666 | 0.71615 | 1.5706 | Flagged Warnings: | [15 empty] | 1.1474 | 1.0334 | 0.33097 | 0.025766 | 1.0762 | 1.0046 | 0.11973 | 0.0084169 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:22:44 PM | 55364 | 1112.1537 | 64.703 | 10.7735 | Spline | 0.0992 | 55364 | 0.9978 | 0.99779 | 0.9978
21 | 187-1-104-A--Spectrum--066 | 0.34575 | 0.0055037 | 0.0049772 | 0.0023491 | 103.5902 | 0.011513 | 0.00050108 | 0.011527 | 6.027 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33282 | 0.0068575 | 0.34575 | 0.0055037 | 0.29585 | 0.0072761 | SupCrit | 103.8194 | 0.011527 | 1284.5813 | 0.010098 | 198.7943 | 1284.5813 | 522.3944 | 0.98345 | 2.0648 | 0.63055 | 1.9669 | Flagged Warnings: | 1388.4007 | 0.00556 | 419.2029 | 1388.4007 | 826.6858 | 0.70673 | 0 | 2.5145 | 0.7354 | 1.4135 | Flagged Warnings: | [15 empty] | 1.0192 | 1.1022 | 0.037693 | 0.0098942 | 1.1862 | 1.173 | 0.26322 | 0.0033718 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:39:56 PM | 56396 | 1097.0782 | 180.2207 | 17.2743 | Spline | 0.13359 | 56396 | 0.99779 | 0.99779 | 0.9978
22 | 187-1-104-A--Spectrum--067 | 0.33276 | 0.0049178 | 0.0043202 | 0.0023497 | 103.5601 | 0.010047 | 0.00050167 | 0.010057 | 6.023 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32089 | 0.006399 | 0.33276 | 0.0049178 | 0.27728 | 0.0064713 | SupCrit | 103.7893 | 0.010057 | 1284.6061 | 0.0087203 | 223.3266 | 1284.6061 | 574.4773 | 0.97175 | 2.3638 | 0.60731 | 1.9435 | Flagged Warnings: | 1388.3954 | 0.0050094 | 474.3605 | 1388.3954 | 915.0234 | 0.71038 | 0 | 2.687 | 0.67004 | 1.4208 | Flagged Warnings: | [15 empty] | 1.1264 | 1.1939 | 0.24561 | 0.0087025 | 1.1575 | 1.1454 | 0.22377 | 0.0029951 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:45:02 PM | 56702 | [5 empty] | 56702 | 0.99779 | 0.99779 | 0.9978
23 | 187-1-104-A--Spectrum--068 | 0.34301 | 0.00494 | 0.0043457 | 0.0023492 | 103.5839 | 0.010063 | 0.00050261 | 0.010073 | 6.026 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33031 | 0.0064712 | 0.34301 | 0.00494 | 0.29196 | 0.0064302 | SupCrit | 103.8132 | 0.010073 | 1284.5571 | 0.0084712 | 251.5368 | 1284.5571 | 650.1466 | 0.95188 | 2.5534 | 0.66999 | 1.9038 | Flagged Warnings: | 1388.3703 | 0.0054503 | 520.9778 | 1388.3703 | 1033.4377 | 0.6965 | 0 | 3.2832 | 0.78331 | 1.393 | Flagged Warnings: | [15 empty] | 1.1136 | 1.1425 | 0.21626 | 0.0075685 | 1.2067 | 1.1818 | 0.28796 | 0.0026738 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:50:27 PM | 57027 | [5 empty] | 57027 | 0.99779 | 0.99779 | 0.9978
24 | 187-1-105-reg1-A--Spectrum--077 | 0.32754 | 0.0033772 | 0.0024255 | 0.00235 | 103.5479 | 0.0056531 | 0.00051051 | 0.0056425 | 6.028 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31607 | 0.0054479 | 0.32754 | 0.0033772 | 0.26972 | 0.0039345 | SupCrit | 103.7777 | 0.0056425 | 1284.6051 | 0.0051543 | 795.0929 | 1284.6051 | 2272.5923 | 1.1017 | 4.8662 | 0.55834 | 2.2034 | Flagged Warnings: | 1388.3829 | 0.0022957 | 1711.5241 | 1388.3828 | 3596.663 | 0.78131 | 0 | 5.2281 | 0.64727 | 1.5626 | Flagged Warnings: | 1264.4433 | 324.6974 | 2.1057 | 1409.8379 | 426.6639 | 1.2594 | [9 empty] | 1.1511 | 1.2466 | 0.33286 | 0.0027712 | 1.1067 | 1.1191 | 0.16668 | 0.000913 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 4:33:21 PM | 59601 | [5 empty] | 59601 | 0.99779 | 0.99778 | 0.99779
25 | 187-1-105-reg1-A--Spectrum--078 | 0.32864 | 0.0032618 | 0.0022622 | 0.0023499 | 103.5505 | 0.0052699 | 0.00051173 | 0.0052567 | 6.027 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31709 | 0.0053958 | 0.32864 | 0.0032618 | 0.27132 | 0.0037198 | SupCrit | 103.7803 | 0.0052567 | 1284.6037 | 0.0046346 | 780.3562 | 1284.6038 | 2201.3475 | 1.0805 | 4.6446 | 0.57446 | 2.1611 | Flagged Warnings: | 1388.3842 | 0.0024805 | 1691.9083 | 1388.3841 | 3506.38 | 0.76109 | 0 | 5.6896 | 0.67736 | 1.5222 | Flagged Warnings: | 1264.4728 | 356.1752 | 2.1763 | 1409.8303 | 421.6833 | 1.3219 | [9 empty] | 1.1089 | 1.1714 | 0.23543 | 0.0027693 | 1.182 | 1.1809 | 0.27709 | 0.00089968 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:38:45 PM | 59925 | [5 empty] | 59925 | 0.99779 | 0.99778 | 0.99779
26 | 187-1-105-reg1-A--Spectrum--079 | 0.32632 | 0.0033775 | 0.0024259 | 0.0023501 | 103.5451 | 0.0056567 | 0.00051303 | 0.0056458 | 6.027 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31494 | 0.0054393 | 0.32632 | 0.0033775 | 0.26795 | 0.0039399 | SupCrit | 103.7749 | 0.0056458 | 1284.5996 | 0.0050093 | 772.4864 | 1284.5997 | 2183.2648 | 1.0894 | 4.7088 | 0.55805 | 2.1788 | Flagged Warnings: | 1388.3747 | 0.0026044 | 1675.6061 | 1388.3746 | 3468.9157 | 0.76387 | 0 | 5.2962 | 0.66588 | 1.5277 | Flagged Warnings: | 1264.4444 | 315.4438 | 1.9004 | 1409.7744 | 408.1522 | 1.2528 | [9 empty] | 1.2272 | 1.2777 | 0.49502 | 0.0028205 | 1.1562 | 1.1712 | 0.2386 | 0.00091176 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:44:28 PM | 60268 | [5 empty] | 60268 | 0.99779 | 0.99778 | 0.99779
27 | 187-1-105-reg1-B--Spectrum--083 | 0.3813 | 0.0032997 | 0.002318 | 0.0023484 | 103.6718 | 0.0052804 | 0.00051638 | 0.0052668 | 6.012 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36516 | 0.0058226 | 0.3813 | 0.0032997 | 0.3452 | 0.0035909 | SupCrit | 103.902 | 0.0052668 | 1284.3316 | 0.0047458 | 626.4101 | 1284.3317 | 1749.6472 | 1.024 | 3.3716 | 0.68236 | 2.048 | Flagged Warnings: | 1388.2337 | 0.0022839 | 1334.0565 | 1388.2337 | 2757.6176 | 0.74463 | 0 | 3.9387 | 0.72364 | 1.4893 | Flagged Warnings: | 1264.2137 | 229.7711 | 1.9309 | 1409.6493 | 301.7564 | 1.4543 | [9 empty] | 1.2645 | 1.253 | 0.54177 | 0.0032694 | 1.0224 | 1.0724 | 0.033317 | 0.0011163 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:55:39 PM | 60939 | [5 empty] | 60939 | 0.99778 | 0.99778 | 0.99779
28 | 187-1-105-reg1-B--Spectrum--084 | 0.38669 | 0.0032553 | 0.0022543 | 0.0023484 | 103.6841 | 0.0051231 | 0.00051773 | 0.0051082 | 6.011 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37002 | 0.0058462 | 0.38669 | 0.0032553 | 0.3525 | 0.0034959 | SupCrit | 103.9143 | 0.0051082 | 1284.3204 | 0.0045024 | 625.7495 | 1284.3204 | 1758.9607 | 1.0501 | 3.1546 | 0.6365 | 2.1001 | Flagged Warnings: | 1388.2347 | 0.002413 | 1319.3936 | 1388.2347 | 2750.6449 | 0.75448 | 0 | 4.1699 | 0.71262 | 1.509 | Flagged Warnings: | 1264.1105 | 228.79 | 2.042 | 1409.6839 | 300.9899 | 1.3548 | [9 empty] | 1.1839 | 1.1861 | 0.38619 | 0.0033562 | 1.0044 | 1.0647 | 0.0066328 | 0.0011437 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:00:44 PM | 61244 | [5 empty] | 61244 | 0.99778 | 0.99778 | 0.99779
29 | 187-1-105-reg1-B--Spectrum--085 | 0.38499 | 0.0032457 | 0.0022404 | 0.0023484 | 103.6802 | 0.0050954 | 0.00051927 | 0.0050801 | 6.014 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36849 | 0.005828 | 0.38499 | 0.0032457 | 0.3502 | 0.0034857 | SupCrit | 103.9104 | 0.0050801 | 1284.3129 | 0.0043497 | 607.2755 | 1284.3129 | 1704.8546 | 1.0341 | 3.2355 | 0.67141 | 2.0682 | Flagged Warnings: | 1388.2234 | 0.0026245 | 1294.8044 | 1388.2234 | 2702.4575 | 0.7523 | 0 | 4.5627 | 0.72222 | 1.5046 | Flagged Warnings: | 1264.0511 | 251.563 | 2.4604 | 1409.6353 | 277.3272 | 1.3434 | [9 empty] | 1.1871 | 1.198 | 0.38686 | 0.0034057 | 1.0426 | 1.101 | 0.064097 | 0.001162 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:06:41 PM | 61601 | [5 empty] | 61601 | 0.99778 | 0.99778 | 0.99779
30 | 187-1-105-reg1-C--Spectrum--088 | 0.40315 | 0.0031344 | 0.0020756 | 0.0023486 | 103.7213 | 0.0046826 | 0.00052177 | 0.0046638 | 6.015 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38479 | 0.0059309 | 0.40315 | 0.0031344 | 0.37447 | 0.0032349 | SupCrit | 103.9516 | 0.0046638 | 1284.2198 | 0.0041255 | 666.2262 | 1284.2198 | 1919.4161 | 1.0696 | 3.3938 | 0.65199 | 2.1392 | Flagged Warnings: | 1388.1715 | 0.002175 | 1421.3936 | 1388.1715 | 2996.8331 | 0.76603 | 0 | 3.9457 | 0.70322 | 1.5321 | Flagged Warnings: | 1264.0646 | 264.281 | 2.2351 | 1409.623 | 320.5982 | 1.4312 | [9 empty] | 1.0718 | 1.1228 | 0.15355 | 0.0032109 | 1.022 | 1.0397 | 0.033671 | 0.0010779 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:15:05 PM | 62105 | [5 empty] | 62105 | 0.99778 | 0.99778 | 0.99779
31 | 187-1-105-reg1-C--Spectrum--089 | 0.41013 | 0.003183 | 0.0021481 | 0.0023488 | 103.7371 | 0.0048311 | 0.0005233 | 0.0048133 | 6.016 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39102 | 0.0060109 | 0.41013 | 0.003183 | 0.38365 | 0.0032931 | SupCrit | 103.9674 | 0.0048133 | 1284.2008 | 0.0041883 | 684.192 | 1284.2009 | 1991.5796 | 1.088 | 3.1405 | 0.63517 | 2.176 | Flagged Warnings: | 1388.1683 | 0.0023718 | 1500.938 | 1388.1682 | 3172.8239 | 0.76066 | 0 | 4.3187 | 0.72625 | 1.5213 | Flagged Warnings: | 1263.9908 | 251.3948 | 2.0792 | 1409.5564 | 341.2673 | 1.3903 | [9 empty] | 1.1414 | 1.1976 | 0.30775 | 0.0031803 | 1.0494 | 1.0221 | 0.075211 | 0.0010136 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:20:16 PM | 62416 | [5 empty] | 62416 | 0.99778 | 0.99778 | 0.99779
32 | 187-1-105-reg1-C--Spectrum--090 | 0.41456 | 0.0031531 | 0.0021034 | 0.002349 | 103.747 | 0.004721 | 0.00052512 | 0.0047021 | 6.014 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39496 | 0.0060363 | 0.41456 | 0.0031531 | 0.38943 | 0.0032288 | SupCrit | 103.9773 | 0.0047021 | 1284.2038 | 0.0039462 | 634.9481 | 1284.2038 | 1809.7185 | 1.0682 | 2.8143 | 0.62872 | 2.1364 | Flagged Warnings: | 1388.1812 | 0.0025567 | 1354.4167 | 1388.1812 | 2866.0146 | 0.76648 | 0 | 4.2678 | 0.71052 | 1.533 | Flagged Warnings: | 1263.9439 | 248.3682 | 2.2446 | 1409.6127 | 309.8281 | 1.3873 | [9 empty] | 1.1012 | 1.1162 | 0.21612 | 0.0033646 | 1.0022 | 1.0592 | 0.0033253 | 0.0011318 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:26:22 PM | 62782 | [5 empty] | 62782 | 0.99779 | 0.99778 | 0.99779
33 | 187-1-105-reg2-A--Spectrum--094 | 0.41353 | 0.0034663 | 0.002549 | 0.0023489 | 103.7447 | 0.0057239 | 0.00052846 | 0.0057121 | 6.011 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39404 | 0.0061621 | 0.41353 | 0.0034663 | 0.38808 | 0.0037376 | SupCrit | 103.975 | 0.0057121 | 1284.1805 | 0.005065 | 512.4306 | 1284.1805 | 1484.5995 | 1.0705 | 2.8294 | 0.6631 | 2.1409 | Flagged Warnings: | 1388.1555 | 0.0026408 | 1088.0209 | 1388.1555 | 2305.2937 | 0.77184 | 0 | 3.4807 | 0.69698 | 1.5437 | Flagged Warnings: | 1263.9578 | 170.0643 | 1.7859 | 1409.6424 | 258.7719 | 1.5423 | [9 empty] | 1.0936 | 1.13 | 0.20038 | 0.004178 | 1.013 | 1.0477 | 0.020135 | 0.0014188 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:37:33 PM | 63453 | 1113.9331 | 96.3375 | 14.1408 | Spline | 0.02542 | 63453 | 0.99779 | 0.99778 | 0.99779
34 | 187-1-105-reg2-A--Spectrum--095 | 0.4044 | 0.0035073 | 0.0026048 | 0.0023487 | 103.7242 | 0.0058733 | 0.00053023 | 0.0058623 | 6.011 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38591 | 0.0061057 | 0.4044 | 0.0035073 | 0.37612 | 0.00384 | SupCrit | 103.9543 | 0.0058623 | 1284.1824 | 0.0053448 | 514.9685 | 1284.1825 | 1472.5855 | 1.0763 | 2.6003 | 0.6182 | 2.1525 | Flagged Warnings: | 1388.1369 | 0.0024082 | 1092.0252 | 1388.1368 | 2327.3703 | 0.77437 | 0 | 3.3437 | 0.70317 | 1.5487 | Flagged Warnings: | 1264.0487 | 204.0806 | 2.1965 | 1409.5747 | 255.5575 | 1.5007 | [9 empty] | 1.1515 | 1.1815 | 0.32614 | 0.0041799 | 1.0306 | 1.0141 | 0.047341 | 0.0014182 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:43:34 PM | 63814 | 1114.2791 | 101.0745 | 11.3259 | Spline | 0.026599 | 63814 | 0.99779 | 0.99778 | 0.99779
35 | 187-1-105-reg2-A--Spectrum--096 | 0.40961 | 0.0036512 | 0.0027955 | 0.0023488 | 103.7359 | 0.0062884 | 0.00053203 | 0.0062798 | 6.011 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39056 | 0.0062145 | 0.40961 | 0.0036512 | 0.38297 | 0.0040432 | SupCrit | 103.9661 | 0.0062798 | 1284.1937 | 0.0056284 | 525.4878 | 1284.1938 | 1499.0982 | 1.0789 | 3.0452 | 0.60652 | 2.1577 | Flagged Warnings: | 1388.1599 | 0.002785 | 1101.0977 | 1388.1599 | 2353.3307 | 0.77915 | 0 | 3.6139 | 0.69512 | 1.5583 | Flagged Warnings: | 1264.039 | 216.5424 | 2.4609 | 1409.5951 | 258.7038 | 1.4618 | [9 empty] | 1.1754 | 1.1802 | 0.37842 | 0.0041062 | 1.0194 | 1.0817 | 0.030291 | 0.0014152 | PseudoVoigtModel | PseudoVoigtModel | January 10, 2024 | January | 10 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:49:00 PM | 64140 | 1112.994 | 111.1905 | 12.9706 | Spline | 0.028862 | 64140 | 0.99779 | 0.99778 | 0.99779