## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-105-reg2-B--Spectrum--004 | 0.36624 | 0.0064645 | 0.0060228 | 0.0023485 | 103.6374 | 0.01381 | 0.0012648 | 0.013779 | 5.986 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35152 | 0.0076172 | 0.36624 | 0.0064645 | 0.32457 | 0.0085119 | SupCrit | 103.8423 | 0.013779 | 1284.3978 | 0.012613 | 151.6085 | 1284.3978 | 411.389 | 0.99199 | 2.1902 | 0.68783 | 1.984 | Flagged Warnings: | 1388.2401 | 0.0055472 | 314.2809 | 1388.2401 | 628.1371 | 0.72957 | 0 | 2.2515 | 0.69144 | 1.4591 | Flagged Warnings: | [15 empty] | 1.1688 | 1.2061 | 0.33496 | 0.013086 | 1.0674 | 1.0872 | 0.098406 | 0.0046428 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 11:21:54 AM | 40914 | [11 empty] | 40914 | 0.99803 | 0.99801 | 0.99804
1 | 187-1-105-reg2-B--Spectrum--005 | 0.3829 | 0.0068539 | 0.006439 | 0.0023484 | 103.6755 | 0.014658 | 0.0012625 | 0.014632 | 5.941 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3666 | 0.0079633 | 0.3829 | 0.0068539 | 0.34737 | 0.0088946 | SupCrit | 103.8809 | 0.014632 | 1284.3792 | 0.013123 | 146.594 | 1284.3792 | 403.139 | 1.0537 | 1.9886 | 0.57175 | 2.1074 | Flagged Warnings: | 1388.2601 | 0.0064708 | 312.2227 | 1388.2601 | 619.9934 | 0.71602 | 0 | 2.3832 | 0.72082 | 1.432 | Flagged Warnings: | [15 empty] | 1.1147 | 1.1242 | 0.24165 | 0.014375 | 1.0885 | 1.1451 | 0.12676 | 0.0045866 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 11:27:58 AM | 41278 | [11 empty] | 41278 | 0.99802 | 0.99801 | 0.99803
2 | 187-1-105-reg2-B--Spectrum--006 | 0.36832 | 0.0073923 | 0.0070093 | 0.0023485 | 103.6422 | 0.016057 | 0.0012596 | 0.01604 | 5.96 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35341 | 0.0082921 | 0.36832 | 0.0073923 | 0.32744 | 0.0098272 | SupCrit | 103.8479 | 0.01604 | 1284.4339 | 0.014863 | 129.0793 | 1284.4339 | 349.5821 | 1.0381 | 1.9356 | 0.57068 | 2.0762 | Flagged Warnings: | 1388.2818 | 0.0060305 | 277.6628 | 1388.2818 | 556.0769 | 0.70098 | 0 | 2.168 | 0.79059 | 1.402 | Flagged Warnings: | [15 empty] | 1.2057 | 1.2253 | 0.42713 | 0.016085 | 1.129 | 1.1863 | 0.1809 | 0.0050491 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 11:33:38 AM | 41618 | [11 empty] | 41618 | 0.99802 | 0.99801 | 0.99803
3 | 187-1-105-reg3-A--Spectrum--012 | 0.45974 | 0.0064642 | 0.0060214 | 0.0023514 | 103.8474 | 0.013237 | 0.001258 | 0.013203 | 6.063 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43473 | 0.0080958 | 0.45974 | 0.0064642 | 0.44657 | 0.0075837 | SupCrit | 104.0542 | 0.013203 | 1283.9875 | 0.012756 | 126.8539 | 1283.9875 | 366.5773 | 1.0703 | 1.6438 | 0.65621 | 2.1405 | Flagged Warnings: | 1388.0417 | 0.0034058 | 268.8456 | 1388.0417 | 564.3646 | 0.74909 | 0 | 2.0962 | 0.74551 | 1.4982 | Flagged Warnings: | [15 empty] | 1.0869 | 1.0842 | 0.18598 | 0.016874 | 1.0273 | 1.1032 | 0.040859 | 0.0055726 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 11:43:32 AM | 42212 | [11 empty] | 42212 | 0.99801 | 0.998 | 0.99802
4 | 187-1-105-reg3-A--Spectrum--016 | 0.45521 | 0.0071542 | 0.0067568 | 0.0023511 | 103.8374 | 0.014885 | 0.0012539 | 0.014862 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43078 | 0.0085021 | 0.45521 | 0.0071542 | 0.44098 | 0.0085151 | SupCrit | 104.0449 | 0.014862 | 1284.0041 | 0.012756 | 133.6212 | 1284.0041 | 392.9958 | 1.1084 | 1.5919 | 0.61322 | 2.2169 | Flagged Warnings: | 1388.049 | 0.0076263 | 280.1902 | 1388.049 | 625.3541 | 0.81243 | 0 | 2.2993 | 0.69817 | 1.6249 | Flagged Warnings: | [15 empty] | 1.0837 | 1.0606 | 0.18563 | 0.016591 | 1.0251 | 1.0738 | 0.040706 | 0.0057991 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 11:53:36 AM | 42816 | [11 empty] | 42816 | 0.99801 | 0.99799 | 0.99802
5 | 187-1-105-reg3-A--Spectrum--017 | 0.4521 | 0.0068658 | 0.0064507 | 0.0023509 | 103.8306 | 0.014231 | 0.0012518 | 0.014204 | 6.019 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42807 | 0.0083026 | 0.4521 | 0.0068658 | 0.43714 | 0.0081769 | SupCrit | 104.0385 | 0.014204 | 1284.025 | 0.012175 | 137.7371 | 1284.025 | 390.5762 | 1.0713 | 1.5386 | 0.60714 | 2.1426 | Flagged Warnings: | 1388.0634 | 0.0073164 | 298.6592 | 1388.0634 | 652.374 | 0.77424 | 0 | 2.0684 | 0.76132 | 1.5485 | Flagged Warnings: | [15 empty] | 1.0689 | 1.1 | 0.14752 | 0.015556 | 1.0087 | 1.0778 | 0.013465 | 0.0051847 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 11:58:58 AM | 43138 | [11 empty] | 43138 | 0.998 | 0.99799 | 0.99801
6 | 187-1-105-reg3-B--Spectrum--021 | 0.41634 | 0.0059155 | 0.0054291 | 0.002349 | 103.751 | 0.012176 | 0.0012473 | 0.012136 | 5.977 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39654 | 0.0075103 | 0.41634 | 0.0059155 | 0.39175 | 0.0072558 | SupCrit | 103.9594 | 0.012136 | 1284.162 | 0.010525 | 167.9874 | 1284.162 | 479.7554 | 1.0677 | 1.7899 | 0.63303 | 2.1355 | Flagged Warnings: | 1388.1214 | 0.0060419 | 361.0015 | 1388.1214 | 781.3883 | 0.77731 | 0 | 2.675 | 0.73047 | 1.5546 | Flagged Warnings: | [15 empty] | 1.1096 | 1.0091 | 0.23408 | 0.012712 | 1.0108 | 1.0852 | 0.016825 | 0.0043064 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:09:10 PM | 43750 | [11 empty] | 43750 | 0.998 | 0.99798 | 0.99801
7 | 187-1-105-reg3-B--Spectrum--022 | 0.45026 | 0.0071306 | 0.006732 | 0.0023508 | 103.8265 | 0.014864 | 0.0012464 | 0.014842 | 5.96 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42646 | 0.0084624 | 0.45026 | 0.0071306 | 0.43485 | 0.0085383 | SupCrit | 104.0354 | 0.014842 | 1284.1061 | 0.013448 | 128.0557 | 1284.1061 | 367.6677 | 1.0997 | 1.6851 | 0.57259 | 2.1994 | Flagged Warnings: | 1388.1415 | 0.0062793 | 283.1033 | 1388.1415 | 598.831 | 0.75013 | 0 | 2.2804 | 0.7601 | 1.5003 | Flagged Warnings: | [15 empty] | 1.0077 | 1.036 | 0.016867 | 0.017176 | 1.0134 | 1.1221 | 0.020138 | 0.0052994 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:14:20 PM | 44060 | [11 empty] | 44060 | 0.99799 | 0.99798 | 0.998
8 | 187-1-105-reg3-B--Spectrum--023 | 0.42565 | 0.0087274 | 0.0084052 | 0.0023494 | 103.7719 | 0.01877 | 0.0012442 | 0.018767 | 5.948 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4048 | 0.0094583 | 0.42565 | 0.0087274 | 0.40377 | 0.010921 | SupCrit | 103.981 | 0.018767 | 1284.1645 | 0.017704 | 100.4212 | 1284.1645 | 299.3608 | 1.1084 | 1.5801 | 0.64653 | 2.2169 | Flagged Warnings: | 1388.1455 | 0.0062265 | 226.2866 | 1388.1455 | 475.5962 | 0.75589 | 0 | 1.8147 | 0.72696 | 1.5118 | Flagged Warnings: | [15 empty] | 1.0956 | 1.0585 | 0.21183 | 0.022076 | 1.0473 | 1.0272 | 0.071503 | 0.0066809 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:19:26 PM | 44366 | [11 empty] | 44366 | 0.99799 | 0.99798 | 0.998
9 | 187-1-105-reg3-C--Spectrum--027 | 0.43808 | 0.006148 | 0.0056812 | 0.00235 | 103.7995 | 0.012615 | 0.0012418 | 0.012579 | 5.946 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41577 | 0.007779 | 0.43808 | 0.006148 | 0.41959 | 0.0073735 | SupCrit | 104.0093 | 0.012579 | 1284.1212 | 0.01116 | 177.1599 | 1284.1212 | 514.9509 | 1.0691 | 2.3049 | 0.67304 | 2.1383 | Flagged Warnings: | 1388.1305 | 0.0058049 | 379.4042 | 1388.1305 | 803.4908 | 0.76776 | 0 | 2.7888 | 0.70793 | 1.5355 | Flagged Warnings: | [15 empty] | 1.1438 | 1.0468 | 0.30751 | 0.01207 | 1.0331 | 1.1155 | 0.050845 | 0.0040472 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:28:18 PM | 44898 | [11 empty] | 44898 | 0.99798 | 0.99797 | 0.998
10 | 187-1-105-reg3-C--Spectrum--028 | 0.42116 | 0.0058752 | 0.0053851 | 0.0023492 | 103.7618 | 0.012051 | 0.0012399 | 0.012011 | 5.952 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40082 | 0.0075133 | 0.42116 | 0.0058752 | 0.39799 | 0.0071578 | SupCrit | 103.9719 | 0.012011 | 1284.1511 | 0.0107 | 188.9899 | 1284.1511 | 543.8782 | 1.1015 | 2.5875 | 0.57435 | 2.203 | Flagged Warnings: | 1388.1229 | 0.005456 | 417.2186 | 1388.1229 | 872.9105 | 0.76145 | 0 | 2.8572 | 0.69861 | 1.5229 | Flagged Warnings: | [15 empty] | 1.2071 | 1.2362 | 0.45618 | 0.011657 | 1.0356 | 1.0175 | 0.054268 | 0.0036501 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:33:24 PM | 45204 | [11 empty] | 45204 | 0.99798 | 0.99797 | 0.99799
11 | 187-1-105-reg3-C--Spectrum--029 | 0.44288 | 0.0054455 | 0.0049122 | 0.0023503 | 103.8102 | 0.010883 | 0.0012391 | 0.010835 | 5.956 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41999 | 0.0073939 | 0.44288 | 0.0054455 | 0.42564 | 0.0063947 | SupCrit | 104.0207 | 0.010835 | 1284.1091 | 0.0093767 | 199.3025 | 1284.1091 | 575.0064 | 1.0696 | 1.9614 | 0.65374 | 2.1392 | Flagged Warnings: | 1388.1298 | 0.0054283 | 425.0697 | 1388.1298 | 897.4534 | 0.76322 | 0 | 3.0738 | 0.71481 | 1.5264 | Flagged Warnings: | [15 empty] | 1.0238 | 1.0331 | 0.050853 | 0.010734 | 1.0287 | 1.0978 | 0.043805 | 0.003591 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:38:35 PM | 45515 | [11 empty] | 45515 | 0.99798 | 0.99796 | 0.99799
12 | 187-1-105-reg4-A--Spectrum--042 | 0.44561 | 0.0060836 | 0.0056112 | 0.0023504 | 103.8162 | 0.012417 | 0.0012346 | 0.01238 | 6.066 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42238 | 0.007784 | 0.44561 | 0.0060836 | 0.42905 | 0.0072198 | SupCrit | 104.0279 | 0.01238 | 1284.0525 | 0.0111 | 168.8949 | 1284.0525 | 484.3815 | 1.1131 | 1.975 | 0.53897 | 2.2262 | Flagged Warnings: | 1388.0804 | 0.0054823 | 356.4694 | 1388.0804 | 760.0393 | 0.77722 | 0 | 2.3819 | 0.69474 | 1.5544 | Flagged Warnings: | [15 empty] | 1.098 | 1.089 | 0.21812 | 0.013181 | 1.0065 | 1.0539 | 0.010072 | 0.0043607 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:57:48 PM | 46668 | [11 empty] | 46668 | 0.99797 | 0.99795 | 0.99798
13 | 187-1-105-reg4-A--Spectrum--044 | 0.45533 | 0.0060715 | 0.0055978 | 0.0023511 | 103.8377 | 0.012331 | 0.0012316 | 0.012294 | 6.111 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43089 | 0.0078349 | 0.45533 | 0.0060715 | 0.44113 | 0.0071167 | SupCrit | 104.0504 | 0.012294 | 1283.9688 | 0.011077 | 192.4078 | 1283.9688 | 556.905 | 1.1065 | 2.1864 | 0.5775 | 2.2129 | Flagged Warnings: | 1388.0192 | 0.0053344 | 424.575 | 1388.0192 | 926.1372 | 0.7855 | 0 | 2.6429 | 0.72397 | 1.571 | Flagged Warnings: | [15 empty] | 1.0264 | 1.0611 | 0.058507 | 0.011501 | 1.0086 | 1.0264 | 0.013485 | 0.0037002 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 1:14:47 PM | 47687 | [11 empty] | 47687 | 0.99796 | 0.99794 | 0.99797
14 | 187-1-105-reg4-A--Spectrum--045 | 0.46381 | 0.0064265 | 0.0059808 | 0.0023518 | 103.8563 | 0.013122 | 0.0012308 | 0.013091 | 6.124 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43828 | 0.0080965 | 0.46381 | 0.0064265 | 0.45155 | 0.0074966 | SupCrit | 104.0695 | 0.013091 | 1283.9628 | 0.01181 | 158.8328 | 1283.9628 | 469.3765 | 1.114 | 1.9911 | 0.61263 | 2.228 | Flagged Warnings: | 1388.0323 | 0.005648 | 357.2132 | 1388.0323 | 776.5513 | 0.77874 | 0 | 2.637 | 0.73639 | 1.5575 | Flagged Warnings: | [15 empty] | 1.1067 | 1.136 | 0.2377 | 0.014027 | 1.0086 | 1.0362 | 0.013427 | 0.0043601 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:21:25 PM | 48085 | [11 empty] | 48085 | 0.99795 | 0.99794 | 0.99796
15 | 187-1-105-reg4-B--Spectrum--049 | 0.34608 | 0.0064525 | 0.0060097 | 0.0023491 | 103.591 | 0.013899 | 0.0012262 | 0.013873 | 6.146 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33312 | 0.0075216 | 0.34608 | 0.0064525 | 0.29632 | 0.0087019 | SupCrit | 103.8042 | 0.013873 | 1284.5532 | 0.012635 | 188.1593 | 1284.5532 | 521.723 | 1.0257 | 2.7128 | 0.65908 | 2.0515 | Flagged Warnings: | 1388.3574 | 0.0057281 | 403.5774 | 1388.3574 | 801.3787 | 0.71058 | 0 | 3.026 | 0.73886 | 1.4212 | Flagged Warnings: | [15 empty] | 1.0212 | 1.1765 | 0.043435 | 0.010903 | 1.1869 | 1.1985 | 0.26557 | 0.0035214 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 1:32:01 PM | 48721 | [11 empty] | 48721 | 0.99795 | 0.99793 | 0.99796
16 | 187-1-105-reg4-B--Spectrum--050 | 0.32297 | 0.0058143 | 0.0053181 | 0.0023503 | 103.5373 | 0.012418 | 0.001225 | 0.012383 | 6.145 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31185 | 0.0069641 | 0.32297 | 0.0058143 | 0.26308 | 0.0079562 | SupCrit | 103.7507 | 0.012383 | 1284.6327 | 0.011192 | 211.6769 | 1284.6327 | 577.6868 | 1.0029 | 3.0812 | 0.67522 | 2.0058 | Flagged Warnings: | 1388.3835 | 0.0052984 | 458.4561 | 1388.3835 | 888.8026 | 0.70049 | 0 | 3.1324 | 0.71593 | 1.401 | Flagged Warnings: | [15 empty] | 1.2581 | 1.3039 | 0.51775 | 0.0094758 | 1.2113 | 1.2082 | 0.29608 | 0.0030559 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:37:18 PM | 49038 | [11 empty] | 49038 | 0.99794 | 0.99793 | 0.99795
17 | 187-1-105-reg4-B--Spectrum--051 | 0.33342 | 0.0051868 | 0.0046241 | 0.0023497 | 103.5616 | 0.010751 | 0.0012247 | 0.010703 | 6.151 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32149 | 0.0065803 | 0.33342 | 0.0051868 | 0.27822 | 0.0068889 | SupCrit | 103.7754 | 0.010703 | 1284.6078 | 0.0096083 | 230.449 | 1284.6078 | 610.1173 | 0.9495 | 2.836 | 0.73365 | 1.899 | Flagged Warnings: | 1388.3832 | 0.0047156 | 474.5461 | 1388.3832 | 912.2552 | 0.68961 | 0 | 2.8607 | 0.73306 | 1.3792 | Flagged Warnings: | [15 empty] | 1.1019 | 1.186 | 0.19348 | 0.0082404 | 1.1744 | 1.1648 | 0.24048 | 0.0029064 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 1:42:30 PM | 49350 | [11 empty] | 49350 | 0.99794 | 0.99793 | 0.99795
18 | test--Spectrum--052 | 0.46793 | 0.096563 | 0.096534 | 0.0023521 | 103.8654 | 0.21116 | 0.0012278 | 0.21159 | 45.94 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.44185 | 0.083901 | 0.46793 | 0.096563 | 0.45656 | 0.11714 | SupCrit | 104.0801 | 0.21159 | 1284.132 | 0.16938 | 19.1192 | 1284.132 | 33.5748 | 0.55898 | 3.5034 | 1 | 1.118 | Flagged Warnings: | 1388.2121 | 0.1268 | 21.2666 | 1388.2121 | 39.2599 | 0.86714 | 0 | 3.0515 | 2.9048e-08 | 1.7343 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.2163 | 2.7299 | 0.24183 | 0.058473 | 1.083 | 1.0856 | 0.14389 | 0.081549 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '7s'] | 1:48:27 PM | 49707 |  |  |  |  | 1111.7583 | 86.9197 | 23.7287 | Spline | 1.1934 |  |  | 49707 | 0.99794 | 0.99792 | 0.99795
19 | test--Spectrum--053 | 0.32911 | 0.021319 | 0.021189 | 0.0023499 | 103.5516 | 0.049348 | 0.0012241 | 0.049435 | 45.922 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31752 | 0.020178 | 0.32911 | 0.021319 | 0.272 | 0.030732 | SupCrit | 103.7657 | 0.049435 | 1284.4982 | 0.045302 | 54.7712 | 1284.4982 | 156.3654 | 1.0078 | 2.8211 | 0.77073 | 2.0157 | Flagged Warnings: | 1388.2639 | 0.019787 | 106.0569 | 1388.2639 | 219.6102 | 0.79568 | 0 | 2.6924 | 0.56443 | 1.5914 | Flagged Warnings: | [15 empty] | 2.1516 | 1.9637 | 2.3212 | 0.036802 | 1.032 | 1.0194 | 0.050896 | 0.015005 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:48:51 PM | 49731 | [11 empty] | 49731 | 0.99794 | 0.99792 | 0.99795
20 | test--Spectrum--054 | 0.37061 | 0.0070048 | 0.0065994 | 0.0023485 | 103.6474 | 0.015103 | 0.0012252 | 0.015085 | 45.91 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35549 | 0.0080192 | 0.37061 | 0.0070048 | 0.33059 | 0.0092453 | SupCrit | 103.8618 | 0.015085 | 1284.4853 | 0.014123 | 202.1865 | 1284.4853 | 521.0741 | 1.0056 | 3.8449 | 0.52515 | 2.0113 | Flagged Warnings: | 1388.3471 | 0.0053002 | 437.2753 | 1388.3471 | 860.8567 | 0.70334 | 0 | 3.2026 | 0.74307 | 1.4067 | Flagged Warnings: |  |  |  | 1409.8906 | 101.1469 | 0.95541 | [9 empty] | 1.0693 | 1.0897 | 0.13929 | 0.0099476 | 1.2696 | 1.2114 | 0.37929 | 0.0032169 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:49:33 PM | 49773 |  |  |  |  | 1093.8654 | 141.9732 | 17.1408 | Spline | 0.10274 |  |  | 49773 | 0.99794 | 0.99792 | 0.99795
21 | test--Spectrum--055 | 0.43786 | 0.0092493 | 0.0089458 | 0.00235 | 103.7991 | 0.019866 | 0.0012269 | 0.019869 | 45.909 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41558 | 0.0098725 | 0.43786 | 0.0092493 | 0.41932 | 0.011428 | SupCrit | 104.0137 | 0.019869 | 1284.0502 | 0.01802 | 157.1624 | 1284.0502 | 452.8531 | 0.98827 | 3.4243 | 0.83707 | 1.9765 | Flagged Warnings: | 1388.064 | 0.0083714 | 321.8646 | 1388.064 | 706.8085 | 0.77442 | 0 | 3.4234 | 0.77317 | 1.5488 | Flagged Warnings: | [15 empty] | 1.0898 | 1.0849 | 0.17743 | 0.012576 | 1.0439 | 1.0456 | 0.067932 | 0.0048121 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:49:55 PM | 49795 | [11 empty] | 49795 | 0.99794 | 0.99792 | 0.99795
22 | test--Spectrum--056 | 0.41917 | 0.0083874 | 0.0080517 | 0.0023491 | 103.7574 | 0.018034 | 0.0012264 | 0.01803 | 45.939 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39906 | 0.0091922 | 0.41917 | 0.0083874 | 0.39542 | 0.010559 | SupCrit | 103.972 | 0.01803 | 1284.0911 | 0.016093 | 167.781 | 1284.0911 | 485.9397 | 1.0473 | 2.8329 | 0.714 | 2.0947 | Flagged Warnings: | 1388.0631 | 0.008129 | 340.1013 | 1388.0631 | 741.1509 | 0.80242 | 0 | 3.7612 | 0.67037 | 1.6048 | Flagged Warnings: | [15 empty] | 1.124 | 1.1091 | 0.25964 | 0.012484 | 1.0062 | 1.0047 | 0.0099474 | 0.0047187 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:50:41 PM | 49841 | [11 empty] | 49841 | 0.99794 | 0.99792 | 0.99795
23 | test--Spectrum--057 | 0.40414 | 0.024139 | 0.024025 | 0.0023487 | 103.7236 | 0.054173 | 0.0012258 | 0.054271 | 45.946 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38568 | 0.022195 | 0.40414 | 0.024139 | 0.37578 | 0.031737 | SupCrit | 103.9383 | 0.054271 | 1284.3778 | 0.048328 | 52.5523 | 1284.3778 | 106.8014 | 0.87329 | 2.8753 | 0.26426 | 1.7466 | Flagged Warnings: | 1388.3161 | 0.024692 | 88.6903 | 1388.3161 | 178.7751 | 0.71568 | 0 | 2.6939 | 0.75736 | 1.4314 | Flagged Warnings: | [15 empty] | 1.0962 | 1.0552 | 0.16794 | 0.033235 | 2.0034 | 1.8374 | 1.4362 | 0.016139 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:53:03 PM | 49983 | [11 empty] | 49983 | 0.99793 | 0.99792 | 0.99795
24 | 187-1-105-reg4-C--Spectrum--061 | 0.45527 | 0.0055189 | 0.0049931 | 0.0023511 | 103.8376 | 0.010999 | 0.0012268 | 0.010953 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43084 | 0.0075167 | 0.45527 | 0.0055189 | 0.44106 | 0.0063943 | SupCrit | 104.0528 | 0.010953 | 1284.0441 | 0.01052 | 278.4214 | 1284.0441 | 838.3674 | 1.1174 | 3.6172 | 0.65152 | 2.2347 | Flagged Warnings: | 1388.097 | 0.0030496 | 615.3708 | 1388.097 | 1328.7987 | 0.76818 | 0 | 2.5431 | 0.7535 | 1.5364 | Flagged Warnings: |  |  |  | 1409.5318 | 159.5472 | 1.8366 | [9 empty] | 1.1548 | 1.1236 | 0.34602 | 0.0080264 | 1.0198 | 1.0571 | 0.03039 | 0.0024967 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:59:09 PM | 50349 | [11 empty] | 50349 | 0.99793 | 0.99792 | 0.99794
25 | 187-1-105-reg4-C--Spectrum--062 | 0.43583 | 0.0051413 | 0.0045728 | 0.0023499 | 103.7945 | 0.010165 | 0.0012261 | 0.010111 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41379 | 0.0071759 | 0.43583 | 0.0051413 | 0.41675 | 0.0060365 | SupCrit | 104.01 | 0.010111 | 1284.0697 | 0.0097434 | 300.7197 | 1284.0697 | 891.1586 | 1.0626 | 3.8967 | 0.73415 | 2.1251 | Flagged Warnings: | 1388.0797 | 0.0027024 | 634.3241 | 1388.0797 | 1370.7789 | 0.77273 | 0 | 2.2842 | 0.74122 | 1.5455 | Flagged Warnings: |  |  |  | 1409.444 | 148.0891 | 1.4811 | [9 empty] | 1.0305 | 1.0465 | 0.064812 | 0.0070668 | 1.0197 | 1.0218 | 0.030436 | 0.0024364 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 2:04:15 PM | 50655 | [11 empty] | 50655 | 0.99793 | 0.99792 | 0.99794
26 | 187-1-105-reg4-C--Spectrum--063 | 0.44348 | 0.0054883 | 0.0049596 | 0.0023503 | 103.8115 | 0.010986 | 0.0012262 | 0.01094 | 6.026 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42051 | 0.0074221 | 0.44348 | 0.0054883 | 0.42638 | 0.0064474 | SupCrit | 104.0273 | 0.01094 | 1284.0545 | 0.010521 | 292.0008 | 1284.0545 | 879.4999 | 1.1044 | 3.9022 | 0.6805 | 2.2089 | Flagged Warnings: | 1388.0818 | 0.0029979 | 628.3764 | 1388.0818 | 1379.4097 | 0.78907 | 0 | 2.5392 | 0.72897 | 1.5781 | Flagged Warnings: |  |  |  | 1409.5219 | 162.2733 | 1.6794 | [9 empty] | 1.0725 | 1.1216 | 0.16021 | 0.0075647 | 1.0172 | 1.0432 | 0.027093 | 0.0025115 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 2:09:17 PM | 50957 | [11 empty] | 50957 | 0.99793 | 0.99791 | 0.99794
27 | 187-1-106-A--Spectrum--074 | 0.57774 | 0.0030455 | 0.001917 | 0.0023665 | 104.0996 | 0.0039809 | 0.0012299 | 0.0037941 | 6.012 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53467 | 0.0074872 | 0.57774 | 0.0030455 | 0.58064 | 0.0025959 | SupCrit | 104.3172 | 0.0037941 | 1283.4319 | 0.0030803 | 635.0225 | 1283.4319 | 1819.2053 | 1.052 | 2.1552 | 0.67863 | 2.104 | Flagged Warnings: | 1387.7492 | 0.0022151 | 1339.175 | 1387.7491 | 2993.6272 | 0.78873 | 0 | 3.3109 | 0.77271 | 1.5775 | Flagged Warnings: | 1263.516 | 236.9639 | 2.247 | 1409.1832 | 334.3478 | 1.8016 | [9 empty] | 1.008 | 1.0093 | 0.016832 | 0.0033132 | 1.0021 | 1.0299 | 0.003321 | 0.0011779 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:33:29 PM | 52409 | [11 empty] | 52409 | 0.99791 | 0.9979 | 0.99793
28 | 187-1-106-A--Spectrum--075 | 0.58072 | 0.003017 | 0.0018707 | 0.002367 | 104.1058 | 0.0038789 | 0.0012302 | 0.0036864 | 6.004 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53712 | 0.0075075 | 0.58072 | 0.003017 | 0.58376 | 0.0025517 | SupCrit | 104.3237 | 0.0036864 | 1283.428 | 0.0029911 | 629.6295 | 1283.428 | 1805.7615 | 1.0402 | 1.8867 | 0.70877 | 2.0805 | Flagged Warnings: | 1387.7518 | 0.0021547 | 1331.4441 | 1387.7517 | 2959.455 | 0.77985 | 0 | 3.4044 | 0.78584 | 1.5597 | Flagged Warnings: | 1263.2072 | 257.9232 | 2.7079 | 1409.1769 | 334.7207 | 1.9065 | [9 empty] | 1.0098 | 1.0046 | 0.020364 | 0.0033043 | 1 | 1.0195 | 4.4433e-13 | 0.0011714 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:38:36 PM | 52716 | [11 empty] | 52716 | 0.99791 | 0.9979 | 0.99792
29 | 187-1-106-A--Spectrum--076 | 0.57351 | 0.0041584 | 0.0034199 | 0.0023658 | 104.0908 | 0.0071166 | 0.0012304 | 0.0070241 | 6.005 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53119 | 0.0078048 | 0.57351 | 0.0041584 | 0.57619 | 0.0039624 | SupCrit | 104.3089 | 0.0070241 | 1283.4409 | 0.0066796 | 639.2743 | 1283.4409 | 1842.8899 | 1.0437 | 5.569 | 0.71118 | 2.0874 | Flagged Warnings: | 1387.7498 | 0.0021729 | 1369.975 | 1387.7498 | 3033.5305 | 0.77344 | 0 | 3.6196 | 0.79605 | 1.5469 | Flagged Warnings: |  |  |  | 1409.223 | 325.5967 | 1.8512 | [9 empty] | 1.0295 | 1.0255 | 0.061594 | 0.0032652 | 1.0021 | 1.0397 | 0.0033053 | 0.0011291 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:43:41 PM | 53021 | [11 empty] | 53021 | 0.99791 | 0.9979 | 0.99792
30 | 187-1-106-B--Spectrum--080 | 0.58042 | 0.0029638 | 0.0017838 | 0.002367 | 104.1052 | 0.0036993 | 0.0012315 | 0.0034956 | 5.989 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53687 | 0.0074903 | 0.58042 | 0.0029638 | 0.58344 | 0.0024836 | SupCrit | 104.3238 | 0.0034956 | 1283.4312 | 0.0029827 | 704.7017 | 1283.4312 | 2027.8635 | 1.0481 | 2.4168 | 0.6988 | 2.0961 | Flagged Warnings: | 1387.7551 | 0.0018229 | 1472.5752 | 1387.755 | 3287.1919 | 0.78342 | 0 | 3.9403 | 0.78529 | 1.5668 | Flagged Warnings: | 1263.3542 | 285.1662 | 2.6017 | 1409.1323 | 391.9695 | 2.0225 | [9 empty] | 1.0144 | 1.0081 | 0.030184 | 0.0029745 | 1.0321 | 1.044 | 0.050326 | 0.001064 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:54:14 PM | 53654 | [11 empty] | 53654 | 0.9979 | 0.99789 | 0.99792
31 | 187-1-106-B--Spectrum--081 | 0.57811 | 0.0029016 | 0.0016789 | 0.0023666 | 104.1004 | 0.0034857 | 0.0012321 | 0.0032675 | 5.983 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53498 | 0.007452 | 0.57811 | 0.0029016 | 0.58103 | 0.0024072 | SupCrit | 104.3193 | 0.0032675 | 1283.4267 | 0.0027399 | 714.7898 | 1283.4267 | 2049.3647 | 1.0466 | 2.0921 | 0.69304 | 2.0931 | Flagged Warnings: | 1387.7461 | 0.0017804 | 1500.2935 | 1387.746 | 3360.9378 | 0.7784 | 0 | 3.8332 | 0.80816 | 1.5568 | Flagged Warnings: | 1263.3737 | 265.7031 | 2.2887 | 1409.1694 | 394.7364 | 1.8584 | [9 empty] | 1.0443 | 1.0245 | 0.092647 | 0.0029283 | 1.0279 | 1.009 | 0.04343 | 0.0010377 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:00:21 PM | 54021 | [11 empty] | 54021 | 0.9979 | 0.99789 | 0.99791
32 | 187-1-106-B--Spectrum--082 | 0.57138 | 0.0028234 | 0.0015416 | 0.0023654 | 104.0864 | 0.0032113 | 0.0012326 | 0.0029716 | 5.972 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52943 | 0.0073673 | 0.57138 | 0.0028234 | 0.57395 | 0.0023163 | SupCrit | 104.3055 | 0.0029716 | 1283.4464 | 0.0025398 | 726.8486 | 1283.4465 | 2090.6253 | 1.0463 | 2.1198 | 0.70182 | 2.0925 | Flagged Warnings: | 1387.7521 | 0.0015426 | 1556.4996 | 1387.752 | 3429.3228 | 0.76137 | 0 | 3.4386 | 0.82079 | 1.5227 | Flagged Warnings: | 1263.3627 | 284.4277 | 2.6821 | 1409.1628 | 407.679 | 2.0201 | [9 empty] | 1.0179 | 1.008 | 0.037549 | 0.0028789 | 1.0263 | 1.0045 | 0.040072 | 0.00097831 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:05:27 PM | 54327 | [11 empty] | 54327 | 0.9979 | 0.99789 | 0.99791
33 | 187-1-107-A--Spectrum--091 | 0.24318 | 0.011111 | 0.010858 | 0.002359 | 103.348 | 0.026141 | 0.0012265 | 0.026168 | 5.951 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23685 | 0.011229 | 0.24318 | 0.011111 | 0.141 | 0.017485 | SupCrit | 103.5664 | 0.026168 | 1285.2121 | 0.02456 | 59.5832 | 1285.2121 | 118.2258 | 0.7645 | 1.2394 | 0.55763 | 1.529 | Flagged Warnings: | 1388.7785 | 0.0090322 | 115.5614 | 1388.7785 | 184.0448 | 0.57669 | 0 | 1.3539 | 0.71077 | 1.1534 | Flagged Warnings: | [15 empty] | 1.0066 | 1.0781 | 0.010103 | 0.025661 | 1.0054 | 1.0455 | 0.006201 | 0.0099807 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:22:44 PM | 55364 | [11 empty] | 55364 | 0.99789 | 0.99788 | 0.9979
34 | 187-1-107-A--Spectrum--092 | 0.24488 | 0.009811 | 0.0095232 | 0.0023587 | 103.3521 | 0.022915 | 0.0012279 | 0.02293 | 5.943 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23848 | 0.010067 | 0.24488 | 0.009811 | 0.14372 | 0.015331 | SupCrit | 103.5708 | 0.02293 | 1285.2055 | 0.021685 | 60.2148 | 1285.2055 | 127.3102 | 0.75908 | 1.2977 | 0.73108 | 1.5182 | Flagged Warnings: | 1388.7763 | 0.0074525 | 123.755 | 1388.7763 | 185.6786 | 0.55673 | 0 | 1.3114 | 0.65158 | 1.1135 | Flagged Warnings: | [15 empty] | 1.0504 | 1.1821 | 0.076574 | 0.025212 | 1.0657 | 1.0322 | 0.073171 | 0.0089974 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:30:09 PM | 55809 |  |  |  |  | 1097.1276 | 163.3381 | 14.2159 | Spline | 0.52187 |  |  | 55809 | 0.99789 | 0.99788 | 0.9979
35 | 187-1-107-A--Spectrum--093 | 0.23424 | 0.010134 | 0.0098555 | 0.0023604 | 103.3264 | 0.023804 | 0.0012287 | 0.023822 | 5.943 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22831 | 0.010358 | 0.23424 | 0.010134 | 0.1266 | 0.016049 | SupCrit | 103.5453 | 0.023822 | 1285.1863 | 0.022245 | 62.0236 | 1285.1863 | 120.4954 | 0.69372 | 1.423 | 0.74392 | 1.3874 | Flagged Warnings: | 1388.7317 | 0.0085255 | 119.8261 | 1388.7317 | 187.7529 | 0.57744 | 0 | 1.3524 | 0.66833 | 1.1549 | Flagged Warnings: | [15 empty] | 1.1675 | 1.1268 | 0.23243 | 0.022369 | 1.1598 | 1.1126 | 0.18451 | 0.0096379 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:35:23 PM | 56123 | [11 empty] | 56123 | 0.99789 | 0.99787 | 0.9979
36 | 187-1-107-B--Spectrum--097 | 0.31202 | 0.041204 | 0.041137 | 0.002351 | 103.5116 | 0.096458 | 0.0012338 | 0.096655 | 5.941 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30169 | 0.038526 | 0.31202 | 0.041204 | 0.24699 | 0.060821 | SupCrit | 103.7314 | 0.096655 | 1284.7295 | 0.09547 | 98.6933 | 1284.7295 | 455.49 | 1.4691 | 10.3117 | 1 | 2.9381 | Flagged Warnings: | 1388.461 | 0.015087 | 210.9552 | 1388.461 | 384.2959 | 0.68371 | 0 | 3.2693 | 0.62351 | 1.3674 | Flagged Warnings: | [15 empty] | 1.0403 | 1.3678 | 0.11835 | 0.02977 | 1.1846 | 1.1827 | 0.25239 | 0.006482 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:48:18 PM | 56898 |  |  |  |  | 1116.8988 | 212.8419 | 25.9842 | Spline | 0.25345 |  |  | 56898 | 0.99788 | 0.99787 | 0.99789
37 | 187-1-107-B--Spectrum--098 | 0.32317 | 0.041313 | 0.041246 | 0.0023503 | 103.5377 | 0.096279 | 0.0012356 | 0.096475 | 5.935 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31203 | 0.038467 | 0.32317 | 0.041313 | 0.26337 | 0.060171 | SupCrit | 103.7578 | 0.096475 | 1284.7025 | 0.095373 | 91.6175 | 1284.7025 | 468.5038 | 1.6277 | 9.1428 | 1 | 3.2555 | Flagged Warnings: | 1388.4603 | 0.01454 | 187.6547 | 1388.4603 | 347.3255 | 0.73213 | 0 | 2.5555 | 0.4898 | 1.4643 | Flagged Warnings: | [15 empty] | 1.0059 | 1.1435 | 0.01932 | 0.035533 | 1.1378 | 1.1394 | 0.20184 | 0.0078029 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:53:54 PM | 57234 |  |  |  |  | 1114.3285 | 233.9746 | 25.3717 | Spline | 0.28679 |  |  | 57234 | 0.99788 | 0.99787 | 0.99789
38 | 187-1-107-B--Spectrum--099 | 0.30349 | 0.036905 | 0.03683 | 0.0023517 | 103.4916 | 0.086658 | 0.0012364 | 0.086834 | 5.935 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29375 | 0.034667 | 0.30349 | 0.036905 | 0.23431 | 0.055018 | SupCrit | 103.7118 | 0.086834 | 1284.7346 | 0.085955 | 96.4156 | 1284.7346 | 452.2668 | 1.4931 | 9.0882 | 1 | 2.9863 | Flagged Warnings: | 1388.4464 | 0.01232 | 207.5543 | 1388.4464 | 360.0769 | 0.63627 | 0 | 2.5541 | 0.68002 | 1.2725 | Flagged Warnings: | [15 empty] | 1.3952 | 1.4809 | 1.1802 | 0.030973 | 1.1585 | 1.1191 | 0.2017 | 0.0061311 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:59:04 PM | 57544 |  |  |  |  | 1112.3514 | 239.9963 | 27.5909 | Spline | 0.29544 |  |  | 57544 | 0.99788 | 0.99786 | 0.99789
39 | 187-1-107-A--Spectrum--100 | 0.2203 | 0.0053176 | 0.0047638 | 0.0023629 | 103.2927 | 0.011562 | 0.0012355 | 0.01152 | 5.939 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21494 | 0.0062134 | 0.2203 | 0.0053176 | 0.10387 | 0.0080391 | SupCrit | 103.5127 | 0.01152 | 1285.2304 | 0.0098012 | 306.5544 | 1285.2304 | 645.3253 | 0.74495 | 4.5698 | 0.76508 | 1.4899 | Flagged Warnings: | 1388.7431 | 0.0060533 | 574.5749 | 1388.743 | 920.6179 | 0.58393 | 0 | 3.225 | 0.69555 | 1.1679 | Flagged Warnings: |  |  |  | 1410.0906 | 96.3854 | 0.83514 | [9 empty] | 1.0224 | 1.0721 | 0.033331 | 0.0048601 | 1.0698 | 1.0081 | 0.081554 | 0.0020326 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:04:31 PM | 57871 | [11 empty] | 57871 | 0.99787 | 0.99786 | 0.99789
40 | 187-1-107-A--Spectrum--101 | 0.22949 | 0.0047873 | 0.0041645 | 0.0023612 | 103.315 | 0.010075 | 0.0012374 | 0.01002 | 5.937 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22376 | 0.005832 | 0.22949 | 0.0047873 | 0.1189 | 0.0070149 | SupCrit | 103.5352 | 0.01002 | 1285.2136 | 0.0095709 | 310.0704 | 1285.2136 | 654.7685 | 0.73095 | 4.0444 | 0.81616 | 1.4619 | Flagged Warnings: | 1388.7489 | 0.0029669 | 578.8321 | 1388.7488 | 927.9862 | 0.5853 | 0 | 2.2514 | 0.69134 | 1.1706 | Flagged Warnings: |  |  |  | 1410.0739 | 96.6061 | 0.8451 | [9 empty] | 1.0554 | 1.0146 | 0.081029 | 0.0047147 | 1.0669 | 1 | 0.078257 | 0.0020223 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:10:01 PM | 58201 |  |  |  |  | 1093.816 | 694.5283 | 40.5367 | Spline | 0.43881 |  |  | 58201 | 0.99787 | 0.99786 | 0.99788
41 | 187-1-107-A--Spectrum--102 | 0.22617 | 0.004753 | 0.0041247 | 0.0023618 | 103.3069 | 0.0099904 | 0.0012391 | 0.0099344 | 5.938 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22058 | 0.0057946 | 0.22617 | 0.004753 | 0.11349 | 0.0069771 | SupCrit | 103.5274 | 0.0099344 | 1285.2149 | 0.0096039 | 315.7187 | 1285.2149 | 667.9971 | 0.75641 | 4.3596 | 0.74114 | 1.5128 | Flagged Warnings: | 1388.7424 | 0.0025413 | 624.3972 | 1388.7423 | 989.4423 | 0.58371 | 0 | 2.0284 | 0.6697 | 1.1674 | Flagged Warnings: |  |  |  | 1410.1495 | 97.1599 | 0.98074 | [9 empty] | 1.0332 | 1.0255 | 0.050204 | 0.0047916 | 1.1117 | 1.0521 | 0.13046 | 0.0018697 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:15:50 PM | 58550 |  |  |  |  | 1092.9263 | 736.0003 | 41.3516 | Spline | 0.44406 |  |  | 58550 | 0.99787 | 0.99786 | 0.99788
42 | 187-1-107-C--Spectrum--107 | 0.27066 | 0.0078234 | 0.0074605 | 0.0023551 | 103.4138 | 0.017782 | 0.001246 | 0.017776 | 6.031 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26294 | 0.0083732 | 0.27066 | 0.0078234 | 0.18433 | 0.011718 | SupCrit | 103.6351 | 0.017776 | 1284.8793 | 0.016549 | 132.6011 | 1284.8793 | 324.818 | 0.81897 | 2.6908 | 0.89421 | 1.6379 | Flagged Warnings: | 1388.5144 | 0.00649 | 250.1233 | 1388.5144 | 463.0183 | 0.6735 | 0 | 1.9015 | 0.6994 | 1.347 | Flagged Warnings: | [15 empty] | 1.4577 | 1.5494 | 0.7497 | 0.012352 | 1.0888 | 1.1369 | 0.11958 | 0.0053853 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:32:18 PM | 59538 | [11 empty] | 59538 | 0.99786 | 0.99785 | 0.99788
43 | 187-1-107-C--Spectrum--108 | 0.30042 | 0.0078344 | 0.007473 | 0.002352 | 103.4844 | 0.017609 | 0.0012489 | 0.017602 | 6.032 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29088 | 0.0084389 | 0.30042 | 0.0078344 | 0.22972 | 0.011341 | SupCrit | 103.706 | 0.017602 | 1284.8027 | 0.016312 | 131.3022 | 1284.8027 | 326.085 | 0.90487 | 2.5619 | 0.69588 | 1.8097 | Flagged Warnings: | 1388.5087 | 0.0066146 | 251.328 | 1388.5087 | 479.0314 | 0.70399 | 0 | 2.0566 | 0.66288 | 1.408 | Flagged Warnings: | [15 empty] | 1.2108 | 1.3062 | 0.38157 | 0.013783 | 1.079 | 1.0957 | 0.11125 | 0.0056021 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:37:55 PM | 59875 | [11 empty] | 59875 | 0.99786 | 0.99785 | 0.99787
44 | 187-1-107-C--Spectrum--109 | 0.29483 | 0.027838 | 0.027738 | 0.0023525 | 103.4712 | 0.065496 | 0.0012507 | 0.065624 | 6.03 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28566 | 0.026375 | 0.29483 | 0.027838 | 0.22132 | 0.041884 | SupCrit | 103.693 | 0.065624 | 1284.7891 | 0.065334 | 126.0366 | 1284.7891 | 318.3343 | 0.91059 | 2.2555 | 0.72118 | 1.8212 | Flagged Warnings: | 1388.4821 | 0.0061665 | 257.6135 | 1388.4821 | 481.2983 | 0.69396 | 0 | 2.0943 | 0.64911 | 1.3879 | Flagged Warnings: | [15 empty] | 1.0158 | 1.0209 | 0.028755 | 0.01445 | 1.1418 | 1.1834 | 0.19674 | 0.0053876 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:43:06 PM | 60186 | [11 empty] | 60186 | 0.99786 | 0.99785 | 0.99787
45 | test--Spectrum--110 | 0.30746 | 0.013516 | 0.01331 | 0.0023514 | 103.5009 | 0.031274 | 0.0012539 | 0.031316 | 45.956 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29745 | 0.01329 | 0.30746 | 0.013516 | 0.24023 | 0.019862 | SupCrit | 103.723 | 0.031316 | 1284.7306 | 0.029246 | 112.3874 | 1284.7306 | 301.966 | 0.86486 | 4.1702 | 0.97637 | 1.7297 | Flagged Warnings: | 1388.4537 | 0.011196 | 239.0645 | 1388.4537 | 438.0652 | 0.63186 | 0 | 3.3714 | 0.82488 | 1.2637 | Flagged Warnings: | [15 empty] | 1.2876 | 1.3596 | 0.49754 | 0.015391 | 1.1823 | 1.1633 | 0.23042 | 0.0052861 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '7s'] | 4:50:16 PM | 60616 |  |  |  |  | 1114.5262 | 95.0425 | 14.423 | Spline | 0.12843 |  |  | 60616 | 0.99786 | 0.99785 | 0.99787
46 | test--Spectrum--112 | 0.21988 | 0.072015 | 0.071976 | 0.0023629 | 103.2917 | 0.17456 | 0.0012515 | 0.17493 | 45.953 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21453 | 0.069294 | 0.21988 | 0.072015 | 0.10318 | 0.11824 | SupCrit | 103.5133 | 0.17493 | 1285.1391 | 0.16957 | 16.1954 | 1285.1391 | 35.9486 | 0.8515 | 2.8411 | 0.5687 | 1.703 | Flagged Warnings: | 1388.6525 | 0.042951 | 42.9835 | 1388.6525 | 41.5098 | 0.45251 | 0 | 2.7432 | 0.0075425 | 0.90502 | Flagged Warnings: Below threshold intensity | [15 empty] | 2.6667 | 2.4151 | 2.8383 | 0.10515 | 1.1562 | 1.1802 | 0.14141 | 0.021055 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:50:43 PM | 60643 |  |  |  |  | 1111.7583 | 22.4277 | 10.8134 | Spline | 0.28954 |  |  | 60643 | 0.99786 | 0.99785 | 0.99787
47 | test--Spectrum--113 | 0.34337 | 0.061199 | 0.061154 | 0.0023492 | 103.5847 | 0.14152 | 0.0012552 | 0.14182 | 45.942 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33064 | 0.056306 | 0.34337 | 0.061199 | 0.29247 | 0.087003 | SupCrit | 103.807 | 0.14182 | 1284.8454 | 0.10688 | 19.8551 | 1284.8454 | 25.7207 | 0.60849 | 2.9654 | 4.3616e-12 | 1.217 | Flagged Warnings: | 1388.6524 | 0.093213 | 24.14 | 1388.6524 | 39.6105 | 0.65285 | 0 | 2.8184 | 0.47453 | 1.3057 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0183 | 1.0588 | 0.022228 | 0.061293 | 1.0838 | 1.7418 | 0.10944 | 0.054089 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:51:02 PM | 60662 |  |  |  |  | 1112.3514 | 43.3392 | 12.9373 | Spline | 0.66338 |  |  | 60662 | 0.99786 | 0.99785 | 0.99787
48 | test--Spectrum--115 | 0.23774 | 0.04922 | 0.049164 | 0.0023599 | 103.3349 | 0.11855 | 0.0012526 | 0.1188 | 45.924 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23166 | 0.047172 | 0.23774 | 0.04922 | 0.13226 | 0.079219 | SupCrit | 103.5567 | 0.1188 | 1285.0158 | 0.11237 | 24.985 | 1285.0158 | 68.9548 | 0.97109 | 2.8222 | 0.77839 | 1.9422 | Flagged Warnings: | 1388.5725 | 0.038547 | 54.5414 | 1388.5725 | 78.0206 | 0.61168 | 0 | 3.0423 | 0.27816 | 1.2234 | Flagged Warnings: | [15 empty] | 1.0963 | 1.2095 | 0.18695 | 0.077734 | 1.0276 | 1.3867 | 0.033774 | 0.02243 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:52:02 PM | 60722 | [11 empty] | 60722 | 0.99786 | 0.99785 | 0.99787
49 | test--Spectrum--116 | 0.25799 | 0.02715 | 0.027048 | 0.0023568 | 103.3836 | 0.064766 | 0.0012534 | 0.064893 | 45.935 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25095 | 0.026043 | 0.25799 | 0.02715 | 0.16452 | 0.042631 | SupCrit | 103.6055 | 0.064893 | 1284.9059 | 0.05862 | 43.4046 | 1284.9059 | 76.4593 | 0.56072 | 2.9041 | 1 | 1.1214 | Flagged Warnings: | 1388.5114 | 0.027834 | 84.4549 | 1388.5114 | 129.6918 | 0.5245 | 0 | 2.8457 | 0.8465 | 1.049 | Flagged Warnings: | [15 empty] | 2.3182 | 2.2557 | 1.4783 | 0.025837 | 1.098 | 1.2 | 0.10277 | 0.012421 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:52:27 PM | 60747 | [11 empty] | 60747 | 0.99786 | 0.99785 | 0.99787
50 | test--Spectrum--117 | 0.28432 | 0.013652 | 0.013448 | 0.0023536 | 103.4463 | 0.031887 | 0.0012547 | 0.03193 | 45.932 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27581 | 0.013454 | 0.28432 | 0.013652 | 0.20536 | 0.02062 | SupCrit | 103.6684 | 0.03193 | 1284.7831 | 0.029862 | 99.2707 | 1284.7831 | 252.9845 | 0.89073 | 2.9923 | 0.79387 | 1.7815 | Flagged Warnings: | 1388.4515 | 0.011305 | 200.6775 | 1388.4515 | 378.2169 | 0.65295 | 0 | 2.8726 | 0.81416 | 1.3059 | Flagged Warnings: | [15 empty] | 1.1365 | 1.1614 | 0.24325 | 0.017945 | 1.2735 | 1.2317 | 0.3572 | 0.0065075 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:53:45 PM | 60825 |  |  |  |  | 1112.302 | 96.0145 | 17.1198 | Spline | 0.15211 |  |  | 60825 | 0.99786 | 0.99785 | 0.99787
51 | 187-1-107-D--Spectrum--120 | 0.29447 | 0.008458 | 0.0081243 | 0.0023525 | 103.4703 | 0.019188 | 0.0012554 | 0.019188 | 6.008 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28533 | 0.0089389 | 0.29447 | 0.008458 | 0.22078 | 0.012392 | SupCrit | 103.6925 | 0.019188 | 1284.7553 | 0.018192 | 163.6126 | 1284.7553 | 416.0739 | 0.88246 | 3.2574 | 0.81045 | 1.7649 | Flagged Warnings: | 1388.4478 | 0.0061011 | 318.0999 | 1388.4478 | 596.8607 | 0.66958 | 0 | 2.1381 | 0.74543 | 1.3392 | Flagged Warnings: | [15 empty] | 1.0405 | 1.1657 | 0.071551 | 0.010787 | 1.1609 | 1.1448 | 0.21541 | 0.0042099 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:54:48 PM | 60888 | [11 empty] | 60888 | 0.99786 | 0.99785 | 0.99787
52 | 187-1-107-D--Spectrum--121 | 0.29426 | 0.0086827 | 0.0083579 | 0.0023526 | 103.4698 | 0.019741 | 0.0012576 | 0.019744 | 6.006 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28513 | 0.0091253 | 0.29426 | 0.0086827 | 0.22046 | 0.012744 | SupCrit | 103.6922 | 0.019744 | 1284.7545 | 0.018842 | 163.5333 | 1284.7545 | 416.2489 | 0.86614 | 3.566 | 0.85488 | 1.7323 | Flagged Warnings: | 1388.4467 | 0.0058979 | 315.2791 | 1388.4467 | 600.1241 | 0.69217 | 0 | 2.2425 | 0.70064 | 1.3843 | Flagged Warnings: | [15 empty] | 1.4269 | 1.3907 | 0.73953 | 0.010593 | 1.1193 | 1.1068 | 0.16514 | 0.0043908 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:00:01 PM | 61201 | [11 empty] | 61201 | 0.99786 | 0.99784 | 0.99787
53 | 187-1-107-D--Spectrum--122 | 0.29508 | 0.0081617 | 0.0078153 | 0.0023525 | 103.4718 | 0.018454 | 0.0012599 | 0.01845 | 6.008 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28589 | 0.0086954 | 0.29508 | 0.0081617 | 0.22169 | 0.011922 | SupCrit | 103.6943 | 0.01845 | 1284.7452 | 0.017424 | 165.2156 | 1284.7452 | 413.8611 | 0.86073 | 3.2772 | 0.83292 | 1.7215 | Flagged Warnings: | 1388.4395 | 0.0060687 | 315.5488 | 1388.4395 | 601.7933 | 0.68684 | 0 | 2.272 | 0.72372 | 1.3737 | Flagged Warnings: | [15 empty] | 1.1042 | 1.1941 | 0.17939 | 0.010419 | 1.1799 | 1.157 | 0.24712 | 0.0043533 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:05:18 PM | 61518 | [11 empty] | 61518 | 0.99785 | 0.99784 | 0.99787
54 | 187-1-108-A--Spectrum--131 | 0.11471 | 0.071565 | 0.071463 | 0.0038198 | 103.0398 | 0.18035 | 0.0012608 | 0.18074 | 6.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11471 | 0.071565 | 0.11774 | 0.072192 | -0.074216 | 0.13187 | SupCrit | 103.2618 | 0.18074 | 1285.8175 | 0.18051 | 57.962 | 1285.8175 | 77.2038 | 0.56129 | 1.3666 | 0.31914 | 1.1226 | Flagged Warnings: | 1389.0793 | 0.0090129 | 107.0434 | 1389.0793 | 131.8985 | 0.47138 | 0 | 1.3802 | 0.57572 | 0.94275 | Flagged Warnings: | [15 empty] | 1.0439 | 1.0577 | 0.049284 | 0.019368 | 1.0252 | 1.0236 | 0.023738 | 0.0088072 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 5:18:48 PM | 62328 | [11 empty] | 62328 | 0.99785 | 0.99784 | 0.99786
55 | 187-1-108-A--Spectrum--132 | 0.12181 | 0.0094009 | 0.008585 | 0.0038309 | 103.0577 | 0.021666 | 0.0012643 | 0.021676 | 6.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12181 | 0.0094009 | 0.1249 | 0.0089976 | -0.06116 | 0.015872 | SupCrit | 103.2799 | 0.021676 | 1285.8095 | 0.019041 | 54.4986 | 1285.8095 | 77.5347 | 0.61583 | 1.139 | 0.24344 | 1.2317 | Flagged Warnings: | 1389.0894 | 0.010357 | 99.5406 | 1389.0894 | 126.4512 | 0.46587 | 0 | 1.2612 | 0.6802 | 0.93175 | Flagged Warnings: | [15 empty] | 1.0552 | 1.0061 | 0.068047 | 0.0226 | 1 | 1.0026 | 4.4978e-13 | 0.0093605 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:25:41 PM | 62741 | [11 empty] | 62741 | 0.99785 | 0.99784 | 0.99786
56 | 187-1-108-A--Spectrum--133 | 0.11598 | 0.0093873 | 0.0085742 | 0.0038216 | 103.043 | 0.021639 | 0.0012668 | 0.021648 | 6.023 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11598 | 0.0093873 | 0.11901 | 0.0089751 | -0.07188 | 0.015921 | SupCrit | 103.2654 | 0.021648 | 1285.8215 | 0.018954 | 56.6405 | 1285.8215 | 83.628 | 0.55931 | 1.1304 | 0.60036 | 1.1186 | Flagged Warnings: | 1389.0868 | 0.01046 | 99.2448 | 1389.0868 | 133.1467 | 0.47988 | 0 | 1.2399 | 0.73987 | 0.95977 | Flagged Warnings: | [15 empty] | 1.0027 | 1.0365 | 0.0030564 | 0.01975 | 1.007 | 1.0178 | 0.0067117 | 0.0096707 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:30:59 PM | 63059 | [11 empty] | 63059 | 0.99785 | 0.99783 | 0.99786
57 | 187-1-109-A--Spectrum--140 | 0.32773 | 0.0050984 | 0.0045245 | 0.00235 | 103.5484 | 0.010544 | 0.0012808 | 0.010489 | 5.999 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31625 | 0.0064911 | 0.32773 | 0.0050984 | 0.27001 | 0.0067946 | SupCrit | 103.7723 | 0.010489 | 1284.556 | 0.0093101 | 244.4267 | 1284.556 | 637.3293 | 0.95904 | 2.8293 | 0.67309 | 1.9181 | Flagged Warnings: | 1388.3283 | 0.0048306 | 509.2748 | 1388.3283 | 991.6191 | 0.69285 | 0 | 3.2222 | 0.75216 | 1.3857 | Flagged Warnings: | [15 empty] | 1.1635 | 1.1797 | 0.3136 | 0.0078472 | 1.1897 | 1.1661 | 0.26293 | 0.0027209 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:45:53 PM | 63953 | [11 empty] | 63953 | 0.99784 | 0.99783 | 0.99785
58 | 187-1-109-B--Spectrum--144 | 0.60836 | 0.0048965 | 0.0042835 | 0.0023722 | 104.1627 | 0.0087611 | 0.0012938 | 0.0086838 | 6.034 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55968 | 0.0083739 | 0.60836 | 0.0048965 | 0.61206 | 0.004603 | SupCrit | 104.3882 | 0.0086838 | 1283.2573 | 0.0083338 | 401.6352 | 1283.2573 | 1196.2951 | 1.0615 | 4.6105 | 0.74852 | 2.123 | Flagged Warnings: | 1387.6456 | 0.0024404 | 850.5861 | 1387.6455 | 1919.568 | 0.7905 | 0 | 2.8452 | 0.78966 | 1.581 | Flagged Warnings: |  |  |  | 1409.082 | 222.9603 | 1.988 | [9 empty] | 1.0402 | 1.0123 | 0.085331 | 0.005286 | 1.0255 | 1.0195 | 0.040366 | 0.0018587 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 5:55:36 PM | 64536 | [11 empty] | 64536 | 0.99784 | 0.99783 | 0.99785
59 | 187-1-109-B--Spectrum--145 | 0.60772 | 0.004941 | 0.0043344 | 0.0023721 | 104.1614 | 0.008868 | 0.0012969 | 0.0087917 | 6.04 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55916 | 0.0083858 | 0.60772 | 0.004941 | 0.61142 | 0.0046546 | SupCrit | 104.3871 | 0.0087917 | 1283.2414 | 0.0083736 | 391.6492 | 1283.2414 | 1171.4924 | 1.0607 | 4.3327 | 0.76025 | 2.1214 | Flagged Warnings: | 1387.6285 | 0.0026789 | 828.8822 | 1387.6284 | 1889.0577 | 0.79879 | 0 | 3.098 | 0.78828 | 1.5976 | Flagged Warnings: |  |  |  | 1409.0741 | 222.9046 | 1.9698 | [9 empty] | 1.0353 | 1.0227 | 0.074913 | 0.0054166 | 1.0168 | 1.0469 | 0.026794 | 0.0019274 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:01:00 PM | 64860 | [11 empty] | 64860 | 0.99784 | 0.99783 | 0.99785
60 | 187-1-109-B--Spectrum--146 | 0.59896 | 0.0048884 | 0.0042753 | 0.0023704 | 104.1435 | 0.0087852 | 0.0012997 | 0.0087074 | 6.04 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55204 | 0.0082938 | 0.59896 | 0.0048884 | 0.60256 | 0.0046489 | SupCrit | 104.3692 | 0.0087074 | 1283.2679 | 0.0083438 | 392.5657 | 1283.2679 | 1161.3978 | 1.0629 | 4.4199 | 0.72935 | 2.1259 | Flagged Warnings: | 1387.6371 | 0.0024898 | 819.4952 | 1387.6371 | 1880.3636 | 0.81442 | 0 | 2.7366 | 0.75922 | 1.6288 | Flagged Warnings: |  |  |  | 1408.9474 | 246.5235 | 2.3125 | [9 empty] | 1.035 | 1.0654 | 0.074356 | 0.0054154 | 1.063 | 1.0146 | 0.10266 | 0.0019876 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:06:11 PM | 65171 | [11 empty] | 65171 | 0.99784 | 0.99782 | 0.99785
61 | 187-1-109-C--Spectrum--149 | 0.55676 | 0.0066107 | 0.0061739 | 0.002363 | 104.0558 | 0.012954 | 0.0013035 | 0.012916 | 6.024 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51732 | 0.0087715 | 0.55676 | 0.0066107 | 0.55834 | 0.0068599 | SupCrit | 104.2816 | 0.012916 | 1283.4453 | 0.011495 | 155.0667 | 1283.4453 | 468.0303 | 1.0845 | 2.0489 | 0.72921 | 2.169 | Flagged Warnings: | 1387.7269 | 0.0058893 | 333.0118 | 1387.7269 | 754.1792 | 0.7819 | 0 | 2.7862 | 0.82207 | 1.5638 | Flagged Warnings: | [15 empty] | 1 | 1.0823 | 0 | 0.013987 | 1.0833 | 1.0179 | 0.13032 | 0.0046959 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:14:25 PM | 65665 | [11 empty] | 65665 | 0.99784 | 0.99782 | 0.99785
62 | 187-1-109-D--Spectrum--153 | 0.4527 | 0.0050823 | 0.0045059 | 0.0023509 | 103.8319 | 0.0099379 | 0.0013059 | 0.0098731 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42859 | 0.0072602 | 0.4527 | 0.0050823 | 0.43788 | 0.0058346 | SupCrit | 104.0573 | 0.0098731 | 1283.9598 | 0.00945 | 284.5019 | 1283.9598 | 850.2156 | 1.1043 | 3.3713 | 0.66184 | 2.2085 | Flagged Warnings: | 1388.0172 | 0.0028594 | 625.9442 | 1388.0171 | 1357.217 | 0.77137 | 0 | 2.4776 | 0.75332 | 1.5427 | Flagged Warnings: |  |  |  | 1409.5255 | 149.8018 | 1.5907 | [9 empty] | 1.0932 | 1.0403 | 0.20594 | 0.0077628 | 1.0043 | 1.0031 | 0.0066785 | 0.0024647 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:22:51 PM | 66171 | [11 empty] | 66171 | 0.99783 | 0.99782 | 0.99785
63 | 187-1-110-A--Spectrum--158 | 0.53885 | 0.0092034 | 0.0088956 | 0.0023602 | 104.0181 | 0.018829 | 0.0013158 | 0.018823 | 6.022 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.50236 | 0.010187 | 0.53885 | 0.0092034 | 0.53878 | 0.0099684 | SupCrit | 104.2442 | 0.018823 | 1283.5579 | 0.017263 | 103.3967 | 1283.5579 | 313.876 | 1.0993 | 1.7063 | 0.71066 | 2.1985 | Flagged Warnings: | 1387.8021 | 0.0075042 | 208.6157 | 1387.8021 | 477.251 | 0.80775 | 0 | 1.9544 | 0.77034 | 1.6155 | Flagged Warnings: | [15 empty] | 1.1913 | 1.0718 | 0.42052 | 0.021263 | 1.0268 | 1.0341 | 0.043302 | 0.0077439 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:34:37 PM | 66877 | [11 empty] | 66877 | 0.99783 | 0.99782 | 0.99784
64 | test--Spectrum--159 | 0.45613 | 0.01023 | 0.0099557 | 0.0023512 | 103.8395 | 0.021922 | 0.0013182 | 0.02193 | 45.918 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43158 | 0.010633 | 0.45613 | 0.01023 | 0.44212 | 0.012397 | SupCrit | 104.0653 | 0.02193 | 1283.7572 | 0.020279 | 243.6879 | 1283.7572 | 654.7279 | 0.91411 | 5.4777 | 0.85523 | 1.8282 | Flagged Warnings: | 1387.8226 | 0.0083483 | 513.1948 | 1387.8225 | 1069.775 | 0.71416 | 0 | 5.0802 | 0.84036 | 1.4283 | Flagged Warnings: |  |  |  | 1409.0974 | 140.7889 | 1.7706 | [9 empty] | 1.053 | 1.1926 | 0.096978 | 0.0075023 | 1.1259 | 1.1153 | 0.17984 | 0.0027832 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '7s'] | 6:41:40 PM | 67300 |  |  |  |  | 1099.4507 | 21.5823 | 19.721 | Spline | 0.012515 |  |  | 67300 | 0.99783 | 0.99782 | 0.99784
65 | test--Spectrum--160 | 0.49284 | 0.0071315 | 0.0067316 | 0.0023545 | 103.9196 | 0.014568 | 0.0013195 | 0.01454 | 45.931 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46334 | 0.0086835 | 0.49284 | 0.0071315 | 0.48634 | 0.0080875 | SupCrit | 104.1457 | 0.01454 | 1283.7489 | 0.013399 | 240.7778 | 1283.7489 | 628.8213 | 0.94709 | 3.8627 | 0.70718 | 1.8942 | Flagged Warnings: | 1387.8946 | 0.0056458 | 482.6953 | 1387.8945 | 1014.9215 | 0.71482 | 0 | 3.5989 | 0.85695 | 1.4296 | Flagged Warnings: |  |  |  | 1409.3099 | 72.067 | 1.5355 | [9 empty] | 1.0394 | 1.0406 | 0.074681 | 0.007867 | 1.288 | 1.2563 | 0.41168 | 0.0029618 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:42:02 PM | 67322 |  |  |  |  | 1094.854 | 245.5096 | 29.8333 | Spline | 0.14936 |  |  | 67322 | 0.99783 | 0.99782 | 0.99784
66 | 187-1-110-B--Spectrum--165 | 0.50733 | 0.0033432 | 0.0023719 | 0.0023561 | 103.9509 | 0.0050978 | 0.0013207 | 0.0049345 | 6.014 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47572 | 0.0069291 | 0.50733 | 0.0033432 | 0.5032 | 0.0032039 | SupCrit | 104.177 | 0.0049345 | 1283.6597 | 0.0044151 | 512.2717 | 1283.6597 | 1471.7098 | 1.0756 | 2.4303 | 0.63114 | 2.1511 | Flagged Warnings: | 1387.8368 | 0.0022036 | 1091.0659 | 1387.8367 | 2399.3699 | 0.78451 | 0 | 3.314 | 0.74697 | 1.569 | Flagged Warnings: | 1263.6203 | 192.8269 | 2.0469 | 1409.1823 | 280.4461 | 1.8767 | [9 empty] | 1.1508 | 1.1265 | 0.32429 | 0.0041992 | 1.0722 | 1.0779 | 0.1133 | 0.0014381 | PseudoVoigtModel | PseudoVoigtModel | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:43:12 PM | 67392 |  |  |  |  | 1091.4929 | 379.8257 | 29.2931 | Spline | 0.098119 |  |  | 67392 | 0.99783 | 0.99782 | 0.99784
67 | test--Spectrum--159--Spec.Data 1 | 0 | 0 | 0 | 0 |  |  |  | 0 |  |  | 0 | 0 | Y | not in range | [8 empty] | SupCrit | [57 empty] | 1150.2115 | 4.7591 | 18.4757 | PseudoVoigtModel