## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
16 | FG19-101-A-50X-rep1 | 0.95336 | 0.0038218 | 0.0034739 | 0.0015932 | 105.016 | 0.011249 | 0.00068065 | 0.011251 | 6.02 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89778 | 0.01276 | 1.0762 | 0.0073753 | 0.95336 | 0.0038218 | SupCrit | 105.2314 | 0.011251 | 1281.5924 | 0.0092358 | 240.5963 | 1281.5924 | 694.4778 | 0.95589 | 2.6907 | 0.91513 | 1.9118 | Flagged Warnings: | 1386.8238 | 0.0064257 | 461.8065 | 1386.8238 | 1241.158 | 0.88996 | 0 | 3.4644 | 0.91531 | 1.7799 | Flagged Warnings: | [15 empty] | 1.0597 | 1.0106 | 0.11408 | 0.007946 | 1.0226 | 1.017 | 0.0403 | 0.0038542 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:40:55 PM | 45655 | [5 empty] | 45655 | 0.99795 | 0.99795 | 0.99796
17 | FG19-101-A-50X-rep2 | 0.95258 | 0.0035659 | 0.0031902 | 0.0015931 | 105.0135 | 0.010312 | 0.0006791 | 0.010311 | 6.037 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89678 | 0.012622 | 1.0746 | 0.0068314 | 0.95258 | 0.0035659 | SupCrit | 105.2289 | 0.010311 | 1281.6006 | 0.0082664 | 236.0258 | 1281.6006 | 661.0591 | 0.90192 | 2.2355 | 0.97547 | 1.8038 | Flagged Warnings: | 1386.8295 | 0.0061631 | 438.1145 | 1386.8295 | 1186.9948 | 0.88253 | 0 | 3.1091 | 0.95095 | 1.7651 | Flagged Warnings: | [15 empty] | 1.1341 | 1.0236 | 0.24194 | 0.0076426 | 1.0665 | 1.0422 | 0.11744 | 0.0040287 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:45:08 PM | 45908 | [5 empty] | 45908 | 0.99795 | 0.99795 | 0.99796
18 | FG19-101-A-50X-rep3 | 0.95491 | 0.0036808 | 0.003318 | 0.0015935 | 105.021 | 0.010781 | 0.00067513 | 0.010782 | 6.064 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89977 | 0.012721 | 1.0793 | 0.0071149 | 0.95491 | 0.0036808 | SupCrit | 105.2365 | 0.010782 | 1281.5909 | 0.0092229 | 253.1298 | 1281.5909 | 734.7186 | 0.96026 | 2.8564 | 0.91728 | 1.9205 | Flagged Warnings: | 1386.8274 | 0.0055855 | 492.7143 | 1386.8274 | 1307.7408 | 0.86705 | 0 | 3.126 | 0.94473 | 1.7341 | Flagged Warnings: | [15 empty] | 1.0262 | 1.032 | 0.050363 | 0.0075871 | 1.0533 | 1.0186 | 0.092349 | 0.0035195 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:56:48 PM | 46608 | [5 empty] | 46608 | 0.99795 | 0.99795 | 0.99796
19 | FG19-101-A-50X-12mw | 0.9502 | 0.0033701 | 0.00297 | 0.0015928 | 105.0058 | 0.0095498 | 0.00067372 | 0.0095455 | 12.005 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89373 | 0.012489 | 1.0699 | 0.0063846 | 0.9502 | 0.0033701 | SupCrit | 105.2212 | 0.0095455 | 1281.6024 | 0.0075629 | 436.8394 | 1281.6024 | 1248.8595 | 0.93767 | 3.9587 | 0.93609 | 1.8753 | Flagged Warnings: | 1386.8236 | 0.005824 | 823.2982 | 1386.8236 | 2239.8026 | 0.89944 | 0 | 5.2829 | 0.91874 | 1.7989 | Flagged Warnings: | [15 empty] | 1.0529 | 1.0098 | 0.099242 | 0.004293 | 1.0321 | 1.0218 | 0.0577 | 0.002185 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:00:49 PM | 46849 | [5 empty] | 46849 | 0.99795 | 0.99795 | 0.99796
0 | 187-1-201-MI1-rep1 | 0.09324 | 0.012687 | 0.012104 | 0.0038018 | 102.9856 | 0.030546 | 0.00065175 | 0.030602 | 11.953 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.09324 | 0.012687 | 0.096133 | 0.01238 | -0.11415 | 0.022768 | SupCrit | 103.1969 | 0.030602 | 1285.809 | 0.027226 | 90.6556 | 1285.809 | 172.7369 | 0.60651 | 3.7449 | 1 | 1.213 | Flagged Warnings: | 1389.0059 | 0.013972 | 138.0214 | 1389.0059 | 176.746 | 0.52161 | 0 | 2.4748 | 0.4121 | 1.0432 | Flagged Warnings: | [15 empty] | 1.0381 | 1.1351 | 0.046274 | 0.013381 | 1.0671 | 1.0911 | 0.070014 | 0.0075583 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:33:14 PM | 48794 | 1095.3636 | 357.8599 | 29.6368 | Spline | 1.024 | 48794 | 0.99795 | 0.99795 | 0.99796
1 | 187-1-201-MI1-rep2 | 0.1283 | 0.012201 | 0.01158 | 0.0038433 | 103.074 | 0.029224 | 0.00065105 | 0.029277 | 11.94 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1283 | 0.012201 | 0.13146 | 0.011962 | -0.049272 | 0.021237 | SupCrit | 103.2855 | 0.029277 | 1285.7434 | 0.025947 | 85.5971 | 1285.7434 | 152.8404 | 0.63658 | 3.1073 | 0.7477 | 1.2732 | Flagged Warnings: | 1389.0289 | 0.01356 | 144.9316 | 1389.0289 | 194.0616 | 0.52701 | 0 | 2.2742 | 0.5028 | 1.054 | Flagged Warnings: | [15 empty] | 1.1406 | 1.0944 | 0.17898 | 0.014874 | 1.033 | 1.0429 | 0.034786 | 0.0072726 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:38:37 PM | 49117 | 1095.413 | 548.162 | 44.9819 | Spline | 1.5802 | 49117 | 0.99795 | 0.99795 | 0.99796
2 | 187-1-201-MI1-rep3 | 0.12683 | 0.012441 | 0.011834 | 0.0038403 | 103.0703 | 0.029865 | 0.00064986 | 0.029919 | 11.934 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12683 | 0.012441 | 0.12997 | 0.01221 | -0.051966 | 0.021723 | SupCrit | 103.2818 | 0.029919 | 1285.7277 | 0.027006 | 88.7564 | 1285.7277 | 167.1936 | 0.59961 | 2.7463 | 1 | 1.1992 | Flagged Warnings: | 1389.0095 | 0.012878 | 148.5364 | 1389.0095 | 206.7593 | 0.53575 | 0 | 2.4086 | 0.56031 | 1.0715 | Flagged Warnings: | [15 empty] | 1.2024 | 1.0613 | 0.24274 | 0.013511 | 1.0686 | 1.1 | 0.073534 | 0.0072137 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:43:53 PM | 49433 | 1095.3636 | 225.8407 | 21.2104 | Spline | 0.60393 | 49433 | 0.99795 | 0.99795 | 0.99796
3 | 187-1-201-FI2 | 0.58343 | 0.0071151 | 0.0067096 | 0.0023675 | 104.1114 | 0.013894 | 0.00065282 | 0.013907 | 6.019 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53935 | 0.0092034 | 0.58343 | 0.0071151 | 0.58658 | 0.0071671 | SupCrit | 104.3251 | 0.013907 | 1283.3094 | 0.013541 | 595.7718 | 1283.3094 | 1960.4233 | 1.0801 | 12.9387 | 0.93437 | 2.1602 | Flagged Warnings: | 1387.6345 | 0.0031705 | 1204.5868 | 1387.6345 | 2798.9275 | 0.8189 | 0 | 4.8382 | 0.77564 | 1.6378 | Flagged Warnings: |  |  |  | 1408.9302 | 356.0753 | 2.1224 | [9 empty] | 1.0608 | 1.04 | 0.13134 | 0.0036259 | 1.0102 | 1.0116 | 0.016644 | 0.0013596 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:02:27 PM | 50547 | [5 empty] | 50547 | 0.99795 | 0.99795 | 0.99796
4 | 187-1-201-FI3 | 0.54447 | 0.0069794 | 0.0065679 | 0.0023611 | 104.03 | 0.013864 | 0.00065151 | 0.013877 | 6.018 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.50707 | 0.0088919 | 0.54447 | 0.0069794 | 0.54497 | 0.0073903 | SupCrit | 104.2435 | 0.013877 | 1283.5226 | 0.013398 | 329.0391 | 1283.5226 | 1102.8524 | 1.1779 | 6.1774 | 0.78135 | 2.3557 | Flagged Warnings: | 1387.7661 | 0.0036126 | 707.5687 | 1387.7661 | 1674.9234 | 0.82077 | 0 | 3.4185 | 0.81326 | 1.6415 | Flagged Warnings: |  |  |  | 1409.0854 | 214.1567 | 2.0601 | [9 empty] | 1.1659 | 1.1022 | 0.39081 | 0.0071593 | 1.0938 | 1.0991 | 0.154 | 0.00232 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:07:19 PM | 50839 | [5 empty] | 50839 | 0.99795 | 0.99795 | 0.99796
5 | 187-1-201-FI4 | 0.6007 | 0.0057491 | 0.0052375 | 0.0023707 | 104.147 | 0.010753 | 0.00065147 | 0.010755 | 6.018 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55345 | 0.008665 | 0.6007 | 0.0057491 | 0.60432 | 0.0055638 | SupCrit | 104.3608 | 0.010755 | 1283.2551 | 0.010406 | 496.1726 | 1283.2551 | 1544.9975 | 1.0779 | 7.5584 | 0.81594 | 2.1559 | Flagged Warnings: | 1387.616 | 0.0027193 | 1042.6207 | 1387.6159 | 2404.9758 | 0.80628 | 0 | 3.7275 | 0.79484 | 1.6126 | Flagged Warnings: |  |  |  | 1408.9092 | 307.2395 | 2.4031 | [9 empty] | 1.033 | 1.0459 | 0.071185 | 0.004345 | 1.0145 | 1.0044 | 0.023419 | 0.0015466 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:12:21 PM | 51141 | [5 empty] | 51141 | 0.99795 | 0.99795 | 0.99796
6 | 187-1-201-FI5 | 0.58325 | 0.0054177 | 0.0048731 | 0.0023675 | 104.111 | 0.010092 | 0.00065016 | 0.010092 | 6.012 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5392 | 0.008388 | 0.58325 | 0.0054177 | 0.5864 | 0.0053275 | SupCrit | 104.3248 | 0.010092 | 1283.3477 | 0.0097974 | 784.8284 | 1283.3478 | 2560.9078 | 1.0888 | 9.8064 | 0.902 | 2.1777 | Flagged Warnings: | 1387.6726 | 0.0024189 | 1623.4483 | 1387.6726 | 3771.7876 | 0.81783 | 0 | 5.1053 | 0.77835 | 1.6357 | Flagged Warnings: | 1263.5471 | 490.8059 | 3.268 | 1409.0514 | 454.7093 | 2.0455 | [9 empty] | 1.0107 | 1.0011 | 0.023237 | 0.0027747 | 1.0206 | 1.0246 | 0.033655 | 0.0010075 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:20:18 PM | 51618 | [5 empty] | 51618 | 0.99795 | 0.99794 | 0.99796
7 | 187-1-203-xtal4-FI1 | 0.45508 | 0.0030004 | 0.0018641 | 0.0023511 | 103.8371 | 0.0041068 | 0.00064606 | 0.004064 | 6.01 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43067 | 0.0063349 | 0.45508 | 0.0030004 | 0.44082 | 0.0028574 | SupCrit | 104.0508 | 0.004064 | 1283.9763 | 0.0034012 | 716.2678 | 1283.9763 | 2143.9043 | 1.1192 | 2.6962 | 0.63461 | 2.2383 | Flagged Warnings: | 1388.0272 | 0.0022243 | 1545.8813 | 1388.0271 | 3425.8225 | 0.79469 | 0 | 5.0567 | 0.73457 | 1.5894 | Flagged Warnings: | 1263.9277 | 297.1721 | 2.2725 | 1409.4832 | 393.3256 | 1.5636 | [9 empty] | 1.023 | 1.0695 | 0.051575 | 0.003125 | 1.0106 | 1.0443 | 0.016837 | 0.0010281 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:35:11 PM | 56111 | [5 empty] | 56111 | 0.99795 | 0.99794 | 0.99795
8 | 187-1-203-xtal4-FI2 | 0.46288 | 0.0046149 | 0.0039707 | 0.0023517 | 103.8543 | 0.008716 | 0.00065507 | 0.0087093 | 6.026 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43747 | 0.0070946 | 0.46288 | 0.0046149 | 0.45041 | 0.0051405 | SupCrit | 104.0687 | 0.0087093 | 1283.9293 | 0.0083067 | 440.9947 | 1283.9293 | 1333.674 | 1.1247 | 4.8737 | 0.64598 | 2.2495 | Flagged Warnings: | 1387.998 | 0.0026173 | 931.134 | 1387.9979 | 2114.9092 | 0.8094 | 0 | 3.3324 | 0.74945 | 1.6188 | Flagged Warnings: |  |  |  | 1409.3689 | 241.2501 | 1.6998 | [9 empty] | 1.156 | 1.0849 | 0.35091 | 0.005101 | 1.0126 | 1.058 | 0.020362 | 0.0017385 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:38:05 PM | 59885 | [5 empty] | 59885 | 0.99794 | 0.99793 | 0.99795
9 | 187-1-204-MI1-rep1 | 0.13517 | 0.017349 | 0.016915 | 0.0038587 | 103.0914 | 0.042688 | 0.00065363 | 0.042771 | 11.984 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13517 | 0.017349 | 0.13842 | 0.017319 | -0.036762 | 0.030797 | SupCrit | 103.3043 | 0.042771 | 1285.6406 | 0.038954 | 37.957 | 1285.6406 | 57.0828 | 0.52254 | 1.4095 | 0.80745 | 1.0451 | Flagged Warnings: | 1388.9449 | 0.017661 | 65.8073 | 1388.9449 | 94.8249 | 0.54002 | 0 | 1.6296 | 0.62711 | 1.08 | Flagged Warnings: | [15 empty] | 1.1044 | 1.0864 | 0.10908 | 0.027533 | 1.177 | 1.1509 | 0.19122 | 0.016412 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:52:26 PM | 60746 | [5 empty] | 60746 | 0.99794 | 0.99793 | 0.99794
10 | 187-1-204-MI1-rep2-20mw | 0.12562 | 0.009696 | 0.0089041 | 0.0038379 | 103.0673 | 0.022472 | 0.00065469 | 0.022508 | 20.02 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12562 | 0.009696 | 0.12876 | 0.0093174 | -0.054167 | 0.016408 | SupCrit | 103.2803 | 0.022508 | 1285.7295 | 0.019323 | 68.3189 | 1285.7295 | 110.523 | 0.64122 | 1.4319 | 0.48447 | 1.2824 | Flagged Warnings: | 1389.0098 | 0.011544 | 119.9973 | 1389.0098 | 168.3654 | 0.51833 | 0 | 1.6497 | 0.6624 | 1.0367 | Flagged Warnings: | [15 empty] | 1.0155 | 1.0577 | 0.019934 | 0.018771 | 1.0712 | 1.0995 | 0.073797 | 0.0086391 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:57:10 PM | 61030 | [5 empty] | 61030 | 0.99794 | 0.99793 | 0.99794
11 | 187-1-204-FI1 | 0.5996 | 0.0046683 | 0.0040217 | 0.0023705 | 104.1448 | 0.0082615 | 0.0006664 | 0.0082516 | 6.022 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55256 | 0.0082147 | 0.5996 | 0.0046683 | 0.60321 | 0.0044049 | SupCrit | 104.3602 | 0.0082516 | 1283.3002 | 0.0078882 | 389.6105 | 1283.3002 | 1153.9576 | 1.086 | 3.9902 | 0.68065 | 2.172 | Flagged Warnings: | 1387.6605 | 0.0024219 | 830.3752 | 1387.6604 | 1908.8508 | 0.79567 | 0 | 2.7796 | 0.81713 | 1.5913 | Flagged Warnings: |  |  |  | 1409.0735 | 226.365 | 2.0058 | [9 empty] | 1.082 | 1.0768 | 0.17809 | 0.0055747 | 1.036 | 1.0571 | 0.057315 | 0.0019164 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:14:11 PM | 62051 | [5 empty] | 62051 | 0.99794 | 0.99793 | 0.99794
12 | 187-1-204-FI2 | 0.59454 | 0.0049285 | 0.0043215 | 0.0023695 | 104.1344 | 0.0088997 | 0.00067143 | 0.0088927 | 6.028 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54843 | 0.0082736 | 0.59454 | 0.0049285 | 0.59804 | 0.0047187 | SupCrit | 104.35 | 0.0088927 | 1283.3345 | 0.0085527 | 443.5368 | 1283.3345 | 1354.0642 | 1.0871 | 5.3258 | 0.75048 | 2.1742 | Flagged Warnings: | 1387.6845 | 0.0024355 | 942.3559 | 1387.6844 | 2214.5229 | 0.82336 | 0 | 3.3447 | 0.78927 | 1.6467 | Flagged Warnings: |  |  |  | 1409.1515 | 280.9533 | 2.1099 | [9 empty] | 1.0347 | 1.0265 | 0.075445 | 0.0049019 | 1.0536 | 1.0508 | 0.088277 | 0.0017474 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:29:55 PM | 62995 | [5 empty] | 62995 | 0.99793 | 0.99793 | 0.99794
13 | 187-1-205-MI1 | 0.055581 | 0.0049853 | 0.0031945 | 0.0038274 | 102.8905 | 0.008062 | 0.00066883 | 0.0080508 | 12.01 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.055581 | 0.0049853 | 0.058495 | 0.0039898 | -0.1857 | 0.0064568 | SupCrit | 103.1038 | 0.0080508 | 1286.2298 | 0.0074627 | 245.8682 | 1286.2298 | 305.1377 | 0.4852 | 2.2793 | 0.52021 | 0.9704 | Flagged Warnings: | 1389.3337 | 0.0030206 | 402.121 | 1389.3336 | 447.997 | 0.46411 | 0 | 1.7947 | 0.35099 | 0.92823 | Flagged Warnings: |  |  |  | 1410.6086 | 48.8881 | 0.38464 | [9 empty] | 1.1661 | 1.1892 | 0.16115 | 0.0039468 | 1.1367 | 1.1451 | 0.12686 | 0.0023083 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:45:11 PM | 63911 | 1093.4852 | 1148.3297 | 74.4449 | Spline | 1.5247 | 63911 | 0.99793 | 0.99792 | 0.99794
14 | 187-1-205-MI2-unquantdiad | 0.042435 | 0.030633 | 0.03039 | 0.0038533 | 102.8574 | 0.076695 | 0.00067129 | 0.076852 | 12.008 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.042435 | 0.030633 | 0.045422 | 0.030287 | -0.21113 | 0.059095 | SupCrit | 103.0707 | 0.076852 | 1286.2153 | 0.071413 | 18.8932 | 1286.2153 | 28.0655 | 0.60567 | 1.4245 | 0.40946 | 1.2113 | Flagged Warnings: | 1389.286 | 0.028396 | 35.9584 | 1389.286 | 35.7859 | 0.46105 | 0 | 1.6429 | 0.042556 | 0.92211 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.2107 | 1.178 | 0.25522 | 0.064115 | 1.1478 | 1.1671 | 0.13626 | 0.025644 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:52:14 PM | 64334 | [5 empty] | 64334 | 0.99793 | 0.99792 | 0.99794
15 | 187-1-206-MI1 | 0.1179 | 0.0052281 | 0.0035646 | 0.0038245 | 103.0478 | 0.008996 | 0.00068126 | 0.0089888 | 11.994 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1179 | 0.0052281 | 0.12095 | 0.0043183 | -0.068345 | 0.0068336 | SupCrit | 103.2619 | 0.0089888 | 1285.7642 | 0.008198 | 225.3749 | 1285.7642 | 363.8828 | 0.60767 | 2.7902 | 0.61656 | 1.2153 | Flagged Warnings: | 1389.0261 | 0.0036868 | 415.8551 | 1389.026 | 550.1425 | 0.52162 | 0 | 1.9972 | 0.49827 | 1.0432 | Flagged Warnings: |  |  |  | 1410.3578 | 56.7025 | 0.57441 | [9 empty] | 1.1148 | 1.0548 | 0.13958 | 0.0053925 | 1.0363 | 1.0576 | 0.037873 | 0.0025087 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:13:29 PM | 65609 | [5 empty] | 65609 | 0.99793 | 0.99792 | 0.99793
20 | FG19-101-A-50X-rep4 | 0.95492 | 0.0041013 | 0.0037791 | 0.0015935 | 105.0211 | 0.01228 | 0.00070234 | 0.012286 | 6.005 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89979 | 0.012933 | 1.0793 | 0.0079865 | 0.95492 | 0.0041013 | SupCrit | 105.2396 | 0.012286 | 1281.55 | 0.0098647 | 212.1591 | 1281.55 | 614.449 | 0.93732 | 2.4561 | 0.96478 | 1.8746 | Flagged Warnings: | 1386.7896 | 0.0073231 | 417.1786 | 1386.7896 | 1115.1643 | 0.87976 | 0 | 3.4093 | 0.92863 | 1.7595 | Flagged Warnings: | [15 empty] | 1.0036 | 1.0181 | 0.0066952 | 0.008836 | 1.0725 | 1.0545 | 0.12765 | 0.0042177 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:30:57 PM | 66657 | [5 empty] | 66657 | 0.99792 | 0.99792 | 0.99793
21 | FG19-101-A-50X-rep5 | 0.95947 | 0.0038011 | 0.0034506 | 0.0015943 | 105.0359 | 0.01133 | 0.00070476 | 0.011331 | 6.004 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.90568 | 0.012869 | 1.0885 | 0.0074621 | 0.95947 | 0.0038011 | SupCrit | 105.2545 | 0.011331 | 1281.5504 | 0.0092285 | 256.5657 | 1281.5504 | 736.2915 | 0.94592 | 2.66 | 0.92535 | 1.8918 | Flagged Warnings: | 1386.8049 | 0.0065754 | 488.8669 | 1386.8049 | 1294.7531 | 0.8764 | 0 | 3.5858 | 0.9168 | 1.7528 | Flagged Warnings: | [15 empty] | 1.0266 | 1.03 | 0.050404 | 0.0073737 | 1.0076 | 1.0039 | 0.01338 | 0.0035854 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:35:46 PM | 66946 | [5 empty] | 66946 | 0.99792 | 0.99792 | 0.99793
22 | FG19-101-A-50X-rep6 | 0.94555 | 0.004211 | 0.0038984 | 0.0015921 | 104.9909 | 0.012408 | 0.00070641 | 0.012414 | 6.002 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.88784 | 0.012805 | 1.0608 | 0.0079956 | 0.94555 | 0.004211 | SupCrit | 105.2095 | 0.012414 | 1281.5725 | 0.010497 | 202.1877 | 1281.5725 | 569.0267 | 0.90326 | 2.2999 | 0.98257 | 1.8065 | Flagged Warnings: | 1386.782 | 0.0066266 | 373.147 | 1386.782 | 1023.0139 | 0.89163 | 0 | 2.8052 | 0.95433 | 1.7833 | Flagged Warnings: | [15 empty] | 1.0737 | 1.1065 | 0.13318 | 0.0089349 | 1.0936 | 1.0569 | 0.16686 | 0.004779 | PseudoVoigtModel | PseudoVoigtModel | April 25, 2024 | April | 25 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:39:44 PM | 67184 | [5 empty] | 67184 | 0.99792 | 0.99792 | 0.99793