## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | L87-1-101-reg2-FIA-r1 | 0.33073 | 0.0050601 | 0.0044815 | 0.0023498 | 103.5554 | 0.010431 | 0.00044715 | 0.010444 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31902 | 0.0064816 | 0.33073 | 0.0050601 | 0.27435 | 0.0067111 | SupCrit | 103.7853 | 0.010444 | 1284.5156 | 0.0099911 | 273.7931 | 1284.5156 | 734.3604 | 0.96001 | 3.8782 | 0.73837 | 1.92 | Flagged Warnings: | 1388.301 | 0.0030439 | 571.4014 | 1388.3009 | 1123.2671 | 0.71069 | 0 | 2.255 | 0.71498 | 1.4214 | Flagged Warnings: |  |  |  | 1409.6567 | 115.7454 | 1.2238 | [9 empty] | 1.1404 | 1.2005 | 0.26967 | 0.0070127 | 1.0786 | 1.1045 | 0.11168 | 0.0024875 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:52:37 PM | 53557 | [5 empty] | 53557 | 0.99778 | 0.99778 | 0.99779
1 | L87-1-101-reg2-FIA-r2 | 0.32588 | 0.0043434 | 0.0036528 | 0.0023501 | 103.5441 | 0.0085191 | 0.00044328 | 0.0085265 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31453 | 0.0059934 | 0.32588 | 0.0043434 | 0.26731 | 0.0055946 | SupCrit | 103.7742 | 0.0085265 | 1284.5404 | 0.0081632 | 434.2776 | 1284.5404 | 1137.386 | 0.95145 | 5.191 | 0.70296 | 1.9029 | Flagged Warnings: | 1388.3147 | 0.0024624 | 898.1142 | 1388.3146 | 1720.682 | 0.67025 | 0 | 3.1681 | 0.79224 | 1.3405 | Flagged Warnings: |  |  |  | 1409.7269 | 195.5121 | 1.3355 | [9 empty] | 1.1491 | 1.2454 | 0.2838 | 0.0043818 | 1.098 | 1.1227 | 0.13136 | 0.0014926 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:57:48 PM | 53868 | [5 empty] | 53868 | 0.99778 | 0.99778 | 0.99779
2 | L87-1-101-reg2-FIA-r3 | 0.33189 | 0.003394 | 0.0024491 | 0.0023497 | 103.5581 | 0.0056976 | 0.00043931 | 0.0056933 | 6.027 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32009 | 0.0054884 | 0.33189 | 0.003394 | 0.27602 | 0.0039471 | SupCrit | 103.7885 | 0.0056933 | 1284.5207 | 0.0051158 | 554.5063 | 1284.5208 | 1448.4478 | 0.95235 | 3.5051 | 0.69581 | 1.9047 | Flagged Warnings: | 1388.3093 | 0.0024986 | 1117.0987 | 1388.3093 | 2188.5236 | 0.70667 | 0 | 3.3947 | 0.72034 | 1.4133 | Flagged Warnings: | 1264.3699 | 200.352 | 2.1484 | 1409.7586 | 220.1115 | 1.1917 | [9 empty] | 1.085 | 1.1517 | 0.16195 | 0.003435 | 1.0892 | 1.1018 | 0.12601 | 0.0012652 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:03:32 PM | 54212 | [5 empty] | 54212 | 0.99778 | 0.99778 | 0.99778
3 | L87-1-101-reg2-FIB-r1 | 0.37096 | 0.0055991 | 0.0050828 | 0.0023485 | 103.6482 | 0.011631 | 0.00043029 | 0.011649 | 6.039 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35581 | 0.0070544 | 0.37096 | 0.0055991 | 0.33107 | 0.007203 | SupCrit | 103.8795 | 0.011649 | 1284.2617 | 0.010702 | 261.5124 | 1284.2617 | 770.2842 | 1.0528 | 3.4 | 0.74168 | 2.1056 | Flagged Warnings: | 1388.1412 | 0.0045992 | 551.3029 | 1388.1412 | 1141.2135 | 0.7527 | 0 | 2.3284 | 0.70105 | 1.5054 | Flagged Warnings: |  |  |  | 1409.5521 | 102.4318 | 1.3084 | [9 empty] | 1.1798 | 1.2491 | 0.37849 | 0.0080515 | 1.0476 | 1.0321 | 0.071686 | 0.0027306 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:18:23 PM | 55103 | [5 empty] | 55103 | 0.99777 | 0.99777 | 0.99778
4 | L87-1-101-reg2-FIB-r2 | 0.38347 | 0.0036617 | 0.0028094 | 0.0023484 | 103.6768 | 0.0063937 | 0.00042749 | 0.0063937 | 6.033 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36712 | 0.0060131 | 0.38347 | 0.0036617 | 0.34815 | 0.0041781 | SupCrit | 103.9083 | 0.0063937 | 1284.2343 | 0.0056267 | 548.4517 | 1284.2343 | 1556.2226 | 1.0498 | 3.7659 | 0.66052 | 2.0996 | Flagged Warnings: | 1388.1427 | 0.0030364 | 1157.2313 | 1388.1426 | 2412.7711 | 0.7593 | 0 | 3.5984 | 0.69749 | 1.5186 | Flagged Warnings: | 1264.0078 | 223.7403 | 2.3275 | 1409.5847 | 251.6038 | 1.2738 | [9 empty] | 1.1774 | 1.1884 | 0.37246 | 0.0038283 | 1.0132 | 1.0502 | 0.02007 | 0.0013123 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:23:35 PM | 55415 | [5 empty] | 55415 | 0.99777 | 0.99777 | 0.99778
5 | L87-1-101-reg2-FIB-r3 | 0.39006 | 0.0036164 | 0.0027501 | 0.0023484 | 103.6917 | 0.0062406 | 0.00042442 | 0.0062401 | 6.032 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37305 | 0.0060423 | 0.39006 | 0.0036164 | 0.35703 | 0.0040757 | SupCrit | 103.9235 | 0.0062401 | 1284.2015 | 0.0055161 | 549.7157 | 1284.2015 | 1593.308 | 1.0873 | 3.643 | 0.6273 | 2.1746 | Flagged Warnings: | 1388.1251 | 0.0029174 | 1167.9286 | 1388.125 | 2461.4852 | 0.76568 | 0 | 3.6886 | 0.70336 | 1.5314 | Flagged Warnings: | 1263.8414 | 261.2992 | 2.8827 | 1409.5638 | 263.2171 | 1.3577 | [9 empty] | 1.2504 | 1.2393 | 0.54457 | 0.0039558 | 1.0286 | 1.027 | 0.043849 | 0.0013112 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:29:36 PM | 55776 | [5 empty] | 55776 | 0.99777 | 0.99777 | 0.99777
6 | L87-1-101-reg2-FIC-r1 | 0.33803 | 0.0034093 | 0.0024705 | 0.0023494 | 103.5723 | 0.0057329 | 0.00041378 | 0.0057308 | 6.021 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32574 | 0.0055413 | 0.33803 | 0.0034093 | 0.28485 | 0.0039494 | SupCrit | 103.8047 | 0.0057308 | 1284.4755 | 0.0051753 | 570.4299 | 1284.4755 | 1537.7525 | 0.9832 | 3.4065 | 0.69489 | 1.9664 | Flagged Warnings: | 1388.2803 | 0.0024613 | 1187.0548 | 1388.2803 | 2333.9316 | 0.70656 | 0 | 3.9443 | 0.72937 | 1.4131 | Flagged Warnings: | 1264.3305 | 210.2886 | 2.032 | 1409.6785 | 268.0405 | 1.3594 | [9 empty] | 1.1887 | 1.2939 | 0.37102 | 0.0034472 | 1.0234 | 1.0686 | 0.033017 | 0.0011904 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:54:57 PM | 57297 | [5 empty] | 57297 | 0.99776 | 0.99776 | 0.99777
7 | L87-1-101-reg2-FIC-r2 | 0.34447 | 0.0033249 | 0.002353 | 0.0023492 | 103.5872 | 0.0054456 | 0.00041202 | 0.0054422 | 6.019 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33165 | 0.0055461 | 0.34447 | 0.0033249 | 0.29403 | 0.0037742 | SupCrit | 103.8199 | 0.0054422 | 1284.4501 | 0.0048028 | 587.2521 | 1284.4501 | 1573.3513 | 0.97735 | 3.7582 | 0.69412 | 1.9547 | Flagged Warnings: | 1388.27 | 0.0025593 | 1196.9297 | 1388.27 | 2390.2508 | 0.71025 | 0 | 4.4888 | 0.7538 | 1.4205 | Flagged Warnings: | 1264.3798 | 201.5532 | 1.7549 | 1409.7025 | 268.6222 | 1.3907 | [9 empty] | 1.1218 | 1.229 | 0.23803 | 0.0033285 | 1.0302 | 1.0752 | 0.042946 | 0.0011868 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:01:37 PM | 57697 | [5 empty] | 57697 | 0.99776 | 0.99776 | 0.99776
8 | L87-1-101-reg2-FIC-r3 | 0.34762 | 0.0032007 | 0.0021741 | 0.002349 | 103.5945 | 0.0050248 | 0.00041084 | 0.0050192 | 6.014 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33454 | 0.0055086 | 0.34762 | 0.0032007 | 0.2985 | 0.0035395 | SupCrit | 103.8274 | 0.0050192 | 1284.4444 | 0.0042726 | 597.4002 | 1284.4444 | 1586.573 | 0.97238 | 3.2509 | 0.68539 | 1.9448 | Flagged Warnings: | 1388.2719 | 0.0026338 | 1205.3295 | 1388.2718 | 2417.5405 | 0.71814 | 0 | 4.3145 | 0.73804 | 1.4363 | Flagged Warnings: | 1264.2115 | 213.3038 | 1.9084 | 1409.6376 | 275.1423 | 1.3618 | [9 empty] | 1.1312 | 1.2041 | 0.25523 | 0.0032554 | 1.0825 | 1.1125 | 0.11856 | 0.0011916 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:06:58 PM | 58018 | [5 empty] | 58018 | 0.99776 | 0.99775 | 0.99776
9 | L87-1-101-reg1-FIA-r1 | 0.31271 | 0.0040522 | 0.0033005 | 0.002351 | 103.5133 | 0.0077389 | 0.00040821 | 0.0077456 | 6.006 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30233 | 0.0057336 | 0.31271 | 0.0040522 | 0.24801 | 0.0051859 | SupCrit | 103.7464 | 0.0077456 | 1284.6116 | 0.0074564 | 492.7275 | 1284.6116 | 1232.5618 | 0.90923 | 5.2758 | 0.70173 | 1.8185 | Flagged Warnings: | 1388.3581 | 0.0020968 | 1016.2907 | 1388.358 | 1902.5984 | 0.66876 | 0 | 2.9785 | 0.7434 | 1.3375 | Flagged Warnings: |  |  |  | 1409.8034 | 214.1965 | 1.2431 | [9 empty] | 1.0243 | 1.0769 | 0.044187 | 0.0036906 | 1.1395 | 1.1109 | 0.18663 | 0.0013161 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 4:25:15 PM | 59115 | 1097.1276 | 443.5017 | 31.2471 | Spline | 0.14146 | 59115 | 0.99775 | 0.99775 | 0.99776
10 | L87-1-101-reg1-FIA-r2 | 0.30998 | 0.003201 | 0.0021721 | 0.0023512 | 103.5069 | 0.0050987 | 0.00040804 | 0.0050938 | 6.006 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2998 | 0.0052289 | 0.30998 | 0.003201 | 0.24398 | 0.0036735 | SupCrit | 103.7402 | 0.0050938 | 1284.6195 | 0.0046865 | 542.7893 | 1284.6195 | 1388.1874 | 0.93212 | 3.1787 | 0.69642 | 1.8642 | Flagged Warnings: | 1388.3598 | 0.0019959 | 1136.56 | 1388.3597 | 2160.9142 | 0.68322 | 0 | 3.2487 | 0.72942 | 1.3664 | Flagged Warnings: | 1264.465 | 186.8085 | 1.9559 | 1409.8102 | 263.443 | 1.2609 | [9 empty] | 1.0844 | 1.1525 | 0.15739 | 0.0034346 | 1.1288 | 1.1071 | 0.17598 | 0.0012023 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:32:48 PM | 59568 | 1095.0022 | 399.4676 | 28.8335 | Spline | 0.11255 | 59568 | 0.99775 | 0.99775 | 0.99775
11 | L87-1-101-reg1-FIA-r3 | 0.30671 | 0.0031975 | 0.0021666 | 0.0023515 | 103.4992 | 0.0050925 | 0.00040822 | 0.0050876 | 6.007 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29675 | 0.0052038 | 0.30671 | 0.0031975 | 0.23912 | 0.0036784 | SupCrit | 103.7327 | 0.0050876 | 1284.6177 | 0.0047045 | 566.4342 | 1284.6178 | 1442.4793 | 0.92715 | 3.4187 | 0.69885 | 1.8543 | Flagged Warnings: | 1388.3505 | 0.0019368 | 1180.038 | 1388.3504 | 2223.4252 | 0.67519 | 0 | 3.4679 | 0.73606 | 1.3504 | Flagged Warnings: | 1264.3692 | 189.0731 | 1.7832 | 1409.7618 | 257.8747 | 1.3165 | [9 empty] | 1.1094 | 1.1857 | 0.20287 | 0.0032736 | 1.1436 | 1.1294 | 0.1939 | 0.0011444 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 4:38:30 PM | 59910 | 1097.0288 | 350.8519 | 27.2259 | Spline | 0.095707 | 59910 | 0.99775 | 0.99775 | 0.99775
12 | L87-1-101-reg1-FIB-r1 | 0.23053 | 0.004543 | 0.0038812 | 0.0023611 | 103.3175 | 0.0093865 | 0.00040802 | 0.0093988 | 6.001 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22476 | 0.0056535 | 0.23053 | 0.004543 | 0.1206 | 0.0065639 | SupCrit | 103.5507 | 0.0093988 | 1285.0899 | 0.0088013 | 235.8471 | 1285.0899 | 488.4465 | 0.77111 | 2.6391 | 0.6432 | 1.5422 | Flagged Warnings: | 1388.6406 | 0.0032977 | 454.2921 | 1388.6406 | 735.6094 | 0.59842 | 0 | 1.8419 | 0.66176 | 1.1968 | Flagged Warnings: |  |  |  | 1409.9847 | 89.7008 | 0.88534 | [9 empty] | 1.0788 | 1.1667 | 0.12157 | 0.0065391 | 1.105 | 1.0284 | 0.12562 | 0.0026345 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:44:30 PM | 60270 | 1097.0782 | 530.3659 | 38.701 | Spline | 0.43329 | 60270 | 0.99775 | 0.99774 | 0.99775
13 | L87-1-101-reg1-FIB-r2 | 0.23028 | 0.0046103 | 0.0039598 | 0.0023611 | 103.3169 | 0.0095775 | 0.00040883 | 0.0095904 | 6 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22452 | 0.0057024 | 0.23028 | 0.0046103 | 0.12019 | 0.0066885 | SupCrit | 103.5502 | 0.0095904 | 1285.0932 | 0.0082119 | 240.8747 | 1285.0932 | 499.6709 | 0.72346 | 2.5761 | 0.79892 | 1.4469 | Flagged Warnings: | 1388.6435 | 0.0049538 | 451.6246 | 1388.6435 | 741.4615 | 0.60137 | 0 | 2.6992 | 0.68307 | 1.2027 | Flagged Warnings: | [15 empty] | 1.0024 | 1.0824 | 0.0034045 | 0.0060069 | 1.1043 | 1.0323 | 0.1255 | 0.0026631 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 4:50:33 PM | 60633 | 1093.816 | 578.8885 | 37.4248 | Spline | 0.46642 | 60633 | 0.99775 | 0.99774 | 0.99775
14 | L87-1-101-reg1-FIB-r3 | 0.22342 | 0.004315 | 0.0036109 | 0.0023623 | 103.3003 | 0.0087541 | 0.00040971 | 0.0087643 | 6.003 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21793 | 0.0054592 | 0.22342 | 0.004315 | 0.10899 | 0.0061893 | SupCrit | 103.5337 | 0.0087643 | 1285.1082 | 0.0081641 | 252.879 | 1285.1082 | 520.8682 | 0.75701 | 2.6012 | 0.67494 | 1.514 | Flagged Warnings: | 1388.6419 | 0.0031875 | 464.3573 | 1388.6419 | 766.0989 | 0.63259 | 0 | 1.927 | 0.57014 | 1.2652 | Flagged Warnings: |  |  |  | 1409.9039 | 81.9377 | 0.96452 | [9 empty] | 1.0157 | 1.0891 | 0.023763 | 0.0059872 | 1.082 | 1.0096 | 0.1037 | 0.0027246 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:55:43 PM | 60943 | 1097.0782 | 495.7482 | 35.8195 | Spline | 0.38521 | 60943 | 0.99775 | 0.99774 | 0.99775
15 | L87-1-101-reg1-FIC-r1 | 0.25086 | 0.0041997 | 0.0034753 | 0.0023578 | 103.3665 | 0.0083444 | 0.00041558 | 0.0083529 | 6.01 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.24417 | 0.0054933 | 0.25086 | 0.0041997 | 0.15324 | 0.0058072 | SupCrit | 103.6004 | 0.0083529 | 1284.9625 | 0.0075722 | 278.3593 | 1284.9625 | 611.8058 | 0.78861 | 2.7894 | 0.73257 | 1.5772 | Flagged Warnings: | 1388.563 | 0.0035262 | 538.9933 | 1388.5629 | 938.9052 | 0.64084 | 0 | 2.0631 | 0.67286 | 1.2817 | Flagged Warnings: |  |  |  | 1409.9787 | 100.1402 | 0.94835 | [9 empty] | 1.1772 | 1.2098 | 0.27941 | 0.0056661 | 1 | 1.0437 | 0 | 0.0023779 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:15:29 PM | 62129 | [5 empty] | 62129 | 0.99774 | 0.99774 | 0.99775
16 | L87-1-101-reg1-FIC-r2 | 0.24763 | 0.0047971 | 0.0041774 | 0.0023583 | 103.3587 | 0.010042 | 0.00041797 | 0.010056 | 6.017 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2411 | 0.0059068 | 0.24763 | 0.0047971 | 0.14811 | 0.0068993 | SupCrit | 103.5927 | 0.010056 | 1284.9776 | 0.0080334 | 286.7051 | 1284.9776 | 628.463 | 0.78453 | 3.2195 | 0.73851 | 1.5691 | Flagged Warnings: | 1388.5704 | 0.0060485 | 545.1202 | 1388.5703 | 940.2287 | 0.63862 | 0 | 2.8792 | 0.65735 | 1.2772 | Flagged Warnings: |  |  |  | 1409.9186 | 114.6858 | 1.212 | [9 empty] | 1.1636 | 1.1997 | 0.25662 | 0.0054727 | 1 | 1.0482 | 0 | 0.002343 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:21:44 PM | 62504 | [5 empty] | 62504 | 0.99774 | 0.99774 | 0.99775
17 | L87-1-101-reg1-FIC-r3 | 0.24547 | 0.0041033 | 0.0033577 | 0.0023586 | 103.3535 | 0.0080777 | 0.00042018 | 0.008085 | 6.014 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23904 | 0.0054018 | 0.24547 | 0.0041033 | 0.14466 | 0.0056622 | SupCrit | 103.5876 | 0.008085 | 1284.9733 | 0.0075944 | 294.2042 | 1284.9733 | 638.4517 | 0.78385 | 3.0131 | 0.71669 | 1.5677 | Flagged Warnings: | 1388.5609 | 0.0027736 | 558.7442 | 1388.5609 | 947.0699 | 0.62175 | 0 | 1.9853 | 0.67992 | 1.2435 | Flagged Warnings: |  |  |  | 1409.9944 | 98.3891 | 0.95001 | [9 empty] | 1.1791 | 1.2386 | 0.28073 | 0.0053286 | 1.0082 | 1.0511 | 0.010165 | 0.0022255 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:26:55 PM | 62815 | [5 empty] | 62815 | 0.99774 | 0.99774 | 0.99774
18 | L87-1-101-reg3-FIA-r1 | 0.39175 | 0.0030332 | 0.0019196 | 0.0023485 | 103.6956 | 0.0043528 | 0.00042542 | 0.0043418 | 6.026 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37457 | 0.0057914 | 0.39175 | 0.0030332 | 0.3593 | 0.0030962 | SupCrit | 103.9305 | 0.0043418 | 1284.1937 | 0.003641 | 980.5576 | 1284.1938 | 2813.1146 | 1.057 | 4.8281 | 0.67058 | 2.114 | Flagged Warnings: | 1388.1244 | 0.0023653 | 2101.2394 | 1388.1243 | 4382.9374 | 0.74792 | 0 | 6.808 | 0.73475 | 1.4958 | Flagged Warnings: | 1264.0221 | 389.123 | 2.2357 | 1409.5512 | 520.159 | 1.5453 | [9 empty] | 1.1074 | 1.1675 | 0.22701 | 0.0021559 | 1.0295 | 1.0556 | 0.044095 | 0.00071189 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:34:52 PM | 63292 | [5 empty] | 63292 | 0.99774 | 0.99774 | 0.99774
19 | L87-1-101-reg3-FIA-r2 | 0.39101 | 0.0030512 | 0.0019479 | 0.0023485 | 103.6939 | 0.0044184 | 0.0004282 | 0.0044076 | 6.029 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3739 | 0.0057927 | 0.39101 | 0.0030512 | 0.3583 | 0.00313 | SupCrit | 103.9289 | 0.0044076 | 1284.1906 | 0.0038194 | 1014.5264 | 1284.1906 | 2903.9519 | 1.0596 | 5.0479 | 0.65922 | 2.1191 | Flagged Warnings: | 1388.1196 | 0.0021998 | 2142.2967 | 1388.1195 | 4482.0398 | 0.75028 | 0 | 6.8018 | 0.7344 | 1.5006 | Flagged Warnings: | 1264.0816 | 407.0239 | 2.2338 | 1409.5516 | 526.2647 | 1.5277 | [9 empty] | 1.2144 | 1.2348 | 0.45436 | 0.0020888 | 1.0409 | 1.0387 | 0.061387 | 0.00070045 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:40:06 PM | 63606 | 1097.1276 | 181.2415 | 17.3589 | Spline | 0.024539 | 63606 | 0.99774 | 0.99773 | 0.99774
20 | L87-1-101-reg3-FIA-r3 | 0.3917 | 0.0030779 | 0.0019895 | 0.0023485 | 103.6955 | 0.0045113 | 0.00043208 | 0.0045008 | 6.033 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37453 | 0.0058099 | 0.3917 | 0.0030779 | 0.35923 | 0.0031745 | SupCrit | 103.9306 | 0.0045008 | 1284.1888 | 0.0037887 | 989.7473 | 1284.1889 | 2837.2817 | 1.0632 | 4.9641 | 0.65455 | 2.1264 | Flagged Warnings: | 1388.1195 | 0.0024296 | 2096.6133 | 1388.1195 | 4417.8671 | 0.75782 | 0 | 7.5046 | 0.72769 | 1.5156 | Flagged Warnings: | 1264.0742 | 408.684 | 2.2313 | 1409.5422 | 533.514 | 1.6346 | [9 empty] | 1.0335 | 1.1223 | 0.071219 | 0.0021484 | 1.0223 | 1.0516 | 0.033756 | 0.0007229 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:46:50 PM | 64010 | 1097.0782 | 248.2285 | 16.7228 | Spline | 0.034214 | 64010 | 0.99774 | 0.99773 | 0.99774
21 | L87-1-101-reg3-FIB-r1 | 0.31056 | 0.0033741 | 0.00242 | 0.0023511 | 103.5082 | 0.0056793 | 0.00043739 | 0.0056753 | 6.04 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30033 | 0.0053261 | 0.31056 | 0.0033741 | 0.24483 | 0.0039969 | SupCrit | 103.743 | 0.0056753 | 1284.6072 | 0.0052463 | 527.4133 | 1284.6073 | 1405.9166 | 0.99612 | 3.2232 | 0.63555 | 1.9922 | Flagged Warnings: | 1388.3503 | 0.0021644 | 1091.2978 | 1388.3502 | 2121.7313 | 0.69995 | 0 | 3.271 | 0.72495 | 1.3999 | Flagged Warnings: | 1264.4703 | 193.2259 | 1.8057 | 1409.8252 | 231.736 | 1.1667 | [9 empty] | 1.2105 | 1.2551 | 0.41942 | 0.0037774 | 1.1667 | 1.1612 | 0.23332 | 0.0012828 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:56:27 PM | 64587 | [5 empty] | 64587 | 0.99774 | 0.99773 | 0.99774
22 | L87-1-101-reg3-FIB-r2 | 0.31913 | 0.0034266 | 0.0024933 | 0.0023505 | 103.5283 | 0.0058309 | 0.00044102 | 0.0058274 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30829 | 0.0054145 | 0.31913 | 0.0034266 | 0.25746 | 0.0040581 | SupCrit | 103.7632 | 0.0058274 | 1284.5835 | 0.0053487 | 517.1764 | 1284.5835 | 1391.181 | 1.0099 | 3.2484 | 0.62383 | 2.0199 | Flagged Warnings: | 1388.3467 | 0.002313 | 1063.7623 | 1388.3467 | 2098.7213 | 0.71132 | 0 | 3.5239 | 0.72158 | 1.4226 | Flagged Warnings: | 1264.3688 | 190.9266 | 1.699 | 1409.7286 | 246.6382 | 1.2815 | [9 empty] | 1.1967 | 1.2629 | 0.39729 | 0.0039056 | 1.1214 | 1.127 | 0.17265 | 0.0013374 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 6:01:38 PM | 64898 | [5 empty] | 64898 | 0.99774 | 0.99773 | 0.99774
23 | L87-1-101-reg3-FIB-r3 | 0.31878 | 0.0059316 | 0.005446 | 0.0023505 | 103.5275 | 0.012738 | 0.00044472 | 0.012759 | 6.046 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30796 | 0.0070304 | 0.31878 | 0.0059316 | 0.25694 | 0.0081781 | SupCrit | 103.7624 | 0.012759 | 1284.564 | 0.012557 | 531.708 | 1284.564 | 1413.9042 | 0.99266 | 3.1565 | 0.63824 | 1.9853 | Flagged Warnings: | 1388.3264 | 0.0022618 | 1083.4929 | 1388.3264 | 2116.7946 | 0.70807 | 0 | 3.5319 | 0.70905 | 1.4161 | Flagged Warnings: | 1264.2969 | 196.2845 | 2.0031 | 1409.7627 | 242.2871 | 1.1966 | [9 empty] | 1.1676 | 1.2316 | 0.33271 | 0.0037338 | 1.1535 | 1.1541 | 0.21733 | 0.001307 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 6:06:48 PM | 65208 | [5 empty] | 65208 | 0.99774 | 0.99773 | 0.99774
24 | L87-1-101-reg3-FIC-r1 | 0.37672 | 0.0044612 | 0.0037931 | 0.0023484 | 103.6614 | 0.0086578 | 0.00045096 | 0.0086657 | 6.048 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36102 | 0.0063912 | 0.37672 | 0.0044612 | 0.33897 | 0.0054614 | SupCrit | 103.8966 | 0.0086657 | 1284.2888 | 0.008262 | 373.8277 | 1284.2888 | 1024.7224 | 1.0474 | 3.8585 | 0.57859 | 2.0949 | Flagged Warnings: | 1388.1855 | 0.0026139 | 779.2555 | 1388.1854 | 1598.1334 | 0.74556 | 0 | 2.666 | 0.70177 | 1.4911 | Flagged Warnings: |  |  |  | 1409.6635 | 170.1615 | 1.3431 | [9 empty] | 1.1473 | 1.1941 | 0.30849 | 0.0056039 | 1.0112 | 1.066 | 0.016717 | 0.0019135 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 6:14:15 PM | 65655 | [5 empty] | 65655 | 0.99774 | 0.99773 | 0.99774
25 | L87-1-101-reg3-FIC-r2 | 0.36796 | 0.0044835 | 0.0038192 | 0.0023485 | 103.6413 | 0.0087507 | 0.00045586 | 0.0087587 | 6.045 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35309 | 0.0063454 | 0.36796 | 0.0044835 | 0.32694 | 0.0055513 | SupCrit | 103.8766 | 0.0087587 | 1284.2881 | 0.0084186 | 365.9939 | 1284.2881 | 1015.188 | 1.0473 | 3.8596 | 0.60848 | 2.0947 | Flagged Warnings: | 1388.1648 | 0.0024171 | 774.2329 | 1388.1647 | 1585.2096 | 0.743 | 0 | 2.3858 | 0.706 | 1.486 | Flagged Warnings: |  |  |  | 1409.6265 | 160.3391 | 1.2176 | [9 empty] | 1.1739 | 1.1773 | 0.3643 | 0.0057233 | 1.0552 | 1.0145 | 0.081986 | 0.0019193 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 6:20:28 PM | 66028 | [5 empty] | 66028 | 0.99774 | 0.99773 | 0.99774
26 | L87-1-101-reg3-FIC-r3 | 0.37289 | 0.0043507 | 0.0036624 | 0.0023485 | 103.6526 | 0.0083735 | 0.00046014 | 0.0083798 | 6.046 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35756 | 0.0063023 | 0.37289 | 0.0043507 | 0.33373 | 0.0053158 | SupCrit | 103.8879 | 0.0083798 | 1284.2846 | 0.0080148 | 370.8017 | 1284.2846 | 1028.9738 | 1.0319 | 3.6624 | 0.64636 | 2.0638 | Flagged Warnings: | 1388.1725 | 0.0024461 | 779.2453 | 1388.1725 | 1584.9629 | 0.73589 | 0 | 2.5143 | 0.71329 | 1.4718 | Flagged Warnings: |  |  |  | 1409.6297 | 178.563 | 1.3724 | [9 empty] | 1.094 | 1.1581 | 0.19403 | 0.0055658 | 1.08 | 1.0065 | 0.11774 | 0.0018887 | PseudoVoigtModel | PseudoVoigtModel | January 4, 2024 | January | 4 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 6:25:32 PM | 66332 | [5 empty] | 66332 | 0.99774 | 0.99773 | 0.99774