## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
18 | FG04-A1-4-start-r1 | 0.69299 | 0.0046862 | 0.0040301 | 0.0023914 | 104.3322 | 0.0079005 | 0.00047271 | 0.0079036 | 6.042 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62683 | 0.0090092 | 0.69299 | 0.0046862 | 0.69224 | 0.0039397 | SupCrit | 104.5611 | 0.0079036 | 1282.8151 | 0.0075746 | 475.0158 | 1282.8151 | 1350.2953 | 0.97443 | 4.2412 | 0.83832 | 1.9489 | Flagged Warnings: | 1387.3762 | 0.0022565 | 948.3162 | 1387.3763 | 2161.7058 | 0.80102 | 0 | 2.3925 | 0.79126 | 1.602 | Flagged Warnings: |  |  |  | 1408.8496 | 236.4131 | 2.0965 |  |  |  | 1380.406 | 142.5058 | 13.571 |  |  |  | 1.0155 | 1.0269 | 0.030241 | 0.0041027 | 1.0804 | 1.0726 | 0.12886 | 0.0016894 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 16, 2024 | December | 16 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:06:03 AM | 39963 | [6 empty] | 39963 | 0.99781 | 0.99781 | 0.99782
19 | FG04-A1-4-start-r2 | 0.69075 | 0.0046123 | 0.0039442 | 0.0023908 | 104.3278 | 0.0077409 | 0.00047156 | 0.0077435 | 6.042 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62509 | 0.0089669 | 0.69075 | 0.0046123 | 0.69023 | 0.0038805 | SupCrit | 104.5568 | 0.0077435 | 1282.8028 | 0.0075122 | 527.8993 | 1282.8028 | 1488.286 | 0.98186 | 4.7759 | 0.80214 | 1.9637 | Flagged Warnings: | 1387.3596 | 0.0018784 | 1056.5114 | 1387.3597 | 2395.6642 | 0.80787 | 0 | 2.1176 | 0.76332 | 1.6157 | Flagged Warnings: |  |  |  | 1408.8368 | 280.7079 | 2.0905 |  |  |  | 1383.831 | 234.16 | 15.3423 |  |  |  | 1.069 | 1.0146 | 0.13555 | 0.0037199 | 1.0464 | 1.0295 | 0.074992 | 0.0015293 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 16, 2024 | December | 16 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:11:25 AM | 40285 | [6 empty] | 40285 | 0.99781 | 0.9978 | 0.99781
20 | FG04-A1-4-start-r3 | 0.69165 | 0.0058644 | 0.0053548 | 0.002391 | 104.3296 | 0.010504 | 0.00047054 | 0.010517 | 6.034 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62579 | 0.0094058 | 0.69165 | 0.0058644 | 0.69103 | 0.0050496 | SupCrit | 104.5587 | 0.010517 | 1282.8049 | 0.0091163 | 313.1392 | 1282.8049 | 893.9124 | 0.98033 | 3.1595 | 0.8342 | 1.9607 | Flagged Warnings: | 1387.3636 | 0.005244 | 640.7603 | 1387.3636 | 1491.0248 | 0.81417 | 0 | 3.6095 | 0.79146 | 1.6283 | Flagged Warnings: | [15 empty] | 1.0519 | 1.0194 | 0.10176 | 0.0062613 | 1.0634 | 1.0629 | 0.10328 | 0.0025413 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 16, 2024 | December | 16 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:16:29 AM | 40589 | [6 empty] | 40589 | 0.99781 | 0.9978 | 0.99781
7 | KA79_c325_a2_FIA | 0.40941 | 0.0033282 | 0.0023579 | 0.0023488 | 103.7355 | 0.0053046 | 0.00045865 | 0.0052964 | 6.001 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39038 | 0.0060669 | 0.40941 | 0.0033282 | 0.3827 | 0.0035332 | SupCrit | 103.9644 | 0.0052964 | 1284.0915 | 0.0046089 | 553.472 | 1284.0915 | 1567.4284 | 1.0774 | 2.45 | 0.59104 | 2.1548 | Flagged Warnings: | 1388.056 | 0.0026097 | 1197.6489 | 1388.0559 | 2542.9248 | 0.7825 | 0 | 3.4425 | 0.66895 | 1.565 | Flagged Warnings: | 1263.9657 | 198.6341 | 1.9031 | 1409.424 | 299.9462 | 1.576 | [9 empty] | 1.1525 | 1.1502 | 0.32869 | 0.0038932 | 1.0172 | 1.082 | 0.026983 | 0.0013067 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:16:38 PM | 44198 | 1150.2822 | 117.4239 | 74.0612 | Spline | 0.028568 | 0.012193 | 44198 | 0.9978 | 0.99779 | 0.9978
8 | KA79_c325_a2_FIB | 0.36263 | 0.0054319 | 0.0048979 | 0.0023486 | 103.6291 | 0.011248 | 0.00045758 | 0.011263 | 6.019 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34824 | 0.0068998 | 0.36263 | 0.0054319 | 0.31956 | 0.0070256 | SupCrit | 103.8579 | 0.011263 | 1284.3203 | 0.010197 | 264.2023 | 1284.3203 | 740.3162 | 1.0512 | 2.7565 | 0.6246 | 2.1024 | Flagged Warnings: | 1388.1782 | 0.0047839 | 568.9551 | 1388.1782 | 1173.4321 | 0.75609 | 0 | 2.9452 | 0.68107 | 1.5122 | Flagged Warnings: | [15 empty] | 1.2234 | 1.3227 | 0.46972 | 0.0079575 | 1.0223 | 1.0496 | 0.033754 | 0.0026578 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 12:22:25 PM | 44545 | 1150.3117 | 73.9817 | 51.5667 | Spline | 0.038658 | 0.016429 | 44545 | 0.9978 | 0.99779 | 0.9978
0 | KA79_c325_a2_FIC | 0.46712 | 0.0068562 | 0.0064401 | 0.002352 | 103.8636 | 0.014108 | 0.00045788 | 0.014132 | 5.993 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.44115 | 0.0083764 | 0.46712 | 0.0068562 | 0.45558 | 0.0080107 | SupCrit | 104.093 | 0.014132 | 1283.7242 | 0.012914 | 174.2115 | 1283.7242 | 545.1795 | 1.2236 | 2.2807 | 0.52001 | 2.4471 | Flagged Warnings: | 1387.8172 | 0.0057387 | 402.0711 | 1387.8172 | 923.7948 | 0.8274 | 0 | 2.9462 | 0.72388 | 1.6548 | Flagged Warnings: | [15 empty] | 1.0361 | 1.0204 | 0.088245 | 0.014047 | 1.1836 | 1.1239 | 0.30387 | 0.0041157 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 12:30:22 PM | 45022 | 1150.1349 | 77.5268 | 54.8153 | Spline | 0.052776 | 0.022295 | 45022 | 0.9978 | 0.99779 | 0.9978
9 | KA79_c325_a2_FID | 0.49159 | 0.0049799 | 0.0043883 | 0.0023543 | 103.9169 | 0.0095026 | 0.00045747 | 0.0095126 | 6.001 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46227 | 0.0074901 | 0.49159 | 0.0049799 | 0.48487 | 0.0054314 | SupCrit | 104.1465 | 0.0095126 | 1283.7069 | 0.0091466 | 304.5227 | 1283.7069 | 958.8238 | 1.2256 | 2.5192 | 0.53148 | 2.4512 | Flagged Warnings: | 1387.8535 | 0.0026131 | 710.6639 | 1387.8535 | 1593.5793 | 0.81806 | 0 | 2.2406 | 0.69367 | 1.6361 | Flagged Warnings: |  |  |  | 1409.3236 | 192.0812 | 1.8392 | [9 empty] | 1.0804 | 1.0629 | 0.19706 | 0.0080493 | 1.1026 | 1.0997 | 0.16781 | 0.0023022 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 12:38:25 PM | 45505 | 1150.1643 | 101.4525 | 72.9107 | Spline | 0.039748 | 0.016884 | 45505 | 0.9978 | 0.99779 | 0.9978
10 | KA79_c327_a2_FIB | 0.45472 | 0.0026892 | 0.0013055 | 0.0023511 | 103.8364 | 0.0028766 | 0.00045571 | 0.0028465 | 6.011 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43036 | 0.0062242 | 0.45472 | 0.0026892 | 0.44038 | 0.0023379 | SupCrit | 104.0661 | 0.0028465 | 1283.8769 | 0.002423 | 1223.4383 | 1283.8769 | 3536.3018 | 1.0995 | 2.7291 | 0.59144 | 2.1989 | Flagged Warnings: | 1387.9431 | 0.0014939 | 2661.4825 | 1387.9431 | 5714.7404 | 0.77572 | 0 | 4.4437 | 0.71687 | 1.5514 | Flagged Warnings: | 1263.8156 | 421.1789 | 1.9987 | 1409.3976 | 628.0669 | 1.5195 | 1370.1016 | 88.486 | 0.38746 | [6 empty] | 1.0928 | 1.0981 | 0.20406 | 0.0017973 | 1.0535 | 1.0698 | 0.082928 | 0.00058293 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:05:03 PM | 47103 | [6 empty] | 47103 | 0.99779 | 0.99779 | 0.9978
11 | KA79_c327_a1_FIC | 0.43571 | 0.0048943 | 0.0042933 | 0.0023499 | 103.7943 | 0.0095437 | 0.00045526 | 0.0095539 | 6.012 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41369 | 0.0070399 | 0.43571 | 0.0048943 | 0.4166 | 0.0056985 | SupCrit | 104.0241 | 0.0095539 | 1284.0046 | 0.0090459 | 333.9877 | 1284.0046 | 963.376 | 1.0871 | 2.9336 | 0.61324 | 2.1741 | Flagged Warnings: | 1388.0287 | 0.0030741 | 739.7435 | 1388.0287 | 1593.4581 | 0.78377 | 0 | 2.6279 | 0.69986 | 1.5675 | Flagged Warnings: |  |  |  | 1409.3933 | 185.0943 | 1.6623 | [9 empty] | 1.0946 | 1.0991 | 0.20571 | 0.0065096 | 1.0239 | 1.1061 | 0.037485 | 0.002119 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:17:12 PM | 47832 | [6 empty] | 47832 | 0.99779 | 0.99779 | 0.9978
1 | KA79_c329_a1_FIA | 0.1724 | 0.0063744 | 0.0059162 | 0.0023731 | 103.1755 | 0.014581 | 0.00045368 | 0.014606 | 10.007 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.16851 | 0.0070076 | 0.1724 | 0.0063744 | 0.023077 | 0.010406 | SupCrit | 103.4044 | 0.014606 | 1285.3764 | 0.013332 | 128.0453 | 1285.3764 | 230.5238 | 0.65957 | 2.3491 | 0.68264 | 1.3191 | Flagged Warnings: | 1388.7808 | 0.0059659 | 245.9944 | 1388.7808 | 352.0262 | 0.52779 | 0 | 2.3775 | 0.66643 | 1.0556 | Flagged Warnings: | [15 empty] | 1.2514 | 1.232 | 0.33159 | 0.010302 | 1.0938 | 1.1187 | 0.099057 | 0.004291 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:04:00 PM | 50640 | 1150.6948 | 25.7465 | 20.3487 | Spline | 0.044196 | 0.018738 | 50640 | 0.99779 | 0.99778 | 0.99779
12 | KA79_c330_a1_FIA | 0.1885 | 0.0030171 | 0.0018679 | 0.0023693 | 103.2151 | 0.0045808 | 0.00045448 | 0.0045683 | 10.004 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18419 | 0.0044234 | 0.1885 | 0.0030171 | 0.050697 | 0.0036791 | SupCrit | 103.4441 | 0.0045683 | 1285.3521 | 0.0041928 | 436.4797 | 1285.3522 | 769.791 | 0.66711 | 2.2703 | 0.60426 | 1.3342 | Flagged Warnings: | 1388.7964 | 0.0018138 | 838.085 | 1388.7963 | 1198.7235 | 0.52819 | 0 | 2.0829 | 0.66356 | 1.0564 | Flagged Warnings: | 1265.0549 | 65.0124 | 0.66793 | 1410.1898 | 130.7872 | 0.85492 | [9 empty] | 1.102 | 1.094 | 0.13614 | 0.0030568 | 1.1576 | 1.1737 | 0.16646 | 0.0012605 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:13:12 PM | 51192 | [6 empty] | 51192 | 0.99779 | 0.99778 | 0.99779
2 | KA79_c331_a1_FIA_r1 | 0.34672 | 0.016625 | 0.016458 | 0.0023491 | 103.5925 | 0.038051 | 0.00045784 | 0.038133 | 6.044 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33371 | 0.015926 | 0.34672 | 0.016625 | 0.29723 | 0.023391 | SupCrit | 103.8224 | 0.038133 | 1284.3871 | 0.036043 | 60.9636 | 1284.3871 | 176.2709 | 1.0059 | 1.9274 | 0.80472 | 2.0117 | Flagged Warnings: | 1388.2096 | 0.01245 | 127.0407 | 1388.2096 | 253.3049 | 0.74956 | 0 | 2.03 | 0.61946 | 1.4991 | Flagged Warnings: | [15 empty] | 1.4132 | 1.3558 | 0.83119 | 0.032999 | 1.0586 | 1.0277 | 0.087786 | 0.0118 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:31:55 PM | 52315 | [6 empty] | 52315 | 0.99779 | 0.99778 | 0.99779
3 | KA79_c331_a1_FIA_r2 | 0.35462 | 0.016221 | 0.01605 | 0.0023488 | 103.6107 | 0.036985 | 0.00045848 | 0.037064 | 6.016 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.34094 | 0.015549 | 0.35462 | 0.016221 | 0.30837 | 0.022595 | SupCrit | 103.8407 | 0.037064 | 1284.3708 | 0.035092 | 55.1274 | 1284.3708 | 162.114 | 1.0715 | 1.4765 | 0.69571 | 2.1431 | Flagged Warnings: | 1388.2115 | 0.01193 | 124.2105 | 1388.2115 | 261.6262 | 0.75863 | 0 | 1.962 | 0.72352 | 1.5173 | Flagged Warnings: | [15 empty] | 1.0701 | 1.1724 | 0.15027 | 0.038875 | 1.2063 | 1.2425 | 0.31303 | 0.012215 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:37:04 PM | 52624 | [6 empty] | 52624 | 0.99778 | 0.99778 | 0.99779
4 | KA79_c331_a1_FIA_r3 | 0.36499 | 0.019334 | 0.019191 | 0.0023486 | 103.6345 | 0.044024 | 0.00045914 | 0.04412 | 6.006 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35039 | 0.018228 | 0.36499 | 0.019334 | 0.32284 | 0.026648 | SupCrit | 103.8647 | 0.04412 | 1284.354 | 0.041894 | 50.4151 | 1284.354 | 140.2856 | 0.99081 | 2.1662 | 0.7506 | 1.9816 | Flagged Warnings: | 1388.2187 | 0.013835 | 108.0246 | 1388.2187 | 218.2702 | 0.74843 | 0 | 1.8531 | 0.65591 | 1.4969 | Flagged Warnings: | [15 empty] | 1.5902 | 1.5456 | 1.1696 | 0.039306 | 1.033 | 1.0724 | 0.049456 | 0.013857 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:41:53 PM | 52913 | [6 empty] | 52913 | 0.99778 | 0.99778 | 0.99779
13 | KA79_c331_a2_FIB | 0.40802 | 0.0034593 | 0.0025397 | 0.0023488 | 103.7323 | 0.0057171 | 0.00046051 | 0.0057112 | 5.994 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38914 | 0.0061135 | 0.40802 | 0.0034593 | 0.38088 | 0.0037488 | SupCrit | 103.9627 | 0.0057112 | 1284.0914 | 0.0051914 | 499.0124 | 1284.0915 | 1464.0482 | 1.1225 | 2.5318 | 0.57632 | 2.2451 | Flagged Warnings: | 1388.0543 | 0.0023804 | 1141.0664 | 1388.0542 | 2402.2802 | 0.76647 | 0 | 2.88 | 0.69823 | 1.5329 | Flagged Warnings: | 1264.0263 | 153.439 | 1.6059 | 1409.4675 | 243.021 | 1.2325 | [9 empty] | 1.0899 | 1.1721 | 0.20184 | 0.004499 | 1.0313 | 1.0477 | 0.047904 | 0.0013434 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:49:16 PM | 53356 | [6 empty] | 53356 | 0.99778 | 0.99778 | 0.99779
14 | KA79_c331_a3_FIC | 0.40279 | 0.004316 | 0.003621 | 0.0023486 | 103.7205 | 0.0081704 | 0.00046108 | 0.0081755 | 6.01 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38447 | 0.0064944 | 0.40279 | 0.004316 | 0.37399 | 0.0050837 | SupCrit | 103.9509 | 0.0081755 | 1284.1217 | 0.0078268 | 477.7035 | 1284.1217 | 1366.9464 | 1.1187 | 3.6971 | 0.52035 | 2.2373 | Flagged Warnings: | 1388.0727 | 0.002362 | 1080.7963 | 1388.0726 | 2278.9654 | 0.77087 | 0 | 2.8673 | 0.68829 | 1.5417 | Flagged Warnings: |  |  |  | 1409.5201 | 239.4743 | 1.4325 | [9 empty] | 1.0182 | 1.0831 | 0.040617 | 0.0046835 | 1.0355 | 1.0475 | 0.054696 | 0.0014265 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:53:55 PM | 53635 | [6 empty] | 53635 | 0.99778 | 0.99778 | 0.99779
15 | KA79_c331_a3_FID | 0.43729 | 0.0029831 | 0.0018376 | 0.00235 | 103.7978 | 0.0040819 | 0.00046219 | 0.0040647 | 6.019 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41507 | 0.0061687 | 0.43729 | 0.0029831 | 0.41859 | 0.0028788 | SupCrit | 104.0283 | 0.0040647 | 1283.9874 | 0.0035881 | 819.199 | 1283.9874 | 2432.8375 | 1.1474 | 2.741 | 0.55189 | 2.2948 | Flagged Warnings: | 1388.0158 | 0.0019098 | 1830.8094 | 1388.0158 | 3961.2025 | 0.79409 | 0 | 3.7238 | 0.67895 | 1.5882 | Flagged Warnings: | 1263.8745 | 287.8782 | 1.9768 | 1409.4849 | 434.6801 | 1.5452 | 1370.1391 | 63.1796 | 0.39663 | [6 empty] | 1.1571 | 1.1678 | 0.36062 | 0.0028013 | 1.0192 | 1.0756 | 0.030477 | 0.00086747 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:59:17 PM | 53957 | [6 empty] | 53957 | 0.99778 | 0.99778 | 0.99779
5 | KA69_c338_a1_FIA | 0.23989 | 0.0098132 | 0.0095253 | 0.0023595 | 103.3401 | 0.02296 | 0.00046215 | 0.023007 | 10.006 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23371 | 0.01007 | 0.23989 | 0.0098132 | 0.13572 | 0.01542 | SupCrit | 103.5697 | 0.023007 | 1285.1104 | 0.021192 | 145.2749 | 1285.1104 | 323.4788 | 0.78549 | 3.6957 | 0.77245 | 1.571 | Flagged Warnings: | 1388.6801 | 0.0089555 | 294.6421 | 1388.6801 | 469.843 | 0.60917 | 0 | 3.6944 | 0.57924 | 1.2183 | Flagged Warnings: | [15 empty] | 1.0573 | 1.152 | 0.089967 | 0.010814 | 1.0799 | 1.014 | 0.097333 | 0.004135 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:12:07 PM | 54727 | [6 empty] | 54727 | 0.99778 | 0.99778 | 0.99779
16 | KA69_c340_a1_FIA | 0.21336 | 0.0035091 | 0.0025931 | 0.0023642 | 103.2758 | 0.0063082 | 0.00048162 | 0.0063038 | 10.039 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20826 | 0.0048521 | 0.21336 | 0.0035091 | 0.092428 | 0.0046699 | SupCrit | 103.5055 | 0.0063038 | 1285.1855 | 0.0058678 | 528.8785 | 1285.1855 | 1031.1075 | 0.7279 | 3.7132 | 0.63671 | 1.4558 | Flagged Warnings: | 1388.6911 | 0.0023038 | 1015.7454 | 1388.691 | 1581.6584 | 0.57698 | 0 | 3.1209 | 0.65526 | 1.154 | Flagged Warnings: | 1264.8902 | 86.6861 | 0.96068 | 1410.0867 | 167.8923 | 0.80818 | [9 empty] | 1.0422 | 1.068 | 0.061368 | 0.0027526 | 1.1378 | 1.0837 | 0.15905 | 0.0011361 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:38:56 PM | 59936 | [6 empty] | 59936 | 0.99778 | 0.99778 | 0.99779
6 | KA69_c341_a1_FIA | 0.23912 | 0.0050122 | 0.004422 | 0.0023596 | 103.3382 | 0.010662 | 0.00048873 | 0.010675 | 10.023 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23298 | 0.0060358 | 0.23912 | 0.0050122 | 0.13448 | 0.0073436 | SupCrit | 103.5681 | 0.010675 | 1285.0666 | 0.0093694 | 234.4892 | 1285.0666 | 452.5269 | 0.69801 | 2.7612 | 0.71348 | 1.396 | Flagged Warnings: | 1388.6346 | 0.0051148 | 429.9704 | 1388.6346 | 671.0247 | 0.59622 | 0 | 2.9359 | 0.5791 | 1.1924 | Flagged Warnings: | [15 empty] | 1.0294 | 1.0017 | 0.041059 | 0.0059534 | 1.1063 | 1.0392 | 0.12678 | 0.0027733 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:01:32 PM | 61292 | [6 empty] | 61292 | 0.99778 | 0.99778 | 0.99779
17 | KA69_c342_a1_FIA | 0.11573 | 0.0039644 | 0.0010557 | 0.0038212 | 103.0423 | 0.0026643 | 0.0004903 | 0.0026246 | 10.004 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11573 | 0.0039644 | 0.11876 | 0.0026147 | -0.072347 | 0.0027274 | SupCrit | 103.2715 | 0.0026246 | 1285.7117 | 0.0022548 | 862.5059 | 1285.7118 | 1314.3982 | 0.58457 | 2.2161 | 0.56902 | 1.1691 | Flagged Warnings: | 1388.9833 | 0.0013433 | 1565.0648 | 1388.9833 | 1990.3636 | 0.48201 | 0 | 3.0007 | 0.59921 | 0.96402 | Flagged Warnings: | 1265.4322 | 128.6456 | 0.75063 | 1410.3458 | 221.4263 | 0.63407 | [9 empty] | 1.1373 | 1.0705 | 0.16054 | 0.0013555 | 1.1083 | 1.1497 | 0.10441 | 0.00061596 | PseudoVoigtModel | PseudoVoigtModel | No | December 16, 2024 | December | 16 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:10:45 PM | 61845 | [6 empty] | 61845 | 0.99778 | 0.99778 | 0.99779
21 | FG04-A1-4-end-r4 | 0.67457 | 0.0054043 | 0.0048486 | 0.0023868 | 104.2959 | 0.0095936 | 0.00050104 | 0.0096019 | 6.009 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.61245 | 0.0091006 | 0.67457 | 0.0054043 | 0.67558 | 0.0047244 | SupCrit | 104.5279 | 0.0096019 | 1282.8733 | 0.0092619 | 412.9336 | 1282.8733 | 1265.7581 | 1.0491 | 3.9961 | 0.8418 | 2.0983 | Flagged Warnings: | 1387.4013 | 0.0025325 | 860.0535 | 1387.4012 | 2084.1908 | 0.84861 | 0 | 2.499 | 0.79048 | 1.6972 | Flagged Warnings: |  |  |  | 1408.9342 | 255.0169 | 2.1237 | [9 empty] | 1.1282 | 1.1869 | 0.26901 | 0.0050814 | 1.0119 | 1.0168 | 0.020205 | 0.0019734 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 16, 2024 | December | 16 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 5:24:50 PM | 62690 | [6 empty] | 62690 | 0.99778 | 0.99778 | 0.99779
22 | FG04-A1-4-end-r5 | 0.67794 | 0.0034121 | 0.0024375 | 0.0023876 | 104.3026 | 0.0048148 | 0.00050258 | 0.0047992 | 5.998 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.6151 | 0.0085179 | 0.67794 | 0.0034121 | 0.67866 | 0.002747 | SupCrit | 104.5346 | 0.0047992 | 1282.8074 | 0.0043134 | 617.1523 | 1282.8075 | 1773.5541 | 1.0148 | 3.1614 | 0.77257 | 2.0296 | Flagged Warnings: | 1387.3421 | 0.002104 | 1248.8631 | 1387.342 | 2914.8095 | 0.80764 | 0 | 3.4595 | 0.81816 | 1.6153 | Flagged Warnings: | 1262.8107 | 277.5206 | 3.0371 | 1408.6453 | 405.9846 | 2.4202 | 1369.6557 | 54.2463 | 0.40339 | [6 empty] | 1.0235 | 1.007 | 0.047755 | 0.0032886 | 1.0617 | 1.0264 | 0.099666 | 0.0012934 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 16, 2024 | December | 16 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:29:08 PM | 62948 | [6 empty] | 62948 | 0.99778 | 0.99778 | 0.99779
23 | FG04-A1-4-end-r6 | 0.68908 | 0.0046947 | 0.0040406 | 0.0023904 | 104.3245 | 0.0079366 | 0.00050417 | 0.0079382 | 5.99 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62379 | 0.0089786 | 0.68908 | 0.0046947 | 0.68874 | 0.003967 | SupCrit | 104.5566 | 0.0079382 | 1282.7645 | 0.0070594 | 632.1731 | 1282.7645 | 1782.7519 | 0.97091 | 5.2677 | 0.8284 | 1.9418 | Flagged Warnings: | 1387.3212 | 0.0036305 | 1248.6125 | 1387.3211 | 2894.1036 | 0.79961 | 0 | 3.8299 | 0.82505 | 1.5992 | Flagged Warnings: |  |  |  | 1408.6819 | 388.1012 | 2.3964 | 1368.6004 | 30.2709 | 0.39939 | [6 empty] | 1.0919 | 1.0715 | 0.17844 | 0.0030717 | 1.0846 | 1.0507 | 0.13529 | 0.0012808 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 16, 2024 | December | 16 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:33:17 PM | 63197 | [6 empty] | 63197 | 0.99778 | 0.99778 | 0.99779