## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | time | preferred_values | lower_values | upper_values
30 | FG04-A1-1--Spectrum--019 | 0.63718 | 0.0043996 | 0.0037014 | 0.0023782 | 104.2212 | 0.0074624 | 0.00096475 | 0.0074146 | 6.076 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.58286 | 0.0084382 | 0.63718 | 0.0043996 | 0.64043 | 0.0039248 | SupCrit | 104.4295 | 0.0074146 | 1283.3401 | 0.0071456 | 425.1275 | 1283.3401 | 1235.1156 | 1.0177 | 3.12 | 0.78866 | 2.0355 | Flagged Warnings: | 1387.7695 | 0.0019792 | 875.1579 | 1387.7695 | 1980.7479 | 0.80505 | 0 | 1.894 | 0.76489 | 1.6101 | Flagged Warnings: |  |  |  | 1409.1118 | 233.0027 | 2.085 |  |  |  | 1382.0917 | 179.6073 | 16.6325 |  |  |  | 1.0813 | 1.0364 | 0.16552 | 0.0047879 | 1.0356 | 1.0427 | 0.057383 | 0.0018398 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:00:06 AM | 39606 | 39606 | 0.99801 | 0.998 | 0.99802
31 | FG04-A1-1--Spectrum--020 | 0.6318 | 0.0047257 | 0.0040844 | 0.002377 | 104.2104 | 0.0082567 | 0.00096267 | 0.0082167 | 6.045 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57856 | 0.0085049 | 0.6318 | 0.0047257 | 0.63523 | 0.0042919 | SupCrit | 104.4187 | 0.0082167 | 1283.3464 | 0.0078547 | 353.4463 | 1283.3464 | 1025.4933 | 1.0274 | 3.0608 | 0.76355 | 2.0548 | Flagged Warnings: | 1387.7651 | 0.0024122 | 733.7343 | 1387.7651 | 1693.9041 | 0.827 | 0 | 1.8202 | 0.7492 | 1.654 | Flagged Warnings: |  |  |  | 1409.3608 | 201.4117 | 2.0759 |  |  |  | 1382.5017 | 148.1133 | 15.033 |  |  |  | 1.1419 | 1.0793 | 0.29149 | 0.0058137 | 1.1144 | 1.1181 | 0.18923 | 0.0022542 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:04:16 AM | 39856 | 39856 | 0.99801 | 0.998 | 0.99801
32 | FG04-A1-1--Spectrum--021 | 0.6352 | 0.0061953 | 0.0057208 | 0.0023778 | 104.2173 | 0.011545 | 0.00096058 | 0.011528 | 6.009 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.58128 | 0.0091149 | 0.6352 | 0.0061953 | 0.63852 | 0.00577 | SupCrit | 104.4257 | 0.011528 | 1283.3484 | 0.010093 | 253.1747 | 1283.3484 | 742.4559 | 1.0366 | 2.654 | 0.76764 | 2.0733 | Flagged Warnings: | 1387.7741 | 0.0055708 | 525.7927 | 1387.7741 | 1253.9278 | 0.81507 | 0 | 3.119 | 0.84505 | 1.6301 | Flagged Warnings: | [15 empty] | 1.0741 | 1.0316 | 0.15358 | 0.0081892 | 1.0959 | 1.0476 | 0.15641 | 0.0031003 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:08:56 AM | 40136 | 40136 | 0.998 | 0.99799 | 0.99801
33 | FG04-A1-2--Spectrum--023 | 0.63646 | 0.0046761 | 0.0040263 | 0.002378 | 104.2198 | 0.0081202 | 0.00095738 | 0.0080797 | 6.003 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.58229 | 0.0085266 | 0.63646 | 0.0046761 | 0.63974 | 0.0042158 | SupCrit | 104.4285 | 0.0080797 | 1283.3695 | 0.0076214 | 423.9985 | 1283.3695 | 1235.8621 | 1.0225 | 3.507 | 0.7854 | 2.045 | Flagged Warnings: | 1387.798 | 0.0026827 | 883.926 | 1387.7979 | 2041.6666 | 0.79636 | 0 | 2.9377 | 0.82635 | 1.5927 | Flagged Warnings: |  |  |  | 1409.0983 | 273.1062 | 2.3864 | [9 empty] | 1.0337 | 1.0361 | 0.068972 | 0.0048232 | 1.073 | 1.0899 | 0.11621 | 0.0018019 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:16:10 AM | 40570 | 40570 | 0.998 | 0.99799 | 0.99801
34 | FG04-A1-2--Spectrum--024 | 0.6286 | 0.0045394 | 0.0038677 | 0.0023764 | 104.2039 | 0.0078312 | 0.00095435 | 0.0077884 | 6.062 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.576 | 0.0084124 | 0.6286 | 0.0045394 | 0.63211 | 0.0041136 | SupCrit | 104.4127 | 0.0077884 | 1283.3824 | 0.0072596 | 389.1077 | 1283.3824 | 1151.1121 | 1.0462 | 2.9952 | 0.76656 | 2.0925 | Flagged Warnings: | 1387.7952 | 0.0028209 | 820.3892 | 1387.7951 | 1933.7183 | 0.81499 | 0 | 2.7818 | 0.81986 | 1.63 | Flagged Warnings: |  |  |  | 1409.0346 | 260.8529 | 2.3466 | [9 empty] | 1.0597 | 1.0023 | 0.12492 | 0.0053776 | 1.128 | 1.0828 | 0.20861 | 0.0019868 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:22:56 AM | 40976 | 40976 | 0.998 | 0.99799 | 0.99801
35 | FG04-A1-2--Spectrum--025 | 0.63511 | 0.0046213 | 0.0039626 | 0.0023778 | 104.2171 | 0.0079972 | 0.00095252 | 0.0079562 | 6.101 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.58121 | 0.008496 | 0.63511 | 0.0046213 | 0.63844 | 0.0041659 | SupCrit | 104.426 | 0.0079562 | 1283.3653 | 0.0075492 | 404.6499 | 1283.3653 | 1171.2391 | 1.0239 | 3.1803 | 0.76588 | 2.0479 | Flagged Warnings: | 1387.7914 | 0.0025121 | 829.8878 | 1387.7914 | 1956.5335 | 0.82217 | 0 | 2.5459 | 0.80035 | 1.6443 | Flagged Warnings: |  |  |  | 1409.0844 | 269.4688 | 2.4608 | [9 empty] | 1.015 | 1.0775 | 0.030616 | 0.0050608 | 1.0646 | 1.0493 | 0.1062 | 0.0019814 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:27:42 AM | 41262 | 41262 | 0.998 | 0.99799 | 0.99801
36 | FG04-A1-4--Spectrum--027 | 0.68439 | 0.005941 | 0.0054394 | 0.0023892 | 104.3153 | 0.01071 | 0.00095098 | 0.010689 | 6.136 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62013 | 0.0093791 | 0.68439 | 0.005941 | 0.68451 | 0.0051697 | SupCrit | 104.5246 | 0.010689 | 1283.1118 | 0.0092888 | 342.3514 | 1283.1118 | 990.4855 | 0.9797 | 3.6997 | 0.86584 | 1.9594 | Flagged Warnings: | 1387.6364 | 0.0052881 | 690.382 | 1387.6364 | 1637.6701 | 0.82658 | 0 | 3.9044 | 0.80088 | 1.6532 | Flagged Warnings: | [15 empty] | 1.0804 | 1.0786 | 0.15745 | 0.0057233 | 1.0619 | 1.0258 | 0.10226 | 0.0023946 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:33:54 AM | 41634 | 41634 | 0.998 | 0.99799 | 0.99801
37 | FG04-A1-4--Spectrum--028 | 0.69205 | 0.0059612 | 0.0054607 | 0.0023911 | 104.3304 | 0.01071 | 0.0009494 | 0.010689 | 6.138 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.6261 | 0.0094456 | 0.69205 | 0.0059612 | 0.69139 | 0.0051366 | SupCrit | 104.5398 | 0.010689 | 1283.1165 | 0.008961 | 326.5103 | 1283.1165 | 942.7349 | 1.0028 | 3.0765 | 0.80844 | 2.0056 | Flagged Warnings: | 1387.6564 | 0.0058275 | 653.3234 | 1387.6564 | 1578.4942 | 0.84362 | 0 | 3.8159 | 0.7962 | 1.6872 | Flagged Warnings: | [15 empty] | 1.1526 | 1.053 | 0.30606 | 0.0061425 | 1.0118 | 1.0111 | 0.019928 | 0.0025826 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:38:26 AM | 41906 | 41906 | 0.998 | 0.99799 | 0.99801
38 | FG04-A1-4--Spectrum--029 | 0.68425 | 0.0055167 | 0.0049726 | 0.0023892 | 104.315 | 0.009791 | 0.00094778 | 0.0097646 | 6.133 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62002 | 0.0092189 | 0.68425 | 0.0055167 | 0.68438 | 0.004772 | SupCrit | 104.5246 | 0.0097646 | 1283.1381 | 0.0080738 | 325.7638 | 1283.1381 | 934.2515 | 0.99687 | 2.724 | 0.80655 | 1.9937 | Flagged Warnings: | 1387.6627 | 0.005492 | 659.9184 | 1387.6627 | 1587.0868 | 0.82922 | 0 | 3.9371 | 0.82507 | 1.6584 | Flagged Warnings: | [15 empty] | 1.1395 | 1.0874 | 0.2782 | 0.0061202 | 1.0282 | 1.0272 | 0.046811 | 0.0025131 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:42:28 AM | 42148 | 42148 | 0.998 | 0.99799 | 0.998
39 | FG19-101-A--Spectrum--042 | 0.96008 | 0.0039985 | 0.0036669 | 0.0015944 | 105.0379 | 0.012057 | 0.00094801 | 0.012044 | 6.073 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.90647 | 0.012982 | 1.0897 | 0.0078917 | 0.96008 | 0.0039985 | SupCrit | 105.2494 | 0.012044 | 1281.8162 | 0.010327 | 231.8171 | 1281.8162 | 666.6432 | 0.93406 | 2.5939 | 0.95709 | 1.8681 | Flagged Warnings: | 1387.0656 | 0.0061961 | 450.6982 | 1387.0656 | 1201.6718 | 0.86933 | 0 | 3.2591 | 0.94888 | 1.7387 | Flagged Warnings: | [15 empty] | 1.0327 | 1.0189 | 0.061027 | 0.0080586 | 1.0902 | 1.0195 | 0.15679 | 0.0038577 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:01:25 PM | 43285 | 43285 | 0.99799 | 0.99798 | 0.998
40 | FG19-101-A--Spectrum--043 | 0.94858 | 0.0037584 | 0.0034043 | 0.0015925 | 105.0006 | 0.010907 | 0.00094624 | 0.010888 | 6.058 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89168 | 0.012637 | 1.0667 | 0.0071485 | 0.94858 | 0.0037584 | SupCrit | 105.2121 | 0.010888 | 1281.8458 | 0.0087756 | 276.1788 | 1281.8458 | 762.6635 | 0.88725 | 2.6813 | 0.98029 | 1.7745 | Flagged Warnings: | 1387.0579 | 0.0064449 | 517.7406 | 1387.0579 | 1377.6673 | 0.86449 | 0 | 3.9383 | 0.95658 | 1.729 | Flagged Warnings: | [15 empty] | 1.0249 | 1.0388 | 0.044108 | 0.0064252 | 1.0392 | 1.016 | 0.067803 | 0.0033395 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:06:14 PM | 43574 | 43574 | 0.99799 | 0.99798 | 0.998
41 | FG19-101-A--Spectrum--044 | 0.95441 | 0.0035785 | 0.0032041 | 0.0015934 | 105.0194 | 0.0104 | 0.00094493 | 0.010378 | 6.059 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89912 | 0.012663 | 1.0783 | 0.0068922 | 0.95441 | 0.0035785 | SupCrit | 105.2311 | 0.010378 | 1281.8438 | 0.0086906 | 285.5228 | 1281.8438 | 815.8822 | 0.93731 | 2.9501 | 0.93588 | 1.8746 | Flagged Warnings: | 1387.0749 | 0.0056717 | 541.9867 | 1387.0749 | 1432.1917 | 0.86915 | 0 | 3.5607 | 0.92996 | 1.7383 | Flagged Warnings: | [15 empty] | 1.0418 | 1.0893 | 0.078394 | 0.0065656 | 1.057 | 1.0105 | 0.099039 | 0.0032073 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:11:26 PM | 43886 | 43886 | 0.99799 | 0.99798 | 0.998
0 | 186-9-105--Spectrum--051 | 0.21846 | 0.018742 | 0.018592 | 0.0023632 | 103.2882 | 0.045149 | 0.0009235 | 0.04523 | 6.015 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21317 | 0.018373 | 0.21846 | 0.018742 | 0.10086 | 0.030666 | SupCrit | 103.497 | 0.04523 | 1285.4353 | 0.042038 | 71.2194 | 1285.4353 | 173.1334 | 0.84691 | 3.3394 | 0.80138 | 1.6938 | Flagged Warnings: | 1388.9322 | 0.016691 | 141.5719 | 1388.9322 | 223.6226 | 0.59006 | 0 | 3.0667 | 0.6351 | 1.1801 | Flagged Warnings: | [15 empty] | 1.2468 | 1.0733 | 0.41805 | 0.023783 | 1.1043 | 1.0354 | 0.12314 | 0.0083359 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:36:28 PM | 45388 | 45388 | 0.99798 | 0.99797 | 0.99799
1 | 186-9-105--Spectrum--052 | 0.21501 | 0.01443 | 0.014236 | 0.0023639 | 103.2799 | 0.03461 | 0.00092204 | 0.034668 | 6.032 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20985 | 0.014333 | 0.21501 | 0.01443 | 0.095165 | 0.023599 | SupCrit | 103.4887 | 0.034668 | 1285.4394 | 0.032266 | 88.6634 | 1285.4394 | 208.1254 | 0.86629 | 2.9554 | 0.66488 | 1.7326 | Flagged Warnings: | 1388.9282 | 0.012678 | 175.1211 | 1388.9282 | 274.3589 | 0.56593 | 0 | 2.9758 | 0.71653 | 1.1319 | Flagged Warnings: | [15 empty] | 1.0347 | 1.0649 | 0.060206 | 0.019541 | 1.2357 | 1.2742 | 0.26674 | 0.0064633 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:43:59 PM | 45839 | 45839 | 0.99798 | 0.99797 | 0.99799
2 | 186-9-105--Spectrum--053 | 0.23974 | 0.00819 | 0.0078427 | 0.0023595 | 103.3397 | 0.018906 | 0.00092184 | 0.018921 | 6.034 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23357 | 0.0086449 | 0.23974 | 0.00819 | 0.13547 | 0.012741 | SupCrit | 103.5488 | 0.018921 | 1285.392 | 0.016956 | 128.6216 | 1285.392 | 290.7255 | 0.76951 | 2.7036 | 0.85381 | 1.539 | Flagged Warnings: | 1388.9408 | 0.0083983 | 231.7501 | 1388.9408 | 380.6009 | 0.63956 | 0 | 2.6506 | 0.53025 | 1.2791 | Flagged Warnings: | [15 empty] | 1.2306 | 1.267 | 0.35488 | 0.011965 | 1.1629 | 1.1303 | 0.2084 | 0.0055194 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:48:22 PM | 46102 | 46102 | 0.99798 | 0.99797 | 0.99799
26 | 186-9-106--Spectrum--059 | 0.20461 | 0.0050408 | 0.004451 | 0.0023659 | 103.2545 | 0.010859 | 0.00091875 | 0.010842 | 6.058 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19981 | 0.0059519 | 0.20461 | 0.0050408 | 0.077872 | 0.0076657 | SupCrit | 103.4638 | 0.010842 | 1285.5164 | 0.010116 | 302.6323 | 1285.5164 | 638.624 | 0.71483 | 3.9017 | 0.86503 | 1.4297 | Flagged Warnings: | 1388.9802 | 0.0039025 | 534.5524 | 1388.9802 | 867.2817 | 0.61404 | 0 | 2.5128 | 0.603 | 1.2281 | Flagged Warnings: |  |  |  | 1410.1596 | 99.3619 | 0.91261 | [9 empty] | 1.1081 | 1.1359 | 0.15456 | 0.0047241 | 1.1066 | 1.0709 | 0.13095 | 0.0022974 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:05:55 PM | 47155 | 47155 | 0.99798 | 0.99797 | 0.99799
27 | 186-9-106--Spectrum--060 | 0.21002 | 0.0048283 | 0.0042095 | 0.0023648 | 103.2677 | 0.010252 | 0.00091842 | 0.010231 | 6.065 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20504 | 0.0058006 | 0.21002 | 0.0048283 | 0.086895 | 0.0072333 | SupCrit | 103.4771 | 0.010231 | 1285.5171 | 0.0094911 | 323.1447 | 1285.5171 | 678.4315 | 0.75888 | 3.4396 | 0.71499 | 1.5178 | Flagged Warnings: | 1388.9942 | 0.0038208 | 621.2554 | 1388.9942 | 997.1537 | 0.59709 | 0 | 3.1107 | 0.64574 | 1.1942 | Flagged Warnings: |  |  |  | 1410.3984 | 119.6184 | 1.1206 | [9 empty] | 1.1037 | 1.0946 | 0.15737 | 0.0046968 | 1.1006 | 1.125 | 0.12012 | 0.0019222 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:10:23 PM | 47423 | 47423 | 0.99798 | 0.99797 | 0.99799
28 | 186-9-106--Spectrum--061 | 0.2023 | 0.0045574 | 0.0038949 | 0.0023664 | 103.2489 | 0.0095096 | 0.00091787 | 0.0094844 | 6.068 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19757 | 0.0055688 | 0.2023 | 0.0045574 | 0.073997 | 0.0067831 | SupCrit | 103.4583 | 0.0094844 | 1285.527 | 0.0090007 | 367.5376 | 1285.527 | 773.7397 | 0.74257 | 4.4906 | 0.77266 | 1.4851 | Flagged Warnings: | 1388.9854 | 0.0029899 | 702.8315 | 1388.9853 | 1130.2495 | 0.58858 | 0 | 2.6168 | 0.6853 | 1.1772 | Flagged Warnings: |  |  |  | 1410.372 | 133.4897 | 0.92308 | [9 empty] | 1.1054 | 1.1532 | 0.15651 | 0.0040408 | 1.1042 | 1.0979 | 0.12262 | 0.0016749 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:14:51 PM | 47691 | 47691 | 0.99798 | 0.99797 | 0.99798
3 | 186-9-107--Spectrum--081 | 0.23333 | 0.018445 | 0.018294 | 0.0023606 | 103.3242 | 0.044197 | 0.00092333 | 0.044277 | 6.118 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22744 | 0.018027 | 0.23333 | 0.018445 | 0.12513 | 0.029682 | SupCrit | 103.5352 | 0.044277 | 1285.5369 | 0.040815 | 30.8461 | 1285.5369 | 61.708 | 0.83739 | 1.3721 | 0.33772 | 1.6748 | Flagged Warnings: | 1389.0721 | 0.017165 | 58.8151 | 1389.0721 | 88.53 | 0.57256 | 0 | 1.2658 | 0.59004 | 1.1451 | Flagged Warnings: | [15 empty] | 1.071 | 1.0362 | 0.1189 | 0.054295 | 1.0381 | 1.0149 | 0.043656 | 0.01947 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 3 | 100 | ['0h', '2m', '16s'] | 2:41:22 PM | 52882 | 52882 | 0.99796 | 0.99795 | 0.99797
4 | 186-9-107--Spectrum--082 | 0.19378 | 0.015694 | 0.015514 | 0.0023682 | 103.2281 | 0.037981 | 0.00092326 | 0.038047 | 6.114 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18933 | 0.015587 | 0.19378 | 0.015694 | 0.059668 | 0.026305 | SupCrit | 103.4389 | 0.038047 | 1285.6003 | 0.035472 | 38.3308 | 1285.6003 | 72.9209 | 0.60556 | 1.3644 | 1 | 1.2111 | Flagged Warnings: | 1389.0392 | 0.013759 | 75.7291 | 1389.0392 | 111.4399 | 0.56072 | 0 | 1.4456 | 0.58573 | 1.1214 | Flagged Warnings: | [15 empty] | 1.0571 | 1.1535 | 0.069103 | 0.031596 | 1.0151 | 1.0241 | 0.016889 | 0.014808 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 3 | 100 | ['0h', '2m', '16s'] | 2:45:25 PM | 53125 | 53125 | 0.99796 | 0.99795 | 0.99797
5 | 186-9-107--Spectrum--083 | 0.21045 | 0.021862 | 0.021733 | 0.0023647 | 103.2687 | 0.052917 | 0.0009242 | 0.053017 | 6.114 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20545 | 0.021373 | 0.21045 | 0.021862 | 0.087598 | 0.036146 | SupCrit | 103.4797 | 0.053017 | 1285.5889 | 0.04908 | 25.5285 | 1285.5889 | 45.6908 | 0.78228 | 1.5179 | 0.21558 | 1.5646 | Flagged Warnings: | 1389.0686 | 0.02005 | 51.5152 | 1389.0686 | 81.9933 | 0.56097 | 0 | 1.2404 | 0.77454 | 1.1219 | Flagged Warnings: | [15 empty] | 1.0923 | 1.0423 | 0.14448 | 0.061287 | 1.0307 | 1.0877 | 0.034415 | 0.021779 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 3 | 100 | ['0h', '2m', '16s'] | 2:48:15 PM | 53295 | 53295 | 0.99796 | 0.99795 | 0.99797
6 | 186-9-107--Spectrum--084 | 0.17509 | 0.012216 | 0.011983 | 0.0023724 | 103.1822 | 0.029509 | 0.00092477 | 0.029554 | 6.121 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17114 | 0.01235 | 0.17509 | 0.012216 | 0.027731 | 0.02076 | SupCrit | 103.393 | 0.029554 | 1285.6526 | 0.026713 | 39.3494 | 1285.6526 | 69.3669 | 0.68811 | 0.98454 | 0.52427 | 1.3762 | Flagged Warnings: | 1389.0455 | 0.012644 | 72.1469 | 1389.0455 | 114.383 | 0.55534 | 0 | 1.0815 | 0.78884 | 1.1107 | Flagged Warnings: | [15 empty] | 1.0194 | 1.0658 | 0.026723 | 0.034974 | 1.0061 | 1.015 | 0.0067725 | 0.015395 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:54:23 PM | 53663 | 53663 | 0.99796 | 0.99795 | 0.99797
7 | 186-9-107--Spectrum--085 | 0.19349 | 0.014004 | 0.013803 | 0.0023682 | 103.2273 | 0.033795 | 0.00092687 | 0.033851 | 6.114 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18904 | 0.013992 | 0.19349 | 0.014004 | 0.059172 | 0.023426 | SupCrit | 103.4383 | 0.033851 | 1285.5962 | 0.0306 | 34.8425 | 1285.5962 | 62.136 | 0.65374 | 1.1354 | 0.6812 | 1.3075 | Flagged Warnings: | 1389.0346 | 0.014474 | 61.2027 | 1389.0346 | 93.3709 | 0.54929 | 0 | 1.1124 | 0.72433 | 1.0986 | Flagged Warnings: | [15 empty] | 1.0181 | 1.0753 | 0.023711 | 0.037525 | 1.0189 | 1.1011 | 0.020728 | 0.01795 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 3:01:31 PM | 54091 | 54091 | 0.99796 | 0.99795 | 0.99797
8 | 186-9-108-A--Spectrum--094 | 0.19926 | 0.0079499 | 0.0075893 | 0.002367 | 103.2415 | 0.018548 | 0.00093138 | 0.018562 | 6.117 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19464 | 0.0084085 | 0.19926 | 0.0079499 | 0.068904 | 0.012894 | SupCrit | 103.4527 | 0.018562 | 1285.5497 | 0.017004 | 71.1719 | 1285.5497 | 143.7788 | 0.65454 | 1.2737 | 0.96241 | 1.3091 | Flagged Warnings: | 1389.0023 | 0.007444 | 129.9614 | 1389.0023 | 201.5172 | 0.57842 | 0 | 1.2618 | 0.6386 | 1.1568 | Flagged Warnings: | [15 empty] | 1.0786 | 1.1681 | 0.10288 | 0.018393 | 1.0884 | 1.1196 | 0.10228 | 0.0089014 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:17:33 PM | 55053 | 55053 | 0.99796 | 0.99795 | 0.99797
9 | 186-9-108-A--Spectrum--095 | 0.20689 | 0.0090505 | 0.0087359 | 0.0023654 | 103.2601 | 0.021297 | 0.00093335 | 0.02132 | 6.121 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20201 | 0.0093925 | 0.20689 | 0.0090505 | 0.081674 | 0.014684 | SupCrit | 103.4714 | 0.02132 | 1285.5172 | 0.019691 | 64.785 | 1285.5172 | 122.5787 | 0.79925 | 1.3555 | 0.31241 | 1.5985 | Flagged Warnings: | 1388.9886 | 0.0081725 | 126.8778 | 1388.9886 | 196.6751 | 0.60638 | 0 | 1.3885 | 0.51871 | 1.2128 | Flagged Warnings: | [15 empty] | 1.0635 | 1.0972 | 0.10144 | 0.024674 | 1.0763 | 1.0665 | 0.092498 | 0.0095584 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:23:27 PM | 55407 | 55407 | 0.99796 | 0.99795 | 0.99797
10 | 186-9-108-A--Spectrum--096 | 0.20399 | 0.010922 | 0.010663 | 0.002366 | 103.253 | 0.026019 | 0.00093449 | 0.026056 | 6.122 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19921 | 0.011098 | 0.20399 | 0.010922 | 0.07683 | 0.017932 | SupCrit | 103.4643 | 0.026056 | 1285.535 | 0.019477 | 64.861 | 1285.535 | 130.6002 | 0.72125 | 1.3532 | 0.73654 | 1.4425 | Flagged Warnings: | 1388.9993 | 0.017307 | 128.8415 | 1388.9993 | 193.7749 | 0.56568 | 0 | 1.3313 | 0.61816 | 1.1314 | Flagged Warnings: | [15 empty] | 1.0944 | 1.2055 | 0.13622 | 0.02224 | 1.0774 | 1.0768 | 0.087567 | 0.008781 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 3:27:14 PM | 55634 | 55634 | 0.99796 | 0.99795 | 0.99797
11 | 186-9-108-B--Spectrum--099 | 0.20211 | 0.016167 | 0.015993 | 0.0023664 | 103.2484 | 0.039049 | 0.00093646 | 0.039118 | 6.124 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.1974 | 0.016007 | 0.20211 | 0.016167 | 0.073693 | 0.026871 | SupCrit | 103.4598 | 0.039118 | 1285.5722 | 0.035831 | 45.5216 | 1285.5722 | 99.503 | 0.69578 | 1.6034 | 1 | 1.3916 | Flagged Warnings: | 1389.032 | 0.015697 | 75.3727 | 1389.032 | 125.8542 | 0.62014 | 0 | 1.441 | 0.64939 | 1.2403 | Flagged Warnings: | [15 empty] | 1.0174 | 1.0689 | 0.024231 | 0.030569 | 1.0193 | 1.0197 | 0.023983 | 0.016455 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:33:14 PM | 55994 | 55994 | 0.99796 | 0.99795 | 0.99797
12 | 186-9-108-B--Spectrum--101 | 0.20491 | 0.012453 | 0.012226 | 0.0023658 | 103.2553 | 0.029824 | 0.00093822 | 0.02987 | 6.118 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2001 | 0.012513 | 0.20491 | 0.012453 | 0.07838 | 0.020514 | SupCrit | 103.4667 | 0.02987 | 1285.5746 | 0.027721 | 51.3113 | 1285.5746 | 105.6682 | 0.73773 | 1.4842 | 0.73633 | 1.4755 | Flagged Warnings: | 1389.0413 | 0.011127 | 95.7159 | 1389.0413 | 137.6421 | 0.57319 | 0 | 1.2692 | 0.46976 | 1.1464 | Flagged Warnings: | [15 empty] | 1.0339 | 1.0461 | 0.050072 | 0.028755 | 1 | 1.0216 | 4.4724e-13 | 0.011977 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:38:06 PM | 56286 | 56286 | 0.99796 | 0.99795 | 0.99797
13 | 186-9-108-B--Spectrum--102 | 0.18363 | 0.011699 | 0.011457 | 0.0023704 | 103.2032 | 0.028138 | 0.00093935 | 0.02818 | 6.123 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17946 | 0.011849 | 0.18363 | 0.011699 | 0.04239 | 0.019678 | SupCrit | 103.4145 | 0.02818 | 1285.5998 | 0.025643 | 55.6123 | 1285.5998 | 108.3771 | 0.70021 | 1.3396 | 0.72926 | 1.4004 | Flagged Warnings: | 1389.0143 | 0.011685 | 102.446 | 1389.0143 | 157.7841 | 0.57887 | 0 | 1.624 | 0.62 | 1.1577 | Flagged Warnings: | [15 empty] | 1.0122 | 1.1105 | 0.017037 | 0.025182 | 1.0539 | 1.0445 | 0.062393 | 0.011301 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:42:31 PM | 56551 | 56551 | 0.99796 | 0.99795 | 0.99797
14 | 186-9-109--Spectrum--112 | 0.10818 | 0.019073 | 0.018688 | 0.0038118 | 103.0233 | 0.047163 | 0.00094376 | 0.047251 | 6.127 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10818 | 0.019073 | 0.11115 | 0.018972 | -0.086296 | 0.034701 | SupCrit | 103.2344 | 0.047251 | 1286.1284 | 0.046661 | 172.0258 | 1286.1284 | 242.6259 | 0.59873 | 5.7798 | 0.29857 | 1.1975 | Flagged Warnings: | 1389.3628 | 0.0074426 | 325.2593 | 1389.3628 | 397.4669 | 0.4718 | 0 | 2.9547 | 0.55234 | 0.9436 | Flagged Warnings: | [15 empty] | 1.0479 | 1.0535 | 0.057364 | 0.006961 | 1.1906 | 1.1927 | 0.17988 | 0.0029011 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 4 | 50 | ['0h', '3m', '12s'] | 3:57:59 PM | 57479 | 57479 | 0.99796 | 0.99795 | 0.99796
15 | 186-9-109--Spectrum--113 | 0.11508 | 0.0049938 | 0.0032161 | 0.0038203 | 103.0407 | 0.0081165 | 0.00094657 | 0.0080777 | 6.123 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11508 | 0.0049938 | 0.11811 | 0.0040285 | -0.073529 | 0.0062327 | SupCrit | 103.2519 | 0.0080777 | 1286.1039 | 0.007122 | 205.3639 | 1286.1039 | 315.8846 | 0.59538 | 1.7805 | 0.54586 | 1.1908 | Flagged Warnings: | 1389.3558 | 0.0038113 | 378.9765 | 1389.3558 | 468.8975 | 0.49314 | 0 | 2.1678 | 0.4699 | 0.98628 | Flagged Warnings: | [15 empty] | 1.0406 | 1.029 | 0.048321 | 0.0057983 | 1.1591 | 1.1595 | 0.15691 | 0.0026025 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:04:16 PM | 57856 | 57856 | 0.99795 | 0.99795 | 0.99796
16 | 186-9-109--Spectrum--114 | 0.10535 | 0.0056817 | 0.0042158 | 0.003809 | 103.0161 | 0.010639 | 0.00094815 | 0.010619 | 6.126 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10535 | 0.0056817 | 0.1083 | 0.0048701 | -0.091558 | 0.008064 | SupCrit | 103.2273 | 0.010619 | 1286.122 | 0.0096492 | 135.9736 | 1286.122 | 200.1912 | 0.60185 | 1.6377 | 0.40244 | 1.2037 | Flagged Warnings: | 1389.3493 | 0.004433 | 263.7363 | 1389.3493 | 321.1866 | 0.46675 | 0 | 1.8199 | 0.57099 | 0.93351 | Flagged Warnings: | [15 empty] | 1.0114 | 1.0061 | 0.013756 | 0.0088524 | 1.1574 | 1.1615 | 0.14691 | 0.0035395 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:08:24 PM | 58104 | 58104 | 0.99795 | 0.99795 | 0.99796
17 | 186-9-110--Spectrum--120 | 0.16516 | 0.0061304 | 0.0046859 | 0.0039527 | 103.1671 | 0.011826 | 0.0009521 | 0.011812 | 6.129 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16516 | 0.0061304 | 0.16897 | 0.0053492 | 0.01714 | 0.0085318 | SupCrit | 103.3786 | 0.011812 | 1285.7585 | 0.010246 | 180.1356 | 1285.7585 | 333.1616 | 0.65949 | 2.3335 | 0.74727 | 1.319 | Flagged Warnings: | 1389.1371 | 0.0058777 | 328.8386 | 1389.1371 | 485.2356 | 0.55326 | 0 | 2.632 | 0.62601 | 1.1065 | Flagged Warnings: | [15 empty] | 1.0249 | 1.0499 | 0.03281 | 0.0073221 | 1.1262 | 1.0674 | 0.13962 | 0.0033649 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:14:06 PM | 58446 | 58446 | 0.99795 | 0.99794 | 0.99796
18 | 186-9-111-A--Spectrum--127 | 0.20132 | 0.041516 | 0.041449 | 0.0023666 | 103.2465 | 0.1012 | 0.00096116 | 0.10141 | 6.123 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19663 | 0.040309 | 0.20132 | 0.041516 | 0.072368 | 0.069543 | SupCrit | 103.4583 | 0.10141 | 1285.6247 | 0.084326 | 17.4307 | 1285.6247 | 21.6901 | 0.5845 | 2.0516 | 4.2926e-09 | 1.169 | Flagged Warnings: | 1389.083 | 0.056321 | 28.6672 | 1389.083 | 42.0642 | 0.65991 | 0 | 2.1453 | 0.13197 | 1.3198 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0889 | 1.1247 | 0.10391 | 0.067066 | 1.0232 | 1.0684 | 0.030615 | 0.04604 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 3 | 50 | ['0h', '2m', '31s'] | 4:31:22 PM | 59482 | 59482 | 0.99795 | 0.99794 | 0.99796
19 | 186-9-111-A--Spectrum--128 | 0.23173 | 0.013479 | 0.013271 | 0.0023609 | 103.3204 | 0.03208 | 0.00096357 | 0.032131 | 6.13 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22591 | 0.013408 | 0.23173 | 0.013479 | 0.12254 | 0.021607 | SupCrit | 103.5323 | 0.032131 | 1285.4719 | 0.02881 | 45.9624 | 1285.4719 | 84.1659 | 0.67407 | 1.4377 | 0.67113 | 1.3481 | Flagged Warnings: | 1389.0043 | 0.014227 | 82.1077 | 1389.0043 | 131.8675 | 0.58142 | 0 | 1.4998 | 0.71129 | 1.1628 | Flagged Warnings: | [15 empty] | 1.234 | 1.288 | 0.31544 | 0.029331 | 1.0948 | 1.2031 | 0.11024 | 0.014162 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 4 | 50 | ['0h', '3m', '29s'] | 4:34:44 PM | 59684 | 59684 | 0.99795 | 0.99794 | 0.99796
20 | 186-9-111-A--Spectrum--129 | 0.20218 | 0.0074147 | 0.0070269 | 0.0023664 | 103.2486 | 0.017157 | 0.00097577 | 0.017165 | 6.127 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19746 | 0.0079389 | 0.20218 | 0.0074147 | 0.073802 | 0.011922 | SupCrit | 103.4605 | 0.017165 | 1285.5632 | 0.015819 | 73.6553 | 1285.5632 | 147.5352 | 0.74916 | 1.3389 | 0.63212 | 1.4983 | Flagged Warnings: | 1389.0237 | 0.0066621 | 144.4265 | 1389.0237 | 227.7459 | 0.57481 | 0 | 1.2368 | 0.6948 | 1.1496 | Flagged Warnings: | [15 empty] | 1.0274 | 1.0664 | 0.04105 | 0.020342 | 1.0389 | 1.0753 | 0.044746 | 0.0079599 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:58:18 PM | 61098 | 61098 | 0.99795 | 0.99794 | 0.99796
21 | 186-9-112-A--Spectrum--136 | 0.15662 | 0.0053124 | 0.0035837 | 0.0039216 | 103.1455 | 0.0090443 | 0.00097869 | 0.0090097 | 6.125 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15662 | 0.0053124 | 0.16025 | 0.0043608 | 0.0019178 | 0.0066771 | SupCrit | 103.3572 | 0.0090097 | 1285.8024 | 0.0080826 | 294.6141 | 1285.8024 | 501.8382 | 0.61465 | 3.3842 | 0.71908 | 1.2293 | Flagged Warnings: | 1389.1597 | 0.0039806 | 516.8899 | 1389.1596 | 741.2522 | 0.54506 | 0 | 2.8635 | 0.59225 | 1.0901 | Flagged Warnings: |  |  |  | 1410.4836 | 91.8634 | 0.67127 | [9 empty] | 1.1464 | 1.1 | 0.17998 | 0.0041726 | 1.1629 | 1.1302 | 0.17762 | 0.002109 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:04:58 PM | 61498 | 61498 | 0.99795 | 0.99794 | 0.99796
29 | 186-9-112-A--Spectrum--137 | 0.16643 | 0.0047331 | 0.002596 | 0.0039576 | 103.1703 | 0.0065516 | 0.00098774 | 0.00649 | 6.127 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16643 | 0.0047331 | 0.17027 | 0.0035626 | 0.019385 | 0.0049718 | SupCrit | 103.3821 | 0.00649 | 1285.7607 | 0.0060883 | 323.8814 | 1285.7607 | 564.5968 | 0.64651 | 2.3213 | 0.65285 | 1.293 | Flagged Warnings: | 1389.1428 | 0.0022478 | 578.5965 | 1389.1428 | 845.7319 | 0.5583 | 0 | 1.8647 | 0.57987 | 1.1166 | Flagged Warnings: |  |  |  | 1410.5042 | 97.8136 | 0.74164 | [9 empty] | 1.129 | 1.0452 | 0.16684 | 0.0039923 | 1.1619 | 1.1304 | 0.18078 | 0.0019298 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:19:23 PM | 62363 | 62363 | 0.99795 | 0.99794 | 0.99796
22 | 186-9-113-A--Spectrum--141 | 0.22558 | 0.023847 | 0.02373 | 0.0023619 | 103.3055 | 0.057482 | 0.00099234 | 0.057592 | 6.126 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22001 | 0.023166 | 0.22558 | 0.023847 | 0.11253 | 0.038805 | SupCrit | 103.5176 | 0.057592 | 1285.3834 | 0.054231 | 32.2559 | 1285.3834 | 67.7209 | 0.88728 | 2.1 | 0.31108 | 1.7746 | Flagged Warnings: | 1388.901 | 0.019387 | 77.8522 | 1388.901 | 129.1139 | 0.60769 | 0 | 1.9546 | 0.68227 | 1.2154 | Flagged Warnings: | [15 empty] | 1.0711 | 1.3693 | 0.12625 | 0.055015 | 1.3188 | 1.3644 | 0.3874 | 0.015611 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 45 | 2 | 50 | ['0h', '1m', '56s'] | 5:24:35 PM | 62675 | 62675 | 0.99795 | 0.99794 | 0.99796
23 | 186-9-113-A--Spectrum--142 | 0.22192 | 0.010765 | 0.010502 | 0.0023626 | 103.2966 | 0.025474 | 0.00099371 | 0.025507 | 6.126 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21649 | 0.010935 | 0.22192 | 0.010765 | 0.10653 | 0.017323 | SupCrit | 103.5087 | 0.025507 | 1285.3966 | 0.023753 | 66.3217 | 1285.3966 | 141.1352 | 0.69108 | 1.7383 | 0.95746 | 1.3822 | Flagged Warnings: | 1388.9053 | 0.0092944 | 127.7721 | 1388.9053 | 210.7913 | 0.5943 | 0 | 1.5303 | 0.72309 | 1.1886 | Flagged Warnings: | [15 empty] | 1.2668 | 1.3485 | 0.36882 | 0.02084 | 1.177 | 1.1335 | 0.21037 | 0.0093025 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:26:50 PM | 62810 | 62810 | 0.99795 | 0.99794 | 0.99796
24 | 186-9-113-B--Spectrum--144 | 0.21451 | 0.0056271 | 0.0051065 | 0.002364 | 103.2786 | 0.012418 | 0.00099664 | 0.012403 | 6.127 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20937 | 0.0064465 | 0.21451 | 0.0056271 | 0.094338 | 0.0086418 | SupCrit | 103.4907 | 0.012403 | 1285.4185 | 0.011081 | 166.3653 | 1285.4185 | 348.3734 | 0.75359 | 2.347 | 0.72549 | 1.5072 | Flagged Warnings: | 1388.9092 | 0.005572 | 320.4085 | 1388.9092 | 533.8997 | 0.60005 | 0 | 2.3006 | 0.72395 | 1.2001 | Flagged Warnings: | [15 empty] | 1.1548 | 1.1518 | 0.23325 | 0.0090594 | 1.2143 | 1.1894 | 0.25716 | 0.0037455 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:31:35 PM | 63095 | 63095 | 0.99795 | 0.99794 | 0.99796
25 | 186-9-113-C--Spectrum--146 | 0.1916 | 0.012963 | 0.012745 | 0.0023686 | 103.2227 | 0.031223 | 0.00099952 | 0.031271 | 6.125 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.1872 | 0.013017 | 0.1916 | 0.012963 | 0.055963 | 0.021686 | SupCrit | 103.4346 | 0.031271 | 1285.5362 | 0.02824 | 54.9262 | 1285.5362 | 108.3191 | 0.69401 | 1.6497 | 0.77804 | 1.388 | Flagged Warnings: | 1388.9709 | 0.013431 | 98.6531 | 1388.9709 | 171.9013 | 0.63937 | 0 | 1.6167 | 0.67889 | 1.2787 | Flagged Warnings: | [15 empty] | 1.1454 | 1.2266 | 0.20183 | 0.025271 | 1.1035 | 1.082 | 0.1324 | 0.012962 | PseudoVoigtModel | PseudoVoigtModel | No | May 28, 2024 | May | 28 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:36:43 PM | 63403 | 63403 | 0.99795 | 0.99794 | 0.99796
42 | FG19-101-A--Spectrum--149 | 0.95247 | 0.0053551 | 0.0051126 | 0.0015931 | 105.0131 | 0.016522 | 0.00103 | 0.016524 | 6.121 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89664 | 0.013618 | 1.0744 | 0.010479 | 0.95247 | 0.0053551 | SupCrit | 105.2287 | 0.016524 | 1281.8322 | 0.01441 | 145.8876 | 1281.8322 | 400.7781 | 0.95213 | 2.1092 | 0.81326 | 1.9043 | Flagged Warnings: | 1387.0609 | 0.0080868 | 279.2888 | 1387.0609 | 753.5307 | 0.87298 | 0 | 2.5872 | 0.96532 | 1.746 | Flagged Warnings: | [15 empty] | 1.1328 | 1.1097 | 0.25296 | 0.013053 | 1.0019 | 1.0154 | 0.0033447 | 0.0062514 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 3 | 50 | ['0h', '2m', '32s'] | 5:55:24 PM | 64524 | 64524 | 0.99795 | 0.99794 | 0.99796
43 | FG19-101-A--Spectrum--150 | 0.94791 | 0.0036813 | 0.003319 | 0.0015924 | 104.9985 | 0.010618 | 0.0010318 | 0.01059 | 6.123 | 1324.964 | 0 | 0 | Y | SupCrit, high density |  |  | 0.89083 | 0.012588 | 1.0654 | 0.006979 | 0.94791 | 0.0036813 | SupCrit | 105.214 | 0.01059 | 1281.8274 | 0.0084019 | 282.0376 | 1281.8274 | 787.9034 | 0.92507 | 2.8127 | 0.91529 | 1.8501 | Flagged Warnings: | 1387.0414 | 0.0064463 | 537.377 | 1387.0414 | 1449.816 | 0.88132 | 0 | 4.1542 | 0.94484 | 1.7626 | Flagged Warnings: | [15 empty] | 1.0693 | 1.073 | 0.12819 | 0.0065599 | 1.0211 | 1.0273 | 0.037144 | 0.0032801 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:58:02 PM | 64682 | 64682 | 0.99795 | 0.99794 | 0.99796
44 | FG04-A1-1--Spectrum--151 | 0.64279 | 0.0067063 | 0.0062699 | 0.0023794 | 104.2325 | 0.012605 | 0.0010284 | 0.012589 | 6.124 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.58734 | 0.0093958 | 0.64279 | 0.0067063 | 0.64583 | 0.0062191 | SupCrit | 104.4465 | 0.012589 | 1283.3315 | 0.01062 | 234.9255 | 1283.3315 | 680.556 | 1.0093 | 2.7354 | 0.80128 | 2.0185 | Flagged Warnings: | 1387.778 | 0.0067605 | 491.5094 | 1387.778 | 1175.444 | 0.81157 | 0 | 3.8213 | 0.86099 | 1.6231 | Flagged Warnings: | [15 empty] | 1.1226 | 1.1025 | 0.24746 | 0.0085923 | 1.0225 | 1.0379 | 0.036587 | 0.0033024 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:03:38 PM | 65018 | 65018 | 0.99795 | 0.99794 | 0.99796
45 | FG04-A1-2--Spectrum--153 | 0.61286 | 0.0029295 | 0.0017176 | 0.0023731 | 104.1719 | 0.0035051 | 0.0010313 | 0.0033569 | 6.122 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.56332 | 0.0077894 | 0.61286 | 0.0029295 | 0.61657 | 0.0023681 | SupCrit | 104.3858 | 0.0033569 | 1283.4403 | 0.0026376 | 807.037 | 1283.4404 | 2369.7803 | 1.0663 | 2.438 | 0.7061 | 2.1326 | Flagged Warnings: | 1387.8262 | 0.0020764 | 1705.7352 | 1387.8261 | 3991.2863 | 0.83024 | 0 | 4.2736 | 0.7599 | 1.6605 | Flagged Warnings: | 1263.3057 | 346.4714 | 2.7325 | 1409.2132 | 500.5295 | 2.1333 | [9 empty] | 1.0323 | 1.0469 | 0.068906 | 0.0026425 | 1.1368 | 1.1109 | 0.22707 | 0.00097347 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:08:17 PM | 65297 | 65297 | 0.99795 | 0.99794 | 0.99796
46 | FG04-A1-4--Spectrum--154 | 0.69774 | 0.0029619 | 0.001746 | 0.0023926 | 104.3415 | 0.0034147 | 0.0010363 | 0.0032603 | 6.124 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63051 | 0.0086009 | 0.69774 | 0.0029619 | 0.69645 | 0.0022344 | SupCrit | 104.5557 | 0.0032603 | 1283.0876 | 0.002631 | 742.1413 | 1283.0876 | 2094.7811 | 1.0088 | 2.2331 | 0.74403 | 2.0176 | Flagged Warnings: | 1387.6434 | 0.0019255 | 1546.9571 | 1387.6433 | 3615.3873 | 0.81157 | 0 | 3.492 | 0.80987 | 1.6231 | Flagged Warnings: | 1262.9614 | 310.0163 | 2.9053 | 1409.1016 | 435.3443 | 2.3453 | [9 empty] | 1.0252 | 1.0202 | 0.050864 | 0.0027186 | 1.0165 | 1.0247 | 0.026718 | 0.0010492 | PseudoVoigtModel | PseudoVoigtModel | Yes | May 28, 2024 | May | 28 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:12:41 PM | 65561 | 65561 | 0.99795 | 0.99794 | 0.99796