## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-105-reg2-B--Spectrum--004 | 0.36641 | 0.0064567 | 0.0060144 | 0.0023485 | 103.6378 | 0.01379 | 0.00080193 | 0.013793 | 5.986 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35168 | 0.0076125 | 0.36641 | 0.0064567 | 0.3248 | 0.0084989 | SupCrit | 103.8423 | 0.013793 | 1284.3978 | 0.012627 | 151.6085 | 1284.3978 | 411.389 | 0.99199 | 2.1902 | 0.68783 | 1.984 | Flagged Warnings: | 1388.2401 | 0.0055519 | 314.2809 | 1388.2401 | 628.1371 | 0.72957 | 0 | 2.2515 | 0.69144 | 1.4591 | Flagged Warnings: | [15 empty] | 1.1688 | 1.2061 | 0.33496 | 0.013086 | 1.0674 | 1.0872 | 0.098406 | 0.0046428 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 11:21:54 AM | 40914 | [5 empty] | 40914 | 0.99803 | 0.99802 | 0.99804
1 | 187-1-105-reg2-B--Spectrum--005 | 0.38317 | 0.0068452 | 0.0064298 | 0.0023484 | 103.6761 | 0.014635 | 0.00080049 | 0.014642 | 5.941 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36685 | 0.0079584 | 0.38317 | 0.0068452 | 0.34775 | 0.0088794 | SupCrit | 103.8809 | 0.014642 | 1284.3792 | 0.013134 | 146.594 | 1284.3792 | 403.139 | 1.0537 | 1.9886 | 0.57175 | 2.1074 | Flagged Warnings: | 1388.2601 | 0.006472 | 312.2227 | 1388.2601 | 619.9935 | 0.71602 | 0 | 2.3832 | 0.72082 | 1.432 | Flagged Warnings: | [15 empty] | 1.1147 | 1.1242 | 0.24165 | 0.014375 | 1.0885 | 1.1451 | 0.12676 | 0.0045866 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 11:27:58 AM | 41278 | [5 empty] | 41278 | 0.99803 | 0.99802 | 0.99804
2 | 187-1-105-reg2-B--Spectrum--006 | 0.36868 | 0.0073776 | 0.0069938 | 0.0023485 | 103.643 | 0.016019 | 0.00079867 | 0.016031 | 5.96 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35374 | 0.0082826 | 0.36868 | 0.0073776 | 0.32794 | 0.0098019 | SupCrit | 103.8479 | 0.016031 | 1284.4339 | 0.014866 | 129.0793 | 1284.4339 | 349.5821 | 1.0381 | 1.9356 | 0.57068 | 2.0762 | Flagged Warnings: | 1388.2818 | 0.0059999 | 277.6628 | 1388.2818 | 556.0769 | 0.70098 | 0 | 2.168 | 0.79059 | 1.402 | Flagged Warnings: | [15 empty] | 1.2057 | 1.2253 | 0.42713 | 0.016085 | 1.129 | 1.1863 | 0.1809 | 0.0050491 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 11:33:38 AM | 41618 | [5 empty] | 41618 | 0.99803 | 0.99802 | 0.99803
3 | 187-1-105-reg3-A--Spectrum--012 | 0.46023 | 0.0062621 | 0.0058039 | 0.0023515 | 103.8485 | 0.012756 | 0.00079763 | 0.012756 | 6.063 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43516 | 0.0079773 | 0.46023 | 0.0062621 | 0.44717 | 0.0073191 | SupCrit | 104.0542 | 0.012756 | 1283.9875 | 0.012756 | 126.8539 | 1283.9875 | 366.5773 | 1.0703 | 1.6438 | 0.65621 | 2.1405 | Flagged Warnings: | 1388.0417 | 0 | 268.8456 | 1388.0417 | 564.3647 | 0.74909 | 0 | 2.0962 | 0.74551 | 1.4982 | Flagged Warnings: No Error | [15 empty] | 1.0869 | 1.0842 | 0.18598 | 0.016874 | 1.0273 | 1.1032 | 0.040859 | 0.0055726 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 11:43:32 AM | 42212 | [5 empty] | 42212 | 0.99802 | 0.99801 | 0.99803
4 | 187-1-105-reg3-A--Spectrum--016 | 0.45578 | 0.0071445 | 0.0067466 | 0.0023511 | 103.8387 | 0.014858 | 0.00079505 | 0.014867 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43128 | 0.0084987 | 0.45578 | 0.0071445 | 0.44169 | 0.0084966 | SupCrit | 104.0449 | 0.014867 | 1284.0041 | 0.012756 | 133.6212 | 1284.0041 | 392.9958 | 1.1084 | 1.5919 | 0.61322 | 2.2169 | Flagged Warnings: | 1388.049 | 0.0076354 | 280.1902 | 1388.049 | 625.3541 | 0.81243 | 0 | 2.2993 | 0.69817 | 1.6249 | Flagged Warnings: | [15 empty] | 1.0837 | 1.0606 | 0.18563 | 0.016591 | 1.0251 | 1.0738 | 0.040706 | 0.0057991 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 11:53:36 AM | 42816 | [5 empty] | 42816 | 0.99802 | 0.99801 | 0.99803
5 | 187-1-105-reg3-A--Spectrum--017 | 0.45271 | 0.0068504 | 0.0064344 | 0.0023509 | 103.8319 | 0.014191 | 0.00079373 | 0.014197 | 6.019 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42859 | 0.0082961 | 0.45271 | 0.0068504 | 0.43789 | 0.0081509 | SupCrit | 104.0385 | 0.014197 | 1284.025 | 0.012188 | 137.7371 | 1284.025 | 390.5762 | 1.0713 | 1.5386 | 0.60714 | 2.1426 | Flagged Warnings: | 1388.0634 | 0.0072805 | 298.6592 | 1388.0634 | 652.374 | 0.77424 | 0 | 2.0684 | 0.76132 | 1.5485 | Flagged Warnings: | [15 empty] | 1.0689 | 1.1 | 0.14752 | 0.015556 | 1.0087 | 1.0778 | 0.013465 | 0.0051847 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 11:58:58 AM | 43138 | [5 empty] | 43138 | 0.99801 | 0.99801 | 0.99802
6 | 187-1-105-reg3-B--Spectrum--021 | 0.41696 | 0.0059008 | 0.0054131 | 0.002349 | 103.7524 | 0.012136 | 0.00079084 | 0.012135 | 5.977 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3971 | 0.0075047 | 0.41696 | 0.0059008 | 0.39255 | 0.00723 | SupCrit | 103.9594 | 0.012135 | 1284.162 | 0.010523 | 167.9874 | 1284.162 | 479.7554 | 1.0677 | 1.7899 | 0.63303 | 2.1355 | Flagged Warnings: | 1388.1214 | 0.0060429 | 361.0015 | 1388.1214 | 781.3883 | 0.77731 | 0 | 2.675 | 0.73047 | 1.5546 | Flagged Warnings: | [15 empty] | 1.1096 | 1.0091 | 0.23408 | 0.012712 | 1.0108 | 1.0852 | 0.016825 | 0.0043064 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:09:10 PM | 43750 | [5 empty] | 43750 | 0.99801 | 0.998 | 0.99802
7 | 187-1-105-reg3-B--Spectrum--022 | 0.4509 | 0.0071194 | 0.00672 | 0.0023508 | 103.8279 | 0.014834 | 0.00079032 | 0.014842 | 5.96 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42701 | 0.0084583 | 0.4509 | 0.0071194 | 0.43564 | 0.0085169 | SupCrit | 104.0354 | 0.014842 | 1284.1061 | 0.01345 | 128.0557 | 1284.1061 | 367.6677 | 1.0997 | 1.6851 | 0.57259 | 2.1994 | Flagged Warnings: | 1388.1415 | 0.0062757 | 283.1033 | 1388.1415 | 598.831 | 0.75013 | 0 | 2.2804 | 0.7601 | 1.5003 | Flagged Warnings: | [15 empty] | 1.0077 | 1.036 | 0.016867 | 0.017176 | 1.0134 | 1.1221 | 0.020138 | 0.0052994 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:14:20 PM | 44060 | [5 empty] | 44060 | 0.99801 | 0.998 | 0.99801
8 | 187-1-105-reg3-B--Spectrum--023 | 0.42628 | 0.0087205 | 0.0083981 | 0.0023494 | 103.7733 | 0.018749 | 0.00078887 | 0.01877 | 5.948 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40536 | 0.0094553 | 0.42628 | 0.0087205 | 0.40457 | 0.010903 | SupCrit | 103.981 | 0.01877 | 1284.1645 | 0.017705 | 100.4212 | 1284.1645 | 299.3608 | 1.1084 | 1.5801 | 0.64653 | 2.2169 | Flagged Warnings: | 1388.1455 | 0.006234 | 226.2866 | 1388.1455 | 475.5962 | 0.75589 | 0 | 1.8147 | 0.72696 | 1.5118 | Flagged Warnings: | [15 empty] | 1.0956 | 1.0585 | 0.21183 | 0.022076 | 1.0473 | 1.0272 | 0.071503 | 0.0066809 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:19:26 PM | 44366 | [5 empty] | 44366 | 0.998 | 0.99799 | 0.99801
9 | 187-1-105-reg3-C--Spectrum--027 | 0.43869 | 0.0061331 | 0.005665 | 0.00235 | 103.8009 | 0.012576 | 0.00078738 | 0.012576 | 5.946 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41631 | 0.0077734 | 0.43869 | 0.0061331 | 0.42037 | 0.0073481 | SupCrit | 104.0093 | 0.012576 | 1284.1212 | 0.01116 | 177.1599 | 1284.1212 | 514.9509 | 1.0691 | 2.3049 | 0.67304 | 2.1383 | Flagged Warnings: | 1388.1305 | 0.0057982 | 379.4042 | 1388.1305 | 803.4908 | 0.76776 | 0 | 2.7888 | 0.70793 | 1.5355 | Flagged Warnings: | [15 empty] | 1.1438 | 1.0468 | 0.30751 | 0.01207 | 1.0331 | 1.1155 | 0.050845 | 0.0040472 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:28:18 PM | 44898 | [5 empty] | 44898 | 0.998 | 0.99799 | 0.998
10 | 187-1-105-reg3-C--Spectrum--028 | 0.42175 | 0.0058623 | 0.005371 | 0.0023492 | 103.7631 | 0.012016 | 0.00078618 | 0.012014 | 5.952 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40135 | 0.0075088 | 0.42175 | 0.0058623 | 0.39875 | 0.0071349 | SupCrit | 103.9719 | 0.012014 | 1284.1511 | 0.010702 | 188.9899 | 1284.1511 | 543.8782 | 1.1015 | 2.5875 | 0.57435 | 2.203 | Flagged Warnings: | 1388.1229 | 0.005459 | 417.2186 | 1388.1229 | 872.9105 | 0.76145 | 0 | 2.8572 | 0.69861 | 1.5229 | Flagged Warnings: | [15 empty] | 1.2071 | 1.2362 | 0.45618 | 0.011657 | 1.0356 | 1.0175 | 0.054268 | 0.0036501 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:33:24 PM | 45204 | [5 empty] | 45204 | 0.99799 | 0.99799 | 0.998
11 | 187-1-105-reg3-C--Spectrum--029 | 0.44346 | 0.0054207 | 0.0048847 | 0.0023503 | 103.8115 | 0.01082 | 0.00078566 | 0.010813 | 5.956 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4205 | 0.0073836 | 0.44346 | 0.0054207 | 0.42636 | 0.0063569 | SupCrit | 104.0207 | 0.010813 | 1284.1091 | 0.0093518 | 199.3025 | 1284.1091 | 575.0064 | 1.0696 | 1.9614 | 0.65374 | 2.1392 | Flagged Warnings: | 1388.1298 | 0.0054278 | 425.0697 | 1388.1298 | 897.4534 | 0.76322 | 0 | 3.0738 | 0.71481 | 1.5264 | Flagged Warnings: | [15 empty] | 1.0238 | 1.0331 | 0.050853 | 0.010734 | 1.0287 | 1.0978 | 0.043805 | 0.003591 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:38:35 PM | 45515 | [5 empty] | 45515 | 0.99799 | 0.99798 | 0.998
12 | 187-1-105-reg4-A--Spectrum--042 | 0.44607 | 0.0060429 | 0.0055671 | 0.0023505 | 103.8172 | 0.012316 | 0.0007828 | 0.012316 | 6.066 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42278 | 0.0077623 | 0.44607 | 0.0060429 | 0.42963 | 0.007162 | SupCrit | 104.0279 | 0.012316 | 1284.0525 | 0.011027 | 168.8949 | 1284.0525 | 484.3815 | 1.1131 | 1.975 | 0.53897 | 2.2262 | Flagged Warnings: | 1388.0804 | 0.0054862 | 356.4694 | 1388.0804 | 760.0393 | 0.77722 | 0 | 2.3819 | 0.69474 | 1.5544 | Flagged Warnings: | [15 empty] | 1.098 | 1.089 | 0.21812 | 0.013181 | 1.0065 | 1.0539 | 0.010072 | 0.0043607 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:57:48 PM | 46668 | [5 empty] | 46668 | 0.99797 | 0.99797 | 0.99798
13 | 187-1-105-reg4-A--Spectrum--044 | 0.45565 | 0.006063 | 0.0055885 | 0.0023511 | 103.8384 | 0.012309 | 0.00078091 | 0.012309 | 6.111 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43117 | 0.0078319 | 0.45565 | 0.006063 | 0.44154 | 0.0071028 | SupCrit | 104.0504 | 0.012309 | 1283.9688 | 0.011089 | 192.4078 | 1283.9688 | 556.905 | 1.1065 | 2.1864 | 0.5775 | 2.2129 | Flagged Warnings: | 1388.0192 | 0.005342 | 424.575 | 1388.0192 | 926.1372 | 0.7855 | 0 | 2.6429 | 0.72397 | 1.571 | Flagged Warnings: | [15 empty] | 1.0264 | 1.0611 | 0.058507 | 0.011501 | 1.0086 | 1.0264 | 0.013485 | 0.0037002 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 1:14:47 PM | 47687 | [5 empty] | 47687 | 0.99796 | 0.99795 | 0.99797
14 | 187-1-105-reg4-A--Spectrum--045 | 0.46408 | 0.0064134 | 0.0059666 | 0.0023518 | 103.8569 | 0.01309 | 0.00078039 | 0.013093 | 6.124 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43851 | 0.0080902 | 0.46408 | 0.0064134 | 0.45188 | 0.0074773 | SupCrit | 104.0695 | 0.013093 | 1283.9628 | 0.011812 | 158.8328 | 1283.9628 | 469.3765 | 1.114 | 1.9911 | 0.61263 | 2.228 | Flagged Warnings: | 1388.0323 | 0.0056488 | 357.2132 | 1388.0323 | 776.5513 | 0.77874 | 0 | 2.637 | 0.73639 | 1.5575 | Flagged Warnings: | [15 empty] | 1.1067 | 1.136 | 0.2377 | 0.014027 | 1.0086 | 1.0362 | 0.013427 | 0.0043601 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:21:25 PM | 48085 | [5 empty] | 48085 | 0.99796 | 0.99795 | 0.99796
15 | 187-1-105-reg4-B--Spectrum--049 | 0.34624 | 0.0064396 | 0.0059959 | 0.0023491 | 103.5913 | 0.013866 | 0.00077749 | 0.013873 | 6.146 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33327 | 0.007513 | 0.34624 | 0.0064396 | 0.29655 | 0.0086811 | SupCrit | 103.8042 | 0.013873 | 1284.5532 | 0.012635 | 188.1593 | 1284.5532 | 521.723 | 1.0257 | 2.7128 | 0.65908 | 2.0515 | Flagged Warnings: | 1388.3574 | 0.005727 | 403.5774 | 1388.3574 | 801.3787 | 0.71058 | 0 | 3.026 | 0.73886 | 1.4212 | Flagged Warnings: | [15 empty] | 1.0212 | 1.1765 | 0.043435 | 0.010903 | 1.1869 | 1.1985 | 0.26557 | 0.0035214 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 1:32:01 PM | 48721 | [5 empty] | 48721 | 0.99795 | 0.99794 | 0.99796
16 | 187-1-105-reg4-B--Spectrum--050 | 0.32309 | 0.005802 | 0.0053047 | 0.0023503 | 103.5376 | 0.012386 | 0.0007767 | 0.012387 | 6.145 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31196 | 0.0069559 | 0.32309 | 0.005802 | 0.26325 | 0.007936 | SupCrit | 103.7507 | 0.012387 | 1284.6327 | 0.011198 | 211.6769 | 1284.6327 | 577.6868 | 1.0029 | 3.0812 | 0.67522 | 2.0058 | Flagged Warnings: | 1388.3835 | 0.0052944 | 458.4561 | 1388.3835 | 888.8026 | 0.70049 | 0 | 3.1324 | 0.71593 | 1.401 | Flagged Warnings: | [15 empty] | 1.2581 | 1.3039 | 0.51775 | 0.0094758 | 1.2113 | 1.2082 | 0.29608 | 0.0030559 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:37:18 PM | 49038 | [5 empty] | 49038 | 0.99795 | 0.99794 | 0.99795
17 | 187-1-105-reg4-B--Spectrum--051 | 0.33349 | 0.005172 | 0.0046074 | 0.0023497 | 103.5618 | 0.010712 | 0.00077656 | 0.010706 | 6.151 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32156 | 0.0065708 | 0.33349 | 0.005172 | 0.27833 | 0.006865 | SupCrit | 103.7754 | 0.010706 | 1284.6078 | 0.0096121 | 230.449 | 1284.6078 | 610.1173 | 0.9495 | 2.836 | 0.73365 | 1.899 | Flagged Warnings: | 1388.3832 | 0.004714 | 474.5461 | 1388.3832 | 912.2552 | 0.68961 | 0 | 2.8607 | 0.73306 | 1.3792 | Flagged Warnings: | [15 empty] | 1.1019 | 1.186 | 0.19348 | 0.0082404 | 1.1744 | 1.1648 | 0.24048 | 0.0029064 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 1:42:30 PM | 49350 | 1087.0938 | 215.979 | 260.7273 | Spline | 0.14187 | 49350 | 0.99794 | 0.99793 | 0.99795
53 | test--Spectrum--052 | 0.46795 | 0.096572 | 0.096544 | 0.0023521 | 103.8654 | 0.21117 | 0.00077851 | 0.21161 | 45.94 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.44187 | 0.083908 | 0.46795 | 0.096572 | 0.45659 | 0.11715 | SupCrit | 104.0801 | 0.21161 | 1284.132 | 0.16938 | 19.1192 | 1284.132 | 33.5748 | 0.55898 | 3.5034 | 1 | 1.118 | Flagged Warnings: | 1388.2121 | 0.12684 | 21.2666 | 1388.2121 | 39.2599 | 0.86714 | 0 | 3.0515 | 2.9043e-08 | 1.7343 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.2163 | 2.7299 | 0.24183 | 0.058473 | 1.083 | 1.0856 | 0.14389 | 0.081549 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '7s'] | 1:48:27 PM | 49707 | [5 empty] | 49707 | 0.99794 | 0.99793 | 0.99794
54 | test--Spectrum--053 | 0.32913 | 0.021315 | 0.021185 | 0.0023499 | 103.5516 | 0.049339 | 0.00077614 | 0.049435 | 45.922 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31754 | 0.020174 | 0.32913 | 0.021315 | 0.27202 | 0.030726 | SupCrit | 103.7657 | 0.049435 | 1284.4982 | 0.045302 | 54.7712 | 1284.4982 | 156.3654 | 1.0078 | 2.8211 | 0.77073 | 2.0157 | Flagged Warnings: | 1388.2639 | 0.019787 | 106.0569 | 1388.2639 | 219.6102 | 0.79568 | 0 | 2.6924 | 0.56443 | 1.5914 | Flagged Warnings: | [15 empty] | 2.1516 | 1.9637 | 2.3212 | 0.036802 | 1.032 | 1.0194 | 0.050896 | 0.015005 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:48:51 PM | 49731 | [5 empty] | 49731 | 0.99794 | 0.99793 | 0.99794
55 | test--Spectrum--054 | 0.37062 | 0.0069895 | 0.0065831 | 0.0023485 | 103.6474 | 0.015066 | 0.00077683 | 0.015077 | 45.91 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3555 | 0.0080082 | 0.37062 | 0.0069895 | 0.33061 | 0.0092232 | SupCrit | 103.8618 | 0.015077 | 1284.4853 | 0.014115 | 202.1865 | 1284.4853 | 521.0741 | 1.0056 | 3.8449 | 0.52515 | 2.0113 | Flagged Warnings: | 1388.3471 | 0.0053 | 437.2753 | 1388.3471 | 860.8567 | 0.70334 | 0 | 3.2026 | 0.74307 | 1.4067 | Flagged Warnings: |  |  |  | 1409.8906 | 101.1469 | 0.95541 | [9 empty] | 1.0693 | 1.0897 | 0.13929 | 0.0099476 | 1.2696 | 1.2114 | 0.37929 | 0.0032169 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:49:33 PM | 49773 | [5 empty] | 49773 | 0.99794 | 0.99793 | 0.99794
56 | test--Spectrum--055 | 0.43787 | 0.0092393 | 0.0089355 | 0.00235 | 103.7991 | 0.019843 | 0.00077795 | 0.019869 | 45.909 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41559 | 0.0098653 | 0.43787 | 0.0092393 | 0.41933 | 0.011415 | SupCrit | 104.0137 | 0.019869 | 1284.0502 | 0.018019 | 157.1624 | 1284.0502 | 452.8531 | 0.98827 | 3.4243 | 0.83707 | 1.9765 | Flagged Warnings: | 1388.064 | 0.0083712 | 321.8646 | 1388.064 | 706.8085 | 0.77442 | 0 | 3.4234 | 0.77317 | 1.5488 | Flagged Warnings: | [15 empty] | 1.0898 | 1.0849 | 0.17743 | 0.012576 | 1.0439 | 1.0456 | 0.067932 | 0.0048121 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:49:55 PM | 49795 | [5 empty] | 49795 | 0.99794 | 0.99793 | 0.99794
57 | test--Spectrum--056 | 0.41917 | 0.008379 | 0.008043 | 0.0023491 | 103.7574 | 0.018015 | 0.0007776 | 0.018035 | 45.939 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39906 | 0.0091862 | 0.41917 | 0.008379 | 0.39542 | 0.010548 | SupCrit | 103.972 | 0.018035 | 1284.0911 | 0.016098 | 167.781 | 1284.0911 | 485.9397 | 1.0473 | 2.8329 | 0.714 | 2.0947 | Flagged Warnings: | 1388.0631 | 0.0081308 | 340.1013 | 1388.0631 | 741.1509 | 0.80242 | 0 | 3.7612 | 0.67037 | 1.6048 | Flagged Warnings: | [15 empty] | 1.124 | 1.1091 | 0.25964 | 0.012484 | 1.0062 | 1.0047 | 0.0099474 | 0.0047187 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:50:41 PM | 49841 | [5 empty] | 49841 | 0.99794 | 0.99793 | 0.99794
58 | test--Spectrum--057 | 0.40413 | 0.024143 | 0.024028 | 0.0023487 | 103.7236 | 0.054181 | 0.00077725 | 0.054288 | 45.946 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38566 | 0.022198 | 0.40413 | 0.024143 | 0.37576 | 0.031742 | SupCrit | 103.9383 | 0.054288 | 1284.3778 | 0.048344 | 52.5523 | 1284.3778 | 106.8014 | 0.87329 | 2.8753 | 0.26426 | 1.7466 | Flagged Warnings: | 1388.3161 | 0.024698 | 88.6903 | 1388.3161 | 178.7751 | 0.71568 | 0 | 2.6939 | 0.75736 | 1.4314 | Flagged Warnings: | [15 empty] | 1.0962 | 1.0552 | 0.16794 | 0.033235 | 2.0034 | 1.8374 | 1.4362 | 0.016139 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 1:53:03 PM | 49983 | [5 empty] | 49983 | 0.99793 | 0.99793 | 0.99794
18 | 187-1-105-reg4-C--Spectrum--061 | 0.45531 | 0.0052539 | 0.0046985 | 0.0023511 | 103.8377 | 0.01035 | 0.00077788 | 0.010342 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43087 | 0.0073709 | 0.45531 | 0.0052539 | 0.44111 | 0.006044 | SupCrit | 104.0531 | 0.010342 | 1284.0439 | 0.0098172 | 277.122 | 1284.0439 | 824.061 | 1.1187 | 2.5978 | 0.61771 | 2.2373 | Flagged Warnings: | 1388.0971 | 0.0032533 | 616.5446 | 1388.097 | 1338.5994 | 0.76824 | 0 | 2.4892 | 0.76626 | 1.5365 | Flagged Warnings: |  |  |  | 1409.5122 | 175.2707 | 2.0284 | [9 empty] | 1.1548 | 1.1236 | 0.34642 | 0.0080734 | 1.0198 | 1.0571 | 0.030392 | 0.0024921 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:59:09 PM | 50349 | [5 empty] | 50349 | 0.99793 | 0.99792 | 0.99794
19 | 187-1-105-reg4-C--Spectrum--062 | 0.43569 | 0.0051766 | 0.0046125 | 0.0023499 | 103.7942 | 0.010253 | 0.00077743 | 0.010245 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41366 | 0.0071946 | 0.43569 | 0.0051766 | 0.41656 | 0.0060858 | SupCrit | 104.0099 | 0.010245 | 1284.0698 | 0.0097833 | 300.9947 | 1284.0698 | 894.3143 | 1.0622 | 3.3519 | 0.74106 | 2.1245 | Flagged Warnings: | 1388.0798 | 0.0030413 | 635.8124 | 1388.0797 | 1383.3079 | 0.77272 | 0 | 2.3807 | 0.75728 | 1.5454 | Flagged Warnings: |  |  |  | 1409.4484 | 165.9071 | 1.6644 | [9 empty] | 1.0305 | 1.0465 | 0.064792 | 0.0070583 | 1.0197 | 1.0218 | 0.030435 | 0.0024307 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 2:04:15 PM | 50655 | [5 empty] | 50655 | 0.99793 | 0.99792 | 0.99793
20 | 187-1-105-reg4-C--Spectrum--063 | 0.44329 | 0.0054525 | 0.00492 | 0.0023503 | 103.8111 | 0.010899 | 0.00077747 | 0.010894 | 6.026 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42035 | 0.0074005 | 0.44329 | 0.0054525 | 0.42615 | 0.0064009 | SupCrit | 104.0272 | 0.010894 | 1284.0546 | 0.010416 | 291.9525 | 1284.0546 | 879.012 | 1.1043 | 3.1724 | 0.67983 | 2.2086 | Flagged Warnings: | 1388.0819 | 0.00319 | 629.4608 | 1388.0818 | 1388.4297 | 0.789 | 0 | 2.3742 | 0.74064 | 1.578 | Flagged Warnings: |  |  |  | 1409.5041 | 175.4042 | 1.8211 | [9 empty] | 1.0725 | 1.1216 | 0.16019 | 0.0075651 | 1.0172 | 1.0432 | 0.02709 | 0.0025069 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 2:09:17 PM | 50957 | [5 empty] | 50957 | 0.99792 | 0.99792 | 0.99793
21 | 187-1-106-A--Spectrum--074 | 0.57738 | 0.0030241 | 0.0018828 | 0.0023664 | 104.0989 | 0.0039106 | 0.00077982 | 0.0038401 | 6.012 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53437 | 0.0074779 | 0.57738 | 0.0030241 | 0.58026 | 0.0025691 | SupCrit | 104.3172 | 0.0038401 | 1283.4319 | 0.0030755 | 635.2202 | 1283.4319 | 1821.3338 | 1.0519 | 2.019 | 0.68097 | 2.1038 | Flagged Warnings: | 1387.7492 | 0.0022995 | 1339.6404 | 1387.7491 | 2997.0383 | 0.78864 | 0 | 2.962 | 0.77485 | 1.5773 | Flagged Warnings: | 1263.5163 | 238.4616 | 2.2639 | 1409.1808 | 340.0819 | 1.8326 | [9 empty] | 1.008 | 1.0093 | 0.01683 | 0.0033119 | 1.0021 | 1.0299 | 0.0033206 | 0.0011774 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:33:29 PM | 52409 | [5 empty] | 52409 | 0.99791 | 0.9979 | 0.99791
22 | 187-1-106-A--Spectrum--075 | 0.58033 | 0.0029899 | 0.0018268 | 0.0023669 | 104.105 | 0.0037886 | 0.00078004 | 0.0037152 | 6.004 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5368 | 0.0074965 | 0.58033 | 0.0029899 | 0.58335 | 0.0025177 | SupCrit | 104.3237 | 0.0037152 | 1283.428 | 0.0029378 | 629.3557 | 1283.4281 | 1803.3082 | 1.0402 | 1.7678 | 0.70649 | 2.0805 | Flagged Warnings: | 1387.7518 | 0.0022742 | 1332.8298 | 1387.7517 | 2969.4292 | 0.77958 | 0 | 3.1712 | 0.79209 | 1.5592 | Flagged Warnings: | 1263.2122 | 250.4794 | 2.6383 | 1409.168 | 351.3391 | 2.0005 | [9 empty] | 1.0098 | 1.0046 | 0.020363 | 0.0033057 | 1 | 1.0195 | 4.4418e-13 | 0.0011698 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:38:36 PM | 52716 | [5 empty] | 52716 | 0.9979 | 0.9979 | 0.99791
23 | 187-1-106-A--Spectrum--076 | 0.57309 | 0.0040436 | 0.0032793 | 0.0023657 | 104.0899 | 0.0068256 | 0.00078014 | 0.0067951 | 6.005 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53084 | 0.00776 | 0.57309 | 0.0040436 | 0.57575 | 0.00383 | SupCrit | 104.3089 | 0.0067951 | 1283.4409 | 0.0065071 | 638.8894 | 1283.4409 | 1838.8269 | 1.0437 | 4.1228 | 0.7072 | 2.0875 | Flagged Warnings: | 1387.7498 | 0.0019573 | 1371.4896 | 1387.7498 | 3043.9647 | 0.77332 | 0 | 2.92 | 0.8019 | 1.5466 | Flagged Warnings: |  |  |  | 1409.2073 | 344.9198 | 1.9585 | 1370.124 | 49.0674 | 0.38605 | [6 empty] | 1.0295 | 1.0255 | 0.061598 | 0.0032674 | 1.0021 | 1.0397 | 0.0033048 | 0.0011277 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:43:41 PM | 53021 | [5 empty] | 53021 | 0.9979 | 0.99789 | 0.99791
24 | 187-1-106-B--Spectrum--080 | 0.57994 | 0.0029418 | 0.001747 | 0.0023669 | 104.1042 | 0.0036239 | 0.00078083 | 0.0035463 | 5.989 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53648 | 0.0074799 | 0.57994 | 0.0029418 | 0.58294 | 0.002456 | SupCrit | 104.3238 | 0.0035463 | 1283.4312 | 0.0029837 | 705.1608 | 1283.4313 | 2032.5115 | 1.0479 | 2.2659 | 0.70319 | 2.0958 | Flagged Warnings: | 1387.7551 | 0.0019166 | 1473.2252 | 1387.755 | 3291.9455 | 0.78331 | 0 | 3.5285 | 0.78795 | 1.5666 | Flagged Warnings: | 1263.356 | 291.7925 | 2.668 | 1409.1286 | 400.4452 | 2.0671 | [9 empty] | 1.0144 | 1.0081 | 0.03018 | 0.0029721 | 1.0321 | 1.044 | 0.05032 | 0.0010634 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:54:14 PM | 53654 | 1102.713 | 54.4493 | 81.7597 | Spline | 0.010226 | 53654 | 0.99789 | 0.99789 | 0.9979
25 | 187-1-106-B--Spectrum--081 | 0.5776 | 0.0028805 | 0.0016423 | 0.0023665 | 104.0993 | 0.0034107 | 0.00078122 | 0.003327 | 5.983 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53456 | 0.0074415 | 0.5776 | 0.0028805 | 0.58049 | 0.0023803 | SupCrit | 104.3193 | 0.003327 | 1283.4267 | 0.0027567 | 715.3879 | 1283.4268 | 2055.5203 | 1.0464 | 2.1309 | 0.69875 | 2.0928 | Flagged Warnings: | 1387.7461 | 0.0018627 | 1500.8274 | 1387.746 | 3364.8803 | 0.77833 | 0 | 3.3774 | 0.81029 | 1.5567 | Flagged Warnings: | 1263.3717 | 273.986 | 2.3644 | 1409.1671 | 401.7304 | 1.8916 | [9 empty] | 1.0443 | 1.0245 | 0.092632 | 0.0029254 | 1.0279 | 1.009 | 0.043426 | 0.0010372 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:00:21 PM | 54021 | [5 empty] | 54021 | 0.99789 | 0.99788 | 0.9979
26 | 187-1-106-B--Spectrum--082 | 0.57087 | 0.0027897 | 0.001479 | 0.0023653 | 104.0853 | 0.0030818 | 0.00078152 | 0.0029874 | 5.972 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52901 | 0.0073537 | 0.57087 | 0.0027897 | 0.5734 | 0.0022712 | SupCrit | 104.3055 | 0.0029874 | 1283.4464 | 0.0024601 | 726.1739 | 1283.4465 | 2084.3098 | 1.0463 | 1.8466 | 0.69648 | 2.0926 | Flagged Warnings: | 1387.752 | 0.0016948 | 1558.2916 | 1387.752 | 3441.8315 | 0.76109 | 0 | 3.3224 | 0.82741 | 1.5222 | Flagged Warnings: | 1263.3695 | 268.4769 | 2.5394 | 1409.1527 | 432.2099 | 2.1436 | [9 empty] | 1.0179 | 1.008 | 0.037551 | 0.0028817 | 1.0263 | 1.0045 | 0.040057 | 0.00097682 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:05:27 PM | 54327 | [5 empty] | 54327 | 0.99789 | 0.99788 | 0.9979
27 | 187-1-107-A--Spectrum--091 | 0.24272 | 0.011044 | 0.010789 | 0.0023591 | 103.3469 | 0.025981 | 0.00077767 | 0.026025 | 5.951 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23642 | 0.01117 | 0.24272 | 0.011044 | 0.14026 | 0.017385 | SupCrit | 103.5664 | 0.026025 | 1285.2121 | 0.024414 | 59.5832 | 1285.2121 | 118.2258 | 0.7645 | 1.2394 | 0.55763 | 1.529 | Flagged Warnings: | 1388.7785 | 0.0090128 | 115.5614 | 1388.7785 | 184.0448 | 0.57669 | 0 | 1.3539 | 0.71077 | 1.1534 | Flagged Warnings: | [15 empty] | 1.0066 | 1.0781 | 0.010103 | 0.025661 | 1.0054 | 1.0455 | 0.006201 | 0.0099807 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:22:44 PM | 55364 | [5 empty] | 55364 | 0.99788 | 0.99787 | 0.99789
28 | 187-1-107-A--Spectrum--092 | 0.24442 | 0.0097999 | 0.0095118 | 0.0023588 | 103.351 | 0.022891 | 0.00077858 | 0.022926 | 5.943 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23804 | 0.010057 | 0.24442 | 0.0097999 | 0.14298 | 0.015321 | SupCrit | 103.5708 | 0.022926 | 1285.2055 | 0.021678 | 60.2148 | 1285.2055 | 127.3102 | 0.75908 | 1.2977 | 0.73108 | 1.5182 | Flagged Warnings: | 1388.7763 | 0.0074617 | 123.755 | 1388.7763 | 185.6786 | 0.55673 | 0 | 1.3114 | 0.65158 | 1.1135 | Flagged Warnings: | [15 empty] | 1.0504 | 1.1821 | 0.076574 | 0.025212 | 1.0657 | 1.0322 | 0.073171 | 0.0089974 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:30:09 PM | 55809 | [5 empty] | 55809 | 0.99788 | 0.99787 | 0.99789
29 | 187-1-107-A--Spectrum--093 | 0.23378 | 0.010063 | 0.009782 | 0.0023605 | 103.3253 | 0.02363 | 0.00077906 | 0.023668 | 5.943 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22787 | 0.010294 | 0.23378 | 0.010063 | 0.12586 | 0.015939 | SupCrit | 103.5453 | 0.023668 | 1285.1863 | 0.022077 | 62.0236 | 1285.1863 | 120.4954 | 0.69372 | 1.423 | 0.74392 | 1.3874 | Flagged Warnings: | 1388.7317 | 0.00853 | 119.8261 | 1388.7317 | 187.7529 | 0.57744 | 0 | 1.3524 | 0.66833 | 1.1549 | Flagged Warnings: | [15 empty] | 1.1675 | 1.1268 | 0.23243 | 0.022369 | 1.1598 | 1.1126 | 0.18451 | 0.0096379 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:35:23 PM | 56123 | [5 empty] | 56123 | 0.99788 | 0.99787 | 0.99788
33 | 187-1-107-B--Spectrum--097 | 0.31156 | 0.041191 | 0.041124 | 0.0023511 | 103.5106 | 0.096446 | 0.00078233 | 0.096648 | 5.941 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30126 | 0.03852 | 0.31156 | 0.041191 | 0.24631 | 0.060835 | SupCrit | 103.7314 | 0.096648 | 1284.7295 | 0.095462 | 98.6947 | 1284.7295 | 455.4808 | 1.469 | 10.3117 | 1 | 2.938 | Flagged Warnings: | 1388.461 | 0.015092 | 210.9552 | 1388.461 | 384.2959 | 0.68371 | 0 | 3.2693 | 0.62351 | 1.3674 | Flagged Warnings: | [15 empty] | 1.0403 | 1.3678 | 0.11834 | 0.029769 | 1.1846 | 1.1827 | 0.25239 | 0.006482 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:48:18 PM | 56898 | [5 empty] | 56898 | 0.99787 | 0.99786 | 0.99788
34 | 187-1-107-B--Spectrum--098 | 0.32272 | 0.041303 | 0.041236 | 0.0023503 | 103.5367 | 0.096273 | 0.00078342 | 0.096475 | 5.935 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31162 | 0.038464 | 0.32272 | 0.041303 | 0.26272 | 0.060189 | SupCrit | 103.7578 | 0.096475 | 1284.7025 | 0.095373 | 91.6175 | 1284.7025 | 468.5038 | 1.6277 | 9.1428 | 1 | 3.2555 | Flagged Warnings: | 1388.4603 | 0.014541 | 187.6547 | 1388.4603 | 347.3255 | 0.73213 | 0 | 2.5555 | 0.4898 | 1.4643 | Flagged Warnings: | [15 empty] | 1.0059 | 1.1435 | 0.01932 | 0.035533 | 1.1378 | 1.1394 | 0.20184 | 0.0078029 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:53:54 PM | 57234 | [5 empty] | 57234 | 0.99787 | 0.99786 | 0.99788
35 | 187-1-107-B--Spectrum--099 | 0.30306 | 0.036901 | 0.036826 | 0.0023518 | 103.4906 | 0.086664 | 0.00078395 | 0.086846 | 5.935 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29335 | 0.034669 | 0.30306 | 0.036901 | 0.23367 | 0.05504 | SupCrit | 103.7118 | 0.086846 | 1284.7346 | 0.085958 | 96.415 | 1284.7346 | 452.2722 | 1.4932 | 9.0882 | 1 | 2.9863 | Flagged Warnings: | 1388.4464 | 0.012386 | 207.5543 | 1388.4464 | 360.0769 | 0.63627 | 0 | 2.5541 | 0.68002 | 1.2725 | Flagged Warnings: | [15 empty] | 1.3952 | 1.4809 | 1.1803 | 0.030974 | 1.1585 | 1.1191 | 0.2017 | 0.0061311 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:59:04 PM | 57544 | [5 empty] | 57544 | 0.99787 | 0.99786 | 0.99787
30 | 187-1-107-A--Spectrum--100 | 0.22026 | 0.0051985 | 0.0046305 | 0.0023629 | 103.2926 | 0.011238 | 0.00078342 | 0.011235 | 5.939 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2149 | 0.0061194 | 0.22026 | 0.0051985 | 0.10382 | 0.0078263 | SupCrit | 103.5136 | 0.011235 | 1285.2303 | 0.0093196 | 305.9117 | 1285.2303 | 640.1827 | 0.745 | 3.7939 | 0.75108 | 1.49 | Flagged Warnings: | 1388.7439 | 0.0062742 | 578.2553 | 1388.7439 | 938.7115 | 0.58211 | 0 | 3.4471 | 0.73433 | 1.1642 | Flagged Warnings: |  |  |  | 1410.0938 | 114.185 | 0.93625 | 1369.6383 | 28.6257 | 0.29069 | [6 empty] | 1.0224 | 1.0721 | 0.033333 | 0.0048707 | 1.0698 | 1.0081 | 0.0813 | 0.0020133 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:04:31 PM | 57871 | 1094.6068 | 695.8447 | 37.6073 | Spline | 0.44072 | 57871 | 0.99787 | 0.99786 | 0.99787
31 | 187-1-107-A--Spectrum--101 | 0.22942 | 0.0046511 | 0.0040072 | 0.0023612 | 103.3148 | 0.0096948 | 0.00078461 | 0.0096837 | 5.937 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2237 | 0.0057296 | 0.22942 | 0.0046511 | 0.11879 | 0.0067687 | SupCrit | 103.536 | 0.0096837 | 1285.2136 | 0.0092209 | 309.6151 | 1285.2136 | 650.8934 | 0.73077 | 3.4126 | 0.80648 | 1.4615 | Flagged Warnings: | 1388.7496 | 0.002958 | 582.3256 | 1388.7496 | 944.5405 | 0.58324 | 0 | 2.2842 | 0.72773 | 1.1665 | Flagged Warnings: |  |  |  | 1410.0731 | 110.6057 | 0.94546 | [9 empty] | 1.0554 | 1.0146 | 0.081009 | 0.0047205 | 1.0669 | 1 | 0.077982 | 0.0020031 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:10:01 PM | 58201 | 1093.816 | 694.5283 | 40.5367 | Spline | 0.43532 | 58201 | 0.99786 | 0.99786 | 0.99787
32 | 187-1-107-A--Spectrum--102 | 0.2261 | 0.0046605 | 0.0040177 | 0.0023618 | 103.3068 | 0.0097315 | 0.00078569 | 0.0097205 | 5.938 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22051 | 0.0057247 | 0.2261 | 0.0046605 | 0.11338 | 0.0068092 | SupCrit | 103.5281 | 0.0097205 | 1285.215 | 0.0093453 | 315.451 | 1285.215 | 665.8055 | 0.75633 | 3.7486 | 0.7356 | 1.5127 | Flagged Warnings: | 1388.7431 | 0.0026745 | 628.3394 | 1388.7431 | 1008.0241 | 0.58156 | 0 | 2.3365 | 0.70844 | 1.1631 | Flagged Warnings: |  |  |  | 1410.1411 | 118.5442 | 1.0962 | [9 empty] | 1.0332 | 1.0255 | 0.050199 | 0.0047953 | 1.1117 | 1.0521 | 0.12998 | 0.0018511 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:15:50 PM | 58550 | 1092.9263 | 736.0003 | 41.3516 | Spline | 0.43971 | 58550 | 0.99786 | 0.99785 | 0.99787
36 | 187-1-107-C--Spectrum--107 | 0.27038 | 0.0078115 | 0.007448 | 0.0023552 | 103.4132 | 0.017754 | 0.00079003 | 0.017775 | 6.031 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26268 | 0.0083628 | 0.27038 | 0.0078115 | 0.1839 | 0.011702 | SupCrit | 103.6351 | 0.017775 | 1284.8793 | 0.016543 | 132.6011 | 1284.8793 | 324.818 | 0.81897 | 2.6908 | 0.89421 | 1.6379 | Flagged Warnings: | 1388.5144 | 0.0065006 | 250.1233 | 1388.5144 | 463.0183 | 0.6735 | 0 | 1.9015 | 0.6994 | 1.347 | Flagged Warnings: | [15 empty] | 1.4577 | 1.5494 | 0.7497 | 0.012352 | 1.0888 | 1.1369 | 0.11958 | 0.0053853 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:32:18 PM | 59538 | [5 empty] | 59538 | 0.99786 | 0.99785 | 0.99787
37 | 187-1-107-C--Spectrum--108 | 0.30017 | 0.0078134 | 0.007451 | 0.002352 | 103.4838 | 0.017558 | 0.00079187 | 0.017578 | 6.032 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29065 | 0.0084214 | 0.30017 | 0.0078134 | 0.22935 | 0.011312 | SupCrit | 103.706 | 0.017578 | 1284.8027 | 0.016296 | 131.3022 | 1284.8027 | 326.085 | 0.90487 | 2.5619 | 0.69588 | 1.8097 | Flagged Warnings: | 1388.5087 | 0.0065901 | 251.328 | 1388.5087 | 479.0314 | 0.70399 | 0 | 2.0566 | 0.66288 | 1.408 | Flagged Warnings: | [15 empty] | 1.2108 | 1.3062 | 0.38157 | 0.013783 | 1.079 | 1.0957 | 0.11125 | 0.0056021 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:37:55 PM | 59875 | [5 empty] | 59875 | 0.99786 | 0.99785 | 0.99786
38 | 187-1-107-C--Spectrum--109 | 0.29461 | 0.027825 | 0.027726 | 0.0023525 | 103.4707 | 0.065472 | 0.00079302 | 0.065608 | 6.03 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28546 | 0.026365 | 0.29461 | 0.027825 | 0.22099 | 0.041876 | SupCrit | 103.693 | 0.065608 | 1284.7891 | 0.065317 | 126.0366 | 1284.7891 | 318.3343 | 0.91059 | 2.2555 | 0.72118 | 1.8212 | Flagged Warnings: | 1388.4821 | 0.0061668 | 257.6135 | 1388.4821 | 481.2983 | 0.69396 | 0 | 2.0943 | 0.64911 | 1.3879 | Flagged Warnings: | [15 empty] | 1.0158 | 1.0209 | 0.028755 | 0.01445 | 1.1418 | 1.1834 | 0.19674 | 0.0053876 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:43:06 PM | 60186 | [5 empty] | 60186 | 0.99786 | 0.99785 | 0.99786
59 | test--Spectrum--110 | 0.30728 | 0.013505 | 0.013299 | 0.0023514 | 103.5005 | 0.03125 | 0.00079505 | 0.031307 | 45.956 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29729 | 0.013281 | 0.30728 | 0.013505 | 0.23997 | 0.019849 | SupCrit | 103.723 | 0.031307 | 1284.7306 | 0.029241 | 112.3874 | 1284.7306 | 301.966 | 0.86486 | 4.1702 | 0.97637 | 1.7297 | Flagged Warnings: | 1388.4537 | 0.011184 | 239.0645 | 1388.4537 | 438.0652 | 0.63186 | 0 | 3.3714 | 0.82488 | 1.2637 | Flagged Warnings: | [15 empty] | 1.2876 | 1.3596 | 0.49754 | 0.015391 | 1.1823 | 1.1633 | 0.23042 | 0.0052861 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '7s'] | 4:50:16 PM | 60616 | [5 empty] | 60616 | 0.99785 | 0.99785 | 0.99786
60 | test--Spectrum--112 | 0.21971 | 0.072006 | 0.071967 | 0.002363 | 103.2913 | 0.17454 | 0.00079355 | 0.17492 | 45.953 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21437 | 0.069289 | 0.21971 | 0.072006 | 0.10291 | 0.11824 | SupCrit | 103.5133 | 0.17492 | 1285.1391 | 0.16958 | 16.1954 | 1285.1391 | 35.9486 | 0.8515 | 2.8411 | 0.5687 | 1.703 | Flagged Warnings: | 1388.6525 | 0.042895 | 42.9835 | 1388.6525 | 41.5098 | 0.45251 | 0 | 2.7432 | 0.0075425 | 0.90502 | Flagged Warnings: Below threshold intensity | [15 empty] | 2.6667 | 2.4151 | 2.8383 | 0.10515 | 1.1562 | 1.1802 | 0.14141 | 0.021055 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:50:43 PM | 60643 | [5 empty] | 60643 | 0.99785 | 0.99785 | 0.99786
61 | test--Spectrum--113 | 0.3432 | 0.06134 | 0.061295 | 0.0023492 | 103.5843 | 0.14185 | 0.00079589 | 0.14215 | 45.942 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33049 | 0.056438 | 0.3432 | 0.06134 | 0.29223 | 0.087221 | SupCrit | 103.807 | 0.14215 | 1284.8454 | 0.10737 | 19.8551 | 1284.8454 | 25.7207 | 0.60849 | 2.9654 | 4.2264e-12 | 1.217 | Flagged Warnings: | 1388.6524 | 0.093164 | 24.14 | 1388.6524 | 39.6105 | 0.65285 | 0 | 2.8184 | 0.47453 | 1.3057 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0183 | 1.0588 | 0.022228 | 0.061293 | 1.0838 | 1.7418 | 0.10944 | 0.054089 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:51:02 PM | 60662 | [5 empty] | 60662 | 0.99785 | 0.99785 | 0.99786
62 | test--Spectrum--115 | 0.23758 | 0.049211 | 0.049155 | 0.0023599 | 103.3345 | 0.11854 | 0.00079423 | 0.11879 | 45.924 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23151 | 0.047166 | 0.23758 | 0.049211 | 0.132 | 0.079218 | SupCrit | 103.5567 | 0.11879 | 1285.0158 | 0.11236 | 24.985 | 1285.0158 | 68.9548 | 0.97109 | 2.8222 | 0.77839 | 1.9422 | Flagged Warnings: | 1388.5725 | 0.038538 | 54.5414 | 1388.5725 | 78.0206 | 0.61168 | 0 | 3.0423 | 0.27816 | 1.2234 | Flagged Warnings: | [15 empty] | 1.0963 | 1.2095 | 0.18695 | 0.077734 | 1.0276 | 1.3867 | 0.033774 | 0.02243 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:52:02 PM | 60722 | [5 empty] | 60722 | 0.99785 | 0.99785 | 0.99786
63 | test--Spectrum--116 | 0.25783 | 0.027147 | 0.027045 | 0.0023568 | 103.3832 | 0.064762 | 0.00079471 | 0.064897 | 45.935 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2508 | 0.026042 | 0.25783 | 0.027147 | 0.16428 | 0.042634 | SupCrit | 103.6055 | 0.064897 | 1284.9059 | 0.058617 | 43.4046 | 1284.9059 | 76.4593 | 0.56072 | 2.9041 | 1 | 1.1214 | Flagged Warnings: | 1388.5114 | 0.027851 | 84.4549 | 1388.5114 | 129.6918 | 0.5245 | 0 | 2.8457 | 0.8465 | 1.049 | Flagged Warnings: | [15 empty] | 2.3182 | 2.2557 | 1.4783 | 0.025837 | 1.098 | 1.2 | 0.10277 | 0.012421 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:52:27 PM | 60747 | [5 empty] | 60747 | 0.99785 | 0.99785 | 0.99786
64 | test--Spectrum--117 | 0.28417 | 0.013641 | 0.013436 | 0.0023536 | 103.446 | 0.031861 | 0.00079553 | 0.031919 | 45.932 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27566 | 0.013444 | 0.28417 | 0.013641 | 0.20513 | 0.020606 | SupCrit | 103.6684 | 0.031919 | 1284.7831 | 0.02985 | 99.2707 | 1284.7831 | 252.9845 | 0.89073 | 2.9923 | 0.79387 | 1.7815 | Flagged Warnings: | 1388.4515 | 0.011305 | 200.6775 | 1388.4515 | 378.2169 | 0.65295 | 0 | 2.8726 | 0.81416 | 1.3059 | Flagged Warnings: | [15 empty] | 1.1365 | 1.1614 | 0.24325 | 0.017945 | 1.2735 | 1.2317 | 0.3572 | 0.0065075 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 4:53:45 PM | 60825 | [5 empty] | 60825 | 0.99785 | 0.99785 | 0.99786
39 | 187-1-107-D--Spectrum--120 | 0.29433 | 0.0084415 | 0.008107 | 0.0023526 | 103.47 | 0.019148 | 0.00079599 | 0.019173 | 6.008 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28519 | 0.0089249 | 0.29433 | 0.0084415 | 0.22056 | 0.012368 | SupCrit | 103.6925 | 0.019173 | 1284.7553 | 0.018176 | 163.6126 | 1284.7553 | 416.0739 | 0.88246 | 3.2574 | 0.81045 | 1.7649 | Flagged Warnings: | 1388.4478 | 0.0061007 | 318.0999 | 1388.4478 | 596.8607 | 0.66958 | 0 | 2.1381 | 0.74543 | 1.3392 | Flagged Warnings: | [15 empty] | 1.0405 | 1.1657 | 0.071551 | 0.010787 | 1.1609 | 1.1448 | 0.21541 | 0.0042099 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:54:48 PM | 60888 | [5 empty] | 60888 | 0.99785 | 0.99785 | 0.99786
40 | 187-1-107-D--Spectrum--121 | 0.29415 | 0.0086761 | 0.008351 | 0.0023526 | 103.4696 | 0.019726 | 0.00079738 | 0.019752 | 6.006 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28503 | 0.0091196 | 0.29415 | 0.0086761 | 0.22029 | 0.012735 | SupCrit | 103.6922 | 0.019752 | 1284.7545 | 0.018857 | 163.5332 | 1284.7545 | 416.2489 | 0.86614 | 3.566 | 0.85488 | 1.7323 | Flagged Warnings: | 1388.4467 | 0.0058799 | 315.2791 | 1388.4467 | 600.1241 | 0.69217 | 0 | 2.2425 | 0.70064 | 1.3843 | Flagged Warnings: | [15 empty] | 1.4269 | 1.3907 | 0.73953 | 0.010593 | 1.1193 | 1.1068 | 0.16514 | 0.0043908 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:00:01 PM | 61201 | [5 empty] | 61201 | 0.99785 | 0.99785 | 0.99786
41 | 187-1-107-D--Spectrum--122 | 0.295 | 0.0081782 | 0.0078325 | 0.0023525 | 103.4716 | 0.018495 | 0.00079886 | 0.018517 | 6.008 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28582 | 0.0087087 | 0.295 | 0.0081782 | 0.22158 | 0.011948 | SupCrit | 103.6943 | 0.018517 | 1284.7452 | 0.017493 | 165.2156 | 1284.7452 | 413.8611 | 0.86073 | 3.2772 | 0.83292 | 1.7215 | Flagged Warnings: | 1388.4395 | 0.0060731 | 315.5488 | 1388.4395 | 601.7933 | 0.68684 | 0 | 2.272 | 0.72372 | 1.3737 | Flagged Warnings: | [15 empty] | 1.1042 | 1.1941 | 0.17939 | 0.010419 | 1.1799 | 1.157 | 0.24712 | 0.0043533 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:05:18 PM | 61518 | [5 empty] | 61518 | 0.99785 | 0.99784 | 0.99786
42 | 187-1-108-A--Spectrum--131 | 0.11473 | 0.071922 | 0.07182 | 0.0038198 | 103.0398 | 0.18125 | 0.00079943 | 0.18164 | 6.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11473 | 0.071922 | 0.11775 | 0.072554 | -0.07419 | 0.13253 | SupCrit | 103.2618 | 0.18164 | 1285.8175 | 0.18143 | 57.962 | 1285.8175 | 77.2038 | 0.56129 | 1.3666 | 0.31914 | 1.1226 | Flagged Warnings: | 1389.0793 | 0.0088617 | 107.0434 | 1389.0793 | 131.8985 | 0.47138 | 0 | 1.3802 | 0.57572 | 0.94275 | Flagged Warnings: | [15 empty] | 1.0439 | 1.0577 | 0.049284 | 0.019368 | 1.0252 | 1.0236 | 0.023738 | 0.0088072 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 5:18:48 PM | 62328 | 1109.4352 | 45.6456 | 69.647 | Spline | 0.21829 | 62328 | 0.99785 | 0.99784 | 0.99786
43 | 187-1-108-A--Spectrum--132 | 0.12186 | 0.0093816 | 0.0085638 | 0.003831 | 103.0578 | 0.021613 | 0.00080167 | 0.021644 | 6.02 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12186 | 0.0093816 | 0.12495 | 0.0089771 | -0.061059 | 0.015833 | SupCrit | 103.2799 | 0.021644 | 1285.8095 | 0.018956 | 54.4986 | 1285.8095 | 77.5347 | 0.61583 | 1.139 | 0.24344 | 1.2317 | Flagged Warnings: | 1389.0894 | 0.010447 | 99.5406 | 1389.0894 | 126.4512 | 0.46587 | 0 | 1.2612 | 0.6802 | 0.93175 | Flagged Warnings: | [15 empty] | 1.0552 | 1.0061 | 0.068047 | 0.0226 | 1 | 1.0026 | 4.4978e-13 | 0.0093605 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:25:41 PM | 62741 | [5 empty] | 62741 | 0.99785 | 0.99784 | 0.99786
44 | 187-1-108-A--Spectrum--133 | 0.11606 | 0.0093817 | 0.008568 | 0.0038217 | 103.0432 | 0.021623 | 0.00080323 | 0.021655 | 6.023 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11606 | 0.0093817 | 0.1191 | 0.0089692 | -0.071723 | 0.015908 | SupCrit | 103.2654 | 0.021655 | 1285.8215 | 0.018959 | 56.6405 | 1285.8215 | 83.628 | 0.55931 | 1.1304 | 0.60036 | 1.1186 | Flagged Warnings: | 1389.0868 | 0.010463 | 99.2448 | 1389.0868 | 133.1467 | 0.47988 | 0 | 1.2399 | 0.73987 | 0.95977 | Flagged Warnings: | [15 empty] | 1.0027 | 1.0365 | 0.0030564 | 0.01975 | 1.007 | 1.0178 | 0.0067117 | 0.0096707 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:30:59 PM | 63059 | [5 empty] | 63059 | 0.99785 | 0.99784 | 0.99786
45 | 187-1-109-A--Spectrum--140 | 0.32794 | 0.0050323 | 0.0044499 | 0.00235 | 103.5489 | 0.010369 | 0.00081211 | 0.01036 | 5.999 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.31644 | 0.0064481 | 0.32794 | 0.0050323 | 0.27031 | 0.0066886 | SupCrit | 103.7724 | 0.01036 | 1284.5559 | 0.0091126 | 243.968 | 1284.5559 | 632.8459 | 0.95939 | 2.1925 | 0.65958 | 1.9188 | Flagged Warnings: | 1388.3283 | 0.0049283 | 509.6105 | 1388.3283 | 993.6041 | 0.69258 | 0 | 2.8607 | 0.75623 | 1.3852 | Flagged Warnings: | [15 empty] | 1.1635 | 1.1797 | 0.31372 | 0.0078648 | 1.1897 | 1.1661 | 0.26283 | 0.0027181 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:45:53 PM | 63953 | [5 empty] | 63953 | 0.99785 | 0.99784 | 0.99785
46 | 187-1-109-B--Spectrum--144 | 0.6086 | 0.0048553 | 0.0042363 | 0.0023723 | 104.1632 | 0.0086636 | 0.00082034 | 0.0086433 | 6.034 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55987 | 0.00836 | 0.6086 | 0.0048553 | 0.6123 | 0.0045574 | SupCrit | 104.3882 | 0.0086433 | 1283.2574 | 0.008267 | 401.6956 | 1283.2574 | 1197.047 | 1.0614 | 3.668 | 0.74983 | 2.1229 | Flagged Warnings: | 1387.6456 | 0.0025227 | 850.8094 | 1387.6456 | 1921.4029 | 0.79048 | 0 | 2.6596 | 0.79134 | 1.581 | Flagged Warnings: |  |  |  | 1409.0803 | 225.307 | 2.0097 | [9 empty] | 1.0402 | 1.0123 | 0.085324 | 0.0052848 | 1.0255 | 1.0195 | 0.040365 | 0.0018582 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 5:55:36 PM | 64536 | [5 empty] | 64536 | 0.99784 | 0.99784 | 0.99785
47 | 187-1-109-B--Spectrum--145 | 0.60798 | 0.0048619 | 0.0042439 | 0.0023721 | 104.162 | 0.0086817 | 0.00082229 | 0.0086614 | 6.04 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55937 | 0.0083575 | 0.60798 | 0.0048619 | 0.61168 | 0.004568 | SupCrit | 104.387 | 0.0086614 | 1283.2415 | 0.0081761 | 391.2819 | 1283.2415 | 1167.3529 | 1.0607 | 3.3226 | 0.75406 | 2.1215 | Flagged Warnings: | 1387.6285 | 0.0028585 | 829.6711 | 1387.6285 | 1895.682 | 0.79879 | 0 | 2.8569 | 0.79429 | 1.5976 | Flagged Warnings: |  |  |  | 1409.0663 | 238.2838 | 2.1188 | [9 empty] | 1.0353 | 1.0227 | 0.074916 | 0.0054219 | 1.0168 | 1.0469 | 0.026794 | 0.0019256 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:01:00 PM | 64860 | [5 empty] | 64860 | 0.99784 | 0.99784 | 0.99785
48 | 187-1-109-B--Spectrum--146 | 0.5993 | 0.0050314 | 0.004438 | 0.0023704 | 104.1442 | 0.009118 | 0.00082408 | 0.0091003 | 6.04 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55232 | 0.0083531 | 0.5993 | 0.0050314 | 0.6029 | 0.0048022 | SupCrit | 104.3693 | 0.0091003 | 1283.2678 | 0.008686 | 393.4506 | 1283.2678 | 1171.861 | 1.0628 | 3.8372 | 0.74565 | 2.1255 | Flagged Warnings: | 1387.6372 | 0.0027146 | 820.6836 | 1387.6371 | 1890.2472 | 0.81431 | 0 | 2.6536 | 0.76853 | 1.6286 | Flagged Warnings: |  |  |  | 1408.9364 | 263.7515 | 2.4401 | [9 empty] | 1.035 | 1.0654 | 0.074343 | 0.0054023 | 1.063 | 1.0146 | 0.10264 | 0.0019845 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:06:11 PM | 65171 | [5 empty] | 65171 | 0.99784 | 0.99783 | 0.99785
49 | 187-1-109-C--Spectrum--149 | 0.55706 | 0.0065919 | 0.0061538 | 0.002363 | 104.0565 | 0.01291 | 0.00082651 | 0.012911 | 6.024 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51757 | 0.0087636 | 0.55706 | 0.0065919 | 0.55866 | 0.0068362 | SupCrit | 104.2816 | 0.012911 | 1283.4453 | 0.011487 | 155.0667 | 1283.4453 | 468.0303 | 1.0845 | 2.0489 | 0.72921 | 2.169 | Flagged Warnings: | 1387.7269 | 0.0058957 | 333.0118 | 1387.7269 | 754.1792 | 0.7819 | 0 | 2.7862 | 0.82207 | 1.5638 | Flagged Warnings: | [15 empty] | 1 | 1.0823 | 0 | 0.013987 | 1.0833 | 1.0179 | 0.13032 | 0.0046959 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:14:25 PM | 65665 | [5 empty] | 65665 | 0.99784 | 0.99783 | 0.99785
50 | 187-1-109-D--Spectrum--153 | 0.45296 | 0.0050035 | 0.0044168 | 0.0023509 | 103.8325 | 0.0097402 | 0.00082804 | 0.0097259 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42882 | 0.0072202 | 0.45296 | 0.0050035 | 0.43821 | 0.0057271 | SupCrit | 104.0573 | 0.0097259 | 1283.9599 | 0.0092965 | 284.1632 | 1283.9599 | 846.3624 | 1.1044 | 2.5878 | 0.65323 | 2.2089 | Flagged Warnings: | 1388.0172 | 0.0028583 | 625.3676 | 1388.0172 | 1352.1335 | 0.77129 | 0 | 2.2014 | 0.74683 | 1.5426 | Flagged Warnings: |  |  |  | 1409.5332 | 142.9178 | 1.5154 | [9 empty] | 1.0932 | 1.0403 | 0.20597 | 0.0077733 | 1.0043 | 1.0031 | 0.0066779 | 0.0024667 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:22:51 PM | 66171 | [5 empty] | 66171 | 0.99784 | 0.99783 | 0.99785
51 | 187-1-110-A--Spectrum--158 | 0.53911 | 0.0092038 | 0.008896 | 0.0023603 | 104.0186 | 0.018827 | 0.00083431 | 0.018849 | 6.022 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.50258 | 0.010189 | 0.53911 | 0.0092038 | 0.53907 | 0.0099654 | SupCrit | 104.2442 | 0.018849 | 1283.5579 | 0.017268 | 103.3967 | 1283.5579 | 313.876 | 1.0993 | 1.7063 | 0.71066 | 2.1985 | Flagged Warnings: | 1387.8021 | 0.0075563 | 208.6157 | 1387.8021 | 477.251 | 0.80775 | 0 | 1.9544 | 0.77034 | 1.6155 | Flagged Warnings: | [15 empty] | 1.1913 | 1.0718 | 0.42052 | 0.021263 | 1.0268 | 1.0341 | 0.043302 | 0.0077439 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:34:37 PM | 66877 | [5 empty] | 66877 | 0.99784 | 0.99783 | 0.99784
65 | test--Spectrum--159 | 0.45635 | 0.010211 | 0.0099362 | 0.0023512 | 103.8399 | 0.021877 | 0.00083583 | 0.021909 | 45.918 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43178 | 0.01062 | 0.45635 | 0.010211 | 0.44239 | 0.01237 | SupCrit | 104.0653 | 0.021909 | 1283.7572 | 0.020266 | 243.6879 | 1283.7572 | 654.7279 | 0.91411 | 5.4777 | 0.85523 | 1.8282 | Flagged Warnings: | 1387.8226 | 0.0083235 | 513.1948 | 1387.8225 | 1069.775 | 0.71416 | 0 | 5.0802 | 0.84036 | 1.4283 | Flagged Warnings: |  |  |  | 1409.0974 | 140.7889 | 1.7706 | [9 empty] | 1.053 | 1.1926 | 0.096978 | 0.0075023 | 1.1259 | 1.1153 | 0.17984 | 0.0027832 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '7s'] | 6:41:40 PM | 67300 | [5 empty] | 67300 | 0.99783 | 0.99783 | 0.99784
66 | test--Spectrum--160 | 0.49304 | 0.0070558 | 0.0066513 | 0.0023545 | 103.92 | 0.014393 | 0.00083663 | 0.0144 | 45.931 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46351 | 0.008639 | 0.49304 | 0.0070558 | 0.48657 | 0.0079932 | SupCrit | 104.1456 | 0.0144 | 1283.7489 | 0.013199 | 240.3351 | 1283.7489 | 624.5392 | 0.94754 | 3.5091 | 0.69407 | 1.8951 | Flagged Warnings: | 1387.8946 | 0.0057568 | 483.5847 | 1387.8945 | 1021.0864 | 0.71452 | 0 | 3.4273 | 0.8675 | 1.429 | Flagged Warnings: |  |  |  | 1409.3061 | 83.9455 | 1.5096 | [9 empty] | 1.0394 | 1.0406 | 0.074716 | 0.0078851 | 1.288 | 1.2563 | 0.4115 | 0.0029551 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:42:02 PM | 67322 | 1094.854 | 245.5096 | 29.8333 | Spline | 0.14919 | 67322 | 0.99783 | 0.99783 | 0.99784
52 | 187-1-110-B--Spectrum--165 | 0.50752 | 0.0033265 | 0.0023482 | 0.0023561 | 103.9512 | 0.0050464 | 0.00083738 | 0.0049872 | 6.014 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47588 | 0.006925 | 0.50752 | 0.0033265 | 0.50342 | 0.00318 | SupCrit | 104.1769 | 0.0049872 | 1283.6597 | 0.004425 | 512.5343 | 1283.6598 | 1474.4201 | 1.0754 | 2.3139 | 0.63485 | 2.1508 | Flagged Warnings: | 1387.8368 | 0.0023005 | 1091.7309 | 1387.8367 | 2404.3084 | 0.78438 | 0 | 3.1144 | 0.75082 | 1.5688 | Flagged Warnings: | 1263.6225 | 196.7103 | 2.094 | 1409.1771 | 289.1683 | 1.9378 | [9 empty] | 1.1508 | 1.1265 | 0.32424 | 0.0041964 | 1.0722 | 1.0779 | 0.11328 | 0.0014369 | PseudoVoigtModel | PseudoVoigtModel | No | January 11, 2024 | January | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:43:12 PM | 67392 | 1091.4929 | 379.8257 | 29.2931 | Spline | 0.097925 | 67392 | 0.99783 | 0.99783 | 0.99784