## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-111-reg4-A--Spectrum--012 | 0.40738 | 0.018764 | 0.018616 | 0.0023487 | 103.7309 | 0.041917 | 0.00057731 | 0.042004 | 6.059 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38857 | 0.017551 | 0.40738 | 0.018764 | 0.38004 | 0.024515 | SupCrit | 103.9557 | 0.042004 | 1284.0951 | 0.041192 | 138.0384 | 1284.0951 | 484.3875 | 1.3483 | 3.1422 | 0.56463 | 2.6966 | Flagged Warnings: | 1388.0509 | 0.0082171 | 319.3983 | 1388.0509 | 764.8653 | 0.87158 | 0 | 3.3039 | 0.6985 | 1.7432 | Flagged Warnings: | [15 empty] | 1.0124 | 1.0143 | 0.033374 | 0.019535 | 1.0592 | 1.1188 | 0.10314 | 0.0054576 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 11:51:35 AM | 42695 | [5 empty] | 42695 | 0.99784 | 0.99783 | 0.99784
1 | 187-1-111-reg4-A--Spectrum--013 | 0.41481 | 0.0092023 | 0.0088974 | 0.002349 | 103.7476 | 0.019968 | 0.00057581 | 0.020003 | 6.01 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39518 | 0.0097757 | 0.41481 | 0.0092023 | 0.38975 | 0.011704 | SupCrit | 103.9729 | 0.020003 | 1284.032 | 0.018446 | 132.7587 | 1284.032 | 454.3052 | 1.3345 | 2.6176 | 0.52663 | 2.6691 | Flagged Warnings: | 1388.0049 | 0.0077374 | 304.6842 | 1388.0049 | 735.5727 | 0.88164 | 0 | 2.9219 | 0.69038 | 1.7633 | Flagged Warnings: | [15 empty] | 1.1421 | 1.1898 | 0.37927 | 0.020105 | 1.0688 | 1.1062 | 0.12125 | 0.0057873 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 11:58:15 AM | 43095 | [5 empty] | 43095 | 0.99783 | 0.99783 | 0.99784
2 | 187-1-111-reg4-A--Spectrum--014 | 0.43769 | 0.012687 | 0.012467 | 0.00235 | 103.7987 | 0.027688 | 0.00057473 | 0.027742 | 5.985 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41542 | 0.012484 | 0.43769 | 0.012687 | 0.4191 | 0.015844 | SupCrit | 104.0245 | 0.027742 | 1284.0235 | 0.025881 | 95.2757 | 1284.0235 | 324.0507 | 1.329 | 2.1754 | 0.52149 | 2.6581 | Flagged Warnings: | 1388.0481 | 0.0099889 | 217.678 | 1388.0481 | 535.3691 | 0.87644 | 0 | 2.7073 | 0.74872 | 1.7529 | Flagged Warnings: | [15 empty] | 1.0012 | 1.0689 | 0.0033102 | 0.027899 | 1.0038 | 1.0858 | 0.0066776 | 0.0080526 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:04:10 PM | 43450 | [5 empty] | 43450 | 0.99783 | 0.99782 | 0.99783
3 | 187-1-111-reg4-B--Spectrum--016 | 0.52675 | 0.0052832 | 0.0047276 | 0.0023586 | 103.9924 | 0.010066 | 0.00057409 | 0.010071 | 5.978 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.49219 | 0.007899 | 0.52675 | 0.0052832 | 0.5253 | 0.0055641 | SupCrit | 104.2192 | 0.010071 | 1283.5787 | 0.0096693 | 451.3825 | 1283.5787 | 1475.4921 | 1.2547 | 4.2818 | 0.56714 | 2.5095 | Flagged Warnings: | 1387.798 | 0.0028165 | 997.2998 | 1387.7979 | 2396.956 | 0.86751 | 0 | 3.3569 | 0.71944 | 1.735 | Flagged Warnings: |  |  |  | 1409.1675 | 310.5799 | 1.9956 | [9 empty] | 1.1334 | 1.1363 | 0.33483 | 0.0055595 | 1.051 | 1.025 | 0.088452 | 0.0017397 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:11:50 PM | 43910 | [5 empty] | 43910 | 0.99782 | 0.99782 | 0.99783
4 | 187-1-111-reg4-B--Spectrum--017 | 0.52232 | 0.0052888 | 0.004734 | 0.002358 | 103.9829 | 0.010101 | 0.00057293 | 0.010107 | 5.989 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.48844 | 0.0078687 | 0.52232 | 0.0052888 | 0.52031 | 0.0056019 | SupCrit | 104.2101 | 0.010107 | 1283.5977 | 0.009772 | 436.47 | 1283.5977 | 1447.9209 | 1.2477 | 4.0489 | 0.6183 | 2.4953 | Flagged Warnings: | 1387.8079 | 0.00258 | 961.3726 | 1387.8078 | 2311.1884 | 0.88032 | 0 | 3.1843 | 0.68489 | 1.7606 | Flagged Warnings: |  |  |  | 1409.3495 | 315.354 | 1.9618 | [9 empty] | 1.091 | 1.1016 | 0.22716 | 0.0057171 | 1.0019 | 1.0165 | 0.0033157 | 0.0018314 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:17:01 PM | 44221 | [5 empty] | 44221 | 0.99782 | 0.99782 | 0.99783
5 | 187-1-111-reg4-B--Spectrum--018 | 0.4992 | 0.0054334 | 0.0048964 | 0.0023552 | 103.9333 | 0.010565 | 0.00057158 | 0.010572 | 6.008 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46879 | 0.0077725 | 0.4992 | 0.0054334 | 0.49378 | 0.0059467 | SupCrit | 104.1607 | 0.010572 | 1283.6751 | 0.010235 | 407.592 | 1283.6751 | 1374.7021 | 1.2931 | 3.9853 | 0.57008 | 2.5862 | Flagged Warnings: | 1387.8358 | 0.0026487 | 891.1745 | 1387.8358 | 2188.444 | 0.89873 | 0 | 2.8401 | 0.68607 | 1.7975 | Flagged Warnings: |  |  |  | 1409.2961 | 279.403 | 1.7595 | [9 empty] | 1.0768 | 1.0792 | 0.19868 | 0.0063452 | 1.0282 | 1.0093 | 0.050776 | 0.002017 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:22:09 PM | 44529 | [5 empty] | 44529 | 0.99782 | 0.99781 | 0.99782
6 | 187-1-111-reg4-C--Spectrum--021 | 0.56623 | 0.00292 | 0.0017134 | 0.0023645 | 104.0757 | 0.0035783 | 0.00056993 | 0.0035404 | 6.059 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52518 | 0.0073441 | 0.56623 | 0.00292 | 0.56849 | 0.0024581 | SupCrit | 104.3042 | 0.0035404 | 1283.4081 | 0.002953 | 730.2217 | 1283.4081 | 2135.2508 | 1.0717 | 2.2262 | 0.6839 | 2.1435 | Flagged Warnings: | 1387.7124 | 0.0019529 | 1565.4487 | 1387.7123 | 3537.4662 | 0.79969 | 0 | 3.7279 | 0.76577 | 1.5994 | Flagged Warnings: | 1263.1452 | 324.536 | 2.7857 | 1409.12 | 401.7331 | 1.8378 | [9 empty] | 1.0175 | 1.018 | 0.037485 | 0.0029354 | 1.0125 | 1.0343 | 0.019992 | 0.0010217 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:34:25 PM | 45265 | [5 empty] | 45265 | 0.99781 | 0.9978 | 0.99781
7 | 187-1-111-reg4-C--Spectrum--022 | 0.56533 | 0.0028414 | 0.0015758 | 0.0023644 | 104.0738 | 0.0032925 | 0.0005687 | 0.0032501 | 6.078 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52443 | 0.0073144 | 0.56533 | 0.0028414 | 0.56752 | 0.0023532 | SupCrit | 104.3027 | 0.0032501 | 1283.4166 | 0.0027991 | 725.511 | 1283.4166 | 2136.4558 | 1.0857 | 2.0868 | 0.66933 | 2.1714 | Flagged Warnings: | 1387.7194 | 0.0016518 | 1581.3382 | 1387.7193 | 3556.2532 | 0.78942 | 0 | 3.507 | 0.78483 | 1.5788 | Flagged Warnings: | 1263.2205 | 300.551 | 2.6524 | 1409.1309 | 427.9968 | 2.0611 | 1370.1077 | 58.5684 | 0.39412 | [6 empty] | 1.0015 | 1.0112 | 0.0033613 | 0.0029929 | 1.0021 | 1.0255 | 0.003303 | 0.00099842 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:40:58 PM | 45658 | [5 empty] | 45658 | 0.9978 | 0.9978 | 0.99781
8 | 187-1-111-reg4-C--Spectrum--023 | 0.56315 | 0.0044654 | 0.0037883 | 0.002364 | 104.0692 | 0.0079236 | 0.00056676 | 0.0079208 | 6.095 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52262 | 0.0078324 | 0.56315 | 0.0044654 | 0.56519 | 0.0043728 | SupCrit | 104.2989 | 0.0079208 | 1283.4189 | 0.0075545 | 611.1759 | 1283.4189 | 1807.5204 | 1.0607 | 4.5926 | 0.73352 | 2.1214 | Flagged Warnings: | 1387.7179 | 0.0023808 | 1303.7138 | 1387.7179 | 2963.7682 | 0.80012 | 0 | 3.8754 | 0.77858 | 1.6002 | Flagged Warnings: |  |  |  | 1409.1055 | 352.7359 | 1.9114 | [9 empty] | 1.0016 | 1.0045 | 0.0033461 | 0.003471 | 1.0661 | 1.0777 | 0.10577 | 0.0012275 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:51:57 PM | 46317 | [5 empty] | 46317 | 0.9978 | 0.99779 | 0.9978
9 | 187-1-111-reg5-A--Spectrum--032 | 0.56748 | 0.0044456 | 0.0037645 | 0.0023647 | 104.0782 | 0.007857 | 0.00056411 | 0.0078541 | 6.098 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5262 | 0.007861 | 0.56748 | 0.0044456 | 0.56981 | 0.0043267 | SupCrit | 104.3092 | 0.0078541 | 1283.4233 | 0.0075211 | 481.2455 | 1283.4233 | 1445.4132 | 1.0926 | 3.793 | 0.69962 | 2.1853 | Flagged Warnings: | 1387.7325 | 0.0022628 | 1037.8247 | 1387.7324 | 2363.412 | 0.80917 | 0 | 2.7752 | 0.7564 | 1.6183 | Flagged Warnings: |  |  |  | 1409.2338 | 284.575 | 1.9599 | [9 empty] | 1.0608 | 1.0331 | 0.13286 | 0.0045409 | 1.0791 | 1.1003 | 0.12795 | 0.0015594 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 1:09:08 PM | 47348 | [5 empty] | 47348 | 0.99779 | 0.99778 | 0.99779
10 | 187-1-111-reg5-A--Spectrum--033 | 0.55506 | 0.004511 | 0.0038428 | 0.0023627 | 104.0522 | 0.0080696 | 0.00056309 | 0.0080678 | 6.091 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5159 | 0.0077832 | 0.55506 | 0.004511 | 0.55649 | 0.0044702 | SupCrit | 104.2835 | 0.0080678 | 1283.4478 | 0.0077934 | 465.8771 | 1283.4478 | 1377.3639 | 1.076 | 3.5345 | 0.69853 | 2.1521 | Flagged Warnings: | 1387.7314 | 0.0020863 | 1001.961 | 1387.7313 | 2267.3935 | 0.78951 | 0 | 2.6144 | 0.79895 | 1.579 | Flagged Warnings: |  |  |  | 1409.1183 | 281.1258 | 2.0077 | [9 empty] | 1.0094 | 1.0423 | 0.020239 | 0.0046194 | 1.0148 | 1.0103 | 0.023368 | 0.0015759 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:15:19 PM | 47719 | [5 empty] | 47719 | 0.99778 | 0.99778 | 0.99779
11 | 187-1-111-reg5-A--Spectrum--034 | 0.55222 | 0.004473 | 0.0037983 | 0.0023623 | 104.0463 | 0.0079873 | 0.00056234 | 0.0079852 | 6.084 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51354 | 0.0077444 | 0.55222 | 0.004473 | 0.55342 | 0.0044407 | SupCrit | 104.2779 | 0.0079852 | 1283.4605 | 0.0076444 | 448.2068 | 1283.4605 | 1315.8512 | 1.0582 | 3.3001 | 0.72177 | 2.1163 | Flagged Warnings: | 1387.7384 | 0.002308 | 936.341 | 1387.7384 | 2143.5806 | 0.80839 | 0 | 2.7643 | 0.7711 | 1.6168 | Flagged Warnings: |  |  |  | 1409.1396 | 271.9849 | 2.0634 | [9 empty] | 1.0048 | 1.0135 | 0.010224 | 0.0047218 | 1.0103 | 1.0383 | 0.016668 | 0.0017267 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:20:43 PM | 48043 | [5 empty] | 48043 | 0.99778 | 0.99777 | 0.99778
12 | 187-1-111-reg5-B--Spectrum--036 | 0.37545 | 0.007832 | 0.0074716 | 0.0023484 | 103.6585 | 0.017064 | 0.00055897 | 0.017093 | 6.076 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35987 | 0.0086412 | 0.37545 | 0.007832 | 0.33723 | 0.010365 | SupCrit | 103.8899 | 0.017093 | 1284.3043 | 0.015913 | 126.2491 | 1284.3043 | 365.3213 | 1.1187 | 1.8229 | 0.5489 | 2.2374 | Flagged Warnings: | 1388.1942 | 0.0062402 | 279.1757 | 1388.1942 | 599.4334 | 0.78799 | 0 | 2.2277 | 0.67848 | 1.576 | Flagged Warnings: | [15 empty] | 1.369 | 1.3299 | 0.82558 | 0.017722 | 1.0105 | 1.0278 | 0.016624 | 0.0056451 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:31:00 PM | 48660 | [5 empty] | 48660 | 0.99777 | 0.99777 | 0.99778
13 | 187-1-111-reg5-C--Spectrum--038 | 0.41221 | 0.027552 | 0.027451 | 0.0023489 | 103.7418 | 0.061674 | 0.00055844 | 0.061809 | 6.063 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39287 | 0.025097 | 0.41221 | 0.027552 | 0.38637 | 0.03588 | SupCrit | 103.974 | 0.061809 | 1284.1032 | 0.061743 | 278.7455 | 1284.1032 | 825.0536 | 1.102 | 2.698 | 0.64329 | 2.204 | Flagged Warnings: | 1388.0772 | 0.0028637 | 608.0724 | 1388.0771 | 1309.9778 | 0.78152 | 0 | 1.9079 | 0.70699 | 1.563 | Flagged Warnings: |  |  |  | 1409.5944 | 147.7422 | 1.5506 | [9 empty] | 1.0498 | 1.0588 | 0.10965 | 0.007907 | 1.0086 | 1.0472 | 0.013474 | 0.0025705 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 1:39:49 PM | 49189 | [5 empty] | 49189 | 0.99777 | 0.99776 | 0.99777
14 | 187-1-111-reg5-D--Spectrum--041 | 0.5718 | 0.003117 | 0.0020298 | 0.0023655 | 104.0873 | 0.0042275 | 0.00055964 | 0.0041997 | 6.053 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52978 | 0.0074515 | 0.5718 | 0.003117 | 0.57439 | 0.0027033 | SupCrit | 104.3207 | 0.0041997 | 1283.4059 | 0.0035093 | 580.0757 | 1283.406 | 1684.0281 | 1.0756 | 1.8436 | 0.65729 | 2.1512 | Flagged Warnings: | 1387.7267 | 0.002307 | 1234.4083 | 1387.7267 | 2779.3936 | 0.79224 | 0 | 3.4784 | 0.77931 | 1.5845 | Flagged Warnings: | 1263.0356 | 238.6859 | 2.6323 | 1409.1018 | 340.8562 | 2.0099 | [9 empty] | 1.0648 | 1.0331 | 0.13946 | 0.0037085 | 1.0778 | 1.0788 | 0.1232 | 0.0012836 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:46:21 PM | 49581 | [5 empty] | 49581 | 0.99776 | 0.99776 | 0.99777
15 | 187-1-111-reg6-A--Spectrum--047 | 0.50539 | 0.016175 | 0.016002 | 0.0023559 | 103.9467 | 0.034423 | 0.00055826 | 0.034496 | 6.042 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47407 | 0.015157 | 0.50539 | 0.016175 | 0.50096 | 0.018571 | SupCrit | 104.1802 | 0.034496 | 1283.7408 | 0.033193 | 58.7438 | 1283.7408 | 168.5596 | 1.1643 | 1.6237 | 0.42241 | 2.3286 | Flagged Warnings: | 1387.921 | 0.0093911 | 140.4605 | 1387.921 | 305.0477 | 0.76278 | 0 | 1.6034 | 0.78259 | 1.5256 | Flagged Warnings: | [15 empty] | 1.0648 | 1.0486 | 0.15099 | 0.03964 | 1.2537 | 1.1615 | 0.38708 | 0.010861 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:53:07 PM | 49987 | [5 empty] | 49987 | 0.99776 | 0.99775 | 0.99776
16 | 187-1-111-reg6-B--Spectrum--048 | 0.54975 | 0.0048409 | 0.0042256 | 0.0023619 | 104.0411 | 0.0088966 | 0.00055829 | 0.008899 | 6.034 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51148 | 0.0078768 | 0.54975 | 0.0048409 | 0.55074 | 0.0048889 | SupCrit | 104.2752 | 0.008899 | 1283.5571 | 0.0085503 | 317.4148 | 1283.5571 | 927.8503 | 1.081 | 2.4722 | 0.65995 | 2.1619 | Flagged Warnings: | 1387.8324 | 0.002467 | 676.8859 | 1387.8323 | 1522.1564 | 0.8054 | 0 | 1.8693 | 0.73757 | 1.6108 | Flagged Warnings: |  |  |  | 1409.2321 | 167.6098 | 1.7638 | [9 empty] | 1.1546 | 1.1103 | 0.33428 | 0.0068111 | 1.1157 | 1.126 | 0.1864 | 0.0023797 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:58:55 PM | 50335 | [5 empty] | 50335 | 0.99776 | 0.99775 | 0.99776
17 | 187-1-111-reg7-A--Spectrum--055 | 0.60768 | 0.003021 | 0.0018707 | 0.0023721 | 104.1613 | 0.0038275 | 0.00055834 | 0.0037951 | 6.025 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55913 | 0.0077633 | 0.60768 | 0.003021 | 0.61138 | 0.0024922 | SupCrit | 104.3962 | 0.0037951 | 1283.2664 | 0.0031874 | 658.7216 | 1283.2664 | 1906.9268 | 1.0406 | 2.1162 | 0.73042 | 2.0811 | Flagged Warnings: | 1387.6627 | 0.00206 | 1360.7246 | 1387.6626 | 3150.576 | 0.81892 | 0 | 3.3701 | 0.76728 | 1.6378 | Flagged Warnings: | 1263.1115 | 281.2951 | 2.6883 | 1409.0199 | 380.1135 | 2.0948 | [9 empty] | 1.0179 | 1.0579 | 0.037163 | 0.0031593 | 1.0205 | 1.0101 | 0.033631 | 0.0012037 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 2:06:50 PM | 50810 | [5 empty] | 50810 | 0.99775 | 0.99775 | 0.99776
18 | 187-1-111-reg7-B--Spectrum--057 | 0.50852 | 0.0031449 | 0.0020829 | 0.0023562 | 103.9534 | 0.004474 | 0.00055681 | 0.0044493 | 6.018 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47673 | 0.0068724 | 0.50852 | 0.0031449 | 0.50457 | 0.0029212 | SupCrit | 104.1882 | 0.0044493 | 1283.6968 | 0.003844 | 531.8078 | 1283.6968 | 1639.4882 | 1.1709 | 1.7455 | 0.59552 | 2.3418 | Flagged Warnings: | 1387.885 | 0.0022405 | 1174.463 | 1387.885 | 2720.2245 | 0.84667 | 0 | 2.9774 | 0.68869 | 1.6933 | Flagged Warnings: | 1263.5168 | 221.6464 | 2.1368 | 1409.3392 | 312.2626 | 1.633 | [9 empty] | 1.1231 | 1.1086 | 0.28828 | 0.0044035 | 1.0606 | 1.0585 | 0.10263 | 0.0014418 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 2:13:15 PM | 51195 | [5 empty] | 51195 | 0.99775 | 0.99774 | 0.99775
19 | 187-1-111-reg8-A--Spectrum--061 | 0.55754 | 0.0061071 | 0.0056314 | 0.0023631 | 104.0574 | 0.011811 | 0.00055675 | 0.011825 | 6.001 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51796 | 0.0085207 | 0.55754 | 0.0061071 | 0.55917 | 0.0062873 | SupCrit | 104.2931 | 0.011825 | 1283.5089 | 0.011366 | 420.4061 | 1283.5089 | 1449.2176 | 1.2813 | 4.5558 | 0.64747 | 2.5625 | Flagged Warnings: | 1387.802 | 0.0032612 | 922.0949 | 1387.802 | 2315.3797 | 0.92688 | 0 | 3.3684 | 0.66548 | 1.8538 | Flagged Warnings: |  |  |  | 1409.3016 | 306.8879 | 2.0182 | [9 empty] | 1.3083 | 1.3814 | 0.78999 | 0.0060954 | 1.2339 | 1.1608 | 0.43354 | 0.0020104 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 2:25:02 PM | 51902 | [5 empty] | 51902 | 0.99774 | 0.99773 | 0.99775
20 | 187-1-111-reg8-B--Spectrum--063 | 0.58203 | 0.0029217 | 0.0017124 | 0.0023672 | 104.1085 | 0.0035484 | 0.00055679 | 0.0035124 | 5.996 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5382 | 0.0074945 | 0.58203 | 0.0029217 | 0.58512 | 0.002425 | SupCrit | 104.3446 | 0.0035124 | 1283.3354 | 0.0029463 | 708.5438 | 1283.3354 | 2058.3197 | 1.0545 | 2.1551 | 0.70699 | 2.109 | Flagged Warnings: | 1387.6801 | 0.0019121 | 1517.8965 | 1387.6801 | 3472.8417 | 0.79706 | 0 | 3.5141 | 0.80233 | 1.5941 | Flagged Warnings: | 1262.9818 | 299.3267 | 2.8015 | 1409.0628 | 416.41 | 2.0385 | [9 empty] | 1.0573 | 1.048 | 0.12081 | 0.0029766 | 1.0297 | 1.0029 | 0.047383 | 0.0010502 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 2:30:49 PM | 52249 | [5 empty] | 52249 | 0.99774 | 0.99773 | 0.99774
21 | 187-1-111-reg8-C--Spectrum--065 | 0.59263 | 0.0045225 | 0.0038522 | 0.0023692 | 104.1304 | 0.0079408 | 0.00055671 | 0.0079392 | 5.996 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54688 | 0.0081016 | 0.59263 | 0.0045225 | 0.59608 | 0.0042812 | SupCrit | 104.3669 | 0.0079392 | 1283.2803 | 0.0075718 | 561.2644 | 1283.2803 | 1661.1741 | 1.0455 | 4.3389 | 0.76916 | 2.0911 | Flagged Warnings: | 1387.6473 | 0.0023873 | 1168.6472 | 1387.6473 | 2718.6456 | 0.8151 | 0 | 3.4922 | 0.78945 | 1.6302 | Flagged Warnings: |  |  |  | 1408.9397 | 382.3926 | 2.4427 | [9 empty] | 1.0048 | 1.0181 | 0.010102 | 0.0037257 | 1.0267 | 1.0102 | 0.043606 | 0.0013949 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 2:36:41 PM | 52601 | [5 empty] | 52601 | 0.99773 | 0.99773 | 0.99774
22 | 187-1-112-reg1-A--Spectrum--079 | 0.40086 | 0.0059489 | 0.0054656 | 0.0023486 | 103.7162 | 0.012343 | 0.00055422 | 0.012359 | 5.988 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38274 | 0.0074442 | 0.40086 | 0.0059489 | 0.37144 | 0.0074413 | SupCrit | 103.9526 | 0.012359 | 1284.2195 | 0.011095 | 207.2166 | 1284.2195 | 580.5635 | 1.0105 | 2.7383 | 0.72018 | 2.021 | Flagged Warnings: | 1388.1721 | 0.005444 | 434.3343 | 1388.1721 | 916.4793 | 0.7577 | 0 | 2.9928 | 0.73069 | 1.5154 | Flagged Warnings: | [15 empty] | 1.125 | 1.1974 | 0.25263 | 0.0097532 | 1.029 | 1.0936 | 0.043974 | 0.003489 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:52:35 PM | 53555 | [5 empty] | 53555 | 0.99773 | 0.99772 | 0.99773
23 | 187-1-112-reg2-A--Spectrum--082 | 0.4449 | 0.0028931 | 0.001687 | 0.0023504 | 103.8147 | 0.0037342 | 0.00055472 | 0.0037012 | 5.985 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42176 | 0.0062042 | 0.4449 | 0.0028931 | 0.42816 | 0.0027088 | SupCrit | 104.0516 | 0.0037012 | 1284.0121 | 0.0030878 | 1201.2524 | 1284.0121 | 3564.1936 | 1.098 | 4.2293 | 0.66015 | 2.1959 | Flagged Warnings: | 1388.0637 | 0.0020406 | 2553.3233 | 1388.0637 | 5622.4914 | 0.78533 | 0 | 6.9708 | 0.74771 | 1.5707 | Flagged Warnings: | 1263.8901 | 503.7372 | 2.3326 | 1409.4651 | 728.0362 | 1.821 | 1370.1918 | 98.1215 | 0.39229 | [6 empty] | 1.1178 | 1.1269 | 0.25876 | 0.001828 | 1.0043 | 1.045 | 0.0067123 | 0.00061515 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:59:01 PM | 53941 | [5 empty] | 53941 | 0.99772 | 0.99772 | 0.99773
24 | 187-1-112-reg2-B--Spectrum--085 | 0.41684 | 0.003124 | 0.0020595 | 0.002349 | 103.7522 | 0.0046176 | 0.00055443 | 0.0045947 | 5.983 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39699 | 0.006044 | 0.41684 | 0.003124 | 0.3924 | 0.0031733 | SupCrit | 103.9892 | 0.0045947 | 1284.1521 | 0.0038899 | 605.6227 | 1284.1522 | 1725.2354 | 1.055 | 2.5191 | 0.65815 | 2.11 | Flagged Warnings: | 1388.1414 | 0.0024455 | 1290.5649 | 1388.1414 | 2753.8554 | 0.76795 | 0 | 3.7218 | 0.72626 | 1.5359 | Flagged Warnings: | 1264 | 251.1773 | 2.3254 | 1409.5118 | 373.0731 | 1.8718 | [9 empty] | 1.0437 | 1.08 | 0.092184 | 0.003484 | 1.0308 | 1.0141 | 0.047258 | 0.0011901 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:05:20 PM | 54320 | [5 empty] | 54320 | 0.99772 | 0.99771 | 0.99773
25 | 187-1-112-reg2-C--Spectrum--088 | 0.40066 | 0.01912 | 0.018975 | 0.0023486 | 103.7157 | 0.042854 | 0.00055434 | 0.042948 | 5.981 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38256 | 0.017883 | 0.40066 | 0.01912 | 0.37118 | 0.025199 | SupCrit | 103.953 | 0.042948 | 1284.2134 | 0.042895 | 989.0444 | 1284.2134 | 2848.9166 | 1.037 | 6.6487 | 0.72783 | 2.0739 | Flagged Warnings: | 1388.1665 | 0.0021419 | 2048.893 | 1388.1665 | 4309.6228 | 0.74793 | 0 | 5.6312 | 0.75458 | 1.4959 | Flagged Warnings: | 1263.9902 | 559.834 | 3.1022 | 1409.5818 | 557.6844 | 1.705 | [9 empty] | 1.1979 | 1.1876 | 0.41035 | 0.0020969 | 1.0667 | 1.0079 | 0.099724 | 0.00073008 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:12:27 PM | 54747 | [5 empty] | 54747 | 0.99772 | 0.99771 | 0.99772
26 | 187-1-112-reg3-A--Spectrum--094 | 0.44156 | 0.0033686 | 0.0024133 | 0.0023502 | 103.8073 | 0.0053503 | 0.00055571 | 0.0053336 | 5.97 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41883 | 0.0063573 | 0.44156 | 0.0033686 | 0.42398 | 0.003477 | SupCrit | 104.0457 | 0.0053336 | 1284.0094 | 0.0046344 | 567.782 | 1284.0095 | 1630.2247 | 1.0788 | 2.5688 | 0.62299 | 2.1575 | Flagged Warnings: | 1388.0553 | 0.0026398 | 1199.6503 | 1388.0552 | 2630.5103 | 0.78025 | 0 | 4.0592 | 0.75301 | 1.5605 | Flagged Warnings: | 1263.8132 | 245.7948 | 2.5652 | 1409.4361 | 335.0364 | 1.835 | [9 empty] | 1.0709 | 1.0841 | 0.15287 | 0.0037999 | 1.013 | 1.0616 | 0.020222 | 0.0013008 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:36:50 PM | 56210 | [5 empty] | 56210 | 0.99771 | 0.9977 | 0.99771
27 | 187-1-112-reg3-B--Spectrum--096 | 0.37099 | 0.0046871 | 0.0040563 | 0.0023485 | 103.6483 | 0.0092817 | 0.00055523 | 0.0092864 | 5.97 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35584 | 0.006485 | 0.37099 | 0.0046871 | 0.33112 | 0.0058424 | SupCrit | 103.8866 | 0.0092864 | 1284.3807 | 0.008841 | 379.1279 | 1284.3807 | 1058.8415 | 1.0272 | 3.3345 | 0.67321 | 2.0543 | Flagged Warnings: | 1388.2673 | 0.0028416 | 784.9958 | 1388.2673 | 1618.2487 | 0.74147 | 0 | 2.6624 | 0.72739 | 1.4829 | Flagged Warnings: |  |  |  | 1409.6587 | 199.5525 | 1.5123 | [9 empty] | 1.1903 | 1.2251 | 0.39095 | 0.0054186 | 1.0801 | 1.1094 | 0.11877 | 0.0018891 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:43:19 PM | 56599 | [5 empty] | 56599 | 0.99771 | 0.9977 | 0.99771
28 | 187-1-112-reg3-C--Spectrum--097 | 0.3957 | 0.0031063 | 0.0020331 | 0.0023485 | 103.7045 | 0.004602 | 0.00055604 | 0.0045788 | 5.97 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37812 | 0.0058559 | 0.3957 | 0.0031063 | 0.36459 | 0.003211 | SupCrit | 103.9432 | 0.0045788 | 1284.2475 | 0.0037828 | 716.0889 | 1284.2476 | 2044.3981 | 1.0487 | 3.0112 | 0.67782 | 2.0974 | Flagged Warnings: | 1388.1908 | 0.0025799 | 1503.0413 | 1388.1908 | 3178.3213 | 0.75443 | 0 | 5.0735 | 0.7467 | 1.5089 | Flagged Warnings: | 1264.1035 | 280.6574 | 2.1371 | 1409.6464 | 398.1435 | 1.7118 | [9 empty] | 1.0032 | 1.0884 | 0.0067768 | 0.002929 | 1.0177 | 1.0645 | 0.026765 | 0.0010039 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:50:50 PM | 57050 | [5 empty] | 57050 | 0.9977 | 0.9977 | 0.99771
29 | 187-1-112-reg4-A--Spectrum--105 | 0.40463 | 0.0044675 | 0.0038003 | 0.0023487 | 103.7247 | 0.0085679 | 0.00055707 | 0.0085694 | 5.975 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38611 | 0.0065889 | 0.40463 | 0.0044675 | 0.37642 | 0.0052959 | SupCrit | 103.9637 | 0.0085694 | 1284.2209 | 0.0081813 | 554.2418 | 1284.2209 | 1617.1056 | 1.0673 | 4.9628 | 0.68631 | 2.1346 | Flagged Warnings: | 1388.1846 | 0.0025498 | 1179.1279 | 1388.1846 | 2516.1935 | 0.75786 | 0 | 3.9377 | 0.75744 | 1.5157 | Flagged Warnings: |  |  |  | 1409.6216 | 319.4569 | 1.6747 | [9 empty] | 1.2294 | 1.2086 | 0.48973 | 0.0038514 | 1.0447 | 1.0348 | 0.067818 | 0.0012855 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:02:33 PM | 57753 | [5 empty] | 57753 | 0.9977 | 0.9977 | 0.99771
30 | 187-1-112-reg4-B--Spectrum--107 | 0.43369 | 0.0030998 | 0.0020217 | 0.0023498 | 103.7898 | 0.0044984 | 0.00055801 | 0.0044739 | 5.971 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4119 | 0.0061813 | 0.43369 | 0.0030998 | 0.41403 | 0.0030806 | SupCrit | 104.0291 | 0.0044739 | 1284.0378 | 0.0037549 | 685.3047 | 1284.0378 | 2034.2818 | 1.1161 | 2.843 | 0.62091 | 2.2323 | Flagged Warnings: | 1388.067 | 0.0024323 | 1484.2569 | 1388.0669 | 3239.2743 | 0.77573 | 0 | 4.8973 | 0.75561 | 1.5515 | Flagged Warnings: | 1263.951 | 294.1233 | 2.3552 | 1409.4314 | 423.0066 | 1.8847 | [9 empty] | 1.1284 | 1.1434 | 0.28665 | 0.0032574 | 1.0131 | 1.0435 | 0.020281 | 0.0010453 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:08:55 PM | 58135 | [5 empty] | 58135 | 0.9977 | 0.99769 | 0.9977
31 | 187-1-112-reg4-C--Spectrum--109 | 0.37971 | 0.0046541 | 0.0040181 | 0.0023484 | 103.6682 | 0.0091595 | 0.00055808 | 0.0091636 | 5.96 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36373 | 0.0065224 | 0.37971 | 0.0046541 | 0.34305 | 0.0057337 | SupCrit | 103.9074 | 0.0091636 | 1284.3372 | 0.0087051 | 382.2157 | 1284.3372 | 1084.3211 | 1.0431 | 3.5581 | 0.67379 | 2.0863 | Flagged Warnings: | 1388.2446 | 0.0028623 | 810.0964 | 1388.2445 | 1706.6599 | 0.75193 | 0 | 2.8218 | 0.74555 | 1.5039 | Flagged Warnings: |  |  |  | 1409.7529 | 198.7416 | 1.3921 | [9 empty] | 1.2262 | 1.1931 | 0.47194 | 0.0054584 | 1.0044 | 1.0908 | 0.006625 | 0.0018564 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:16:11 PM | 58571 | [5 empty] | 58571 | 0.9977 | 0.99769 | 0.9977
32 | 187-1-112-reg5-A--Spectrum--114 | 0.46213 | 0.0030229 | 0.0018994 | 0.0023516 | 103.8526 | 0.0041707 | 0.00056186 | 0.0041422 | 5.979 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43681 | 0.0064068 | 0.46213 | 0.0030229 | 0.44949 | 0.0028733 | SupCrit | 104.0925 | 0.0041422 | 1283.8982 | 0.0033952 | 905.6367 | 1283.8982 | 2705.1299 | 1.1104 | 3.3866 | 0.64924 | 2.2208 | Flagged Warnings: | 1387.9908 | 0.0023729 | 1910.7038 | 1387.9907 | 4295.5384 | 0.80489 | 0 | 5.5067 | 0.73857 | 1.6098 | Flagged Warnings: | 1263.8205 | 387.4717 | 2.6278 | 1409.4069 | 541.9039 | 1.9115 | [9 empty] | 1.0979 | 1.1067 | 0.21752 | 0.0024522 | 1.051 | 1.0677 | 0.082027 | 0.00084251 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:39:16 PM | 59956 | [5 empty] | 59956 | 0.9977 | 0.99769 | 0.9977
33 | 187-1-112-reg5-B--Spectrum--116 | 0.45883 | 0.0031157 | 0.0020442 | 0.0023514 | 103.8454 | 0.0044956 | 0.0005628 | 0.0044705 | 5.983 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43394 | 0.0064108 | 0.45883 | 0.0031157 | 0.44545 | 0.0030283 | SupCrit | 104.0853 | 0.0044705 | 1283.9097 | 0.0037847 | 644.0726 | 1283.9097 | 1912.7325 | 1.1047 | 2.6703 | 0.64795 | 2.2095 | Flagged Warnings: | 1387.995 | 0.0023794 | 1377.9456 | 1387.995 | 3064.4325 | 0.78811 | 0 | 4.1287 | 0.76261 | 1.5762 | Flagged Warnings: | 1263.7322 | 305.0066 | 2.838 | 1409.4614 | 380.8667 | 1.8574 | [9 empty] | 1.0874 | 1.0713 | 0.1932 | 0.0034305 | 1.0705 | 1.0978 | 0.1111 | 0.0011439 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 4:46:11 PM | 60371 | [5 empty] | 60371 | 0.9977 | 0.99769 | 0.9977
34 | 187-1-112-reg5-C--Spectrum--118 | 0.42415 | 0.0056357 | 0.0051227 | 0.0023493 | 103.7685 | 0.011448 | 0.00056355 | 0.01146 | 5.987 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40347 | 0.0073859 | 0.42415 | 0.0056357 | 0.40184 | 0.0068044 | SupCrit | 104.0082 | 0.01146 | 1284.1082 | 0.010135 | 230.9217 | 1284.1082 | 674.3998 | 1.0937 | 2.1201 | 0.62888 | 2.1874 | Flagged Warnings: | 1388.1164 | 0.0053497 | 487.7354 | 1388.1164 | 1055.7071 | 0.78017 | 0 | 2.7571 | 0.72178 | 1.5603 | Flagged Warnings: | [15 empty] | 1.0202 | 1.0818 | 0.044294 | 0.0094726 | 1.0022 | 1.0696 | 0.0033628 | 0.0031991 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:53:58 PM | 60838 | [5 empty] | 60838 | 0.9977 | 0.99769 | 0.9977
35 | 187-1-112-reg6-A--Spectrum--123 | 0.44252 | 0.0030752 | 0.0019832 | 0.0023503 | 103.8094 | 0.0043947 | 0.00056587 | 0.0043682 | 5.996 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41967 | 0.00625 | 0.44252 | 0.0030752 | 0.42518 | 0.0030139 | SupCrit | 104.0491 | 0.0043682 | 1284.0158 | 0.0036286 | 675.7099 | 1284.0159 | 1988.2696 | 1.1026 | 2.5911 | 0.62966 | 2.2052 | Flagged Warnings: | 1388.065 | 0.002432 | 1461.0598 | 1388.065 | 3209.6971 | 0.77871 | 0 | 4.5683 | 0.76191 | 1.5574 | Flagged Warnings: | 1263.8394 | 287.6488 | 2.6767 | 1409.4685 | 392.9856 | 1.7078 | [9 empty] | 1.0922 | 1.1029 | 0.20334 | 0.0032635 | 1.0174 | 1.0417 | 0.027086 | 0.001066 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:06:50 PM | 61610 | 1097.1276 | 436.4894 | 35.0698 | Spline | 0.083973 | 61610 | 0.9977 | 0.99769 | 0.9977
36 | 187-1-112-reg6-B--Spectrum--125 | 0.41643 | 0.003227 | 0.0022125 | 0.002349 | 103.7512 | 0.0049618 | 0.0005666 | 0.0049408 | 5.996 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39663 | 0.0060831 | 0.41643 | 0.003227 | 0.39187 | 0.0033438 | SupCrit | 103.9907 | 0.0049408 | 1284.1172 | 0.0043311 | 550.3141 | 1284.1172 | 1641.8178 | 1.1139 | 2.4924 | 0.63826 | 2.2279 | Flagged Warnings: | 1388.108 | 0.0023775 | 1178.9344 | 1388.108 | 2589.2346 | 0.78899 | 0 | 3.5232 | 0.73037 | 1.578 | Flagged Warnings: | 1263.9612 | 246.2066 | 2.3205 | 1409.4886 | 324.0378 | 1.5972 | [9 empty] | 1.1419 | 1.1224 | 0.31622 | 0.0040484 | 1.0192 | 1.0354 | 0.030346 | 0.0013385 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:12:49 PM | 61969 | [5 empty] | 61969 | 0.9977 | 0.99769 | 0.9977
37 | 187-1-112-reg6-C--Spectrum--127 | 0.42349 | 0.003177 | 0.0021388 | 0.0023493 | 103.767 | 0.004781 | 0.00056773 | 0.0047582 | 6.007 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40289 | 0.0061231 | 0.42349 | 0.003177 | 0.40099 | 0.0032387 | SupCrit | 104.0065 | 0.0047582 | 1284.0616 | 0.0040929 | 563.8469 | 1284.0616 | 1627.7606 | 1.0892 | 2.327 | 0.61233 | 2.1784 | Flagged Warnings: | 1388.0682 | 0.0024266 | 1185.625 | 1388.0681 | 2589.3359 | 0.77883 | 0 | 3.6629 | 0.74773 | 1.5577 | Flagged Warnings: | 1263.7827 | 237.7468 | 2.3422 | 1409.5152 | 325.1016 | 1.6521 | [9 empty] | 1.0722 | 1.1079 | 0.15735 | 0.0038634 | 1.013 | 1.0357 | 0.020273 | 0.0013138 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:18:33 PM | 62313 | [5 empty] | 62313 | 0.9977 | 0.99769 | 0.9977
38 | 187-1-112-reg7-A--Spectrum--131 | 0.44375 | 0.0032131 | 0.0021909 | 0.0023503 | 103.8121 | 0.0048522 | 0.00056981 | 0.0048298 | 6.011 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42076 | 0.0063141 | 0.44375 | 0.0032131 | 0.42673 | 0.0032287 | SupCrit | 104.0515 | 0.0048298 | 1283.9702 | 0.0041959 | 621.9445 | 1283.9703 | 1805.1492 | 1.0825 | 2.6608 | 0.64155 | 2.1649 | Flagged Warnings: | 1388.0218 | 0.0023919 | 1317.5072 | 1388.0218 | 2862.5186 | 0.77591 | 0 | 4.1254 | 0.74447 | 1.5518 | Flagged Warnings: | 1263.828 | 286.1272 | 2.7668 | 1409.4733 | 366.9115 | 1.7606 | [9 empty] | 1.1367 | 1.1304 | 0.29603 | 0.0034809 | 1.0217 | 1.0427 | 0.033735 | 0.0011778 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:28:04 PM | 62884 | [5 empty] | 62884 | 0.9977 | 0.99769 | 0.9977
39 | 187-1-112-reg7-B--Spectrum--133 | 0.42416 | 0.0032135 | 0.0021926 | 0.0023493 | 103.7685 | 0.0048998 | 0.00057106 | 0.0048776 | 6.018 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40348 | 0.0061438 | 0.42416 | 0.0032135 | 0.40185 | 0.0032955 | SupCrit | 104.0076 | 0.0048776 | 1284.0753 | 0.0040863 | 545.085 | 1284.0753 | 1574.1791 | 1.0757 | 2.2658 | 0.64421 | 2.1515 | Flagged Warnings: | 1388.083 | 0.0026633 | 1125.5795 | 1388.0829 | 2460.8501 | 0.78634 | 0 | 3.6662 | 0.72766 | 1.5727 | Flagged Warnings: | 1263.9591 | 231.3191 | 2.5452 | 1409.4606 | 309.9829 | 1.7837 | [9 empty] | 1.0016 | 1.0734 | 0.0033669 | 0.003947 | 1.0043 | 1.0612 | 0.0066922 | 0.0013972 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:35:24 PM | 63324 | [5 empty] | 63324 | 0.9977 | 0.9977 | 0.99771
40 | 187-1-112-reg7-C--Spectrum--135 | 0.35022 | 0.0053638 | 0.0048221 | 0.0023489 | 103.6005 | 0.011133 | 0.00057146 | 0.011144 | 6.019 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33692 | 0.0067876 | 0.35022 | 0.0053638 | 0.30217 | 0.0070257 | SupCrit | 103.8391 | 0.011144 | 1284.4228 | 0.0098048 | 246.6186 | 1284.4228 | 677.2632 | 1.0176 | 2.3734 | 0.65502 | 2.0352 | Flagged Warnings: | 1388.2619 | 0.005296 | 521.7111 | 1388.2619 | 1060.0168 | 0.73662 | 0 | 3.0636 | 0.70785 | 1.4732 | Flagged Warnings: | [15 empty] | 1.0701 | 1.1647 | 0.14264 | 0.0082523 | 1.0808 | 1.0998 | 0.11908 | 0.0028239 | PseudoVoigtModel | PseudoVoigtModel | No | January 17, 2024 | January | 17 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:41:41 PM | 63701 | [5 empty] | 63701 | 0.9977 | 0.9977 | 0.99771
41 | FO1--Spectrum--141 | 0.090351 | 0.0082033 | 0.0072695 | 0.0038012 | 102.9783 | 0.018346 | 0.00057365 | 0.018379 | 11.95 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.090351 | 0.0082033 | 0.093234 | 0.0076739 | -0.11957 | 0.01379 | SupCrit | 103.2144 | 0.018379 | 1285.9576 | 0.015845 | 64.9954 | 1285.9576 | 83.1678 | 0.48213 | 1.1819 | 0.61378 | 0.96427 | Flagged Warnings: | 1389.172 | 0.0093137 | 107.3308 | 1389.172 | 126.7872 | 0.45897 | 0 | 1.2841 | 0.53619 | 0.91793 | Flagged Warnings: | [15 empty] | 1.1908 | 1.1832 | 0.18397 | 0.014836 | 1.1439 | 1.1818 | 0.13213 | 0.0085524 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 17, 2024 | January | 17 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:06:18 PM | 65178 | [5 empty] | 65178 | 0.99771 | 0.99771 | 0.99772