## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-116-B--Spectrum--010 | 0.3789 | 0.021805 | 0.021678 | 0.0023484 | 103.6663 | 0.049431 | 0.00045975 | 0.049539 | 5.978 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36299 | 0.02032 | 0.3789 | 0.021805 | 0.34194 | 0.029572 | SupCrit | 103.8972 | 0.049539 | 1284.2556 | 0.047201 | 36.8181 | 1284.2556 | 107.7673 | 1.0985 | 1.2001 | 0.62366 | 2.197 | Flagged Warnings: | 1388.1528 | 0.015039 | 79.2148 | 1388.1528 | 161.5638 | 0.7731 | 0 | 1.4205 | 0.59882 | 1.5462 | Flagged Warnings: | [15 empty] | 1.1217 | 1.0619 | 0.26739 | 0.059671 | 1.0289 | 1.079 | 0.044668 | 0.019519 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 12:41:52 PM | 45712 | [5 empty] | 45712 | 0.99778 | 0.99777 | 0.99778
1 | 187-1-116-B--Spectrum--012 | 0.37513 | 0.017858 | 0.017703 | 0.0023484 | 103.6577 | 0.040433 | 0.00045589 | 0.040521 | 5.95 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35958 | 0.0169 | 0.37513 | 0.017858 | 0.3368 | 0.024284 | SupCrit | 103.8898 | 0.040521 | 1284.2118 | 0.037513 | 40.5846 | 1284.2118 | 106.1963 | 0.93595 | 1.1839 | 0.73992 | 1.8719 | Flagged Warnings: | 1388.1016 | 0.015321 | 75.5682 | 1388.1016 | 155.5628 | 0.68031 | 0 | 1.2418 | 0.91965 | 1.3606 | Flagged Warnings: | [15 empty] | 1.0624 | 1.0481 | 0.11678 | 0.046123 | 1.1803 | 1.0261 | 0.24536 | 0.018005 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 12:55:21 PM | 46521 | [5 empty] | 46521 | 0.99777 | 0.99776 | 0.99777
2 | 187-1-116-B--Spectrum--013 | 0.38159 | 0.021679 | 0.021551 | 0.0023484 | 103.6725 | 0.049084 | 0.00045452 | 0.049192 | 5.944 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36542 | 0.020195 | 0.38159 | 0.021679 | 0.3456 | 0.029301 | SupCrit | 103.9051 | 0.049192 | 1284.2915 | 0.046411 | 33.8894 | 1284.2915 | 93.5973 | 1.0198 | 1.3328 | 0.66366 | 2.0395 | Flagged Warnings: | 1388.1966 | 0.016307 | 69.5041 | 1388.1966 | 153.2792 | 0.7654 | 0 | 1.314 | 0.81004 | 1.5308 | Flagged Warnings: | [15 empty] | 1.0654 | 1.1023 | 0.1334 | 0.060182 | 1.0582 | 1.2104 | 0.08904 | 0.022025 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 1:00:42 PM | 46842 | [5 empty] | 46842 | 0.99776 | 0.99776 | 0.99777
3 | 187-1-117-A--Spectrum--020 | 0.49051 | 0.014118 | 0.01392 | 0.0023542 | 103.9145 | 0.030159 | 0.0004521 | 0.030223 | 5.93 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46134 | 0.013586 | 0.49051 | 0.014118 | 0.48359 | 0.016497 | SupCrit | 104.1487 | 0.030223 | 1283.7353 | 0.030153 | 1441.2546 | 1283.7354 | 4309.4934 | 1.1108 | 9.5738 | 0.65084 | 2.2217 | Flagged Warnings: | 1387.8841 | 0.0020589 | 3197.273 | 1387.8841 | 7133.5067 | 0.7987 | 0 | 7.5909 | 0.73862 | 1.5974 | Flagged Warnings: | 1263.2786 | 615.2702 | 2.7695 | 1409.3073 | 770.0235 | 1.6408 | [9 empty] | 1.0197 | 1.0411 | 0.04376 | 0.0015415 | 1.1055 | 1.0986 | 0.16852 | 0.00049962 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 1:14:20 PM | 47660 | 1112.7728 | 944.0253 | 73.7253 | Spline | 0.082498 | 47660 | 0.99775 | 0.99775 | 0.99776
4 | 187-1-117-A--Spectrum--021 | 0.49377 | 0.0036533 | 0.0027933 | 0.0023546 | 103.9216 | 0.0060425 | 0.00045067 | 0.0060392 | 5.923 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46414 | 0.0069233 | 0.49377 | 0.0036533 | 0.48743 | 0.0036821 | SupCrit | 104.1562 | 0.0060392 | 1283.7385 | 0.0056831 | 1480.1568 | 1283.7386 | 4435.0566 | 1.1199 | 8.2347 | 0.63543 | 2.2399 | Flagged Warnings: | 1387.8948 | 0.0020431 | 3316.579 | 1387.8948 | 7404.0413 | 0.79563 | 0 | 7.8551 | 0.74911 | 1.5913 | Flagged Warnings: | 1263.4215 | 566.3024 | 2.3602 | 1409.3032 | 828.2441 | 1.6423 | [9 empty] | 1.012 | 1.0054 | 0.026825 | 0.0015133 | 1.1106 | 1.0987 | 0.17603 | 0.00047979 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:20:26 PM | 48026 | [5 empty] | 48026 | 0.99775 | 0.99774 | 0.99775
5 | 187-1-117-A--Spectrum--022 | 0.49197 | 0.0034798 | 0.0025625 | 0.0023544 | 103.9177 | 0.0055479 | 0.00044934 | 0.0055422 | 5.916 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46259 | 0.0068413 | 0.49197 | 0.0034798 | 0.48531 | 0.0034497 | SupCrit | 104.1527 | 0.0055422 | 1283.7487 | 0.0053284 | 1522.4213 | 1283.7488 | 4572.4815 | 1.1208 | 8.5309 | 0.63936 | 2.2417 | Flagged Warnings: | 1387.9015 | 0.0015247 | 3385.6949 | 1387.9014 | 7613.3787 | 0.80663 | 0 | 6.627 | 0.73386 | 1.6133 | Flagged Warnings: | 1263.4737 | 608.862 | 2.3785 | 1409.3092 | 848.5302 | 1.6294 | 1370.1328 | 127.1073 | 0.40279 | [6 empty] | 1.049 | 1.0636 | 0.10985 | 0.0014724 | 1.1165 | 1.1054 | 0.18792 | 0.00047649 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:26:10 PM | 48370 | [5 empty] | 48370 | 0.99774 | 0.99774 | 0.99775
6 | 187-1-117-B--Spectrum--024 | 0.46252 | 0.0032107 | 0.0021859 | 0.0023516 | 103.8535 | 0.004799 | 0.00044749 | 0.0047889 | 5.914 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43715 | 0.0064791 | 0.46252 | 0.0032107 | 0.44997 | 0.0031626 | SupCrit | 104.0887 | 0.0047889 | 1283.8939 | 0.0041959 | 1052.8586 | 1283.894 | 3180.8265 | 1.1306 | 5.0291 | 0.63341 | 2.2611 | Flagged Warnings: | 1387.9827 | 0.0023083 | 2285.3063 | 1387.9827 | 5066.0605 | 0.79907 | 0 | 6.0692 | 0.72232 | 1.5981 | Flagged Warnings: | 1263.6148 | 521.1317 | 2.8484 | 1409.3855 | 593.6497 | 1.7196 | [9 empty] | 1.0998 | 1.1314 | 0.22576 | 0.0021476 | 1.0871 | 1.1178 | 0.13927 | 0.00069932 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:33:19 PM | 48799 | [5 empty] | 48799 | 0.99774 | 0.99774 | 0.99774
7 | 187-1-117-B--Spectrum--025 | 0.46182 | 0.0040942 | 0.0033515 | 0.0023516 | 103.852 | 0.0073605 | 0.00044641 | 0.0073636 | 5.899 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43654 | 0.00684 | 0.46182 | 0.0040942 | 0.44911 | 0.0044377 | SupCrit | 104.0874 | 0.0073636 | 1283.8956 | 0.0070295 | 1044.3756 | 1283.8957 | 3142.9949 | 1.1253 | 4.8019 | 0.63478 | 2.2506 | Flagged Warnings: | 1387.9831 | 0.0021928 | 2286.597 | 1387.9831 | 5049.964 | 0.79076 | 0 | 5.823 | 0.73828 | 1.5815 | Flagged Warnings: | 1263.7498 | 449.3413 | 2.5114 | 1409.3759 | 603.8858 | 1.7975 | [9 empty] | 1.0932 | 1.0946 | 0.20968 | 0.002155 | 1.0654 | 1.0854 | 0.10337 | 0.00069165 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:38:25 PM | 49105 | [5 empty] | 49105 | 0.99774 | 0.99773 | 0.99774
8 | 187-1-117-B--Spectrum--026 | 0.46034 | 0.0031865 | 0.0021505 | 0.0023515 | 103.8487 | 0.004726 | 0.00044353 | 0.0047158 | 5.895 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43526 | 0.0064506 | 0.46034 | 0.0031865 | 0.4473 | 0.0031328 | SupCrit | 104.0848 | 0.0047158 | 1283.9098 | 0.0040305 | 1013.2476 | 1283.9098 | 3043.0876 | 1.1243 | 4.5126 | 0.63186 | 2.2487 | Flagged Warnings: | 1387.9947 | 0.0024484 | 2220.0813 | 1387.9947 | 4956.332 | 0.79303 | 0 | 6.7257 | 0.75703 | 1.5861 | Flagged Warnings: | 1263.7186 | 445.713 | 2.5361 | 1409.4187 | 616.4979 | 1.8254 | [9 empty] | 1.0788 | 1.0859 | 0.17725 | 0.0022193 | 1.0588 | 1.0878 | 0.093298 | 0.00071442 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:53:17 PM | 49997 | [5 empty] | 49997 | 0.99773 | 0.99773 | 0.99774
9 | 187-1-118-A--Spectrum--033 | 0.49864 | 0.0028314 | 0.0015717 | 0.0023551 | 103.9321 | 0.003392 | 0.000441 | 0.0033709 | 5.898 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46831 | 0.00668 | 0.49864 | 0.0028314 | 0.49312 | 0.0024817 | SupCrit | 104.169 | 0.0033709 | 1283.7204 | 0.0022828 | 1646.6747 | 1283.7204 | 4954.0674 | 1.1202 | 4.9828 | 0.6452 | 2.2404 | Flagged Warnings: | 1387.8895 | 0.0024803 | 3630.2781 | 1387.8895 | 8157.8047 | 0.8035 | 0 | 8.761 | 0.74159 | 1.607 | Flagged Warnings: | 1263.604 | 716.3643 | 2.5334 | 1409.2962 | 991.3829 | 1.9043 | [9 empty] | 1.0273 | 1.0306 | 0.061103 | 0.0013606 | 1.0774 | 1.0815 | 0.12441 | 0.00044267 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:10:42 PM | 51042 | [5 empty] | 51042 | 0.99773 | 0.99772 | 0.99773
10 | 187-1-118-A--Spectrum--034 | 0.50241 | 0.002815 | 0.0015413 | 0.0023555 | 103.9403 | 0.0033205 | 0.00044022 | 0.0032987 | 5.898 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47152 | 0.0067104 | 0.50241 | 0.002815 | 0.49751 | 0.0024481 | SupCrit | 104.1773 | 0.0032987 | 1283.7159 | 0.0025761 | 1627.0039 | 1283.7159 | 4866.8048 | 1.1101 | 5.3781 | 0.65342 | 2.2201 | Flagged Warnings: | 1387.8933 | 0.0020603 | 3575.3854 | 1387.8932 | 8030.6497 | 0.79561 | 0 | 8.5898 | 0.7636 | 1.5912 | Flagged Warnings: | 1263.5951 | 707.4626 | 2.554 | 1409.3579 | 941.3362 | 1.8048 | [9 empty] | 1.0965 | 1.0944 | 0.21429 | 0.0013646 | 1.1222 | 1.1209 | 0.19448 | 0.00044505 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:16:13 PM | 51373 | [5 empty] | 51373 | 0.99772 | 0.99772 | 0.99773
11 | 187-1-119-A--Spectrum--042 | 0.33603 | 0.004987 | 0.0043988 | 0.0023495 | 103.5677 | 0.010216 | 0.00043668 | 0.01023 | 6.04 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3239 | 0.0064623 | 0.33603 | 0.004987 | 0.28198 | 0.0065557 | SupCrit | 103.8042 | 0.01023 | 1284.5125 | 0.0098286 | 276.7163 | 1284.5125 | 744.6846 | 0.99517 | 2.6821 | 0.65997 | 1.9903 | Flagged Warnings: | 1388.3167 | 0.0028379 | 582.0346 | 1388.3167 | 1174.9943 | 0.728 | 0 | 2.12 | 0.72114 | 1.456 | Flagged Warnings: |  |  |  | 1409.855 | 144.6684 | 1.361 | [9 empty] | 1.2481 | 1.3095 | 0.49381 | 0.0071927 | 1.0251 | 1.0363 | 0.036483 | 0.0025016 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:31:34 PM | 52294 | [5 empty] | 52294 | 0.99772 | 0.99772 | 0.99773
12 | 187-1-120-reg1-A--Spectrum--053 | 0.26065 | 0.0083295 | 0.0079892 | 0.0023564 | 103.3899 | 0.019114 | 0.00043413 | 0.019152 | 6.049 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25347 | 0.0087858 | 0.26065 | 0.0083295 | 0.1687 | 0.012673 | SupCrit | 103.6263 | 0.019152 | 1284.8989 | 0.017679 | 115.3867 | 1284.8989 | 284.773 | 0.90538 | 2.373 | 0.67942 | 1.8108 | Flagged Warnings: | 1388.5252 | 0.0073666 | 224.8903 | 1388.5252 | 418.2508 | 0.68922 | 0 | 2.1298 | 0.65473 | 1.3784 | Flagged Warnings: | [15 empty] | 1.367 | 1.2737 | 0.66446 | 0.015693 | 1.0622 | 1.0846 | 0.085724 | 0.0061294 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:49:49 PM | 53389 | [5 empty] | 53389 | 0.99772 | 0.99772 | 0.99772
13 | 187-1-120-reg1-A--Spectrum--054 | 0.26387 | 0.0071761 | 0.0067783 | 0.002356 | 103.3976 | 0.016197 | 0.00043353 | 0.016229 | 6.052 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25652 | 0.0078244 | 0.26387 | 0.0071761 | 0.17375 | 0.010755 | SupCrit | 103.634 | 0.016229 | 1284.9271 | 0.014949 | 144.5661 | 1284.9271 | 353.2878 | 0.90361 | 2.386 | 0.6602 | 1.8072 | Flagged Warnings: | 1388.5611 | 0.0063171 | 284.94 | 1388.5611 | 527.8013 | 0.70739 | 0 | 2.3676 | 0.58005 | 1.4148 | Flagged Warnings: | [15 empty] | 1.2604 | 1.3035 | 0.47063 | 0.012501 | 1.019 | 1.0588 | 0.026884 | 0.0049652 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:58:11 PM | 53891 | [5 empty] | 53891 | 0.99772 | 0.99771 | 0.99772
14 | 187-1-120-reg1-A--Spectrum--055 | 0.25008 | 0.0069465 | 0.0065341 | 0.0023579 | 103.3646 | 0.015693 | 0.00043302 | 0.015723 | 6.052 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.24343 | 0.0076069 | 0.25008 | 0.0069465 | 0.152 | 0.01054 | SupCrit | 103.6009 | 0.015723 | 1284.9421 | 0.014332 | 152.8116 | 1284.9421 | 383.5008 | 0.92709 | 2.5857 | 0.66249 | 1.8542 | Flagged Warnings: | 1388.543 | 0.0064659 | 303.2115 | 1388.543 | 568.3465 | 0.70062 | 0 | 2.5134 | 0.63365 | 1.4012 | Flagged Warnings: | [15 empty] | 1.0485 | 1.2186 | 0.089941 | 0.012134 | 1.0289 | 1.0429 | 0.040518 | 0.0046213 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:04:11 PM | 54251 | [5 empty] | 54251 | 0.99772 | 0.99771 | 0.99772
15 | 187-1-120-reg2-A--Spectrum--060 | 0.28423 | 0.0045265 | 0.0038665 | 0.0023536 | 103.4461 | 0.0091683 | 0.00043284 | 0.009179 | 6.056 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27573 | 0.0058797 | 0.28423 | 0.0045265 | 0.20523 | 0.0061713 | SupCrit | 103.6827 | 0.009179 | 1284.7885 | 0.0087048 | 307.5592 | 1284.7885 | 749.243 | 0.90314 | 2.9662 | 0.65377 | 1.8063 | Flagged Warnings: | 1388.4712 | 0.0029122 | 611.6817 | 1388.4712 | 1124.6776 | 0.65971 | 0 | 2.2786 | 0.73308 | 1.3194 | Flagged Warnings: |  |  |  | 1409.8183 | 138.1272 | 1.2791 | [9 empty] | 1.1245 | 1.2046 | 0.22489 | 0.0058729 | 1.1114 | 1.0827 | 0.14699 | 0.002157 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:15:07 PM | 54907 | [5 empty] | 54907 | 0.99772 | 0.99771 | 0.99772
16 | 187-1-121-A--Spectrum--068 | 0.60816 | 0.0031543 | 0.0020791 | 0.0023722 | 104.1623 | 0.0042528 | 0.00043543 | 0.0042401 | 6.062 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55951 | 0.0078025 | 0.60816 | 0.0031543 | 0.61185 | 0.0026527 | SupCrit | 104.4004 | 0.0042401 | 1283.2108 | 0.0036225 | 954.202 | 1283.2108 | 2962.0294 | 1.1033 | 3.7544 | 0.75779 | 2.2066 | Flagged Warnings: | 1387.6113 | 0.0022037 | 1983.5836 | 1387.6113 | 4793.0014 | 0.85084 | 0 | 5.4328 | 0.77792 | 1.7017 | Flagged Warnings: | 1263.256 | 478.7296 | 3.2018 | 1408.9823 | 669.2304 | 2.2586 | [9 empty] | 1.0664 | 1.1414 | 0.14641 | 0.0023125 | 1.0857 | 1.0614 | 0.14586 | 0.00085788 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 3:36:52 PM | 56212 | [5 empty] | 56212 | 0.99772 | 0.99771 | 0.99772
17 | 187-1-121-B--Spectrum--070 | 0.62027 | 0.0027691 | 0.0014245 | 0.0023746 | 104.187 | 0.0028963 | 0.00043557 | 0.00287 | 6.065 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5693 | 0.007822 | 0.62027 | 0.0027691 | 0.62392 | 0.0021545 | SupCrit | 104.4252 | 0.00287 | 1283.1293 | 0.0023154 | 1463.2448 | 1283.1293 | 4193.7896 | 1.013 | 4.652 | 0.77056 | 2.0259 | Flagged Warnings: | 1387.5545 | 0.0016958 | 2948.2571 | 1387.5545 | 6882.4554 | 0.81553 | 0 | 6.8258 | 0.7961 | 1.6311 | Flagged Warnings: | 1263.0393 | 668.6387 | 3.0317 | 1408.9691 | 898.9024 | 2.2268 | 1369.7504 | 117.3626 | 0.40741 | [6 empty] | 1.0251 | 1.0428 | 0.050902 | 0.0013845 | 1.0186 | 1.0029 | 0.03033 | 0.00055323 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 3:42:31 PM | 56551 | [5 empty] | 56551 | 0.99772 | 0.99772 | 0.99772
18 | 187-1-121-C--Spectrum--072 | 0.6642 | 0.0027808 | 0.0014309 | 0.0023843 | 104.2754 | 0.0028461 | 0.00043602 | 0.0028189 | 6.067 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.60431 | 0.008245 | 0.6642 | 0.0027808 | 0.66603 | 0.0020955 | SupCrit | 104.5137 | 0.0028189 | 1282.9534 | 0.0022478 | 1231.0583 | 1282.9535 | 3447.3051 | 0.98174 | 3.532 | 0.78907 | 1.9635 | Flagged Warnings: | 1387.4672 | 0.001701 | 2446.5661 | 1387.4672 | 5756.7094 | 0.81744 | 0 | 5.7301 | 0.80909 | 1.6349 | Flagged Warnings: | 1262.8364 | 528.9957 | 2.9396 | 1408.7995 | 777.4251 | 2.4464 | 1369.7623 | 94.3512 | 0.4084 | [6 empty] | 1.0278 | 1.0292 | 0.054541 | 0.001595 | 1.0186 | 1.022 | 0.030338 | 0.00066824 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 3:48:06 PM | 56886 | [5 empty] | 56886 | 0.99772 | 0.99772 | 0.99772
19 | 187-1-121-C--Spectrum--073 | 0.66101 | 0.0028116 | 0.0014912 | 0.0023836 | 104.269 | 0.0029707 | 0.00043614 | 0.0029452 | 6.065 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.60179 | 0.0082211 | 0.66101 | 0.0028116 | 0.66306 | 0.0021361 | SupCrit | 104.5073 | 0.0029452 | 1282.9575 | 0.002287 | 1324.1351 | 1282.9576 | 3758.6416 | 0.98737 | 3.989 | 0.80719 | 1.9747 | Flagged Warnings: | 1387.4649 | 0.0018557 | 2625.4555 | 1387.4649 | 6215.86 | 0.82559 | 0 | 6.2414 | 0.80051 | 1.6512 | Flagged Warnings: | 1262.7873 | 569.6925 | 2.9571 | 1408.7281 | 840.3291 | 2.4746 | 1369.763 | 106.3585 | 0.41248 | [6 empty] | 1.0363 | 1.0327 | 0.071747 | 0.0014913 | 1.0266 | 1.0293 | 0.043986 | 0.00062891 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 3:53:34 PM | 57214 | [5 empty] | 57214 | 0.99772 | 0.99772 | 0.99772
20 | 187-1-121-C--Spectrum--074 | 0.65878 | 0.0029162 | 0.0016808 | 0.0023831 | 104.2646 | 0.0033521 | 0.00043631 | 0.0033312 | 6.067 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.60003 | 0.0082226 | 0.65878 | 0.0029162 | 0.66097 | 0.0022592 | SupCrit | 104.5028 | 0.0033312 | 1282.9565 | 0.0024457 | 1375.8163 | 1282.9566 | 3868.5823 | 0.97865 | 4.5206 | 0.80592 | 1.9573 | Flagged Warnings: | 1387.4594 | 0.0022617 | 2746.4757 | 1387.4594 | 6451.3202 | 0.81165 | 0 | 7.6295 | 0.82139 | 1.6233 | Flagged Warnings: | 1262.8054 | 611.5883 | 2.9313 | 1408.8269 | 886.5897 | 2.4336 | [9 empty] | 1.0017 | 1.0293 | 0.0033573 | 0.0014226 | 1.0377 | 1.0433 | 0.061257 | 0.00059105 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 3:58:46 PM | 57526 | [5 empty] | 57526 | 0.99772 | 0.99772 | 0.99772
21 | 187-1-121-D--Spectrum--075 | 0.60763 | 0.0047472 | 0.0041121 | 0.0023721 | 104.1612 | 0.0084136 | 0.00043612 | 0.0084215 | 6.067 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55908 | 0.0083111 | 0.60763 | 0.0047472 | 0.61132 | 0.0044465 | SupCrit | 104.3992 | 0.0084215 | 1283.2025 | 0.0080467 | 369.8936 | 1283.2025 | 1053.4712 | 1.0243 | 3.0123 | 0.72699 | 2.0486 | Flagged Warnings: | 1387.6017 | 0.0024843 | 759.7628 | 1387.6017 | 1736.2903 | 0.80545 | 0 | 2.2238 | 0.77544 | 1.6109 | Flagged Warnings: |  |  |  | 1409.0394 | 207.7979 | 2.0497 | [9 empty] | 1.018 | 1.0642 | 0.036881 | 0.0055383 | 1.0294 | 1.0074 | 0.04728 | 0.0021203 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:04:12 PM | 57852 | [5 empty] | 57852 | 0.99772 | 0.99772 | 0.99773
22 | 187-1-121-E--Spectrum--078 | 0.63346 | 0.0043758 | 0.0036736 | 0.0023774 | 104.2137 | 0.0074201 | 0.00043667 | 0.0074241 | 6.064 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57989 | 0.0083983 | 0.63346 | 0.0043758 | 0.63684 | 0.0039176 | SupCrit | 104.4518 | 0.0074241 | 1283.0762 | 0.0070454 | 617.7198 | 1283.0762 | 1775.5236 | 1.0251 | 4.5884 | 0.74679 | 2.0502 | Flagged Warnings: | 1387.528 | 0.0023409 | 1270.8239 | 1387.528 | 2990.1017 | 0.82578 | 0 | 3.5603 | 0.78558 | 1.6516 | Flagged Warnings: |  |  |  | 1408.8603 | 406.1685 | 2.4317 | [9 empty] | 1.0698 | 1.0966 | 0.1432 | 0.003319 | 1.0266 | 1.0116 | 0.043906 | 0.0012996 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:10:13 PM | 58213 | [5 empty] | 58213 | 0.99772 | 0.99772 | 0.99773
23 | 187-1-121-F--Spectrum--080 | 0.67397 | 0.0044994 | 0.0038143 | 0.0023867 | 104.2947 | 0.0075493 | 0.00043738 | 0.0075538 | 6.063 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.61198 | 0.0087876 | 0.67397 | 0.0044994 | 0.67504 | 0.0038511 | SupCrit | 104.5329 | 0.0075538 | 1282.8899 | 0.0071258 | 471.2367 | 1282.8899 | 1313.2384 | 0.97515 | 3.3741 | 0.79124 | 1.9503 | Flagged Warnings: | 1387.4228 | 0.0025067 | 931.7088 | 1387.4227 | 2206.7887 | 0.82478 | 0 | 2.6464 | 0.80363 | 1.6496 | Flagged Warnings: |  |  |  | 1408.8219 | 288.2441 | 2.4544 | [9 empty] | 1.0515 | 1.0725 | 0.10046 | 0.0041387 | 1.0474 | 1.0474 | 0.078227 | 0.0017705 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:15:52 PM | 58552 | [5 empty] | 58552 | 0.99772 | 0.99772 | 0.99773
24 | 187-1-121-G--Spectrum--083 | 0.62945 | 0.0046121 | 0.0039527 | 0.0023765 | 104.2056 | 0.0079999 | 0.00043781 | 0.0080061 | 6.059 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57668 | 0.0084449 | 0.62945 | 0.0046121 | 0.63294 | 0.0041857 | SupCrit | 104.4435 | 0.0080061 | 1283.1125 | 0.0076184 | 488.0947 | 1283.1125 | 1440.636 | 1.0428 | 3.8064 | 0.76887 | 2.0856 | Flagged Warnings: | 1387.556 | 0.0024611 | 995.9428 | 1387.556 | 2349.3144 | 0.83205 | 0 | 2.9597 | 0.77379 | 1.6641 | Flagged Warnings: |  |  |  | 1408.8769 | 309.6255 | 2.2229 | [9 empty] | 1.1389 | 1.1506 | 0.28967 | 0.0042729 | 1.0223 | 1.0159 | 0.03713 | 0.0016709 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:25:55 PM | 59155 | 1093.2858 | 1052.0057 | 63.7355 | Spline | 0.27758 | 59155 | 0.99772 | 0.99772 | 0.99773
25 | 187-1-121-H--Spectrum--085 | 0.58699 | 0.0052245 | 0.004657 | 0.0023681 | 104.1188 | 0.0096265 | 0.00043802 | 0.0096385 | 6.058 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54226 | 0.0083343 | 0.58699 | 0.0052245 | 0.59027 | 0.0050903 | SupCrit | 104.3564 | 0.0096385 | 1283.298 | 0.0091282 | 387.0385 | 1283.298 | 1186.111 | 1.0954 | 3.5096 | 0.74154 | 2.1908 | Flagged Warnings: | 1387.6544 | 0.0030945 | 827.1766 | 1387.6544 | 1977.0737 | 0.8362 | 0 | 3.0853 | 0.79298 | 1.6724 | Flagged Warnings: |  |  |  | 1408.9255 | 282.4525 | 2.3896 | [9 empty] | 1.1161 | 1.0628 | 0.25442 | 0.0056605 | 1.0159 | 1.0464 | 0.026599 | 0.0020218 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:32:05 PM | 59525 | [5 empty] | 59525 | 0.99772 | 0.99772 | 0.99773
26 | 187-1-121-I--Spectrum--088 | 0.61569 | 0.0027468 | 0.0013823 | 0.0023737 | 104.1777 | 0.0028169 | 0.00043924 | 0.0027888 | 6.047 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.56561 | 0.0077729 | 0.61569 | 0.0027468 | 0.61939 | 0.0021341 | SupCrit | 104.4154 | 0.0027888 | 1283.1485 | 0.0021456 | 1203.4277 | 1283.1486 | 3416.8942 | 1.0051 | 3.2928 | 0.76655 | 2.0102 | Flagged Warnings: | 1387.564 | 0.0017814 | 2393.7864 | 1387.5639 | 5549.4159 | 0.81051 | 0 | 5.7885 | 0.79445 | 1.621 | Flagged Warnings: | 1262.9805 | 521.8697 | 2.9142 | 1408.8672 | 755.5397 | 2.3868 | 1369.7573 | 89.1366 | 0.40492 | [6 empty] | 1.0134 | 1.0261 | 0.026983 | 0.0016704 | 1.025 | 1.0015 | 0.040525 | 0.00067718 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:41:08 PM | 60068 | 1090.4225 | 46.0866 | 66.8943 | Spline | 0.00514 | 60068 | 0.99772 | 0.99772 | 0.99773
27 | 187-1-121-I--Spectrum--089 | 0.62077 | 0.0027614 | 0.0014093 | 0.0023747 | 104.188 | 0.0028647 | 0.00043994 | 0.0028371 | 6.037 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5697 | 0.007825 | 0.62077 | 0.0027614 | 0.62442 | 0.002144 | SupCrit | 104.4257 | 0.0028371 | 1283.1394 | 0.0022513 | 1299.3503 | 1283.1394 | 3676.2301 | 1.0094 | 3.4675 | 0.74834 | 2.0187 | Flagged Warnings: | 1387.5652 | 0.0017266 | 2602.5248 | 1387.5651 | 6076.7008 | 0.82173 | 0 | 5.8872 | 0.77909 | 1.6435 | Flagged Warnings: | 1262.9559 | 564.3703 | 2.9155 | 1408.9453 | 791.5342 | 2.2374 | 1369.7636 | 99.8459 | 0.41048 | [6 empty] | 1.1403 | 1.0885 | 0.28327 | 0.0015537 | 1.0143 | 1.0044 | 0.023526 | 0.00063148 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:46:36 PM | 60396 | [5 empty] | 60396 | 0.99772 | 0.99772 | 0.99773
28 | 187-1-121-J--Spectrum--091 | 0.64772 | 0.0046256 | 0.003966 | 0.0023805 | 104.2424 | 0.0079536 | 0.00044108 | 0.0079595 | 6.036 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.59126 | 0.0086044 | 0.64772 | 0.0046256 | 0.65053 | 0.0041058 | SupCrit | 104.4802 | 0.0079595 | 1283.053 | 0.0074731 | 396.9814 | 1283.053 | 1104.5211 | 1.0026 | 2.932 | 0.72244 | 2.0051 | Flagged Warnings: | 1387.5332 | 0.0027399 | 790.955 | 1387.5332 | 1854.2239 | 0.81932 | 0 | 2.5854 | 0.79528 | 1.6386 | Flagged Warnings: |  |  |  | 1408.842 | 252.7604 | 2.4561 | [9 empty] | 1.0117 | 1.0743 | 0.02355 | 0.0050509 | 1.0082 | 1.04 | 0.013431 | 0.0020717 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:53:33 PM | 60813 | [5 empty] | 60813 | 0.99772 | 0.99772 | 0.99773
29 | 187-1-121-K--Spectrum--093 | 0.58289 | 0.0048221 | 0.004201 | 0.0023674 | 104.1103 | 0.0087016 | 0.0004414 | 0.0087102 | 6.028 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5389 | 0.0081365 | 0.58289 | 0.0048221 | 0.58602 | 0.0046696 | SupCrit | 104.3477 | 0.0087102 | 1283.323 | 0.0083008 | 331.6795 | 1283.323 | 958.5155 | 1.0348 | 2.5362 | 0.73741 | 2.0696 | Flagged Warnings: | 1387.6708 | 0.0026389 | 699.478 | 1387.6707 | 1586.3247 | 0.79617 | 0 | 2.1271 | 0.7846 | 1.5923 | Flagged Warnings: |  |  |  | 1409.2087 | 202.2611 | 2.0278 | [9 empty] | 1.0519 | 1.0659 | 0.10746 | 0.0062396 | 1.0514 | 1.086 | 0.081833 | 0.0022765 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:59:45 PM | 61185 | 1092.4109 | 1581.5601 | 93.229 | Spline | 0.62148 | 61185 | 0.99772 | 0.99772 | 0.99773
30 | 187-1-121-L--Spectrum--095 | 0.59234 | 0.0026957 | 0.001286 | 0.0023691 | 104.1298 | 0.0026513 | 0.00044252 | 0.0026201 | 6.033 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54664 | 0.0075364 | 0.59234 | 0.0026957 | 0.59579 | 0.0021053 | SupCrit | 104.3673 | 0.0026201 | 1283.2771 | 0.0020333 | 1390.6092 | 1283.2772 | 4023.4963 | 1.0402 | 3.6462 | 0.7301 | 2.0804 | Flagged Warnings: | 1387.6445 | 0.0016524 | 2852.8851 | 1387.6445 | 6625.9531 | 0.81453 | 0 | 6.6166 | 0.78713 | 1.6291 | Flagged Warnings: | 1263.2739 | 608.9928 | 2.7222 | 1409.0418 | 859.3144 | 2.1924 | 1369.751 | 109.4356 | 0.40674 | [6 empty] | 1 | 1.0092 | 0 | 0.001496 | 1.0165 | 1.016 | 0.026871 | 0.00057102 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 5:06:27 PM | 61587 | [5 empty] | 61587 | 0.99772 | 0.99772 | 0.99773
31 | 187-1-121-M--Spectrum--097 | 0.58397 | 0.0031537 | 0.0020834 | 0.0023676 | 104.1125 | 0.0043131 | 0.00044356 | 0.0043 | 6.033 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53978 | 0.0075757 | 0.58397 | 0.0031537 | 0.58713 | 0.002717 | SupCrit | 104.3499 | 0.0043 | 1283.3188 | 0.0037003 | 643.9367 | 1283.3188 | 1953.0742 | 1.1045 | 2.4833 | 0.69933 | 2.209 | Flagged Warnings: | 1387.6688 | 0.0021904 | 1336.0886 | 1387.6687 | 3177.8638 | 0.84917 | 0 | 3.4277 | 0.74538 | 1.6983 | Flagged Warnings: | 1263.282 | 279.592 | 2.6418 | 1409.0661 | 417.3983 | 2.1035 | [9 empty] | 1.1645 | 1.1564 | 0.36327 | 0.0034305 | 1.0079 | 1.0341 | 0.013347 | 0.0012711 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 5:13:15 PM | 61995 | [5 empty] | 61995 | 0.99773 | 0.99772 | 0.99773
32 | 187-1-122-A--Spectrum--104 | 0.48002 | 0.003586 | 0.002706 | 0.0023532 | 103.8918 | 0.005892 | 0.00044459 | 0.0058886 | 6.035 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.45231 | 0.0067774 | 0.48002 | 0.003586 | 0.47113 | 0.0036456 | SupCrit | 104.1286 | 0.0058886 | 1283.8227 | 0.0054132 | 564.6265 | 1283.8228 | 1673.3 | 1.1386 | 2.8129 | 0.56609 | 2.2773 | Flagged Warnings: | 1387.9515 | 0.0023179 | 1284.9883 | 1387.9514 | 2834.7398 | 0.78939 | 0 | 3.3504 | 0.73967 | 1.5788 | Flagged Warnings: | 1263.7221 | 195.086 | 1.9638 | 1409.3722 | 321.3816 | 1.6609 | [9 empty] | 1.1685 | 1.1243 | 0.38377 | 0.0040332 | 1.1007 | 1.1044 | 0.15894 | 0.0012286 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:24:14 PM | 62654 | [5 empty] | 62654 | 0.99773 | 0.99772 | 0.99773
33 | 187-1-122-B--Spectrum--106 | 0.55774 | 0.0035888 | 0.002701 | 0.0023631 | 104.0579 | 0.0056644 | 0.00044643 | 0.0056596 | 6.038 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51814 | 0.0074677 | 0.55774 | 0.0035888 | 0.55939 | 0.0033447 | SupCrit | 104.2952 | 0.0056596 | 1283.4453 | 0.0052252 | 830.5135 | 1283.4454 | 2459.3698 | 1.0935 | 4.5309 | 0.66536 | 2.1871 | Flagged Warnings: | 1387.7406 | 0.0021745 | 1778.902 | 1387.7405 | 4054.6744 | 0.80958 | 0 | 4.4433 | 0.75713 | 1.6192 | Flagged Warnings: | 1263.033 | 336.2794 | 2.7362 | 1409.1487 | 430.5943 | 1.7613 | [9 empty] | 1.0327 | 1.0258 | 0.071429 | 0.0026334 | 1.0789 | 1.0756 | 0.12774 | 0.0009102 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:30:01 PM | 63001 | [5 empty] | 63001 | 0.99772 | 0.99772 | 0.99773
34 | 187-1-122-C--Spectrum--107 | 0.58378 | 0.0026679 | 0.0012297 | 0.0023676 | 104.1121 | 0.0025461 | 0.00044784 | 0.0025121 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53963 | 0.0074473 | 0.58378 | 0.0026679 | 0.58694 | 0.0020808 | SupCrit | 104.3496 | 0.0025121 | 1283.3361 | 0.0020598 | 1896.5936 | 1283.3361 | 5538.8306 | 1.0635 | 4.9016 | 0.69914 | 2.1271 | Flagged Warnings: | 1387.6858 | 0.0014381 | 3925.6761 | 1387.6857 | 9013.8908 | 0.81175 | 0 | 7.7354 | 0.76842 | 1.6235 | Flagged Warnings: | 1263.1997 | 791.1014 | 2.6686 | 1409.0398 | 1125.429 | 2.1414 | 1370.0655 | 138.8537 | 0.40528 | [6 empty] | 1.0175 | 1.0034 | 0.03714 | 0.0011215 | 1.0103 | 1.0088 | 0.016668 | 0.00041356 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:35:48 PM | 63348 | [5 empty] | 63348 | 0.99772 | 0.99772 | 0.99773
35 | 187-1-122-D--Spectrum--109 | 0.60221 | 0.0027763 | 0.0014444 | 0.002371 | 104.1501 | 0.0029633 | 0.00044945 | 0.0029357 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55469 | 0.0076506 | 0.60221 | 0.0027763 | 0.60586 | 0.0021953 | SupCrit | 104.3877 | 0.0029357 | 1283.2487 | 0.0023505 | 2180.7822 | 1283.2487 | 6409.9101 | 1.0442 | 7.241 | 0.75865 | 2.0884 | Flagged Warnings: | 1387.6364 | 0.0017588 | 4536.7977 | 1387.6364 | 10555.1993 | 0.80979 | 0 | 11.0778 | 0.80474 | 1.6196 | Flagged Warnings: | 1263.1879 | 1042.006 | 3.1248 | 1408.9548 | 1424.7288 | 2.401 | 1369.806 | 181.5195 | 0.40442 | [6 empty] | 1.0032 | 1.0137 | 0.0067152 | 0.00095765 | 1.0334 | 1.0015 | 0.054099 | 0.00035699 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:42:33 PM | 63753 | [5 empty] | 63753 | 0.99772 | 0.99772 | 0.99773
36 | 187-1-122-E--Spectrum--111 | 0.57187 | 0.0044641 | 0.0037859 | 0.0023655 | 104.0874 | 0.0078846 | 0.00045096 | 0.0078897 | 6.041 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52983 | 0.007905 | 0.57187 | 0.0044641 | 0.57446 | 0.0043249 | SupCrit | 104.3249 | 0.0078897 | 1283.3988 | 0.0075487 | 525.2034 | 1283.3988 | 1552.6936 | 1.0705 | 4.3095 | 0.71081 | 2.141 | Flagged Warnings: | 1387.7237 | 0.0022943 | 1135.9562 | 1387.7237 | 2612.7159 | 0.8045 | 0 | 3.2067 | 0.79314 | 1.609 | Flagged Warnings: |  |  |  | 1409.1704 | 327.1496 | 2.183 | [9 empty] | 1.035 | 1.0136 | 0.075002 | 0.0040765 | 1.0379 | 1.0643 | 0.060973 | 0.0014164 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 5:50:28 PM | 64228 | 1092.0132 | 784.6517 | 49.9848 | Spline | 0.18837 | 64228 | 0.99772 | 0.99772 | 0.99773
37 | 187-1-122-F--Spectrum--114 | 0.59481 | 0.0029544 | 0.0017646 | 0.0023696 | 104.1349 | 0.0036335 | 0.00045323 | 0.0036134 | 6.046 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54866 | 0.0076243 | 0.59481 | 0.0029544 | 0.59832 | 0.0024387 | SupCrit | 104.3726 | 0.0036134 | 1283.2987 | 0.002976 | 917.0954 | 1283.2987 | 2640.4015 | 1.0697 | 2.6423 | 0.65013 | 2.1394 | Flagged Warnings: | 1387.6714 | 0.0020493 | 1958.0266 | 1387.6713 | 4474.5729 | 0.81333 | 0 | 4.7172 | 0.75255 | 1.6267 | Flagged Warnings: | 1263.1495 | 323.7329 | 2.4605 | 1409.0941 | 514.1207 | 1.9944 | [9 empty] | 1.1109 | 1.0859 | 0.23731 | 0.0023328 | 1.0041 | 1.0266 | 0.006653 | 0.00083076 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 5:59:04 PM | 64744 | [5 empty] | 64744 | 0.99772 | 0.99772 | 0.99773
38 | 187-1-123-reg1-A--Spectrum--122 | 0.21221 | 0.0052891 | 0.0047311 | 0.0023644 | 103.273 | 0.011514 | 0.0004524 | 0.011531 | 6.045 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20715 | 0.006169 | 0.21221 | 0.0052891 | 0.090529 | 0.008056 | SupCrit | 103.5089 | 0.011531 | 1285.2573 | 0.010085 | 171.4981 | 1285.2573 | 361.8918 | 0.79005 | 2.0841 | 0.62956 | 1.5801 | Flagged Warnings: | 1388.7662 | 0.0055916 | 341.7184 | 1388.7662 | 565.1201 | 0.61253 | 0 | 2.7539 | 0.65607 | 1.2251 | Flagged Warnings: | [15 empty] | 1.0901 | 1.1511 | 0.14238 | 0.0092135 | 1.0638 | 1.1302 | 0.078195 | 0.003585 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:10:37 PM | 65437 | [5 empty] | 65437 | 0.99772 | 0.99772 | 0.99773
46 | test--Spectrum--123 | 0.09822 | 0.014239 | 0.013722 | 0.0038039 | 102.9981 | 0.034629 | 0.00045275 | 0.034706 | 45.972 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.09822 | 0.014239 | 0.10113 | 0.013992 | -0.10483 | 0.025698 | SupCrit | 103.2335 | 0.034706 | 1285.8486 | 0.029533 | 53.3884 | 1285.8486 | 83.219 | 0.60726 | 2.1142 | 0.52928 | 1.2145 | Flagged Warnings: | 1389.0821 | 0.018228 | 89.5641 | 1389.0821 | 106.4314 | 0.50308 | 0 | 2.3299 | 0.30624 | 1.0062 | Flagged Warnings: | [15 empty] | 1.0368 | 1.0571 | 0.044745 | 0.022749 | 1.0133 | 1 | 0.013371 | 0.011234 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '7s'] | 6:16:28 PM | 65788 | [5 empty] | 65788 | 0.99772 | 0.99772 | 0.99772
47 | test--Spectrum--124 | 0.18026 | 0.0077278 | 0.007355 | 0.0023712 | 103.1949 | 0.018083 | 0.00045369 | 0.018119 | 45.987 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17618 | 0.0082051 | 0.18026 | 0.0077278 | 0.036625 | 0.012758 | SupCrit | 103.4307 | 0.018119 | 1285.3792 | 0.016811 | 147.2727 | 1285.3792 | 293.6608 | 0.73412 | 3.412 | 0.67071 | 1.4682 | Flagged Warnings: | 1388.8099 | 0.0067602 | 274.7729 | 1388.8098 | 451.8512 | 0.59252 | 0 | 2.9356 | 0.72277 | 1.185 | Flagged Warnings: |  |  |  | 1410.2139 | 59.6542 | 0.59499 | [9 empty] | 1.1535 | 1.0437 | 0.22536 | 0.0099696 | 1.0842 | 1.1396 | 0.099828 | 0.0043128 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:16:44 PM | 65804 | [5 empty] | 65804 | 0.99772 | 0.99772 | 0.99772
48 | test--Spectrum--126 | 0.10326 | 0.0073527 | 0.0062903 | 0.0038073 | 103.0109 | 0.015875 | 0.00045304 | 0.015905 | 45.984 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10326 | 0.0073527 | 0.1062 | 0.0067642 | -0.095435 | 0.011861 | SupCrit | 103.2462 | 0.015905 | 1285.6792 | 0.014509 | 171.8739 | 1285.6792 | 331.0118 | 0.70447 | 3.5344 | 0.68644 | 1.4089 | Flagged Warnings: | 1388.9255 | 0.0065155 | 297.8224 | 1388.9254 | 473.1989 | 0.58669 | 0 | 2.5164 | 0.66361 | 1.1734 | Flagged Warnings: |  |  |  | 1410.2806 | 78.0637 | 0.88768 | [9 empty] | 1.0525 | 1.086 | 0.073969 | 0.0081975 | 1.1858 | 1.1537 | 0.21806 | 0.0039399 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:17:18 PM | 65838 | 1092.8882 | 756.3959 | 44.6215 | Spline | 0.94054 | 65838 | 0.99772 | 0.99772 | 0.99772
49 | test--Spectrum--127 | 0.20172 | 0.015971 | 0.015795 | 0.0023665 | 103.2475 | 0.038569 | 0.00045421 | 0.038655 | 45.981 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19701 | 0.015822 | 0.20172 | 0.015971 | 0.073026 | 0.026551 | SupCrit | 103.4834 | 0.038655 | 1285.2689 | 0.034463 | 58.3854 | 1285.2689 | 140.1242 | 0.8457 | 2.1736 | 0.77499 | 1.6914 | Flagged Warnings: | 1388.7523 | 0.017506 | 153.6122 | 1388.7523 | 204.8811 | 0.42455 | 0 | 2.3335 | 1 | 0.8491 | Flagged Warnings: | [15 empty] | 1.1617 | 1.0794 | 0.27344 | 0.02897 | 1.3286 | 1.3717 | 0.27903 | 0.0055275 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:17:47 PM | 65867 | [5 empty] | 65867 | 0.99772 | 0.99772 | 0.99772
50 | test--Spectrum--128 | 0.19178 | 0.016381 | 0.016209 | 0.0023686 | 103.2232 | 0.039707 | 0.00045421 | 0.039795 | 45.978 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18738 | 0.016246 | 0.19178 | 0.016381 | 0.056274 | 0.027537 | SupCrit | 103.459 | 0.039795 | 1285.4057 | 0.034031 | 49.7106 | 1285.4057 | 80.686 | 0.52786 | 2.1577 | 0.9544 | 1.0557 | Flagged Warnings: | 1388.8647 | 0.020629 | 82.1383 | 1388.8647 | 132.53 | 0.52549 | 0 | 2.226 | 0.95131 | 1.051 | Flagged Warnings: | [15 empty] | 1.2749 | 1.3121 | 0.29024 | 0.021237 | 1.0669 | 1.0616 | 0.07026 | 0.012795 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 5 | 1 | 100 | ['0h', '0m', '6s'] | 6:18:12 PM | 65892 | [5 empty] | 65892 | 0.99772 | 0.99772 | 0.99772
39 | 187-1-123-reg2-A--Spectrum--130 | 0.23681 | 0.0038122 | 0.0029939 | 0.00236 | 103.3327 | 0.0072246 | 0.00045512 | 0.0072267 | 6.022 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23077 | 0.0051626 | 0.23681 | 0.0038122 | 0.13076 | 0.005161 | SupCrit | 103.5688 | 0.0072267 | 1285.0925 | 0.0067415 | 321.2748 | 1285.0925 | 686.3218 | 0.76758 | 2.2959 | 0.72919 | 1.5352 | Flagged Warnings: | 1388.6614 | 0.0026032 | 601.2518 | 1388.6613 | 1016.9911 | 0.62232 | 0 | 1.8672 | 0.67268 | 1.2446 | Flagged Warnings: |  |  |  | 1410.0765 | 112.1057 | 1.0555 | [9 empty] | 1.0424 | 1.1289 | 0.065107 | 0.0047783 | 1.112 | 1.0214 | 0.13946 | 0.0020701 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:19:44 PM | 65984 | [5 empty] | 65984 | 0.99772 | 0.99772 | 0.99772
40 | 187-1-123-reg2-B--Spectrum--132 | 0.23679 | 0.0038433 | 0.0030334 | 0.00236 | 103.3326 | 0.0073201 | 0.00045683 | 0.0073225 | 6.023 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23075 | 0.0051836 | 0.23679 | 0.0038433 | 0.13073 | 0.0052209 | SupCrit | 103.5689 | 0.0073225 | 1285.1135 | 0.0068515 | 322.0578 | 1285.1135 | 673.8069 | 0.7488 | 2.5154 | 0.73851 | 1.4976 | Flagged Warnings: | 1388.6824 | 0.002584 | 610.659 | 1388.6824 | 1025.2347 | 0.61386 | 0 | 2.2533 | 0.68785 | 1.2277 | Flagged Warnings: |  |  |  | 1410.0559 | 127.2377 | 1.092 | [9 empty] | 1.0276 | 1.0564 | 0.041313 | 0.0046501 | 1.1605 | 1.1125 | 0.197 | 0.0020105 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:25:49 PM | 66349 | [5 empty] | 66349 | 0.99772 | 0.99771 | 0.99772
41 | 187-1-123-reg2-C--Spectrum--134 | 0.20856 | 0.006476 | 0.0060287 | 0.0023651 | 103.2641 | 0.014689 | 0.00045818 | 0.014716 | 6.024 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20363 | 0.0071385 | 0.20856 | 0.006476 | 0.084458 | 0.010202 | SupCrit | 103.5004 | 0.014716 | 1285.2818 | 0.013715 | 110.4664 | 1285.2818 | 220.815 | 0.73483 | 1.6342 | 0.6744 | 1.4697 | Flagged Warnings: | 1388.7822 | 0.0053345 | 212.8943 | 1388.7822 | 328.5364 | 0.55488 | 0 | 1.6458 | 0.72752 | 1.1098 | Flagged Warnings: | [15 empty] | 1.0791 | 1.1194 | 0.1162 | 0.013304 | 1.0855 | 1.0532 | 0.094851 | 0.0052127 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:31:31 PM | 66691 | 1093.1268 | 1297.1929 | 76.867 | Spline | 2.3613 | 66691 | 0.99772 | 0.99771 | 0.99772
42 | 187-1-123-reg3-A--Spectrum--137 | 0.19537 | 0.0042776 | 0.0035624 | 0.0023678 | 103.232 | 0.0087174 | 0.00046049 | 0.0087252 | 6.026 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19087 | 0.0053352 | 0.19537 | 0.0042776 | 0.062353 | 0.0062932 | SupCrit | 103.4684 | 0.0087252 | 1285.3386 | 0.0076572 | 212.8062 | 1285.3386 | 399.5589 | 0.68386 | 2.1417 | 0.69676 | 1.3677 | Flagged Warnings: | 1388.807 | 0.0041828 | 393.2081 | 1388.807 | 590.5137 | 0.55183 | 0 | 2.1947 | 0.67546 | 1.1037 | Flagged Warnings: | [15 empty] | 1.0095 | 1.0353 | 0.012995 | 0.006427 | 1.0027 | 1.019 | 0.0030237 | 0.0028068 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 6:39:43 PM | 67183 | [5 empty] | 67183 | 0.99771 | 0.99771 | 0.99772
43 | 187-1-123-reg3-B--Spectrum--139 | 0.20587 | 0.0033969 | 0.0024378 | 0.0023656 | 103.2576 | 0.0059451 | 0.00046235 | 0.0059406 | 6.024 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20103 | 0.0047448 | 0.20587 | 0.0033969 | 0.079979 | 0.004467 | SupCrit | 103.4943 | 0.0059406 | 1285.2718 | 0.0055104 | 398.468 | 1285.2718 | 776.1601 | 0.6988 | 2.5825 | 0.73326 | 1.3976 | Flagged Warnings: | 1388.7661 | 0.0022196 | 734.6388 | 1388.7661 | 1145.031 | 0.57789 | 0 | 2.2705 | 0.65372 | 1.1558 | Flagged Warnings: | 1262.9146 | 453.811 | 0.3758 | 1410.2088 | 111.6437 | 0.82377 | [9 empty] | 1.0975 | 1.1184 | 0.13621 | 0.0035074 | 1.0873 | 1.0438 | 0.10093 | 0.0015733 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 6:45:20 PM | 67520 | [5 empty] | 67520 | 0.99771 | 0.99771 | 0.99772
51 | test--Spectrum--142 | 0.30842 | 0.010492 | 0.010226 | 0.0023513 | 103.5032 | 0.024018 | 0.00046555 | 0.024068 | 45.986 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29835 | 0.010663 | 0.30842 | 0.010492 | 0.24166 | 0.015284 | SupCrit | 103.7407 | 0.024068 | 1284.6406 | 0.020977 | 119.1284 | 1284.6406 | 286.4278 | 0.80594 | 3.3102 | 0.88845 | 1.6119 | Flagged Warnings: | 1388.3813 | 0.0118 | 204.8434 | 1388.3813 | 411.3462 | 0.71115 | 0 | 2.7914 | 0.76334 | 1.4223 | Flagged Warnings: | [15 empty] | 1.2339 | 1.15 | 0.377 | 0.013531 | 1.1092 | 1.0346 | 0.15529 | 0.0069434 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 5 | 1 | 50 | ['0h', '0m', '7s'] | 6:51:54 PM | 67914 | [5 empty] | 67914 | 0.99771 | 0.99771 | 0.99772
44 | 187-1-123-reg4-A--Spectrum--144 | 0.34259 | 0.0080169 | 0.007665 | 0.0023492 | 103.5829 | 0.017753 | 0.00046615 | 0.017787 | 6.014 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32993 | 0.0086846 | 0.34259 | 0.0080169 | 0.29137 | 0.011058 | SupCrit | 103.8206 | 0.017787 | 1284.5075 | 0.01668 | 114.4731 | 1284.5075 | 314.5175 | 0.97171 | 1.9842 | 0.76647 | 1.9434 | Flagged Warnings: | 1388.3281 | 0.0061785 | 245.1697 | 1388.3281 | 486.0818 | 0.69656 | 0 | 2.1274 | 0.78193 | 1.3931 | Flagged Warnings: | [15 empty] | 1.2418 | 1.3457 | 0.46988 | 0.016977 | 1.2 | 1.2018 | 0.27862 | 0.0056822 | PseudoVoigtModel | PseudoVoigtModel | No | January 19, 2024 | January | 19 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 6:52:38 PM | 67958 | [5 empty] | 67958 | 0.99771 | 0.99771 | 0.99772
45 | FO1--Spectrum--146 | 0.096908 | 0.0053524 | 0.0037662 | 0.0038032 | 102.9948 | 0.0095049 | 0.00046646 | 0.0095152 | 11.955 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.096908 | 0.0053524 | 0.099815 | 0.0044765 | -0.10728 | 0.0072992 | SupCrit | 103.2315 | 0.0095152 | 1285.9572 | 0.0076707 | 147.0506 | 1285.9572 | 199.1582 | 0.50003 | 1.3935 | 0.66389 | 1.0001 | Flagged Warnings: | 1389.1887 | 0.0056303 | 261.7316 | 1389.1887 | 302.9579 | 0.46013 | 0 | 1.5223 | 0.47687 | 0.92026 | Flagged Warnings: | [15 empty] | 1.2161 | 1.2244 | 0.21614 | 0.0068007 | 1.1705 | 1.2092 | 0.15686 | 0.0035161 | PseudoVoigtModel | PseudoVoigtModel | Yes | January 19, 2024 | January | 19 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 7:01:36 PM | 68496 | [5 empty] | 68496 | 0.99771 | 0.9977 | 0.99771