## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
35 | FG04-A1-4-start-rep1 | 0.69888 | 0.0048234 | 0.0041879 | 0.0023929 | 104.3437 | 0.0081856 | 0.00080577 | 0.008162 | 5.997 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.6314 | 0.0091024 | 0.69888 | 0.0048234 | 0.69746 | 0.0040395 | SupCrit | 104.5509 | 0.008162 | 1282.8316 | 0.0079317 | 556.0278 | 1282.8316 | 1605.3525 | 0.9947 | 5.0534 | 0.82687 | 1.9894 | Flagged Warnings: | 1387.3824 | 0.0019255 | 1127.9472 | 1387.3825 | 2588.94 | 0.8149 | 0 | 2.3368 | 0.77098 | 1.6298 | Flagged Warnings: |  |  |  | 1408.7348 | 313.3494 | 2.1423 |  |  |  | 1380.4057 | 229.6455 | 13.172 |  |  |  | 1.0187 | 1.0107 | 0.037154 | 0.0035779 | 1.0504 | 1.0472 | 0.082174 | 0.0014449 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 25, 2024 | November | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:00:01 PM | 43201 | [11 empty] | 43201 | 0.99802 | 0.99801 | 0.99803
36 | FG04-A1-4-start-rep2 | 0.6956 | 0.0046486 | 0.0039859 | 0.002392 | 104.3373 | 0.0078036 | 0.00080388 | 0.0077775 | 6.008 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62886 | 0.0090197 | 0.6956 | 0.0046486 | 0.69456 | 0.0038916 | SupCrit | 104.5448 | 0.0077775 | 1282.8294 | 0.0074842 | 518.1907 | 1282.8294 | 1475.8719 | 1.0078 | 4.2725 | 0.7652 | 2.0157 | Flagged Warnings: | 1387.3742 | 0.002116 | 1022.7228 | 1387.3741 | 2391.0528 | 0.83989 | 0 | 2.3298 | 0.74845 | 1.6798 | Flagged Warnings: |  |  |  | 1408.8309 | 263.9503 | 2.0318 |  |  |  | 1386.0509 | 347.5522 | 17.8536 |  |  |  | 1.0166 | 1.0179 | 0.033539 | 0.0038898 | 1.0385 | 1.0418 | 0.064607 | 0.0016425 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 25, 2024 | November | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:04:06 PM | 43446 | [11 empty] | 43446 | 0.99802 | 0.99801 | 0.99802
37 | FG04-A1-4-start-rep3 | 0.69854 | 0.0045437 | 0.0038626 | 0.0023928 | 104.3431 | 0.0075509 | 0.00080213 | 0.0075232 | 6.022 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63114 | 0.0090128 | 0.69854 | 0.0045437 | 0.69716 | 0.0037789 | SupCrit | 104.5508 | 0.0075232 | 1282.8245 | 0.0072972 | 648.0186 | 1282.8245 | 1872.2148 | 0.99408 | 5.6266 | 0.82983 | 1.9882 | Flagged Warnings: | 1387.3752 | 0.00183 | 1292.1169 | 1387.3753 | 2996.7823 | 0.82289 | 0 | 2.4794 | 0.77097 | 1.6458 | Flagged Warnings: |  |  |  | 1408.775 | 360.766 | 2.1883 |  |  |  | 1381.8408 | 235.7984 | 14.3845 |  |  |  | 1.0017 | 1.0432 | 0.0033698 | 0.0030681 | 1.0758 | 1.0494 | 0.12473 | 0.0012737 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 25, 2024 | November | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:08:12 PM | 43692 | [11 empty] | 43692 | 0.99801 | 0.99801 | 0.99802
23 | KA961_c001_a1_FIA | 0.15428 | 0.0040604 | 0.0010816 | 0.0039137 | 103.1396 | 0.0027297 | 0.00077674 | 0.0026221 | 6.011 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15428 | 0.0040604 | 0.15786 | 0.0026201 | -0.0022673 | 0.0026987 | SupCrit | 103.3473 | 0.0026221 | 1285.5367 | 0.0023155 | 723.1814 | 1285.5368 | 1285.8081 | 0.68682 | 1.8685 | 0.55137 | 1.3736 | Flagged Warnings: | 1388.8841 | 0.0012304 | 1369.5511 | 1388.8841 | 1956.0473 | 0.53869 | 0 | 2.2513 | 0.61145 | 1.0774 | Flagged Warnings: | 1265.2997 | 148.409 | 0.89308 | 1410.2386 | 222.6819 | 0.72661 | [9 empty] | 1.0682 | 1.0661 | 0.093657 | 0.0018994 | 1.2258 | 1.2222 | 0.24328 | 0.00078666 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:52:38 PM | 46358 | 1151.0082 | 122.818 | 77.0105 | Spline | [5 empty] | 0.037885 | 0.016106 | 46358 | 0.99799 | 0.99798 | 0.998
0 | KA961_c002b_a1_FIA_r1 | 0.10758 | 0.013239 | 0.012679 | 0.0038112 | 103.0218 | 0.031998 | 0.0007725 | 0.032054 | 6.004 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10758 | 0.013239 | 0.11055 | 0.012989 | -0.087403 | 0.023595 | SupCrit | 103.2297 | 0.032054 | 1285.8499 | 0.0064804 | 244.7065 | 1285.8499 | 374.4579 | 0.58113 | 2.2398 | 0.59411 | 1.1623 | Flagged Warnings: | 1389.0797 | 0.031392 | 422.3354 | 1389.0796 | 542.8823 | 0.50782 | 0 | 1.6831 | 0.49324 | 1.0156 | Flagged Warnings: |  |  |  | 1410.4287 | 62.0614 | 0.62064 | [9 empty] | 1.1152 | 1.1438 | 0.13386 | 0.0047496 | 1.0614 | 1.0594 | 0.062394 | 0.0024048 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:04:36 PM | 47076 | [11 empty] | 47076 | 0.99799 | 0.99798 | 0.99799
1 | KA961_c002b_a1_FIA_r2 | 0.1007 | 0.0049716 | 0.0031993 | 0.0038054 | 103.0044 | 0.0080743 | 0.00077072 | 0.0080536 | 6 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1007 | 0.0049716 | 0.10362 | 0.0040086 | -0.10021 | 0.0062666 | SupCrit | 103.2126 | 0.0080536 | 1285.8609 | 0.0073113 | 217.143 | 1285.8609 | 334.263 | 0.56342 | 2.2551 | 0.68496 | 1.1268 | Flagged Warnings: | 1389.0736 | 0.0033773 | 350.7491 | 1389.0735 | 464.2356 | 0.52528 | 0 | 1.6763 | 0.48132 | 1.0506 | Flagged Warnings: |  |  |  | 1410.4814 | 61.4888 | 0.57924 | [9 empty] | 1.1048 | 1.1288 | 0.11811 | 0.0051894 | 1.0526 | 1.0427 | 0.055293 | 0.0029952 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:11:08 PM | 47468 | [11 empty] | 47468 | 0.99798 | 0.99798 | 0.99799
2 | KA961_c002b_a1_FIA_r3 | 0.10249 | 0.0052239 | 0.0035775 | 0.0038067 | 103.0089 | 0.0090287 | 0.00076959 | 0.009014 | 5.996 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10249 | 0.0052239 | 0.10543 | 0.0043205 | -0.096864 | 0.0069322 | SupCrit | 103.2174 | 0.009014 | 1285.8491 | 0.008214 | 186.4636 | 1285.8491 | 297.9045 | 0.60479 | 2.1868 | 0.60213 | 1.2096 | Flagged Warnings: | 1389.0665 | 0.0037125 | 323.4525 | 1389.0664 | 432.552 | 0.51738 | 0 | 1.7735 | 0.54725 | 1.0348 | Flagged Warnings: |  |  |  | 1410.3741 | 56.7224 | 0.68663 | [9 empty] | 1.1592 | 1.1914 | 0.19259 | 0.006487 | 1.0399 | 1.0383 | 0.041253 | 0.0031991 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:16:05 PM | 47765 | [11 empty] | 47765 | 0.99798 | 0.99797 | 0.99799
3 | KA961_c002b_a2_FIB_r1 | 0.17731 | 0.035302 | 0.035222 | 0.0023719 | 103.1876 | 0.086659 | 0.00076884 | 0.086831 | 5.982 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17331 | 0.034568 | 0.17731 | 0.035302 | 0.03156 | 0.060647 | SupCrit | 103.3968 | 0.086831 | 1285.4471 | 0.084484 | 17.9709 | 1285.4471 | 35.1268 | 0.74509 | 1.6139 | 0.58472 | 1.4902 | Flagged Warnings: | 1388.8439 | 0.020054 | 46.3523 | 1388.8439 | 58.3329 | 0.46184 | 0 | 1.2873 | 0.6785 | 0.92369 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0324 | 1.0431 | 0.04833 | 0.082921 | 1.2218 | 1.2348 | 0.20491 | 0.019928 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:25:53 PM | 48353 | [11 empty] | 48353 | 0.99798 | 0.99797 | 0.99798
4 | KA961_c002b_a2_FIB_r2 | 0.201 | 0.017221 | 0.017057 | 0.0023666 | 103.2457 | 0.041662 | 0.00076848 | 0.04174 | 9.955 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19632 | 0.017008 | 0.201 | 0.017221 | 0.07182 | 0.028685 | SupCrit | 103.4552 | 0.04174 | 1285.4087 | 0.037324 | 37.6331 | 1285.4087 | 63.8427 | 0.54473 | 1.2597 | 0.98158 | 1.0895 | Flagged Warnings: | 1388.8639 | 0.018685 | 56.7529 | 1388.8639 | 92.9165 | 0.57849 | 0 | 1.4069 | 0.76865 | 1.157 | Flagged Warnings: | [15 empty] | 1.2972 | 1.3499 | 0.3238 | 0.028949 | 1.0164 | 1.0981 | 0.019019 | 0.020386 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:30:02 PM | 48602 | [11 empty] | 48602 | 0.99798 | 0.99797 | 0.99798
5 | KA961_c002b_a2_FIB_r3 | 0.1665 | 0.018752 | 0.018329 | 0.0039579 | 103.1705 | 0.046258 | 0.00076718 | 0.046346 | 9.948 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1665 | 0.018752 | 0.17034 | 0.018909 | 0.019512 | 0.032581 | SupCrit | 103.3799 | 0.046346 | 1285.4286 | 0.043556 | 30.1347 | 1285.4286 | 47.1891 | 0.73555 | 1.3804 | 1.2325e-07 | 1.4711 | Flagged Warnings: | 1388.8085 | 0.015837 | 64.7543 | 1388.8085 | 97.7162 | 0.49411 | 0 | 1.4516 | 0.93974 | 0.98821 | Flagged Warnings: | [15 empty] | 1.3324 | 1.3054 | 0.48902 | 0.048818 | 1.0198 | 1.0022 | 0.019541 | 0.015261 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:34:12 PM | 48852 | [11 empty] | 48852 | 0.99797 | 0.99797 | 0.99798
24 | de | 0.1617 | 0.0042062 | 0.0014736 | 0.0039397 | 103.1584 | 0.0037189 | 0.00076465 | 0.0036468 | 9.918 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1617 | 0.0042062 | 0.16544 | 0.002812 | 0.010985 | 0.0032242 | SupCrit | 103.3684 | 0.0036468 | 1285.5138 | 0.0033299 | 531.5878 | 1285.5139 | 953.1686 | 0.6721 | 1.9014 | 0.62711 | 1.3442 | Flagged Warnings: | 1388.8823 | 0.0014869 | 1033.4551 | 1388.8822 | 1487.2775 | 0.5399 | 0 | 2.178 | 0.62481 | 1.0798 | Flagged Warnings: | 1265.1991 | 118.996 | 0.98457 | 1410.2252 | 187.8291 | 0.81665 | [9 empty] | 1.0771 | 1.0404 | 0.10367 | 0.0025286 | 1.2323 | 1.2236 | 0.25079 | 0.0010448 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:50:54 PM | 49854 | [11 empty] | 49854 | 0.99797 | 0.99796 | 0.99798
25 | KA961_c002a_a1_FIA_r1 | 0.17497 | 0.0035729 | 0.0026715 | 0.0023725 | 103.1819 | 0.0065789 | 0.00076433 | 0.0065477 | 6.025 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17102 | 0.0047544 | 0.17497 | 0.0035729 | 0.027527 | 0.0049731 | SupCrit | 103.3921 | 0.0065477 | 1285.4831 | 0.0062445 | 344.285 | 1285.4831 | 619.3253 | 0.65293 | 2.3114 | 0.70507 | 1.3059 | Flagged Warnings: | 1388.8752 | 0.0019694 | 677.8595 | 1388.8752 | 959.1401 | 0.5331 | 0 | 1.8692 | 0.61417 | 1.0662 | Flagged Warnings: |  |  |  | 1410.2126 | 122.0048 | 0.77104 | [9 empty] | 1.1713 | 1.1371 | 0.22365 | 0.0037929 | 1.2443 | 1.2475 | 0.26047 | 0.0015729 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:55:19 PM | 50119 | [11 empty] | 50119 | 0.99797 | 0.99796 | 0.99797
26 | KA961_c002a_a1_FIA_r2 | 0.16186 | 0.0048163 | 0.0027696 | 0.0039403 | 103.1588 | 0.0069897 | 0.00076315 | 0.0069621 | 6.018 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16186 | 0.0048163 | 0.1656 | 0.0036946 | 0.011269 | 0.0052759 | SupCrit | 103.3693 | 0.0069621 | 1285.496 | 0.0066213 | 334.9192 | 1285.496 | 601.7169 | 0.67133 | 2.3363 | 0.63441 | 1.3427 | Flagged Warnings: | 1388.8653 | 0.0021516 | 653.4374 | 1388.8653 | 941.0312 | 0.53271 | 0 | 1.9027 | 0.65943 | 1.0654 | Flagged Warnings: |  |  |  | 1410.2286 | 104.5865 | 0.74388 | [9 empty] | 1.1406 | 1.117 | 0.18875 | 0.0040089 | 1.1818 | 1.1651 | 0.19371 | 0.0016305 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:06:49 PM | 50809 | [11 empty] | 50809 | 0.99796 | 0.99796 | 0.99797
27 | KA961_c002a_a1_FIA_r3 | 0.16383 | 0.012511 | 0.011871 | 0.0039476 | 103.1637 | 0.02996 | 0.00076286 | 0.030012 | 6.016 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16383 | 0.012511 | 0.16761 | 0.012369 | 0.014769 | 0.021193 | SupCrit | 103.3744 | 0.030012 | 1285.492 | 0.029936 | 331.4677 | 1285.492 | 587.3544 | 0.643 | 2.174 | 0.70571 | 1.286 | Flagged Warnings: | 1388.8665 | 0.0021302 | 625.1701 | 1388.8664 | 909.3881 | 0.53854 | 0 | 1.829 | 0.65736 | 1.0771 | Flagged Warnings: |  |  |  | 1410.2444 | 114.632 | 0.79921 | [9 empty] | 1.1643 | 1.1519 | 0.21135 | 0.0038797 | 1.219 | 1.2095 | 0.23593 | 0.0017229 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:12:01 PM | 51121 | [11 empty] | 51121 | 0.99796 | 0.99795 | 0.99797
28 | KA961_c002a_a1_FIB_r1 | 0.18082 | 0.0029409 | 0.0017398 | 0.0023711 | 103.1963 | 0.0042768 | 0.00076285 | 0.0042168 | 6.015 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17673 | 0.0043443 | 0.18082 | 0.0029409 | 0.037592 | 0.0035163 | SupCrit | 103.4072 | 0.0042168 | 1285.4414 | 0.0037719 | 399.4098 | 1285.4415 | 726.1351 | 0.67031 | 1.6495 | 0.66751 | 1.3406 | Flagged Warnings: | 1388.8487 | 0.0018853 | 787.089 | 1388.8487 | 1157.428 | 0.54358 | 0 | 2.116 | 0.6611 | 1.0872 | Flagged Warnings: | 1265.3572 | 79.1817 | 0.89259 | 1410.2078 | 135.428 | 0.83729 | [9 empty] | 1.2022 | 1.1731 | 0.27101 | 0.0033565 | 1.1944 | 1.1787 | 0.21139 | 0.0013812 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:17:39 PM | 51459 | [11 empty] | 51459 | 0.99796 | 0.99795 | 0.99797
29 | KA961_c002a_a1_FIB_r2 | 0.17311 | 0.0034667 | 0.0025272 | 0.0023729 | 103.1773 | 0.0062272 | 0.00076253 | 0.006193 | 6.008 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.16921 | 0.0046731 | 0.17311 | 0.0034667 | 0.024315 | 0.0047517 | SupCrit | 103.3884 | 0.006193 | 1285.446 | 0.0059514 | 375.9167 | 1285.446 | 672.7358 | 0.65584 | 2.5968 | 0.68189 | 1.3117 | Flagged Warnings: | 1388.8344 | 0.0017128 | 741.2946 | 1388.8343 | 1076.9314 | 0.53754 | 0 | 1.7751 | 0.65877 | 1.0751 | Flagged Warnings: |  |  |  | 1410.1889 | 131.0073 | 0.76587 | [9 empty] | 1.2033 | 1.189 | 0.26666 | 0.0034893 | 1.1677 | 1.1547 | 0.18027 | 0.0014503 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:25:23 PM | 51923 | [11 empty] | 51923 | 0.99796 | 0.99795 | 0.99797
30 | KA961_c002a_a1_FIB_r3 | 0.1765 | 0.0029811 | 0.0018056 | 0.0023721 | 103.1856 | 0.0044445 | 0.00076257 | 0.0043875 | 6.008 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17252 | 0.0043542 | 0.1765 | 0.0029811 | 0.030163 | 0.0036265 | SupCrit | 103.3969 | 0.0043875 | 1285.448 | 0.0040443 | 364.2387 | 1285.4481 | 645.9249 | 0.6511 | 1.6738 | 0.67768 | 1.3022 | Flagged Warnings: | 1388.845 | 0.0017013 | 728.2331 | 1388.8449 | 1062.6823 | 0.54032 | 0 | 1.7541 | 0.65699 | 1.0806 | Flagged Warnings: | 1265.3008 | 71.5501 | 0.81158 | 1410.1511 | 119.0168 | 0.90043 | [9 empty] | 1.1863 | 1.1634 | 0.2426 | 0.0035751 | 1.1779 | 1.162 | 0.19226 | 0.0014839 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:30:21 PM | 52221 | [11 empty] | 52221 | 0.99796 | 0.99795 | 0.99796
6 | KA961_c003_a1_FIA_r1 | 0.025582 | 0.032413 | 0.032178 | 0.0038989 | 102.8148 | 0.081209 | 0.00076003 | 0.081371 | 11.996 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.025582 | 0.032413 | 0.028706 | 0.031972 | -0.24408 | 0.063307 | SupCrit | 103.0255 | 0.081371 | 1286.1154 | 0.075006 | 17.569 | 1286.1154 | 27.9597 | 0.73395 | 1.377 | 0.056333 | 1.4679 | Flagged Warnings: | 1389.141 | 0.031551 | 32.2188 | 1389.141 | 38.7818 | 0.51046 | 0 | 1.4099 | 0.30145 | 1.0209 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0164 | 1.0217 | 0.024064 | 0.083551 | 1.0864 | 1.0195 | 0.088186 | 0.031687 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:40:18 PM | 52818 | [11 empty] | 52818 | 0.99795 | 0.99795 | 0.99796
7 | KA961_c003_a1_FIA_r2 | 0.074168 | 0.017334 | 0.016911 | 0.0038057 | 102.9374 | 0.042679 | 0.0007615 | 0.042759 | 11.986 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.074168 | 0.017334 | 0.077035 | 0.01707 | -0.15014 | 0.032195 | SupCrit | 103.1486 | 0.042759 | 1286.0232 | 0.039205 | 33.5001 | 1286.0232 | 51.0883 | 0.56561 | 1.3034 | 0.65275 | 1.1312 | Flagged Warnings: | 1389.1718 | 0.017068 | 55.7133 | 1389.1718 | 66.8582 | 0.52044 | 0 | 1.3101 | 0.23797 | 1.0409 | Flagged Warnings: | [15 empty] | 1.1728 | 1.1502 | 0.19552 | 0.033768 | 1.1616 | 1.1285 | 0.16822 | 0.018683 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:51:05 PM | 53465 | [11 empty] | 53465 | 0.99795 | 0.99795 | 0.99796
8 | KA961_c003_a1_FIA_r3 | 0.067237 | 0.015829 | 0.015363 | 0.0038117 | 102.9199 | 0.038773 | 0.00076181 | 0.038845 | 11.986 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.067237 | 0.015829 | 0.070113 | 0.015519 | -0.16335 | 0.029405 | SupCrit | 103.1312 | 0.038845 | 1286.0415 | 0.033656 | 31.7211 | 1286.0415 | 35.6015 | 0.49649 | 1.2693 | 0.18059 | 0.99298 | Flagged Warnings: | 1389.1727 | 0.019397 | 49.2195 | 1389.1727 | 61.8829 | 0.50775 | 0 | 1.1622 | 0.43505 | 1.0155 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.1505 | 1.1622 | 0.14948 | 0.031303 | 1.1515 | 1.0998 | 0.15386 | 0.020632 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:56:39 PM | 53799 | [11 empty] | 53799 | 0.99795 | 0.99794 | 0.99796
9 | KA961_c003_a1_FIB_r1 | 0.062297 | 0.016355 | 0.015903 | 0.0038175 | 102.9075 | 0.040135 | 0.00076225 | 0.04021 | 11.983 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.062297 | 0.016355 | 0.065186 | 0.016037 | -0.1728 | 0.03054 | SupCrit | 103.1189 | 0.04021 | 1286.1493 | 0.036408 | 35.684 | 1286.1493 | 48.6797 | 0.57292 | 1.1724 | 0.32855 | 1.1458 | Flagged Warnings: | 1389.2681 | 0.017068 | 55.1072 | 1389.2681 | 63.5227 | 0.50157 | 0 | 1.4472 | 0.22852 | 1.0031 | Flagged Warnings: | [15 empty] | 1.0271 | 1.0371 | 0.031062 | 0.032111 | 1.059 | 1.0844 | 0.059191 | 0.018203 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:02:14 PM | 54134 | [11 empty] | 54134 | 0.99795 | 0.99794 | 0.99796
10 | KA961_c003_a1_FIB_r2 | 0.070659 | 0.017791 | 0.017379 | 0.0038084 | 102.9286 | 0.04386 | 0.00076297 | 0.043943 | 11.982 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.070659 | 0.017791 | 0.073529 | 0.017521 | -0.15682 | 0.033165 | SupCrit | 103.1401 | 0.043943 | 1286.128 | 0.038188 | 34.0825 | 1286.128 | 47.8558 | 0.55865 | 1.2254 | 0.47458 | 1.1173 | Flagged Warnings: | 1389.2681 | 0.021742 | 71.2806 | 1389.2681 | 76.0525 | 0.36934 | 0 | 1.2787 | 0.81601 | 0.73868 | Flagged Warnings: | [15 empty] | 1.0059 | 1.0246 | 0.0066112 | 0.032782 | 1.2036 | 1.2045 | 0.15037 | 0.010363 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:07:16 PM | 54436 | [11 empty] | 54436 | 0.99795 | 0.99794 | 0.99796
11 | KA961_c003_a1_FIB_r3 | 0.063851 | 0.016723 | 0.016282 | 0.0038155 | 102.9114 | 0.04109 | 0.00076341 | 0.041167 | 11.979 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.063851 | 0.016723 | 0.066736 | 0.016414 | -0.16982 | 0.03123 | SupCrit | 103.123 | 0.041167 | 1286.101 | 0.038944 | 31.5051 | 1286.101 | 42.4182 | 0.54695 | 1.3531 | 0.41927 | 1.0939 | Flagged Warnings: | 1389.2239 | 0.013347 | 58.3717 | 1389.2239 | 64.2577 | 0.47278 | 0 | 1.1705 | 0.26578 | 0.94557 | Flagged Warnings: | [15 empty] | 1.0287 | 1.13 | 0.031354 | 0.034722 | 1.2135 | 1.2072 | 0.2019 | 0.016199 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:11:40 PM | 54700 | [11 empty] | 54700 | 0.99795 | 0.99794 | 0.99796
31 | KA961_c004_a1_FIA | 0.15472 | 0.0047781 | 0.002739 | 0.0039151 | 103.1407 | 0.0069125 | 0.00078709 | 0.0068818 | 10.01 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15472 | 0.0047781 | 0.1583 | 0.0036674 | -0.0014919 | 0.005252 | SupCrit | 103.3541 | 0.0068818 | 1285.4782 | 0.006535 | 287.2591 | 1285.4782 | 498.2626 | 0.67186 | 2.181 | 0.54407 | 1.3437 | Flagged Warnings: | 1388.8324 | 0.0021569 | 544.4883 | 1388.8323 | 764.672 | 0.52225 | 0 | 1.5643 | 0.64641 | 1.0445 | Flagged Warnings: |  |  |  | 1410.1716 | 90.7714 | 0.79062 | [9 empty] | 1.1339 | 1.1107 | 0.17987 | 0.0046777 | 1.1807 | 1.1738 | 0.18872 | 0.0019183 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:35:30 PM | 59730 | [11 empty] | 59730 | 0.99794 | 0.99793 | 0.99794
12 | KA961_c005_a1_FIA | 0.16705 | 0.007478 | 0.0063435 | 0.00396 | 103.1718 | 0.016009 | 0.00079239 | 0.016023 | 10.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16705 | 0.007478 | 0.1709 | 0.0069131 | 0.020491 | 0.011407 | SupCrit | 103.3855 | 0.016023 | 1285.4537 | 0.014949 | 109.5442 | 1285.4537 | 191.243 | 0.65792 | 1.9315 | 0.61333 | 1.3158 | Flagged Warnings: | 1388.8392 | 0.0057665 | 202.9551 | 1388.8392 | 294.1198 | 0.5516 | 0 | 1.6207 | 0.58842 | 1.1032 | Flagged Warnings: | [15 empty] | 1.1978 | 1.1296 | 0.26023 | 0.012012 | 1.131 | 1.1081 | 0.14447 | 0.0054357 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:48:01 PM | 60481 | [11 empty] | 60481 | 0.99793 | 0.99793 | 0.99794
13 | KA961_c006_a1_FIA | 0.14943 | 0.0095025 | 0.0086662 | 0.003898 | 103.1274 | 0.021871 | 0.00079508 | 0.021902 | 10.008 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14943 | 0.0095025 | 0.15291 | 0.0091389 | -0.010984 | 0.015694 | SupCrit | 103.341 | 0.021902 | 1285.5272 | 0.020241 | 71.3093 | 1285.5272 | 124.4801 | 0.65862 | 1.5994 | 0.61042 | 1.3172 | Flagged Warnings: | 1388.8683 | 0.0083659 | 127.9094 | 1388.8683 | 182.7704 | 0.57535 | 0 | 1.5382 | 0.44296 | 1.1507 | Flagged Warnings: | [15 empty] | 1.0926 | 1.1073 | 0.12197 | 0.018472 | 1.1144 | 1.0837 | 0.1316 | 0.0089962 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:55:02 PM | 60902 | [11 empty] | 60902 | 0.99793 | 0.99792 | 0.99794
14 | KA961_c006_a1_FIB | 0.18232 | 0.34316 | 0.34315 | 0.0023707 | 103.1999 | 0.82685 | 0.00079813 | 0.82856 | 10.01 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17819 | 0.32765 | 0.18232 | 0.34316 | 0.04016 | 0.57621 | SupCrit | 103.4138 | 0.82856 | 1285.427 | 0.82853 | 86.8968 | 1285.427 | 154.8133 | 0.68797 | 1.7461 | 0.55189 | 1.3759 | Flagged Warnings: | 1388.8409 | 0.0067461 | 172.6149 | 1388.8409 | 235.8296 | 0.52328 | 0 | 1.5879 | 0.57267 | 1.0466 | Flagged Warnings: | [15 empty] | 1.1901 | 1.2427 | 0.26154 | 0.015834 | 1.1761 | 1.1739 | 0.1843 | 0.0060629 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:00:33 PM | 61233 | [11 empty] | 61233 | 0.99793 | 0.99792 | 0.99794
15 | KA961_c006_a2_FIC | 0.085147 | 0.0080431 | 0.0070882 | 0.0038011 | 102.9651 | 0.017889 | 0.00079854 | 0.017908 | 10.008 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.085147 | 0.0080431 | 0.088019 | 0.0074941 | -0.12936 | 0.013503 | SupCrit | 103.1786 | 0.017908 | 1285.9188 | 0.015924 | 70.7837 | 1285.9188 | 97.0684 | 0.55784 | 1.486 | 0.41567 | 1.1157 | Flagged Warnings: | 1389.0974 | 0.0081927 | 128.2665 | 1389.0974 | 154.2394 | 0.46174 | 0 | 1.335 | 0.56624 | 0.92348 | Flagged Warnings: | [15 empty] | 1.0965 | 1.0716 | 0.10765 | 0.015762 | 1.0899 | 1.1313 | 0.083009 | 0.0071997 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:05:22 PM | 61522 | [11 empty] | 61522 | 0.99793 | 0.99792 | 0.99794
16 | KA961_c006_a3_FID | 0.14284 | 0.0094795 | 0.0086496 | 0.0038786 | 103.1108 | 0.021829 | 0.00080203 | 0.02186 | 10.009 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14284 | 0.0094795 | 0.14622 | 0.0091072 | -0.022849 | 0.015742 | SupCrit | 103.3246 | 0.02186 | 1285.5614 | 0.020357 | 73.6872 | 1285.5614 | 126.1769 | 0.63507 | 1.5531 | 0.65279 | 1.2701 | Flagged Warnings: | 1388.886 | 0.0079657 | 134.3164 | 1388.886 | 192.8818 | 0.56353 | 0 | 1.5377 | 0.51053 | 1.1271 | Flagged Warnings: | [15 empty] | 1.0634 | 1.1807 | 0.080477 | 0.017237 | 1.2317 | 1.2136 | 0.26119 | 0.008391 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:10:19 PM | 61819 | [11 empty] | 61819 | 0.99793 | 0.99792 | 0.99794
32 | KA961_c007_a1_FIA_10mw | 0.44843 | 0.0028198 | 0.0015575 | 0.0023506 | 103.8225 | 0.0034419 | 0.00081135 | 0.0033518 | 10.011 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42486 | 0.0062105 | 0.44843 | 0.0028198 | 0.43258 | 0.0025766 | SupCrit | 104.0379 | 0.0033518 | 1283.8954 | 0.0025321 | 1431.2328 | 1283.8954 | 4018.3384 | 1.0329 | 4.4907 | 0.67448 | 2.0658 | Flagged Warnings: | 1387.9334 | 0.0021962 | 2948.4074 | 1387.9333 | 6426.1311 | 0.78011 | 0 | 8.3244 | 0.73922 | 1.5602 | Flagged Warnings: | 1263.7876 | 612.2368 | 2.4303 | 1409.3291 | 887.5563 | 1.7716 | [9 empty] | 1.0622 | 1.0688 | 0.12846 | 0.0014434 | 1.0595 | 1.0746 | 0.092788 | 0.00052917 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:17:56 PM | 62276 | [11 empty] | 62276 | 0.99793 | 0.99792 | 0.99794
33 | KA961_c007_a1_FIA | 0.45329 | 0.002914 | 0.0017218 | 0.002351 | 103.8332 | 0.0037964 | 0.0008136 | 0.0037159 | 6.036 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4291 | 0.0062879 | 0.45329 | 0.002914 | 0.43861 | 0.0027222 | SupCrit | 104.0487 | 0.0037159 | 1283.8818 | 0.0029419 | 819.0245 | 1283.8819 | 2358.8708 | 1.0598 | 2.7361 | 0.674 | 2.1195 | Flagged Warnings: | 1387.9306 | 0.0022702 | 1730.8923 | 1387.9305 | 3757.4841 | 0.7783 | 0 | 5.2325 | 0.73534 | 1.5566 | Flagged Warnings: | 1263.7766 | 352.8691 | 2.3432 | 1409.3248 | 520.4117 | 1.9114 | [9 empty] | 1.0016 | 1.0206 | 0.0033804 | 0.0025878 | 1.0549 | 1.0554 | 0.085527 | 0.0008993 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:22:09 PM | 62529 | [11 empty] | 62529 | 0.99793 | 0.99792 | 0.99794
17 | KA961_c007_a1_FIB | 0.50039 | 0.0065745 | 0.0061381 | 0.0023553 | 103.9359 | 0.013236 | 0.00081675 | 0.013238 | 6.038 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4698 | 0.0083992 | 0.50039 | 0.0065745 | 0.49516 | 0.0073355 | SupCrit | 104.1517 | 0.013238 | 1283.6656 | 0.011502 | 180.1045 | 1283.6656 | 521.9416 | 1.067 | 2.3273 | 0.67061 | 2.134 | Flagged Warnings: | 1387.8173 | 0.0065546 | 377.2276 | 1387.8173 | 861.9482 | 0.80641 | 0 | 2.9938 | 0.77141 | 1.6128 | Flagged Warnings: | [15 empty] | 1.0176 | 1.0111 | 0.037498 | 0.011849 | 1.0572 | 1.0633 | 0.092259 | 0.0042754 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:26:37 PM | 62797 | [11 empty] | 62797 | 0.99793 | 0.99792 | 0.99794
18 | KA961_c007_a1_FIC | 0.51976 | 0.011448 | 0.011202 | 0.0023576 | 103.9775 | 0.023932 | 0.00081938 | 0.023968 | 6.035 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.48628 | 0.01164 | 0.51976 | 0.011448 | 0.51741 | 0.01281 | SupCrit | 104.1934 | 0.023968 | 1283.5409 | 0.022352 | 83.4604 | 1283.5409 | 245.542 | 1.0431 | 1.8405 | 0.76053 | 2.0863 | Flagged Warnings: | 1387.7343 | 0.0086523 | 178.0382 | 1387.7343 | 394.2994 | 0.80021 | 0 | 1.88 | 0.71593 | 1.6004 | Flagged Warnings: | [15 empty] | 1.177 | 1.2326 | 0.36925 | 0.024997 | 1.0774 | 1.0462 | 0.12388 | 0.0089892 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:30:54 PM | 63054 | [11 empty] | 63054 | 0.99793 | 0.99792 | 0.99794
34 | KA961_c009a_a1_FIA | 0.14873 | 0.0051202 | 0.0033225 | 0.0038959 | 103.1256 | 0.008385 | 0.00081899 | 0.0083623 | 9.983 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14873 | 0.0051202 | 0.1522 | 0.0041347 | -0.01224 | 0.0062662 | SupCrit | 103.3399 | 0.0083623 | 1285.5459 | 0.0079096 | 274.6693 | 1285.5459 | 480.086 | 0.62596 | 2.3956 | 0.73701 | 1.2519 | Flagged Warnings: | 1388.8858 | 0.0027139 | 515.0638 | 1388.8858 | 726.507 | 0.54181 | 0 | 1.7365 | 0.56546 | 1.0836 | Flagged Warnings: |  |  |  | 1410.2515 | 72.0146 | 0.76077 | [9 empty] | 1.0992 | 1.1807 | 0.12413 | 0.0045579 | 1.2378 | 1.2372 | 0.25767 | 0.0021039 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:42:20 PM | 63740 | [11 empty] | 63740 | 0.99793 | 0.99792 | 0.99793
19 | KA961_c009b_a1_FIA | 0.14479 | 0.0072001 | 0.0060626 | 0.0038842 | 103.1157 | 0.0153 | 0.00082287 | 0.01531 | 9.98 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14479 | 0.0072001 | 0.14819 | 0.006608 | -0.019342 | 0.011099 | SupCrit | 103.33 | 0.01531 | 1285.5514 | 0.013958 | 112.9594 | 1285.5514 | 186.8605 | 0.61266 | 1.7799 | 0.65623 | 1.2253 | Flagged Warnings: | 1388.8814 | 0.0062905 | 219.0555 | 1388.8814 | 299.025 | 0.51324 | 0 | 1.9524 | 0.61911 | 1.0265 | Flagged Warnings: | [15 empty] | 1.0771 | 1.123 | 0.094525 | 0.010847 | 1.1721 | 1.1491 | 0.17663 | 0.0046859 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:49:12 PM | 64152 | [11 empty] | 64152 | 0.99793 | 0.99792 | 0.99793
20 | KA961_c009b_a1_FIB | 0.069538 | 0.023975 | 0.02367 | 0.0038094 | 102.9257 | 0.059737 | 0.00082402 | 0.059856 | 9.982 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.069538 | 0.023975 | 0.07241 | 0.023756 | -0.15896 | 0.045172 | SupCrit | 103.1398 | 0.059856 | 1286.1913 | 0.056776 | 21.8721 | 1286.1913 | 23.4004 | 0.50254 | 1.4317 | 3.9679e-12 | 1.0051 | Flagged Warnings: | 1389.3312 | 0.018951 | 43.7812 | 1389.3312 | 39.4072 | 0.37928 | 0 | 1.2177 | 0.31928 | 0.75856 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0492 | 1.0568 | 0.04943 | 0.045953 | 1.1179 | 1.1146 | 0.089402 | 0.017326 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:53:43 PM | 64423 | [11 empty] | 64423 | 0.99792 | 0.99792 | 0.99793
21 | KA961_c010_a1_FIA | 0.024103 | 0.0084593 | 0.0075047 | 0.0039036 | 102.8111 | 0.01894 | 0.00082857 | 0.018961 | 9.984 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.024103 | 0.0084593 | 0.027241 | 0.0078166 | -0.24699 | 0.014906 | SupCrit | 103.0251 | 0.018961 | 1286.3983 | 0.017971 | 199.6183 | 1286.3983 | 215.4291 | 0.4716 | 4.0415 | 0.21616 | 0.94321 | Flagged Warnings: | 1389.4234 | 0.0060468 | 329.6794 | 1389.4234 | 302.6878 | 0.42687 | 0 | 3.1126 | 0.031597 | 0.85374 | Flagged Warnings: |  |  |  | 1410.7197 | 29.7089 | 0.38509 | [9 empty] | 1.0125 | 1.0099 | 0.01179 | 0.004725 | 1.2469 | 1.2913 | 0.2108 | 0.0025896 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 6:02:44 PM | 64964 |  |  |  |  | 1095.413 | 544.0756 | 40.2709 | Spline | 1.0501 |  |  | 64964 | 0.99792 | 0.99792 | 0.99793
22 | KA961_c010_a1_FIB | 0.01962 | 0.037482 | 0.037277 | 0.0039184 | 102.7998 | 0.094077 | 0.00083286 | 0.094269 | 9.981 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.01962 | 0.037482 | 0.022803 | 0.03698 | -0.25583 | 0.073632 | SupCrit | 103.0138 | 0.094269 | 1286.4443 | 0.085579 | 13.5439 | 1286.4443 | 14.8822 | 0.51613 | 1.5 | 5.82e-08 | 1.0323 | Flagged Warnings: | 1389.4582 | 0.039533 | 22.6153 | 1389.4582 | 23.8218 | 0.48499 | 0 | 1.3865 | 0.06137 | 0.96998 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0151 | 1.0239 | 0.015562 | 0.076216 | 1.2259 | 1.2951 | 0.21914 | 0.04289 | PseudoVoigtModel | PseudoVoigtModel | No | November 25, 2024 | November | 25 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 6:09:45 PM | 65385 | [11 empty] | 65385 | 0.99792 | 0.99791 | 0.99793
38 | FG04-A1-4-end-rep4 | 0.6904 | 0.0033756 | 0.0023831 | 0.0023907 | 104.3271 | 0.0046779 | 0.00085316 | 0.004609 | 6.031 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62482 | 0.0086242 | 0.6904 | 0.0033756 | 0.68992 | 0.002675 | SupCrit | 104.5446 | 0.004609 | 1282.8139 | 0.0041592 | 564.4716 | 1282.8139 | 1603.08 | 0.989 | 2.6795 | 0.80456 | 1.978 | Flagged Warnings: | 1387.3585 | 0.001986 | 1154.4681 | 1387.3585 | 2659.2117 | 0.8131 | 0 | 2.4175 | 0.78208 | 1.6262 | Flagged Warnings: | 1262.704 | 251.5551 | 2.858 | 1408.7688 | 289.007 | 1.9944 |  |  |  | 1383.4994 | 220.932 | 16.6801 |  |  |  | 1.0848 | 1.0882 | 0.16775 | 0.0035042 | 1.0399 | 1.0248 | 0.064911 | 0.0014086 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 25, 2024 | November | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:21:48 PM | 66108 | [11 empty] | 66108 | 0.99792 | 0.99791 | 0.99793
39 | FG04-A1-4-end-rep5 | 0.68499 | 0.0031294 | 0.0020208 | 0.0023894 | 104.3165 | 0.0039776 | 0.00085871 | 0.0038919 | 6.032 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62061 | 0.0085172 | 0.68499 | 0.0031294 | 0.68506 | 0.0024355 | SupCrit | 104.5341 | 0.0038919 | 1282.8282 | 0.0035391 | 744.0076 | 1282.8282 | 2146.7048 | 1.0349 | 2.8981 | 0.73573 | 2.0698 | Flagged Warnings: | 1387.3622 | 0.0016191 | 1547.1495 | 1387.3623 | 3619.3522 | 0.82108 | 0 | 2.7078 | 0.79504 | 1.6422 | Flagged Warnings: | 1262.783 | 325.1528 | 2.9699 | 1408.7891 | 438.1211 | 2.0754 |  |  |  | 1380.3947 | 276.5336 | 14.9978 |  |  |  | 1.0811 | 1.0846 | 0.16782 | 0.002782 | 1.0921 | 1.061 | 0.1512 | 0.0010614 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 25, 2024 | November | 25 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:30:04 PM | 66604 | [11 empty] | 66604 | 0.99792 | 0.99791 | 0.99793
40 | FG04-A1-4-end-rep6 | 0.68494 | 0.0029331 | 0.0017011 | 0.0023894 | 104.3164 | 0.0033483 | 0.00086187 | 0.0032423 | 6.033 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62056 | 0.0084741 | 0.68494 | 0.0029331 | 0.68501 | 0.002228 | SupCrit | 104.5341 | 0.0032423 | 1282.8293 | 0.0030423 | 803.3746 | 1282.8293 | 2325.4292 | 1.0239 | 2.8501 | 0.76854 | 2.0478 | Flagged Warnings: | 1387.3635 | 0.0011212 | 1686.274 | 1387.3634 | 3930.1282 | 0.81906 | 0 | 2.0854 | 0.79102 | 1.6381 | Flagged Warnings: | 1262.5764 | 373.4696 | 3.0652 | 1408.7763 | 415.6184 | 2.0445 | 1369.6701 | 55.3439 | 0.40908 | 1388.17 | 304.6261 | 18.6358 |  |  |  | 1.0267 | 1.0246 | 0.0547 | 0.002549 | 1.0546 | 1.0216 | 0.089477 | 0.00097144 | PseudoVoigtModel | PseudoVoigtModel | Yes | November 25, 2024 | November | 25 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:34:37 PM | 66877 | [11 empty] | 66877 | 0.99792 | 0.99791 | 0.99793