## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
27 | FG04-A1-4-start-rep1-mightbetoohot | 0.69774 | 0.0046871 | 0.0040305 | 0.0023926 | 104.3415 | 0.0078824 | 0.00044993 | 0.007885 | 6.013 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63052 | 0.0090499 | 0.69774 | 0.0046871 | 0.69645 | 0.0039176 | SupCrit | 104.547 | 0.007885 | 1283.0796 | 0.0074858 | 452.6184 | 1283.0796 | 1272.9363 | 0.96612 | 3.8906 | 0.83348 | 1.9322 | Flagged Warnings: | 1387.6267 | 0.0024771 | 917.0823 | 1387.6266 | 2148.3546 | 0.80255 | 0 | 2.8996 | 0.84078 | 1.6051 | Flagged Warnings: |  |  |  | 1408.9072 | 280.9106 | 2.402 | [9 empty] | 1.1365 | 1.069 | 0.26381 | 0.004269 | 1.0146 | 1.0116 | 0.023408 | 0.0017502 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 2, 2024 | December | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:12:19 PM | 43939 | [11 empty] | 43939 | 0.99803 | 0.99803 | 0.99804
28 | FG04-A1-4-start-rep2-mightbetoohot | 0.69297 | 0.0050632 | 0.0044629 | 0.0023914 | 104.3322 | 0.008749 | 0.00044828 | 0.0087548 | 5.995 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62681 | 0.0091312 | 0.69297 | 0.0050632 | 0.69221 | 0.0042949 | SupCrit | 104.5382 | 0.0087548 | 1283.0812 | 0.0082814 | 414.0904 | 1283.0812 | 1171.7911 | 0.98036 | 3.814 | 0.8142 | 1.9607 | Flagged Warnings: | 1387.6194 | 0.00284 | 822.2814 | 1387.6194 | 1954.8306 | 0.81918 | 0 | 2.9361 | 0.82772 | 1.6384 | Flagged Warnings: |  |  |  | 1408.9456 | 263.3578 | 2.4549 | [9 empty] | 1.056 | 1.0555 | 0.10988 | 0.004735 | 1.0082 | 1.0158 | 0.013374 | 0.0019925 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 2, 2024 | December | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:18:47 PM | 44327 | [11 empty] | 44327 | 0.99803 | 0.99802 | 0.99803
29 | FG04-A1-4-start-rep3-mightbetoohot | 0.69767 | 0.0048749 | 0.0042474 | 0.0023926 | 104.3414 | 0.0083069 | 0.00044503 | 0.0083115 | 5.965 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63047 | 0.0091087 | 0.69767 | 0.0048749 | 0.69639 | 0.0040938 | SupCrit | 104.5487 | 0.0083115 | 1283.0779 | 0.0078669 | 455.3263 | 1283.0779 | 1281.8998 | 0.98322 | 4.2266 | 0.79573 | 1.9664 | Flagged Warnings: | 1387.6266 | 0.002682 | 904.0542 | 1387.6266 | 2133.1865 | 0.80945 | 0 | 3.0732 | 0.83775 | 1.6189 | Flagged Warnings: |  |  |  | 1408.9607 | 274.7579 | 2.4255 | [9 empty] | 1.094 | 1.0811 | 0.18479 | 0.0043188 | 1.0145 | 1.063 | 0.023511 | 0.0017907 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 2, 2024 | December | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:33:03 PM | 45183 | [11 empty] | 45183 | 0.99802 | 0.99801 | 0.99802
18 | KA961_c100_a1_FIA | 0.18178 | 0.0038182 | 0.0029929 | 0.0023709 | 103.1986 | 0.0073551 | 0.0004364 | 0.0073568 | 9.99 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17766 | 0.0049525 | 0.18178 | 0.0038182 | 0.039235 | 0.0054546 | SupCrit | 103.4053 | 0.0073568 | 1285.6664 | 0.0068211 | 319.4257 | 1285.6664 | 584.8386 | 0.71818 | 2.2967 | 0.51163 | 1.4364 | Flagged Warnings: | 1389.0717 | 0.002756 | 624.4658 | 1389.0717 | 918.2655 | 0.57085 | 0 | 1.9182 | 0.53861 | 1.1417 | Flagged Warnings: |  |  |  | 1410.4555 | 105.8869 | 0.7591 | [9 empty] | 1.0377 | 1.0155 | 0.054202 | 0.0044967 | 1.0423 | 1.0128 | 0.048289 | 0.0018283 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:51:58 PM | 46318 | 1151.1958 | 63.2399 | 46.4498 | Spline | [5 empty] | 0.042073 | 0.017854 | 46318 | 0.998 | 0.998 | 0.99801
19 | KA961_c101_a2_FIC | 0.54312 | 0.0045885 | 0.0039346 | 0.0023609 | 104.0271 | 0.0083107 | 0.00043666 | 0.008316 | 6.011 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.50594 | 0.0077167 | 0.54312 | 0.0045885 | 0.54349 | 0.0046289 | SupCrit | 104.2373 | 0.008316 | 1283.7497 | 0.0079224 | 396.918 | 1283.7497 | 1148.6885 | 1.0682 | 2.8564 | 0.66442 | 2.1365 | Flagged Warnings: | 1387.9871 | 0.0025281 | 868.7211 | 1387.9871 | 1929.7023 | 0.78109 | 0 | 2.3056 | 0.78064 | 1.5622 | Flagged Warnings: |  |  |  | 1409.4359 | 218.0046 | 1.8779 | [9 empty] | 1.0668 | 1.0287 | 0.14266 | 0.0053827 | 1.013 | 1.0508 | 0.020332 | 0.0017983 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:11:44 PM | 47504 | [11 empty] | 47504 | 0.99798 | 0.99798 | 0.99799
20 | KA961_c101_a1_FIA | 0.51883 | 0.0030588 | 0.0019489 | 0.0023575 | 103.9755 | 0.0041654 | 0.00043511 | 0.004151 | 6.042 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.48549 | 0.0069397 | 0.51883 | 0.0030588 | 0.51636 | 0.0027689 | SupCrit | 104.1865 | 0.004151 | 1283.8618 | 0.003675 | 557.7209 | 1283.8618 | 1617.5672 | 1.0832 | 1.9163 | 0.63729 | 2.1665 | Flagged Warnings: | 1388.0484 | 0.0019302 | 1208.2915 | 1388.0484 | 2689.9786 | 0.79027 | 0 | 2.5051 | 0.75856 | 1.5805 | Flagged Warnings: | 1263.6201 | 210.8616 | 2.386 | 1409.5181 | 312.2693 | 1.699 | [9 empty] | 1.112 | 1.0695 | 0.2427 | 0.0038845 | 1.0591 | 1.0105 | 0.093379 | 0.0013081 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:21:31 PM | 48091 | [11 empty] | 48091 | 0.99797 | 0.99797 | 0.99798
21 | KA961_c101_a1_FIB | 0.54781 | 0.0029105 | 0.0017012 | 0.0023616 | 104.037 | 0.0035851 | 0.00043466 | 0.0035659 | 6.064 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.50986 | 0.007167 | 0.54781 | 0.0029105 | 0.54862 | 0.002487 | SupCrit | 104.2487 | 0.0035659 | 1283.7496 | 0.0029137 | 673.1274 | 1283.7496 | 1951.2504 | 1.0678 | 1.9865 | 0.67104 | 2.1356 | Flagged Warnings: | 1387.9984 | 0.0020558 | 1456.7536 | 1387.9983 | 3239.072 | 0.79657 | 0 | 3.2166 | 0.73697 | 1.5931 | Flagged Warnings: | 1263.6184 | 242.253 | 2.3139 | 1409.3877 | 377.7354 | 1.877 | [9 empty] | 1.024 | 1.0045 | 0.051253 | 0.0031726 | 1.0042 | 1.0137 | 0.006708 | 0.0010936 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:27:22 PM | 48442 | [11 empty] | 48442 | 0.99797 | 0.99797 | 0.99797
0 | KA961_c102_a1_FIA_r1 | 0.18164 | 0.01911 | 0.018963 | 0.0023709 | 103.1983 | 0.0466 | 0.00043011 | 0.046693 | 9.986 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17752 | 0.018894 | 0.18164 | 0.01911 | 0.038992 | 0.032544 | SupCrit | 103.4092 | 0.046693 | 1285.8403 | 0.043165 | 33.9444 | 1285.8403 | 60.3726 | 0.66019 | 1.4288 | 0.65074 | 1.3204 | Flagged Warnings: | 1389.2495 | 0.017805 | 67.3829 | 1389.2495 | 100.6999 | 0.54553 | 0 | 1.7942 | 0.69137 | 1.0911 | Flagged Warnings: | [15 empty] | 1.3858 | 1.2716 | 0.50935 | 0.038898 | 1.0309 | 1.0043 | 0.033713 | 0.016192 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '2s'] | 1:37:21 PM | 49041 | [11 empty] | 49041 | 0.99796 | 0.99796 | 0.99796
1 | KA961_c102_a1_FIB_r1 | 0.15733 | 0.01549 | 0.014985 | 0.0039241 | 103.1473 | 0.037818 | 0.00042942 | 0.037893 | 10.004 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15733 | 0.01549 | 0.16097 | 0.015477 | 0.0031904 | 0.026846 | SupCrit | 103.3587 | 0.037893 | 1285.8708 | 0.034969 | 35.3523 | 1285.8708 | 50.7098 | 0.57966 | 1.2798 | 0.43333 | 1.1593 | Flagged Warnings: | 1389.2295 | 0.014597 | 63.8237 | 1389.2295 | 86.4545 | 0.56739 | 0 | 1.2609 | 0.33585 | 1.1348 | Flagged Warnings: | [15 empty] | 1.2333 | 1.2559 | 0.27051 | 0.032793 | 1.2163 | 1.1822 | 0.24545 | 0.01778 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:42:41 PM | 49361 | [11 empty] | 49361 | 0.99796 | 0.99795 | 0.99796
2 | KA961_c102_a1_FIB_r2 | 0.15437 | 0.022852 | 0.022515 | 0.003914 | 103.1399 | 0.056821 | 0.00042886 | 0.056936 | 10.015 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15437 | 0.022852 | 0.15795 | 0.023082 | -0.0021065 | 0.04037 | SupCrit | 103.3518 | 0.056936 | 1285.896 | 0.053091 | 25.9588 | 1285.896 | 47.376 | 0.74173 | 1.2997 | 0.41807 | 1.4835 | Flagged Warnings: | 1389.2478 | 0.020568 | 56.2967 | 1389.2478 | 74.2615 | 0.44688 | 0 | 1.2727 | 0.86483 | 0.89377 | Flagged Warnings: | [15 empty] | 1.0198 | 1.0133 | 0.029343 | 0.057147 | 1.1197 | 1.0813 | 0.10702 | 0.015876 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:49:24 PM | 49764 | [11 empty] | 49764 | 0.99795 | 0.99795 | 0.99795
3 | KA961_c102_a1_FIB_r3 | 0.20871 | 0.026945 | 0.026841 | 0.0023651 | 103.2645 | 0.065388 | 0.00042898 | 0.065521 | 10.019 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20377 | 0.026237 | 0.20871 | 0.026945 | 0.084712 | 0.044703 | SupCrit | 103.4773 | 0.065521 | 1285.7995 | 0.063203 | 22.8409 | 1285.7995 | 35.4312 | 0.65143 | 1.4622 | 0.32873 | 1.3029 | Flagged Warnings: | 1389.2768 | 0.017277 | 53.206 | 1389.2768 | 67.5819 | 0.44995 | 0 | 1.4139 | 0.76269 | 0.89991 | Flagged Warnings: | [15 empty] | 1.0167 | 1.0133 | 0.021714 | 0.05704 | 1.065 | 1.0506 | 0.058508 | 0.016914 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:55:17 PM | 50117 | [11 empty] | 50117 | 0.99794 | 0.99794 | 0.99795
4 | KA961_c102_a1_FIA_r2 | 0.11102 | 0.016915 | 0.016479 | 0.003815 | 103.0305 | 0.04159 | 0.00042766 | 0.041673 | 10.017 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11102 | 0.016915 | 0.11402 | 0.016779 | -0.081029 | 0.030549 | SupCrit | 103.2433 | 0.041673 | 1285.9558 | 0.037941 | 38.6106 | 1285.9558 | 54.5145 | 0.5023 | 1.6963 | 0.75264 | 1.0046 | Flagged Warnings: | 1389.1992 | 0.017238 | 63.3143 | 1389.1992 | 84.0129 | 0.50104 | 0 | 1.6258 | 0.60844 | 1.0021 | Flagged Warnings: | [15 empty] | 1.3662 | 1.4721 | 0.36788 | 0.026019 | 1.2797 | 1.3484 | 0.2803 | 0.015827 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:01:45 PM | 50505 |  |  |  |  | 1095.3636 | 338.8386 | 24.6335 | Spline | 2.446 |  |  | 50505 | 0.99794 | 0.99793 | 0.99794
5 | KA961_c102_a1_FIA_r3 | 0.11019 | 0.020438 | 0.020079 | 0.003814 | 103.0284 | 0.050675 | 0.00042728 | 0.050778 | 9.997 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11019 | 0.020438 | 0.11318 | 0.020373 | -0.082566 | 0.037221 | SupCrit | 103.2421 | 0.050778 | 1285.9757 | 0.045943 | 30.4797 | 1285.9757 | 45.8694 | 0.67609 | 1.4751 | 0.13514 | 1.3522 | Flagged Warnings: | 1389.2178 | 0.021625 | 58.0982 | 1389.2178 | 79.7551 | 0.47918 | 0 | 1.6412 | 0.79689 | 0.95836 | Flagged Warnings: | [15 empty] | 1.2818 | 1.3192 | 0.381 | 0.044364 | 1.3125 | 1.367 | 0.29949 | 0.016495 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:11:23 PM | 51083 | [11 empty] | 51083 | 0.99793 | 0.99793 | 0.99793
6 | KA961_c103_a1_FIA_r1 | 0.15029 | 0.014968 | 0.014451 | 0.0039007 | 103.1296 | 0.036471 | 0.00042755 | 0.036544 | 9.982 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15029 | 0.014968 | 0.1538 | 0.014909 | -0.0094262 | 0.026032 | SupCrit | 103.3442 | 0.036544 | 1285.7105 | 0.034413 | 41.6441 | 1285.7105 | 76.6099 | 0.77382 | 1.4982 | 0.32416 | 1.5476 | Flagged Warnings: | 1389.0547 | 0.012297 | 86.1625 | 1389.0547 | 129.4318 | 0.55725 | 0 | 1.4077 | 0.65225 | 1.1145 | Flagged Warnings: | [15 empty] | 1.4723 | 1.4365 | 0.73094 | 0.037163 | 1.0121 | 1 | 0.013468 | 0.012935 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:18:14 PM | 51494 | [11 empty] | 51494 | 0.99792 | 0.99792 | 0.99793
7 | KA961_c103_a1_FIA_r2 | 0.14202 | 0.012902 | 0.012306 | 0.0038764 | 103.1087 | 0.031057 | 0.0004274 | 0.031118 | 9.963 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14202 | 0.012902 | 0.14538 | 0.012728 | -0.024334 | 0.022328 | SupCrit | 103.3239 | 0.031118 | 1285.7808 | 0.028178 | 48.3103 | 1285.7808 | 80.4121 | 0.67018 | 1.657 | 0.44309 | 1.3404 | Flagged Warnings: | 1389.1048 | 0.013206 | 82.9121 | 1389.1048 | 134.5565 | 0.61369 | 0 | 1.3612 | 0.60481 | 1.2274 | Flagged Warnings: | [15 empty] | 1.0921 | 1.0351 | 0.12345 | 0.027745 | 1.0878 | 1.0485 | 0.10779 | 0.014803 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:25:26 PM | 51926 | [11 empty] | 51926 | 0.99792 | 0.99791 | 0.99792
8 | KA961_c103_a1_FIA_r3 | 0.17192 | 0.013526 | 0.013316 | 0.0023732 | 103.1743 | 0.032822 | 0.00042773 | 0.032888 | 9.936 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.16804 | 0.013596 | 0.17192 | 0.013526 | 0.022246 | 0.023128 | SupCrit | 103.3905 | 0.032888 | 1285.7002 | 0.030733 | 44.8119 | 1285.7002 | 82.5514 | 0.69194 | 1.4251 | 0.62156 | 1.3839 | Flagged Warnings: | 1389.0907 | 0.011711 | 88.6371 | 1389.0907 | 130.3593 | 0.55837 | 0 | 1.3548 | 0.5948 | 1.1167 | Flagged Warnings: | [15 empty] | 1.2408 | 1.3202 | 0.33329 | 0.030882 | 1.0903 | 1.1134 | 0.10089 | 0.012599 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:34:12 PM | 52452 | [11 empty] | 52452 | 0.99791 | 0.9979 | 0.99791
22 | KA961_c103_a2_FIB | 0.17634 | 0.0040906 | 0.0033326 | 0.0023721 | 103.1852 | 0.0082035 | 0.00042797 | 0.0082095 | 9.915 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17236 | 0.0051399 | 0.17634 | 0.0040906 | 0.029889 | 0.0060376 | SupCrit | 103.4022 | 0.0082095 | 1285.6496 | 0.0077375 | 242.9072 | 1285.6496 | 447.4086 | 0.71015 | 2.1234 | 0.55587 | 1.4203 | Flagged Warnings: | 1389.0519 | 0.0027435 | 483.8375 | 1389.0518 | 715.33 | 0.54976 | 0 | 1.6671 | 0.64669 | 1.0995 | Flagged Warnings: |  |  |  | 1410.4423 | 91.6631 | 0.92299 | [9 empty] | 1.0315 | 1.0668 | 0.044707 | 0.0058471 | 1.0156 | 1.0109 | 0.017127 | 0.0022725 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:42:22 PM | 52942 | 1151.1369 | 68.082 | 52.6051 | Spline | [5 empty] | 0.058553 | 0.024675 | 52942 | 0.9979 | 0.9979 | 0.99791
9 | KA961_c103_a2_FIC | 0.1539 | 0.0054594 | 0.0038077 | 0.0039124 | 103.1387 | 0.0096096 | 0.00042794 | 0.0096203 | 9.904 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1539 | 0.0054594 | 0.15747 | 0.0045519 | -0.0029579 | 0.0070766 | SupCrit | 103.3559 | 0.0096203 | 1285.8116 | 0.008011 | 194.8528 | 1285.8116 | 326.6752 | 0.64047 | 1.682 | 0.5792 | 1.2809 | Flagged Warnings: | 1389.1675 | 0.0053267 | 349.9539 | 1389.1675 | 490.3967 | 0.55302 | 0 | 2.2689 | 0.49586 | 1.106 | Flagged Warnings: | [15 empty] | 1.084 | 1.0482 | 0.10759 | 0.0065739 | 1.1273 | 1.0752 | 0.14083 | 0.0031605 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:47:05 PM | 53225 | [11 empty] | 53225 | 0.9979 | 0.99789 | 0.9979
10 | KA961_c104_a1_FIA | 0.17834 | 0.0056891 | 0.0051711 | 0.0023717 | 103.1901 | 0.012722 | 0.00042867 | 0.012741 | 9.892 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.1743 | 0.0064286 | 0.17834 | 0.0056891 | 0.033319 | 0.009085 | SupCrit | 103.4084 | 0.012741 | 1285.692 | 0.011264 | 155.3307 | 1285.692 | 284.8592 | 0.7005 | 2.099 | 0.5795 | 1.401 | Flagged Warnings: | 1389.1003 | 0.0059557 | 307.8047 | 1389.1003 | 438.2232 | 0.52401 | 0 | 2.4664 | 0.67143 | 1.048 | Flagged Warnings: | [15 empty] | 1.0192 | 1.0559 | 0.026878 | 0.0090195 | 1.0967 | 1.0735 | 0.10131 | 0.0034048 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:57:14 PM | 53834 | 1151.2253 | 26.3103 | 18.433 | Spline | [5 empty] | 0.036386 | 0.015478 | 53834 | 0.99789 | 0.99789 | 0.99789
23 | KA961_c104_a1_FIB | 0.17571 | 0.0039863 | 0.0032035 | 0.0023723 | 103.1837 | 0.0078873 | 0.00042906 | 0.0078923 | 9.906 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17174 | 0.0050596 | 0.17571 | 0.0039863 | 0.028791 | 0.0058301 | SupCrit | 103.4024 | 0.0078923 | 1285.6622 | 0.0074709 | 272.3919 | 1285.6622 | 509.6404 | 0.71807 | 2.2764 | 0.56751 | 1.4361 | Flagged Warnings: | 1389.0647 | 0.0025444 | 554.0912 | 1389.0647 | 809.9696 | 0.54259 | 0 | 1.8853 | 0.6511 | 1.0852 | Flagged Warnings: |  |  |  | 1410.4671 | 109.6638 | 0.82359 | [9 empty] | 1 | 1.0904 | 4.4676e-13 | 0.0052723 | 1.0317 | 1.0066 | 0.03445 | 0.0019585 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:03:32 PM | 54212 | 1151.1369 | 75.0379 | 53.5518 | Spline | [5 empty] | 0.056864 | 0.02398 | 54212 | 0.99788 | 0.99788 | 0.99789
11 | KA961_c105_a1_FIA | 0.16099 | 0.0056114 | 0.0039985 | 0.0039371 | 103.1565 | 0.010091 | 0.00044035 | 0.010103 | 10.075 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16099 | 0.0056114 | 0.1647 | 0.0047253 | 0.0097098 | 0.0073679 | SupCrit | 103.3807 | 0.010103 | 1285.7389 | 0.0088601 | 219.3985 | 1285.7389 | 370.3258 | 0.64003 | 2.3931 | 0.59794 | 1.2801 | Flagged Warnings: | 1389.1196 | 0.0048554 | 418.3601 | 1389.1196 | 582.2646 | 0.52867 | 0 | 2.4904 | 0.59354 | 1.0573 | Flagged Warnings: | [15 empty] | 1.0711 | 1.0038 | 0.090952 | 0.0058344 | 1.1225 | 1.101 | 0.12954 | 0.0025273 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '2s'] | 4:21:17 PM | 58877 | [11 empty] | 58877 | 0.99783 | 0.99783 | 0.99784
12 | KA961_c105_a2_FIB | 0.1744 | 0.006312 | 0.0058492 | 0.0023726 | 103.1805 | 0.014407 | 0.00044153 | 0.014431 | 10.016 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17047 | 0.0069554 | 0.1744 | 0.006312 | 0.026546 | 0.010271 | SupCrit | 103.4049 | 0.014431 | 1285.6367 | 0.012899 | 132.3321 | 1285.6367 | 230.5946 | 0.69749 | 1.9841 | 0.45868 | 1.395 | Flagged Warnings: | 1389.0416 | 0.0064704 | 256.4181 | 1389.0416 | 359.4052 | 0.52122 | 0 | 1.8074 | 0.64627 | 1.0424 | Flagged Warnings: | [15 empty] | 1.052 | 1.0125 | 0.072511 | 0.010541 | 1.0098 | 1.0234 | 0.010254 | 0.0040654 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:26:07 PM | 59167 | [11 empty] | 59167 | 0.99783 | 0.99783 | 0.99783
13 | KA961_c106_a2_FIB_epoxygross | 0.23448 | 0.060583 | 0.060537 | 0.0023604 | 103.327 | 0.14612 | 0.00044497 | 0.14643 | 9.921 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22855 | 0.058055 | 0.23448 | 0.060583 | 0.127 | 0.097873 | SupCrit | 103.5524 | 0.14643 | 1285.2619 | 0.14141 | 46.0043 | 1285.2619 | 129.7786 | 0.89795 | 5.0837 | 1 | 1.7959 | Flagged Warnings: | 1388.8142 | 0.038026 | 81.2716 | 1388.8142 | 111.7709 | 0.64599 | 0 | 4.2164 | 8.1967e-08 | 1.292 | Flagged Warnings: | [15 empty] | 1.2129 | 1.3152 | 0.38235 | 0.039038 | 1.2308 | 1.25 | 0.29815 | 0.015897 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:37:57 PM | 59877 | [11 empty] | 59877 | 0.99782 | 0.99782 | 0.99783
24 | KA961_c107_a1_FIA | 0.5091 | 0.0055296 | 0.0050024 | 0.0023563 | 103.9546 | 0.010742 | 0.00045002 | 0.010756 | 9.885 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47723 | 0.0078917 | 0.5091 | 0.0055296 | 0.50524 | 0.0059907 | SupCrit | 104.1817 | 0.010756 | 1283.6718 | 0.0092646 | 314.1303 | 1283.6718 | 898.6095 | 1.0612 | 2.7375 | 0.65219 | 2.1224 | Flagged Warnings: | 1387.8535 | 0.0054645 | 683.4653 | 1387.8535 | 1528.2437 | 0.78747 | 0 | 4.2736 | 0.77634 | 1.5749 | Flagged Warnings: | [15 empty] | 1.0485 | 1.0338 | 0.10286 | 0.0067565 | 1.1047 | 1.0841 | 0.16486 | 0.0023043 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:47:03 PM | 60423 | [11 empty] | 60423 | 0.99782 | 0.99782 | 0.99782
14 | KA961_c108_a1_FIA | 0.1434 | 0.0074239 | 0.0063291 | 0.0038802 | 103.1122 | 0.015973 | 0.00044911 | 0.016002 | 9.883 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1434 | 0.0074239 | 0.14678 | 0.0068593 | -0.021847 | 0.011586 | SupCrit | 103.3377 | 0.016002 | 1285.6279 | 0.014137 | 110.1322 | 1285.6279 | 187.1147 | 0.64772 | 1.8083 | 0.58439 | 1.2954 | Flagged Warnings: | 1388.9656 | 0.007496 | 214.6456 | 1388.9656 | 291.8342 | 0.48787 | 0 | 1.7373 | 0.73237 | 0.97574 | Flagged Warnings: | [15 empty] | 1.0595 | 1.0394 | 0.077026 | 0.011763 | 1.1511 | 1.2334 | 0.14741 | 0.0045458 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:57:06 PM | 61026 | [11 empty] | 61026 | 0.99782 | 0.99781 | 0.99782
15 | KA961_c109_a1_FIA | 0.16652 | 0.0065814 | 0.0052583 | 0.0039579 | 103.1705 | 0.013271 | 0.00045684 | 0.013292 | 9.9 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16652 | 0.0065814 | 0.17036 | 0.0058815 | 0.01954 | 0.0095167 | SupCrit | 103.3968 | 0.013292 | 1285.4355 | 0.011711 | 134.9661 | 1285.4355 | 235.5544 | 0.62114 | 1.8086 | 0.75176 | 1.2423 | Flagged Warnings: | 1388.8323 | 0.0062866 | 248.1644 | 1388.8323 | 355.4108 | 0.53677 | 0 | 1.9047 | 0.62691 | 1.0735 | Flagged Warnings: | [15 empty] | 1.1994 | 1.1869 | 0.24775 | 0.0092044 | 1.1988 | 1.1991 | 0.21337 | 0.0043259 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:21:54 PM | 62514 | 1150.7538 | 34.5994 | 22.5168 | Spline | [5 empty] | 0.058547 | 0.024673 | 62514 | 0.99781 | 0.99781 | 0.99782
16 | KA961_c107b_a1_FIA | 0.31201 | 0.0085336 | 0.0082033 | 0.002351 | 103.5116 | 0.01924 | 0.00046283 | 0.019277 | 9.928 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30168 | 0.0090298 | 0.31201 | 0.0085336 | 0.24698 | 0.012255 | SupCrit | 103.7388 | 0.019277 | 1284.6585 | 0.018408 | 165.15 | 1284.6585 | 515.2469 | 1.2912 | 3.3355 | 0.36891 | 2.5824 | Flagged Warnings: | 1388.3973 | 0.0057227 | 371.7566 | 1388.3973 | 830.019 | 0.85166 | 0 | 2.4818 | 0.58357 | 1.7033 | Flagged Warnings: |  |  |  | 1409.8549 | 108.4723 | 1.13 | [9 empty] | 1.6188 | 1.6455 | 1.598 | 0.015637 | 1.0776 | 1.1646 | 0.13209 | 0.0045818 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:35:20 PM | 63320 | [11 empty] | 63320 | 0.99781 | 0.99781 | 0.99781
25 | KA961_c107b_a1_FIB | 0.39835 | 0.0052483 | 0.0046935 | 0.0023486 | 103.7105 | 0.010611 | 0.00046701 | 0.010624 | 6.002 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.38049 | 0.006994 | 0.39835 | 0.0052483 | 0.36811 | 0.0064699 | SupCrit | 103.9381 | 0.010624 | 1284.2297 | 0.0099265 | 250.8594 | 1284.2297 | 723.8532 | 1.0684 | 2.4508 | 0.65675 | 2.1369 | Flagged Warnings: | 1388.1679 | 0.0037873 | 572.6033 | 1388.1678 | 1159.1044 | 0.71859 | 0 | 2.243 | 0.75844 | 1.4372 | Flagged Warnings: |  |  |  | 1409.5937 | 151.3472 | 1.5605 | [9 empty] | 1.201 | 1.1871 | 0.4296 | 0.0085183 | 1.0962 | 1.0016 | 0.13819 | 0.0025099 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:44:40 PM | 63880 | [11 empty] | 63880 | 0.99781 | 0.99781 | 0.99781
26 | KA961_c107b_a2_FIC | 0.47228 | 0.0054468 | 0.0049126 | 0.0023525 | 103.8749 | 0.010736 | 0.00046937 | 0.010749 | 5.997 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.44562 | 0.0075916 | 0.47228 | 0.0054468 | 0.46183 | 0.0061677 | SupCrit | 104.1029 | 0.010749 | 1283.8726 | 0.0093562 | 256.6825 | 1283.8726 | 753.2804 | 1.0858 | 2.2267 | 0.65865 | 2.1716 | Flagged Warnings: | 1387.9754 | 0.0052922 | 573.5582 | 1387.9754 | 1253.7452 | 0.77429 | 0 | 2.8897 | 0.76282 | 1.5486 | Flagged Warnings: | [15 empty] | 1.0236 | 1.0408 | 0.051218 | 0.0084604 | 1.0175 | 1.0341 | 0.027109 | 0.0027 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:49:08 PM | 64148 | [11 empty] | 64148 | 0.99781 | 0.99781 | 0.99781
17 | KA961_c107b_a3_FID | 0.49492 | 0.0063531 | 0.0059006 | 0.0023547 | 103.9241 | 0.012757 | 0.00047165 | 0.012776 | 6 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46513 | 0.0082399 | 0.49492 | 0.0063531 | 0.48878 | 0.007116 | SupCrit | 104.1521 | 0.012776 | 1283.7548 | 0.01147 | 212.7955 | 1283.7548 | 618.3942 | 1.0796 | 2.5922 | 0.64878 | 2.1591 | Flagged Warnings: | 1387.9069 | 0.0056276 | 469.0547 | 1387.9069 | 1028.4918 | 0.77894 | 0 | 3.0323 | 0.75605 | 1.5579 | Flagged Warnings: | [15 empty] | 1.014 | 1.0626 | 0.030174 | 0.010146 | 1.0526 | 1.0503 | 0.081994 | 0.0033213 | PseudoVoigtModel | PseudoVoigtModel | No | December 2, 2024 | December | 2 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:54:41 PM | 64481 | [11 empty] | 64481 | 0.99781 | 0.99781 | 0.99781
30 | FG04-A1-4-end-rep4 | 0.69281 | 0.0054367 | 0.0048826 | 0.0023913 | 104.3318 | 0.0095725 | 0.00047883 | 0.0095815 | 6.001 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62669 | 0.0092586 | 0.69281 | 0.0054367 | 0.69207 | 0.0046449 | SupCrit | 104.5606 | 0.0095815 | 1282.8646 | 0.0078693 | 369.3059 | 1282.8646 | 1026.7491 | 0.97034 | 3.4123 | 0.79719 | 1.9407 | Flagged Warnings: | 1387.4252 | 0.0054662 | 741.621 | 1387.4252 | 1747.585 | 0.80529 | 0 | 4.2196 | 0.84525 | 1.6106 | Flagged Warnings: | [15 empty] | 1.0459 | 1.0352 | 0.089148 | 0.005255 | 1.0104 | 1.0073 | 0.016812 | 0.0021717 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 2, 2024 | December | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:08:27 PM | 65307 | [11 empty] | 65307 | 0.99781 | 0.99781 | 0.99782
31 | FG04-A1-4-end-rep5 | 0.6945 | 0.005582 | 0.0050436 | 0.0023918 | 104.3352 | 0.0098798 | 0.00048039 | 0.0098898 | 6.005 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.628 | 0.0093241 | 0.6945 | 0.005582 | 0.69358 | 0.0047695 | SupCrit | 104.5638 | 0.0098898 | 1282.8517 | 0.0083351 | 335.4035 | 1282.8517 | 947.4626 | 1.0042 | 3.0235 | 0.75441 | 2.0084 | Flagged Warnings: | 1387.4155 | 0.0053229 | 690.9779 | 1387.4155 | 1611.5391 | 0.81182 | 0 | 3.5666 | 0.80337 | 1.6236 | Flagged Warnings: | [15 empty] | 1.0254 | 1.0132 | 0.051062 | 0.0059881 | 1.0356 | 1.0072 | 0.057744 | 0.0023498 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 2, 2024 | December | 2 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:12:19 PM | 65539 | [11 empty] | 65539 | 0.99781 | 0.99781 | 0.99782
32 | FG04-A1-4-end-rep6 | 0.69471 | 0.0057212 | 0.0051972 | 0.0023918 | 104.3356 | 0.01018 | 0.00048195 | 0.010191 | 6.003 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62817 | 0.0093764 | 0.69471 | 0.0057212 | 0.69377 | 0.0048971 | SupCrit | 104.5641 | 0.010191 | 1282.859 | 0.008312 | 338.3237 | 1282.859 | 920.4283 | 0.95332 | 2.9262 | 0.78795 | 1.9066 | Flagged Warnings: | 1387.4231 | 0.0058955 | 659.3665 | 1387.4231 | 1565.7444 | 0.82758 | 0 | 3.9522 | 0.80053 | 1.6552 | Flagged Warnings: | [15 empty] | 1.0358 | 1.0481 | 0.068339 | 0.0056356 | 1.0517 | 1.0781 | 0.085494 | 0.0025102 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 2, 2024 | December | 2 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:16:10 PM | 65770 | [11 empty] | 65770 | 0.99781 | 0.99781 | 0.99782