## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-125-reg1-A--Spectrum--012 | 0.58535 | 0.06008 | 0.060034 | 0.0023678 | 104.1154 | 0.12415 | 0.000742 | 0.12446 | 6.039 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54092 | 0.049747 | 0.58535 | 0.06008 | 0.58857 | 0.062255 | SupCrit | 104.3758 | 0.12446 | 1283.0707 | 0.11921 | 15.5086 | 1283.0707 | 39.0782 | 1.1836 | 1.4922 | 1.3925e-07 | 2.3672 | Flagged Warnings: | 1387.4465 | 0.03577 | 40.3484 | 1387.4465 | 93.9691 | 0.80424 | 0 | 1.5769 | 0.82157 | 1.6085 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0432 | 1.0517 | 0.10236 | 0.15264 | 1.1264 | 1.1817 | 0.20325 | 0.039865 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:48:43 PM | 60523 | [5 empty] | 60523 | 0.9975 | 0.9975 | 0.99751
1 | 187-1-125-reg1-A--Spectrum--014 | 0.59814 | 0.0074746 | 0.0070888 | 0.0023702 | 104.1418 | 0.014573 | 0.00073516 | 0.014591 | 6.043 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55137 | 0.0094811 | 0.59814 | 0.0074746 | 0.60172 | 0.007406 | SupCrit | 104.4023 | 0.014591 | 1283.0616 | 0.013013 | 160.901 | 1283.0616 | 480.4137 | 1.0718 | 2.1404 | 0.7315 | 2.1436 | Flagged Warnings: | 1387.4639 | 0.0065984 | 333.124 | 1387.4639 | 797.1834 | 0.85033 | 0 | 2.7185 | 0.75548 | 1.7007 | Flagged Warnings: | [15 empty] | 1.0047 | 1.0915 | 0.010017 | 0.013322 | 1.0318 | 1.0506 | 0.054097 | 0.0051052 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:59:36 PM | 61176 | [5 empty] | 61176 | 0.9975 | 0.9975 | 0.99751
2 | 187-1-125-reg1-A--Spectrum--015 | 0.60368 | 0.0069939 | 0.0065797 | 0.0023713 | 104.1531 | 0.013489 | 0.00073207 | 0.013503 | 6.047 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55588 | 0.0092702 | 0.60368 | 0.0069939 | 0.60734 | 0.0068509 | SupCrit | 104.4137 | 0.013503 | 1283.0597 | 0.011791 | 204.1318 | 1283.0597 | 626.4007 | 1.0932 | 2.7029 | 0.7495 | 2.1863 | Flagged Warnings: | 1387.4734 | 0.0065793 | 422.6505 | 1387.4734 | 1029.7513 | 0.85908 | 0 | 3.618 | 0.77353 | 1.7182 | Flagged Warnings: | [15 empty] | 1.0342 | 1.0881 | 0.074804 | 0.01071 | 1.0019 | 1.0241 | 0.0033298 | 0.0040652 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '47s'] | 5:06:14 PM | 61574 | [5 empty] | 61574 | 0.9975 | 0.9975 | 0.99751
3 | 187-1-125-reg1-B--Spectrum--017 | 0.50736 | 0.0068076 | 0.0063868 | 0.0023561 | 103.9509 | 0.013726 | 0.00072895 | 0.013741 | 6.048 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47575 | 0.0085743 | 0.50736 | 0.0068076 | 0.50323 | 0.0075499 | SupCrit | 104.211 | 0.013741 | 1283.4973 | 0.012091 | 150.0888 | 1283.4973 | 450.154 | 1.0476 | 1.9134 | 0.79539 | 2.0952 | Flagged Warnings: | 1387.7082 | 0.0065288 | 311.3878 | 1387.7082 | 720.0452 | 0.80785 | 0 | 2.5143 | 0.79493 | 1.6157 | Flagged Warnings: | [15 empty] | 1.1068 | 1.084 | 0.22373 | 0.01396 | 1.0564 | 1.0102 | 0.091073 | 0.0051887 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:10:48 PM | 61848 | [5 empty] | 61848 | 0.9975 | 0.9975 | 0.99751
4 | 187-1-125-reg2-A--Spectrum--021 | 0.53211 | 0.0031295 | 0.0020562 | 0.0023593 | 104.0038 | 0.0043665 | 0.00072736 | 0.0043162 | 6.05 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4967 | 0.0070852 | 0.53211 | 0.0031295 | 0.5313 | 0.0028306 | SupCrit | 104.264 | 0.0043162 | 1283.3866 | 0.0036439 | 562.7732 | 1283.3867 | 1715.989 | 1.1279 | 2.3034 | 0.66152 | 2.2559 | Flagged Warnings: | 1387.6507 | 0.0023134 | 1191.3166 | 1387.6507 | 2807.8061 | 0.8434 | 0 | 3.5296 | 0.73991 | 1.6868 | Flagged Warnings: | 1263.389 | 265.0271 | 2.6056 | 1409.114 | 375.2424 | 2.0051 | [9 empty] | 1.0349 | 1.0718 | 0.078732 | 0.0040085 | 1.0735 | 1.0343 | 0.12393 | 0.0014159 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:18:41 PM | 62321 | [5 empty] | 62321 | 0.9975 | 0.9975 | 0.99751
5 | 187-1-125-reg2-B--Spectrum--023 | 0.5377 | 0.0044932 | 0.0038234 | 0.0023601 | 104.0157 | 0.0080974 | 0.00072688 | 0.0080849 | 6.053 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5014 | 0.0076327 | 0.5377 | 0.0044932 | 0.53751 | 0.0045447 | SupCrit | 104.2759 | 0.0080849 | 1283.3277 | 0.0076595 | 521.8079 | 1283.3277 | 1559.0228 | 1.0574 | 4.2368 | 0.7649 | 2.1148 | Flagged Warnings: | 1387.6037 | 0.0025879 | 1062.3442 | 1387.6036 | 2498.6928 | 0.83724 | 0 | 3.5037 | 0.75243 | 1.6745 | Flagged Warnings: |  |  |  | 1408.9745 | 340.0369 | 2.1434 | [9 empty] | 1.0306 | 1.0056 | 0.064703 | 0.0040527 | 1.0262 | 1.0014 | 0.0438 | 0.0015762 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:23:03 PM | 62583 | [5 empty] | 62583 | 0.9975 | 0.9975 | 0.99751
6 | 187-1-125-reg2-C--Spectrum--025 | 0.48657 | 0.0062836 | 0.0058261 | 0.0023538 | 103.906 | 0.012646 | 0.00072593 | 0.012657 | 6.053 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.45796 | 0.0081489 | 0.48657 | 0.0062836 | 0.47893 | 0.0071059 | SupCrit | 104.166 | 0.012657 | 1283.5778 | 0.011205 | 204.2775 | 1283.5778 | 643.716 | 1.14 | 2.7132 | 0.71291 | 2.2801 | Flagged Warnings: | 1387.7438 | 0.0058864 | 425.901 | 1387.7438 | 1002.8856 | 0.83945 | 0 | 3.2478 | 0.74781 | 1.6789 | Flagged Warnings: | [15 empty] | 1.0343 | 1.0497 | 0.078271 | 0.011162 | 1.0631 | 1.0548 | 0.106 | 0.003942 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:28:02 PM | 62882 | [5 empty] | 62882 | 0.9975 | 0.9975 | 0.99751
7 | 187-1-125-reg2-D--Spectrum--027 | 0.49808 | 0.006314 | 0.0058583 | 0.002355 | 103.9309 | 0.012647 | 0.00072662 | 0.012657 | 6.058 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46783 | 0.0082375 | 0.49808 | 0.006314 | 0.49247 | 0.0070396 | SupCrit | 104.191 | 0.012657 | 1283.482 | 0.011222 | 189.7937 | 1283.482 | 563.7105 | 1.0767 | 2.7266 | 0.70804 | 2.1534 | Flagged Warnings: | 1387.673 | 0.0058549 | 388.6763 | 1387.673 | 898.5542 | 0.82382 | 0 | 2.7961 | 0.74878 | 1.6476 | Flagged Warnings: | [15 empty] | 1.1091 | 1.131 | 0.23498 | 0.011346 | 1.0776 | 1.0639 | 0.1278 | 0.0042391 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 5:34:46 PM | 63286 | [5 empty] | 63286 | 0.9975 | 0.9975 | 0.99751
8 | 187-1-126-reg1-A--Spectrum--036 | 0.21337 | 0.008086 | 0.0077327 | 0.0023642 | 103.2759 | 0.018811 | 0.00072569 | 0.018844 | 6.06 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20826 | 0.0085353 | 0.21337 | 0.008086 | 0.09244 | 0.012935 | SupCrit | 103.5343 | 0.018844 | 1285.0479 | 0.017224 | 135.676 | 1285.0479 | 282.4574 | 0.73564 | 2.8379 | 0.76853 | 1.4713 | Flagged Warnings: | 1388.5822 | 0.0076441 | 239.0941 | 1388.5822 | 398.3265 | 0.62598 | 0 | 2.4019 | 0.6207 | 1.252 | Flagged Warnings: | [15 empty] | 1.0441 | 1.0957 | 0.064859 | 0.010844 | 1.0245 | 1.0174 | 0.030618 | 0.0052362 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:48:09 PM | 64089 | 1093.4206 | 1646.1629 | 104.2404 | Spline | 2.418 | 64089 | 0.9975 | 0.9975 | 0.99751
9 | 187-1-126-reg2-A--Spectrum--038 | 0.24515 | 0.0058103 | 0.00531 | 0.0023587 | 103.3527 | 0.012776 | 0.00072977 | 0.012787 | 6.057 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.23873 | 0.006674 | 0.24515 | 0.0058103 | 0.14415 | 0.0086775 | SupCrit | 103.6114 | 0.012787 | 1284.8257 | 0.011366 | 179.0731 | 1284.8257 | 404.3817 | 0.79389 | 2.6185 | 0.78038 | 1.5878 | Flagged Warnings: | 1388.4371 | 0.0058584 | 340.7444 | 1388.4371 | 600.3101 | 0.65111 | 0 | 2.6623 | 0.6614 | 1.3022 | Flagged Warnings: | [15 empty] | 1.1064 | 1.1161 | 0.16899 | 0.0088667 | 1.1317 | 1.0782 | 0.17153 | 0.0038217 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:55:37 PM | 64537 | [5 empty] | 64537 | 0.9975 | 0.9975 | 0.99751
10 | 187-1-126-reg2-B--Spectrum--040 | 0.25907 | 0.0037151 | 0.002872 | 0.0023567 | 103.3862 | 0.0068751 | 0.00073844 | 0.0068525 | 6.06 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25197 | 0.0052111 | 0.25907 | 0.0037151 | 0.16622 | 0.0048643 | SupCrit | 103.6449 | 0.0068525 | 1284.7544 | 0.0065406 | 421.0529 | 1284.7544 | 970.8138 | 0.84331 | 3.1682 | 0.68666 | 1.6866 | Flagged Warnings: | 1388.3993 | 0.0020436 | 844.2196 | 1388.3993 | 1499.0219 | 0.65349 | 0 | 2.1586 | 0.67193 | 1.307 | Flagged Warnings: |  |  |  | 1409.8097 | 158.1092 | 0.99377 | [9 empty] | 1.006 | 1.0828 | 0.01014 | 0.0040057 | 1.1471 | 1.1118 | 0.1922 | 0.0015481 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:08:20 PM | 65300 | [5 empty] | 65300 | 0.9975 | 0.9975 | 0.99751
11 | 187-1-126-reg3-A--Spectrum--042 | 0.27566 | 0.0039436 | 0.0031636 | 0.0023545 | 103.4258 | 0.0075262 | 0.00074312 | 0.0075081 | 6.059 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26766 | 0.0054484 | 0.27566 | 0.0039436 | 0.19207 | 0.0052003 | SupCrit | 103.6846 | 0.0075081 | 1284.6431 | 0.0072411 | 425.6722 | 1284.6431 | 1021.9768 | 0.87903 | 3.4334 | 0.68414 | 1.7581 | Flagged Warnings: | 1388.3278 | 0.0019846 | 871.4931 | 1388.3277 | 1596.3976 | 0.66906 | 0 | 2.2241 | 0.69031 | 1.3381 | Flagged Warnings: |  |  |  | 1409.8313 | 171.4141 | 1.1679 | [9 empty] | 1.0703 | 1.1493 | 0.12356 | 0.0041301 | 1.1176 | 1.1101 | 0.15743 | 0.0015354 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:13:38 PM | 65618 | [5 empty] | 65618 | 0.9975 | 0.9975 | 0.99751
12 | 187-1-126-reg3-B--Spectrum--044 | 0.27828 | 0.0047106 | 0.0040801 | 0.0023542 | 103.432 | 0.0096971 | 0.00074932 | 0.0096923 | 6.06 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27012 | 0.0059775 | 0.27828 | 0.0047106 | 0.1961 | 0.0065273 | SupCrit | 103.6909 | 0.0096923 | 1284.6419 | 0.0085082 | 251.3335 | 1284.6419 | 593.7172 | 0.88951 | 2.3401 | 0.61535 | 1.779 | Flagged Warnings: | 1388.3328 | 0.0046423 | 522.1049 | 1388.3328 | 964.4621 | 0.67283 | 0 | 2.708 | 0.6967 | 1.3457 | Flagged Warnings: | [15 empty] | 1.045 | 1.1858 | 0.080073 | 0.0070783 | 1.0905 | 1.0827 | 0.12172 | 0.0025774 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:20:12 PM | 66012 | [5 empty] | 66012 | 0.9975 | 0.9975 | 0.99751
13 | 187-1-126-reg3-C--Spectrum--046 | 0.30087 | 0.0065046 | 0.0060645 | 0.002352 | 103.4854 | 0.014287 | 0.00076299 | 0.014302 | 6.061 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29131 | 0.0073903 | 0.30087 | 0.0065046 | 0.2304 | 0.0092568 | SupCrit | 103.7445 | 0.014302 | 1284.5657 | 0.012861 | 130.698 | 1284.5657 | 311.577 | 0.86997 | 1.8422 | 0.69211 | 1.7399 | Flagged Warnings: | 1388.3102 | 0.0062577 | 260.8309 | 1388.3102 | 482.7097 | 0.69277 | 0 | 2.1595 | 0.62995 | 1.3855 | Flagged Warnings: | [15 empty] | 1.0218 | 1.1017 | 0.037899 | 0.013313 | 1.0167 | 1.0335 | 0.023092 | 0.005312 | PseudoVoigtModel | PseudoVoigtModel | No | March 11, 2024 | March | 11 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:32:17 PM | 66737 | [5 empty] | 66737 | 0.9975 | 0.9975 | 0.99751