## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
30 | FG04-A1-4-start-rep1 | 0.68452 | 0.00438 | 0.003671 | 0.0023893 | 104.3156 | 0.0072272 | 0.00055161 | 0.0072221 | 6.052 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62024 | 0.008842 | 0.68452 | 0.00438 | 0.68463 | 0.0036864 | SupCrit | 104.5458 | 0.0072221 | 1282.7812 | 0.0069768 | 726.4179 | 1282.7812 | 2039.1493 | 0.97357 | 6.0781 | 0.81169 | 1.9471 | Flagged Warnings: | 1387.327 | 0.0018661 | 1465.5473 | 1387.3271 | 3310.4331 | 0.80084 | 0 | 2.7704 | 0.77508 | 1.6017 | Flagged Warnings: |  |  |  | 1408.7109 | 372.5838 | 2.0034 | 1371.0962 | 9.5194 | 0.040018 | 1383.6036 | 360.8836 | 16.5793 |  |  |  | 1.0209 | 1.0122 | 0.040636 | 0.0026805 | 1.062 | 1.0542 | 0.09925 | 0.0010929 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 3, 2024 | December | 3 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:33:42 AM | 41622 | [11 empty] | 41622 | 0.9978 | 0.99779 | 0.9978
31 | FG04-A1-4-start-rep2 | 0.69378 | 0.0029188 | 0.0016732 | 0.0023916 | 104.3337 | 0.0032787 | 0.00054887 | 0.0032396 | 6.069 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62744 | 0.0085546 | 0.69378 | 0.0029188 | 0.69293 | 0.0021965 | SupCrit | 104.5643 | 0.0032396 | 1282.7555 | 0.0029754 | 830.3397 | 1282.7555 | 2309.2078 | 0.97123 | 2.9494 | 0.79791 | 1.9425 | Flagged Warnings: | 1387.3198 | 0.0012814 | 1648.4419 | 1387.3198 | 3782.5821 | 0.81119 | 0 | 2.3639 | 0.78194 | 1.6224 | Flagged Warnings: | 1262.6661 | 344.9985 | 2.9087 | 1408.7974 | 414.9929 | 1.9092 | 1369.634 | 51.843 | 0.40505 | 1388.0815 | 436.9324 | 18.0788 |  |  |  | 1.0298 | 1.0061 | 0.057832 | 0.0023394 | 1.108 | 1.0871 | 0.1752 | 0.00098419 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 3, 2024 | December | 3 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:43:45 AM | 42225 | [11 empty] | 42225 | 0.9978 | 0.99779 | 0.9978
32 | FG04-A1-4-start-rep3 | 0.67674 | 0.0030177 | 0.0018459 | 0.0023873 | 104.3002 | 0.0036484 | 0.00054649 | 0.0036152 | 6.092 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.61415 | 0.0084149 | 0.67674 | 0.0030177 | 0.67757 | 0.0023351 | SupCrit | 104.5308 | 0.0036152 | 1282.8041 | 0.0032082 | 746.6175 | 1282.8041 | 2099.2894 | 0.98501 | 2.8398 | 0.79073 | 1.97 | Flagged Warnings: | 1387.3349 | 0.0016664 | 1503.0367 | 1387.335 | 3429.14 | 0.81078 | 0 | 2.5183 | 0.76808 | 1.6216 | Flagged Warnings: | 1262.6504 | 306.4744 | 2.9499 | 1408.8161 | 390.0787 | 2.1219 |  |  |  | 1381.4374 | 320.528 | 15.4558 |  |  |  | 1.0137 | 1.0242 | 0.027079 | 0.0026386 | 1.0634 | 1.0444 | 0.10285 | 0.0010789 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 3, 2024 | December | 3 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:52:01 AM | 42721 | [11 empty] | 42721 | 0.99779 | 0.99779 | 0.9978
15 | KA961_c110_a1_FIA | 0.18862 | 0.0027938 | 0.0014805 | 0.0023693 | 103.2154 | 0.0036307 | 0.00053004 | 0.0035997 | 6.099 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18431 | 0.0042833 | 0.18862 | 0.0027938 | 0.050907 | 0.0031274 | SupCrit | 103.4443 | 0.0035997 | 1285.2953 | 0.0030956 | 684.7564 | 1285.2954 | 1282.4013 | 0.70148 | 2.6078 | 0.62882 | 1.403 | Flagged Warnings: | 1388.7397 | 0.0018372 | 1310.6107 | 1388.7396 | 1940.7021 | 0.55999 | 0 | 3.4893 | 0.60485 | 1.12 | Flagged Warnings: | 1265.1107 | 137.5 | 0.94161 | 1410.0853 | 225.4061 | 0.85196 | [9 empty] | 1.0697 | 1.0986 | 0.097802 | 0.0020488 | 1.0363 | 1.0063 | 0.04067 | 0.00085455 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:42:53 PM | 45773 | 1150.9011 | 37.5031 | 25.7519 | Spline | [5 empty] | 0.011636 | 0.0050024 | 45773 | 0.99779 | 0.99778 | 0.99779
16 | KA961_c110_a1_FIB | 0.18481 | 0.0027767 | 0.0014465 | 0.0023702 | 103.2061 | 0.0035514 | 0.00052774 | 0.0035198 | 6.088 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18061 | 0.0042567 | 0.18481 | 0.0027767 | 0.044419 | 0.0030907 | SupCrit | 103.435 | 0.0035198 | 1285.2963 | 0.0031136 | 543.5839 | 1285.2964 | 1011.314 | 0.68926 | 1.9993 | 0.65597 | 1.3785 | Flagged Warnings: | 1388.7315 | 0.0016415 | 1028.3112 | 1388.7314 | 1518.0339 | 0.5588 | 0 | 2.3303 | 0.60247 | 1.1176 | Flagged Warnings: | 1265.0543 | 125.0878 | 1.2399 | 1410.1284 | 163.3933 | 0.83067 | [9 empty] | 1.0434 | 1.0865 | 0.059791 | 0.002536 | 1.0655 | 1.03 | 0.073233 | 0.0010868 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:57:42 PM | 46662 | 1150.7538 | 46.3997 | 32.5972 | Spline | [5 empty] | 0.018345 | 0.0078639 | 46662 | 0.99779 | 0.99778 | 0.99779
0 | KA961_c110_a2_FIC_r1 | 0 | 0 | 0 | 0 | 102.7399 | 0.030854 | 0.00052443 | 0.030918 | 9.985 | 1324.964 | 0 | 0 | Y | not in range |  |  | -0.0040882 | 0.012867 | -0.00062075 | 0.012304 | -0.30302 | 0.024617 | SupCrit | 102.9679 | 0.030918 | 1286.4417 | 0.023762 | 53.9132 | 1286.4417 | 51.7906 | 0.45123 | 2.0262 | 8.664e-10 | 0.90245 | Flagged Warnings: | 1389.4096 | 0.01978 | 97.5712 | 1389.4096 | 82.9232 | 0.3654 | 0 | 1.9473 | 0.26267 | 0.7308 | Flagged Warnings: | [15 empty] | 1.195 | 1.2153 | 0.17601 | 0.016739 | 1.2672 | 1.3549 | 0.1953 | 0.0074899 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:04:45 PM | 47085 | [11 empty] | 47085 | 0.99779 | 0.99778 | 0.99779
1 | KA961_c110_a2_FIC_r2 | 0 | 0 | 0 | 0 | 102.7558 | 0.022945 | 0.00052346 | 0.02299 | 9.978 | 1324.964 | 0 | 0 | Y | not in range |  |  | 0.0021828 | 0.0099265 | 0.0055679 | 0.0092993 | -0.29046 | 0.018279 | SupCrit | 102.9838 | 0.02299 | 1286.4082 | 0.016432 | 67.091 | 1286.4082 | 64.0797 | 0.44864 | 1.6218 | 1.7142e-10 | 0.89727 | Flagged Warnings: | 1389.392 | 0.016079 | 118.52 | 1389.392 | 104.8461 | 0.37546 | 0 | 1.5402 | 0.29915 | 0.75092 | Flagged Warnings: | [15 empty] | 1.094 | 1.0995 | 0.084307 | 0.013374 | 1.2975 | 1.3738 | 0.22341 | 0.0063358 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:13:45 PM | 47625 | [11 empty] | 47625 | 0.99779 | 0.99778 | 0.99779
2 | KA961_c110_a2_FIC_r3 | 0.0085845 | 0.017539 | 0.017086 | 0.0039587 | 102.7719 | 0.043121 | 0.00052291 | 0.043213 | 9.972 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0085845 | 0.017539 | 0.011891 | 0.017057 | -0.2777 | 0.034053 | SupCrit | 103.0001 | 0.043213 | 1286.4099 | 0.038467 | 34.117 | 1286.4099 | 38.4696 | 0.52964 | 1.8568 | 4.7434e-09 | 1.0593 | Flagged Warnings: | 1389.4099 | 0.019689 | 69.5237 | 1389.4099 | 57.2837 | 0.37114 | 0 | 1.4848 | 0.12729 | 0.74229 | Flagged Warnings: | [15 empty] | 1.1465 | 1.1587 | 0.15518 | 0.031049 | 1.2446 | 1.2881 | 0.18159 | 0.010677 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:19:55 PM | 47995 | [11 empty] | 47995 | 0.99779 | 0.99778 | 0.99779
17 | KA961_c111_a1_FIB | 0.4301 | 0.0029508 | 0.0017851 | 0.0023496 | 103.7818 | 0.0039784 | 0.00052684 | 0.0039521 | 6.032 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40874 | 0.0060924 | 0.4301 | 0.0029508 | 0.40947 | 0.0028444 | SupCrit | 104.0122 | 0.0039521 | 1283.93 | 0.0033263 | 1030.9002 | 1283.9301 | 2996.5504 | 1.1092 | 3.7263 | 0.58387 | 2.2185 | Flagged Warnings: | 1387.9424 | 0.0021343 | 2237.9856 | 1387.9423 | 4831.2582 | 0.78309 | 0 | 5.2664 | 0.7071 | 1.5662 | Flagged Warnings: | 1263.6906 | 425.2275 | 2.4215 | 1409.3599 | 548.1821 | 1.5011 | [9 empty] | 1.1595 | 1.1586 | 0.35393 | 0.002152 | 1.0596 | 1.0795 | 0.093348 | 0.00069981 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:34:26 PM | 48866 | 1150.1938 | 118.7331 | 90.3268 | Spline | [5 empty] | 0.015168 | 0.0065111 | 48866 | 0.99778 | 0.99778 | 0.99779
18 | KA961_c111_a1_FIA | 0.49556 | 0.0065404 | 0.0061019 | 0.0023547 | 103.9255 | 0.013188 | 0.00052726 | 0.013207 | 6.04 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46567 | 0.0083506 | 0.49556 | 0.0065404 | 0.48952 | 0.0073395 | SupCrit | 104.1563 | 0.013207 | 1283.5836 | 0.011619 | 219.992 | 1283.5836 | 672.3251 | 1.1367 | 2.3242 | 0.64587 | 2.2733 | Flagged Warnings: | 1387.7399 | 0.0062789 | 492.6246 | 1387.7399 | 1146.0622 | 0.82085 | 0 | 3.4599 | 0.77197 | 1.6417 | Flagged Warnings: | [15 empty] | 1.1648 | 1.0709 | 0.3746 | 0.010334 | 1.1199 | 1.0772 | 0.19686 | 0.0033326 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:39:12 PM | 49152 | 1150.1054 | 30.7968 | 21.947 | Spline | [5 empty] | 0.016936 | 0.0072646 | 49152 | 0.99778 | 0.99778 | 0.99779
19 | KA961_c111_a1_FIC | 0.5396 | 0.0067744 | 0.0063499 | 0.0023604 | 104.0197 | 0.013435 | 0.00052742 | 0.013455 | 6.039 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.50299 | 0.00875 | 0.5396 | 0.0067744 | 0.53961 | 0.0072028 | SupCrit | 104.2507 | 0.013455 | 1283.4228 | 0.012191 | 219.8968 | 1283.4228 | 671.9471 | 1.1185 | 2.5451 | 0.68487 | 2.2369 | Flagged Warnings: | 1387.6735 | 0.0056932 | 485.9822 | 1387.6735 | 1093.2308 | 0.78719 | 0 | 3.1179 | 0.79112 | 1.5744 | Flagged Warnings: | [15 empty] | 1.041 | 1.0195 | 0.09165 | 0.010173 | 1.0042 | 1.0502 | 0.006643 | 0.0032396 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:45:04 PM | 49504 | [11 empty] | 49504 | 0.99778 | 0.99778 | 0.99779
3 | KA961_c112_a1_FIA | 0.17953 | 0.0065716 | 0.0061288 | 0.0023714 | 103.1931 | 0.015072 | 0.00052267 | 0.015096 | 6.036 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17547 | 0.0071849 | 0.17953 | 0.0065716 | 0.035369 | 0.010689 | SupCrit | 103.4223 | 0.015096 | 1285.3836 | 0.013702 | 93.2597 | 1285.3836 | 160.2472 | 0.62748 | 1.6238 | 0.69047 | 1.255 | Flagged Warnings: | 1388.8059 | 0.0063368 | 178.1345 | 1388.8059 | 247.7965 | 0.5165 | 0 | 1.7468 | 0.65005 | 1.033 | Flagged Warnings: | [15 empty] | 1.1933 | 1.1848 | 0.24255 | 0.013457 | 1.2866 | 1.3131 | 0.2961 | 0.0057989 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:02:13 PM | 50533 | [11 empty] | 50533 | 0.99778 | 0.99778 | 0.99779
4 | KA961_c112_a1_FIB | 0.16663 | 0.0063154 | 0.004921 | 0.0039584 | 103.1708 | 0.012419 | 0.0005225 | 0.012436 | 9.991 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16663 | 0.0063154 | 0.17047 | 0.0055675 | 0.019744 | 0.0089297 | SupCrit | 103.4 | 0.012436 | 1285.3783 | 0.011349 | 127.0753 | 1285.3783 | 215.5671 | 0.65014 | 1.5858 | 0.57108 | 1.3003 | Flagged Warnings: | 1388.7783 | 0.005083 | 237.8726 | 1388.7783 | 320.8457 | 0.52369 | 0 | 1.7586 | 0.538 | 1.0474 | Flagged Warnings: | [15 empty] | 1.1595 | 1.1285 | 0.20734 | 0.010232 | 1.0029 | 1.0022 | 0.0030097 | 0.0044031 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:07:56 PM | 50876 | [11 empty] | 50876 | 0.99778 | 0.99778 | 0.99779
20 | KA961_c113_a1_FIA | 0.45467 | 0.0031214 | 0.0020531 | 0.0023511 | 103.8362 | 0.0045241 | 0.00052605 | 0.0045034 | 6.017 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.43031 | 0.0063757 | 0.45467 | 0.0031214 | 0.44032 | 0.00305 | SupCrit | 104.067 | 0.0045034 | 1283.8476 | 0.003742 | 588.1747 | 1283.8476 | 1779.3503 | 1.1417 | 2.2662 | 0.61143 | 2.2834 | Flagged Warnings: | 1387.9147 | 0.0025056 | 1310.7538 | 1387.9146 | 2873.1202 | 0.79055 | 0 | 3.7473 | 0.72098 | 1.5811 | Flagged Warnings: | 1263.8155 | 244.3082 | 2.0893 | 1409.3222 | 333.6146 | 1.6277 | [9 empty] | 1.0901 | 1.1058 | 0.20565 | 0.0038822 | 1.0769 | 1.0997 | 0.12162 | 0.0012063 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:24:38 PM | 51878 | [11 empty] | 51878 | 0.99778 | 0.99778 | 0.99779
5 | KA961_c114_a1_FIA | 0.094329 | 0.0047359 | 0.0028235 | 0.0038021 | 102.9883 | 0.0071258 | 0.00052227 | 0.0071224 | 10.005 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.094329 | 0.0047359 | 0.097225 | 0.0037105 | -0.11211 | 0.0056288 | SupCrit | 103.2172 | 0.0071224 | 1285.8381 | 0.0066738 | 241.6744 | 1285.8381 | 340.2427 | 0.55344 | 2.2829 | 0.50599 | 1.1069 | Flagged Warnings: | 1389.0553 | 0.0024876 | 424.5944 | 1389.0553 | 502.3494 | 0.4604 | 0 | 1.3634 | 0.53231 | 0.92081 | Flagged Warnings: |  |  |  | 1410.3586 | 59.7472 | 0.51195 | [9 empty] | 1.0423 | 1.0595 | 0.046769 | 0.00458 | 1.0147 | 1.0162 | 0.013492 | 0.0021687 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:37:47 PM | 52667 | [11 empty] | 52667 | 0.99778 | 0.99778 | 0.99779
21 | KA961_c115_a1_FIA | 0.14861 | 0.0041929 | 0.0015508 | 0.0038955 | 103.1253 | 0.0039139 | 0.00052337 | 0.0038873 | 9.999 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14861 | 0.0041929 | 0.15208 | 0.0028545 | -0.012459 | 0.0033661 | SupCrit | 103.3545 | 0.0038873 | 1285.4858 | 0.0034712 | 461.3853 | 1285.4859 | 777.3695 | 0.63944 | 1.8596 | 0.59581 | 1.2789 | Flagged Warnings: | 1388.8404 | 0.00175 | 896.2118 | 1388.8403 | 1204.4865 | 0.49949 | 0 | 2.3602 | 0.64796 | 0.99897 | Flagged Warnings: | 1265.1768 | 72.7879 | 1.0757 | 1410.1799 | 154.4723 | 0.83614 | [9 empty] | 1.1909 | 1.2078 | 0.24412 | 0.0027718 | 1.2045 | 1.202 | 0.20434 | 0.0011147 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:44:40 PM | 53080 | 1150.7243 | 59.7011 | 43.0091 | Spline | [5 empty] | 0.030124 | 0.012849 | 53080 | 0.99778 | 0.99778 | 0.99779
22 | KA961_c150_a1_FIA | 0.46981 | 0.0039988 | 0.0032338 | 0.0023522 | 103.8695 | 0.0070754 | 0.00052826 | 0.0070713 | 6.017 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.44349 | 0.0068628 | 0.46981 | 0.0039988 | 0.45885 | 0.0042654 | SupCrit | 104.1003 | 0.0070713 | 1283.7195 | 0.0066043 | 490.0153 | 1283.7195 | 1437.7055 | 1.101 | 3.0357 | 0.62618 | 2.2021 | Flagged Warnings: | 1387.8199 | 0.0025271 | 1058.7751 | 1387.8199 | 2330.8858 | 0.77926 | 0 | 3.1832 | 0.76525 | 1.5585 | Flagged Warnings: | 1263.3347 | 227.4055 | 2.714 | 1409.2738 | 280.1736 | 1.7966 | [9 empty] | 1.0229 | 1.0348 | 0.050429 | 0.0044938 | 1.1196 | 1.1136 | 0.18646 | 0.001472 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:58:47 PM | 53927 | 1150.1349 | 29.4705 | 29.1889 | Spline | [5 empty] | 0.00782 | 0.0033675 | 53927 | 0.99778 | 0.99778 | 0.99779
6 | KA961_c150_a1_FIB | 0.41851 | 0.006715 | 0.0062907 | 0.0023491 | 103.7559 | 0.014094 | 0.00052822 | 0.014115 | 6.013 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39847 | 0.0080343 | 0.41851 | 0.006715 | 0.39456 | 0.0083249 | SupCrit | 103.9865 | 0.014115 | 1283.9827 | 0.012437 | 182.703 | 1283.9827 | 531.1787 | 1.0864 | 2.3851 | 0.63444 | 2.1727 | Flagged Warnings: | 1387.9692 | 0.0066749 | 390.7334 | 1387.9692 | 844.4775 | 0.76429 | 0 | 2.9118 | 0.76671 | 1.5286 | Flagged Warnings: | [15 empty] | 1.0015 | 1.0045 | 0.0033375 | 0.011892 | 1.0134 | 1.0233 | 0.020426 | 0.0039121 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:04:15 PM | 54255 | [11 empty] | 54255 | 0.99778 | 0.99778 | 0.99779
7 | KA961_c150_a2_FIC | 0.4686 | 0.011017 | 0.010763 | 0.0023521 | 103.8668 | 0.023563 | 0.00053017 | 0.023609 | 6.011 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.44243 | 0.011237 | 0.4686 | 0.011017 | 0.45738 | 0.013171 | SupCrit | 104.0977 | 0.023609 | 1283.7796 | 0.022535 | 89.8884 | 1283.7796 | 290.5766 | 1.2422 | 1.8609 | 0.56431 | 2.4845 | Flagged Warnings: | 1387.8773 | 0.0070405 | 211.1254 | 1387.8773 | 477.5768 | 0.82046 | 0 | 1.7402 | 0.70677 | 1.6409 | Flagged Warnings: | [15 empty] | 1.1726 | 1.0773 | 0.42884 | 0.027639 | 1.0334 | 1.0072 | 0.054812 | 0.0077723 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:16:21 PM | 54981 | [11 empty] | 54981 | 0.99778 | 0.99778 | 0.99779
8 | KA961_c150_a3_FID | 0.4994 | 0.012936 | 0.01272 | 0.0023552 | 103.9338 | 0.027442 | 0.00053118 | 0.027498 | 6.007 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46896 | 0.012694 | 0.4994 | 0.012936 | 0.49401 | 0.014915 | SupCrit | 104.1648 | 0.027498 | 1283.6507 | 0.025769 | 76.9602 | 1283.6507 | 227.5748 | 1.1173 | 1.8222 | 0.60672 | 2.2347 | Flagged Warnings: | 1387.8156 | 0.0095961 | 156.1115 | 1387.8156 | 359.853 | 0.85348 | 0 | 1.7502 | 0.6569 | 1.707 | Flagged Warnings: | [15 empty] | 1.201 | 1.133 | 0.44914 | 0.029037 | 1.0418 | 1.0877 | 0.071407 | 0.010934 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:21:29 PM | 55289 | [11 empty] | 55289 | 0.99778 | 0.99778 | 0.99779
9 | KA961_c150_a3_FIE | 0.43917 | 0.012094 | 0.011864 | 0.0023501 | 103.802 | 0.02633 | 0.00053174 | 0.026383 | 6.013 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.41673 | 0.012021 | 0.43917 | 0.012094 | 0.42096 | 0.015058 | SupCrit | 104.0327 | 0.026383 | 1283.7937 | 0.025024 | 82.1936 | 1283.7937 | 244.7305 | 1.1564 | 1.8434 | 0.53711 | 2.3129 | Flagged Warnings: | 1387.8265 | 0.0083574 | 183.2305 | 1387.8265 | 420.787 | 0.84645 | 0 | 1.8314 | 0.66794 | 1.6929 | Flagged Warnings: | [15 empty] | 1.2197 | 1.067 | 0.50825 | 0.02814 | 1.018 | 1.0556 | 0.030472 | 0.0092392 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:30:06 PM | 55806 | [11 empty] | 55806 | 0.99778 | 0.99778 | 0.99779
23 | KA961_c151_a1_FIA | 0.17266 | 0.0037199 | 0.0028647 | 0.002373 | 103.1762 | 0.0070597 | 0.00053068 | 0.0070554 | 5.998 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.16877 | 0.004854 | 0.17266 | 0.0037199 | 0.023535 | 0.0052956 | SupCrit | 103.4056 | 0.0070554 | 1285.3853 | 0.006735 | 527.2445 | 1285.3854 | 931.3279 | 0.65242 | 4.3621 | 0.6632 | 1.3048 | Flagged Warnings: | 1388.7911 | 0.0021021 | 973.6819 | 1388.791 | 1349.3087 | 0.5274 | 0 | 2.8906 | 0.58878 | 1.0548 | Flagged Warnings: | 1265.177 | 96.9467 | 0.97704 | 1410.1252 | 117.9323 | 0.78544 | [9 empty] | 1.1743 | 1.1437 | 0.22739 | 0.0024748 | 1.1175 | 1.1265 | 0.12391 | 0.0010833 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:43:17 PM | 56597 | 1150.8127 | 61.0954 | 45.4928 | Spline | [5 empty] | 0.026789 | 0.011442 | 56597 | 0.99778 | 0.99778 | 0.99779
24 | KA961_c152_a1_FIA | 0.14904 | 0.0040931 | 0.0012523 | 0.0038968 | 103.1264 | 0.0031605 | 0.00053168 | 0.0031224 | 6.009 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14904 | 0.0040931 | 0.15252 | 0.0026984 | -0.011675 | 0.0029356 | SupCrit | 103.3557 | 0.0031224 | 1285.4989 | 0.0027634 | 642.9563 | 1285.499 | 1088.0177 | 0.64123 | 2.3168 | 0.59995 | 1.2825 | Flagged Warnings: | 1388.8548 | 0.0014535 | 1228.5211 | 1388.8547 | 1651.598 | 0.49578 | 0 | 2.3525 | 0.66685 | 0.99156 | Flagged Warnings: | 1265.2562 | 137.6019 | 0.8253 | 1410.2381 | 193.4489 | 0.69504 | [9 empty] | 1.1504 | 1.1466 | 0.19291 | 0.0019946 | 1.2508 | 1.2667 | 0.24872 | 0.00080712 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:50:12 PM | 57012 | [11 empty] | 57012 | 0.99778 | 0.99778 | 0.99779
10 | KA961_c153_a1_FIA | 0.19802 | 0.011888 | 0.01165 | 0.0023673 | 103.2384 | 0.028482 | 0.00053398 | 0.028541 | 9.955 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.19343 | 0.012 | 0.19802 | 0.011888 | 0.066811 | 0.019701 | SupCrit | 103.4681 | 0.028541 | 1285.1947 | 0.025968 | 74.8705 | 1285.1947 | 159.778 | 0.75043 | 2.1586 | 0.77984 | 1.5009 | Flagged Warnings: | 1388.6627 | 0.011842 | 134.2876 | 1388.6627 | 218.6454 | 0.60785 | 0 | 2.0924 | 0.63663 | 1.2157 | Flagged Warnings: | [15 empty] | 1.0043 | 1.0798 | 0.0064832 | 0.020046 | 1.0267 | 1.1255 | 0.032418 | 0.0090529 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:59:01 PM | 57541 | [11 empty] | 57541 | 0.99778 | 0.99778 | 0.99779
25 | KA961_c153_a1_FIB | 0.22482 | 0.0036188 | 0.0027417 | 0.0023621 | 103.3037 | 0.0066437 | 0.00053553 | 0.0066368 | 9.981 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21928 | 0.0049769 | 0.22482 | 0.0036188 | 0.11129 | 0.0048409 | SupCrit | 103.5335 | 0.0066368 | 1285.0701 | 0.006327 | 580.7105 | 1285.0702 | 1212.1656 | 0.78236 | 3.0944 | 0.62763 | 1.5647 | Flagged Warnings: | 1388.6037 | 0.002004 | 1158.8011 | 1388.6036 | 1867.432 | 0.59963 | 0 | 2.8483 | 0.6451 | 1.1993 | Flagged Warnings: | 1264.8941 | 151.0054 | 1.4814 | 1410.0362 | 205.8657 | 0.9304 | [9 empty] | 1.0396 | 1.123 | 0.061901 | 0.0026945 | 1.1202 | 1.045 | 0.14419 | 0.0010349 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:04:49 PM | 57889 | [11 empty] | 57889 | 0.99778 | 0.99778 | 0.99779
11 | KA961_c153_a2_FIC | 0.13625 | 0.0079415 | 0.0069395 | 0.0038613 | 103.0941 | 0.017513 | 0.00053588 | 0.017544 | 9.981 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13625 | 0.0079415 | 0.13952 | 0.0074317 | -0.034793 | 0.012742 | SupCrit | 103.3235 | 0.017544 | 1285.5187 | 0.016478 | 107.9475 | 1285.5187 | 179.2448 | 0.614 | 2.1152 | 0.66009 | 1.228 | Flagged Warnings: | 1388.8422 | 0.0060224 | 203.7385 | 1388.8422 | 266.7636 | 0.50203 | 0 | 1.8466 | 0.56998 | 1.0041 | Flagged Warnings: | [15 empty] | 1.1275 | 1.1681 | 0.15662 | 0.011376 | 1.1768 | 1.1658 | 0.17757 | 0.0049281 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:11:22 PM | 58282 | [11 empty] | 58282 | 0.99778 | 0.99777 | 0.99779
26 | KA961_c154_a1_FIA | 0.19117 | 0.0029192 | 0.0017061 | 0.0023687 | 103.2217 | 0.0041804 | 0.00053804 | 0.0041549 | 9.956 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18679 | 0.0043721 | 0.19117 | 0.0029192 | 0.055235 | 0.0034361 | SupCrit | 103.4514 | 0.0041549 | 1285.2808 | 0.0037304 | 508.4041 | 1285.2809 | 936.2105 | 0.69588 | 2.3883 | 0.6069 | 1.3918 | Flagged Warnings: | 1388.7323 | 0.0018295 | 983.9572 | 1388.7322 | 1459.0209 | 0.55896 | 0 | 2.5389 | 0.6129 | 1.1179 | Flagged Warnings: | 1265.1657 | 115.7539 | 0.98032 | 1410.0859 | 162.7835 | 0.83251 | 1368.2926 | 70.1141 | 0.1632 | [6 empty] | 1.0576 | 1.1073 | 0.080101 | 0.0027375 | 1.0364 | 1.0021 | 0.040708 | 0.0011361 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:17:50 PM | 58670 | [11 empty] | 58670 | 0.99778 | 0.99777 | 0.99778
12 | KA961_c155_a1_FIA | 0.19706 | 0.0061802 | 0.0057087 | 0.0023675 | 103.2361 | 0.013962 | 0.0005402 | 0.013982 | 9.975 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.1925 | 0.0068706 | 0.19706 | 0.0061802 | 0.065198 | 0.0097978 | SupCrit | 103.4659 | 0.013982 | 1285.2756 | 0.012618 | 136.892 | 1285.2756 | 252.266 | 0.66699 | 2.0924 | 0.71181 | 1.334 | Flagged Warnings: | 1388.7415 | 0.0060243 | 267.4241 | 1388.7415 | 378.8718 | 0.52105 | 0 | 2.1748 | 0.67326 | 1.0421 | Flagged Warnings: | [15 empty] | 1.248 | 1.1996 | 0.33077 | 0.0097448 | 1.0769 | 1.0494 | 0.080162 | 0.0038968 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:26:21 PM | 59181 | [11 empty] | 59181 | 0.99778 | 0.99777 | 0.99778
27 | KA961_c156_a1_FIA | 0.21744 | 0.0041404 | 0.0033996 | 0.0023634 | 103.2857 | 0.0082588 | 0.00054264 | 0.0082593 | 9.969 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21218 | 0.0053097 | 0.21744 | 0.0041404 | 0.099163 | 0.0058961 | SupCrit | 103.5157 | 0.0082593 | 1285.1026 | 0.0078609 | 632.094 | 1285.1027 | 1288.0573 | 0.75449 | 5.4163 | 0.6573 | 1.509 | Flagged Warnings: | 1388.6184 | 0.0025342 | 1198.0018 | 1388.6184 | 1936.8342 | 0.60469 | 0 | 3.6494 | 0.63226 | 1.2094 | Flagged Warnings: | 1264.935 | 128.1162 | 0.9826 | 1410.0106 | 202.2054 | 0.87735 | [9 empty] | 1.0132 | 1.0735 | 0.019942 | 0.0023873 | 1.1217 | 1.0492 | 0.14723 | 0.0010095 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:34:46 PM | 59686 | [11 empty] | 59686 | 0.99778 | 0.99777 | 0.99778
13 | KA961_c157_a1_FIA | 0.14486 | 0.0063276 | 0.004995 | 0.0038844 | 103.1159 | 0.012606 | 0.00054495 | 0.012622 | 9.994 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14486 | 0.0063276 | 0.14827 | 0.005609 | -0.0192 | 0.0092066 | SupCrit | 103.3456 | 0.012622 | 1285.4906 | 0.01078 | 158.2873 | 1285.4906 | 270.5082 | 0.59014 | 2.0634 | 0.82163 | 1.1803 | Flagged Warnings: | 1388.8361 | 0.0065657 | 295.1232 | 1388.8361 | 385.8181 | 0.4651 | 0 | 2.1298 | 0.75262 | 0.93019 | Flagged Warnings: | [15 empty] | 1.1848 | 1.2091 | 0.21817 | 0.0074565 | 1.2458 | 1.2571 | 0.22863 | 0.0031519 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:46:22 PM | 60382 | [11 empty] | 60382 | 0.99778 | 0.99777 | 0.99778
28 | KA961_c158_a1_FIA | 0.18204 | 0.0027535 | 0.0014003 | 0.0023708 | 103.1993 | 0.0034411 | 0.0005488 | 0.0034046 | 9.992 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.17791 | 0.004231 | 0.18204 | 0.0027535 | 0.039675 | 0.003035 | SupCrit | 103.4293 | 0.0034046 | 1285.2923 | 0.0030113 | 890.4535 | 1285.2923 | 1704.7851 | 0.70887 | 3.4686 | 0.65732 | 1.4177 | Flagged Warnings: | 1388.7216 | 0.0015885 | 1719.0666 | 1388.7216 | 2573.7908 | 0.55768 | 0 | 3.9602 | 0.64243 | 1.1154 | Flagged Warnings: | 1264.9848 | 186.9607 | 1.113 | 1410.0767 | 279.8729 | 0.81616 | [9 empty] | 1.1373 | 1.1777 | 0.19459 | 0.0015922 | 1.0865 | 1.0452 | 0.096429 | 0.00064882 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:57:52 PM | 61072 | 1150.7243 | 223.6376 | 147.1769 | Spline | [5 empty] | 0.052269 | 0.022085 | 61072 | 0.99778 | 0.99777 | 0.99778
29 | KA961_c158_a2_FIB | 0.09239 | 0.0046309 | 0.0026445 | 0.0038016 | 102.9834 | 0.0066741 | 0.00054951 | 0.0066663 | 9.978 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.09239 | 0.0046309 | 0.09528 | 0.0035747 | -0.11574 | 0.0053223 | SupCrit | 103.213 | 0.0066663 | 1285.8074 | 0.0062663 | 403.547 | 1285.8075 | 578.9087 | 0.55687 | 3.3718 | 0.53864 | 1.1137 | Flagged Warnings: | 1389.0206 | 0.0022743 | 728.19 | 1389.0205 | 857.4987 | 0.45449 | 0 | 2.1398 | 0.55335 | 0.90897 | Flagged Warnings: | 1265.5746 | 54.5099 | 0.7166 | 1410.3793 | 90.7726 | 0.64282 | [9 empty] | 1.0627 | 1.0323 | 0.069807 | 0.0027599 | 1.0376 | 1.0587 | 0.034172 | 0.0012483 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:03:52 PM | 61432 | [11 empty] | 61432 | 0.99778 | 0.99777 | 0.99778
14 | KA961_c159_a1_FIA | 0.012993 | 0.0083805 | 0.0073956 | 0.0039419 | 102.783 | 0.018664 | 0.00055336 | 0.018698 | 9.984 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.012993 | 0.0083805 | 0.016248 | 0.0077041 | -0.26894 | 0.014805 | SupCrit | 103.0124 | 0.018698 | 1286.3861 | 0.012703 | 98.1976 | 1286.3861 | 88.6363 | 0.42398 | 1.9014 | 6.184e-08 | 0.84797 | Flagged Warnings: | 1389.3985 | 0.01372 | 139.4235 | 1389.3985 | 123.3265 | 0.41549 | 0 | 2.1768 | 1.0767e-08 | 0.83098 | Flagged Warnings: | [15 empty] | 1.0644 | 1.0765 | 0.054615 | 0.0086353 | 1.2381 | 1.2602 | 0.19785 | 0.0059601 | PseudoVoigtModel | PseudoVoigtModel | No | December 3, 2024 | December | 3 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:18:57 PM | 62337 | [11 empty] | 62337 | 0.99777 | 0.99777 | 0.99778
33 | FG04-A1-4-end-rep4 | 0.68545 | 0.0048942 | 0.0042713 | 0.0023895 | 104.3174 | 0.0084052 | 0.00056726 | 0.0084047 | 6.042 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62096 | 0.0090124 | 0.68545 | 0.0048942 | 0.68547 | 0.0041754 | SupCrit | 104.5504 | 0.0084047 | 1282.7456 | 0.0079876 | 458.2339 | 1282.7456 | 1290.5223 | 0.9411 | 4.3097 | 0.89531 | 1.8822 | Flagged Warnings: | 1387.296 | 0.002615 | 897.9511 | 1387.296 | 2029.174 | 0.80279 | 0 | 2.2324 | 0.76895 | 1.6056 | Flagged Warnings: |  |  |  | 1408.6875 | 233.2816 | 1.9936 |  |  |  | 1380.3714 | 176.8335 | 13.3273 |  |  |  | 1.0626 | 1.0347 | 0.11785 | 0.0041075 | 1.0882 | 1.071 | 0.14157 | 0.001788 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 3, 2024 | December | 3 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:34:47 PM | 63287 |  |  |  |  | 1095.413 | 121.4335 | 15.6331 | Spline | 0.03658 |  |  | 63287 | 0.99777 | 0.99777 | 0.99778
34 | FG04-A1-4-end-rep5 | 0.68436 | 0.0048512 | 0.0042221 | 0.0023892 | 104.3152 | 0.0083129 | 0.00056867 | 0.008312 | 6.032 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62011 | 0.0089892 | 0.68436 | 0.0048512 | 0.68449 | 0.0041401 | SupCrit | 104.5483 | 0.008312 | 1282.7503 | 0.0078146 | 423.1213 | 1282.7503 | 1173.4136 | 0.94894 | 3.6936 | 0.84237 | 1.8979 | Flagged Warnings: | 1387.2987 | 0.0028321 | 842.888 | 1387.2986 | 1896.1926 | 0.80115 | 0 | 2.0813 | 0.77026 | 1.6023 | Flagged Warnings: |  |  |  | 1408.7815 | 193.8952 | 1.8115 |  |  |  | 1386.9382 | 347.2615 | 19.9895 |  |  |  | 1.0939 | 1.0024 | 0.17825 | 0.0044854 | 1.0886 | 1.0599 | 0.14189 | 0.001901 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 3, 2024 | December | 3 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:38:38 PM | 63518 | [11 empty] | 63518 | 0.99777 | 0.99777 | 0.99778
35 | FG04-A1-4-end-rep6 | 0.66644 | 0.0056547 | 0.0051272 | 0.0023849 | 104.2798 | 0.010186 | 0.00056993 | 0.010193 | 6.024 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.60607 | 0.00913 | 0.66644 | 0.0056547 | 0.6681 | 0.0050167 | SupCrit | 104.5129 | 0.010193 | 1282.8094 | 0.0083216 | 350.2426 | 1282.8094 | 988.9537 | 0.96484 | 3.2011 | 0.84549 | 1.9297 | Flagged Warnings: | 1387.3223 | 0.0058864 | 686.5178 | 1387.3223 | 1627.7104 | 0.81283 | 0 | 4.31 | 0.83809 | 1.6257 | Flagged Warnings: | [15 empty] | 1.023 | 1.0329 | 0.044321 | 0.0055096 | 1.0269 | 1.0131 | 0.043664 | 0.002368 | PseudoVoigtModel | PseudoVoigtModel | Yes | December 3, 2024 | December | 3 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 5:42:29 PM | 63749 | [11 empty] | 63749 | 0.99777 | 0.99776 | 0.99778