## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-124-reg1-A--Spectrum--013 | 0.48654 | 0.0088012 | 0.0084806 | 0.0023538 | 103.9059 | 0.018408 | 0.0025553 | 0.018271 | 6.002 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.45793 | 0.0097209 | 0.48654 | 0.0088012 | 0.4789 | 0.01019 | SupCrit | 104.1375 | 0.018271 | 1283.7716 | 0.017177 | 204.2592 | 1283.7716 | 630.0071 | 1.1792 | 2.4586 | 0.57715 | 2.3585 | Flagged Warnings: | 1387.9091 | 0.0062264 | 431.6213 | 1387.9091 | 1002.823 | 0.86641 | 0 | 3.1922 | 0.63941 | 1.7328 | Flagged Warnings: | [15 empty] | 1.0835 | 1.0511 | 0.19683 | 0.011547 | 1.0235 | 1.0392 | 0.040692 | 0.0040147 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:44:16 PM | 49456 | 1095.4259 | 1090.677 | 77.2152 | Spline | 0.66797 | 49456 | 0.99778 | 0.99775 | 0.9978
1 | 187-1-124-reg1-B--Spectrum--015 | 0.57869 | 0.0032068 | 0.0021639 | 0.0023667 | 104.1016 | 0.0044915 | 0.0025396 | 0.0037128 | 5.978 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53546 | 0.0075416 | 0.57869 | 0.0032068 | 0.58164 | 0.0027983 | SupCrit | 104.3344 | 0.0037128 | 1283.391 | 0.0031862 | 639.595 | 1283.391 | 1835.3805 | 1.0627 | 1.9867 | 0.65802 | 2.1254 | Flagged Warnings: | 1387.7255 | 0.001906 | 1365.2785 | 1387.7255 | 3058.9056 | 0.78825 | 0 | 3.0328 | 0.77936 | 1.5765 | Flagged Warnings: | 1263.083 | 226.1573 | 2.4125 | 1409.2217 | 323.2999 | 1.7931 | [9 empty] | 1.0503 | 1.0253 | 0.10696 | 0.003323 | 1.0169 | 1.0195 | 0.026664 | 0.0011547 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 1:52:50 PM | 49970 | [5 empty] | 49970 | 0.99777 | 0.99774 | 0.99779
2 | 187-1-124-reg1-C--Spectrum--019 | 0.56276 | 0.0064133 | 0.0059617 | 0.0023639 | 104.0684 | 0.012472 | 0.0025224 | 0.012242 | 5.97 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5223 | 0.0087096 | 0.56276 | 0.0064133 | 0.56478 | 0.0065867 | SupCrit | 104.3019 | 0.012242 | 1283.4502 | 0.011189 | 219.0272 | 1283.4502 | 631.653 | 1.0223 | 2.6828 | 0.76108 | 2.0446 | Flagged Warnings: | 1387.7521 | 0.0049651 | 474.5763 | 1387.7521 | 1072.0943 | 0.79329 | 0 | 3.0139 | 0.78302 | 1.5866 | Flagged Warnings: | [15 empty] | 1.087 | 1.0023 | 0.17779 | 0.0093349 | 1.0042 | 1.0268 | 0.0066246 | 0.0033432 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:00:28 PM | 50428 | [5 empty] | 50428 | 0.99776 | 0.99774 | 0.99779
3 | 187-1-124-reg1-D--Spectrum--021 | 0.5776 | 0.0036165 | 0.0027347 | 0.0023665 | 104.0993 | 0.0056794 | 0.0025122 | 0.005105 | 5.962 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53456 | 0.007656 | 0.5776 | 0.0036165 | 0.5805 | 0.0033044 | SupCrit | 104.3334 | 0.005105 | 1283.3894 | 0.0047461 | 649.2029 | 1283.3895 | 1895.7931 | 1.078 | 2.918 | 0.66586 | 2.1559 | Flagged Warnings: | 1387.7229 | 0.0018805 | 1391.4946 | 1387.7229 | 3156.8351 | 0.80768 | 0 | 3.1057 | 0.75163 | 1.6154 | Flagged Warnings: | 1263.0976 | 232.6768 | 2.3409 | 1409.2026 | 333.0659 | 1.7343 | [9 empty] | 1.0565 | 1.0202 | 0.1219 | 0.0033209 | 1.0104 | 1.0295 | 0.016757 | 0.0011609 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:06:06 PM | 50766 | [5 empty] | 50766 | 0.99776 | 0.99773 | 0.99778
4 | 187-1-124-reg1-E--Spectrum--025 | 0.45924 | 0.0090077 | 0.0086953 | 0.0023514 | 103.8463 | 0.019119 | 0.0024744 | 0.019001 | 5.936 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4343 | 0.0097656 | 0.45924 | 0.0090077 | 0.44595 | 0.010816 | SupCrit | 104.0817 | 0.019001 | 1283.6363 | 0.018179 | 257.1216 | 1283.6363 | 671.3652 | 0.93513 | 4.9736 | 0.73695 | 1.8703 | Flagged Warnings: | 1387.718 | 0.0055288 | 426.5299 | 1387.718 | 977.0255 | 0.79831 | 0 | 3.0211 | 0.80055 | 1.5966 | Flagged Warnings: | [15 empty] | 2.6978 | 2.7968 | 3.1754 | 0.0072738 | 1.0693 | 1.0174 | 0.11059 | 0.0037433 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 2:26:45 PM | 52005 | [5 empty] | 52005 | 0.99774 | 0.99771 | 0.99776
5 | 187-1-124-reg1-E--Spectrum--026 | 0.5716 | 0.0065409 | 0.0060982 | 0.0023654 | 104.0868 | 0.012702 | 0.002471 | 0.012488 | 5.933 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52961 | 0.0088329 | 0.5716 | 0.0065409 | 0.57417 | 0.0066514 | SupCrit | 104.3235 | 0.012488 | 1283.404 | 0.011439 | 208.086 | 1283.404 | 603.0662 | 1.0581 | 2.3884 | 0.69093 | 2.1163 | Flagged Warnings: | 1387.7275 | 0.005009 | 452.8584 | 1387.7275 | 1025.3848 | 0.78872 | 0 | 3.019 | 0.80169 | 1.5774 | Flagged Warnings: | [15 empty] | 1.0389 | 1.0011 | 0.082318 | 0.01017 | 1.0541 | 1.0796 | 0.085359 | 0.0034833 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:35:15 PM | 52515 | [5 empty] | 52515 | 0.99773 | 0.99771 | 0.99776
6 | 187-1-124-reg1-F--Spectrum--028 | 0.57646 | 0.0033272 | 0.0023391 | 0.0023663 | 104.097 | 0.0048605 | 0.0024597 | 0.0042017 | 5.917 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.53362 | 0.0075561 | 0.57646 | 0.0033272 | 0.57929 | 0.0029553 | SupCrit | 104.335 | 0.0042017 | 1283.39 | 0.003824 | 961.6583 | 1283.39 | 2785.7759 | 1.084 | 3.9077 | 0.63261 | 2.168 | Flagged Warnings: | 1387.7251 | 0.0017413 | 2069.5426 | 1387.725 | 4714.2182 | 0.80232 | 0 | 4.5236 | 0.7769 | 1.6046 | Flagged Warnings: | 1263.1926 | 360.2333 | 2.4501 | 1409.094 | 540.0136 | 1.9445 | 1369.8171 | 70.7045 | 0.40056 | [6 empty] | 1.0172 | 1.0067 | 0.037379 | 0.0022544 | 1.0553 | 1.0804 | 0.088767 | 0.00077536 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 2:53:39 PM | 53619 | [5 empty] | 53619 | 0.99772 | 0.99769 | 0.99774
7 | 187-1-124-reg1-G--Spectrum--030 | 0.55958 | 0.0030668 | 0.0019543 | 0.0023634 | 104.0617 | 0.0040949 | 0.0024572 | 0.0032832 | 5.903 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.51966 | 0.0073225 | 0.55958 | 0.0030668 | 0.56137 | 0.0026704 | SupCrit | 104.3005 | 0.0032832 | 1283.456 | 0.0029458 | 879.7492 | 1283.4561 | 2555.9392 | 1.0827 | 2.8309 | 0.64291 | 2.1655 | Flagged Warnings: | 1387.7566 | 0.0014498 | 1876.7186 | 1387.7566 | 4261.0734 | 0.80026 | 0 | 3.3162 | 0.77525 | 1.6005 | Flagged Warnings: | 1263.0743 | 357.0087 | 2.6198 | 1409.1211 | 481.2408 | 1.8833 | 1370.068 | 64.3901 | 0.39951 | [6 empty] | 1.0526 | 1.0493 | 0.11397 | 0.0024615 | 1.0252 | 1.0403 | 0.040265 | 0.00085283 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:04:58 PM | 54298 | [5 empty] | 54298 | 0.99771 | 0.99769 | 0.99773
8 | 187-1-124-reg1-H--Spectrum--032 | 0.58481 | 0.0033226 | 0.002331 | 0.0023677 | 104.1143 | 0.0048237 | 0.00246 | 0.0041588 | 5.897 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54048 | 0.007632 | 0.58481 | 0.0033226 | 0.58801 | 0.0029236 | SupCrit | 104.3537 | 0.0041588 | 1283.3356 | 0.0036009 | 637.47 | 1283.3357 | 1862.8423 | 1.0753 | 2.2257 | 0.67372 | 2.1506 | Flagged Warnings: | 1387.6894 | 0.0020807 | 1347.5861 | 1387.6894 | 3070.9667 | 0.80803 | 0 | 3.2667 | 0.7613 | 1.6161 | Flagged Warnings: | 1263.2152 | 227.7494 | 2.4629 | 1409.1082 | 357.8539 | 1.9047 | [9 empty] | 1.0802 | 1.0537 | 0.17247 | 0.0033736 | 1.0062 | 1.0236 | 0.0099962 | 0.0011992 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:13:22 PM | 54802 | [5 empty] | 54802 | 0.99771 | 0.99768 | 0.99773
9 | 187-1-124-reg1-H--Spectrum--033 | 0.5861 | 0.0033125 | 0.0023163 | 0.002368 | 104.1169 | 0.0047903 | 0.0024629 | 0.0041181 | 5.897 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54153 | 0.0076409 | 0.5861 | 0.0033125 | 0.58935 | 0.0029073 | SupCrit | 104.3568 | 0.0041181 | 1283.3418 | 0.0035422 | 681.78 | 1283.3418 | 1971.9201 | 1.0757 | 2.1846 | 0.64755 | 2.1514 | Flagged Warnings: | 1387.6987 | 0.0021004 | 1427.9311 | 1387.6986 | 3289.2853 | 0.80393 | 0 | 3.7308 | 0.79813 | 1.6079 | Flagged Warnings: | 1263.032 | 240.3428 | 2.7671 | 1409.0774 | 369.5846 | 2.0054 | [9 empty] | 1.0317 | 1.0498 | 0.068191 | 0.0031556 | 1.0337 | 1.0087 | 0.05416 | 0.001126 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:19:57 PM | 55197 | [5 empty] | 55197 | 0.9977 | 0.99768 | 0.99773
10 | 187-1-124-reg2-A--Spectrum--036 | 0.53241 | 0.0066874 | 0.0062574 | 0.0023593 | 104.0044 | 0.013286 | 0.0024701 | 0.013085 | 5.89 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.49695 | 0.0086581 | 0.53241 | 0.0066874 | 0.53163 | 0.0071698 | SupCrit | 104.2448 | 0.013085 | 1283.5393 | 0.01188 | 188.4233 | 1283.5393 | 538.1574 | 1.0904 | 2.4721 | 0.58087 | 2.1808 | Flagged Warnings: | 1387.7841 | 0.0054835 | 381.2812 | 1387.7841 | 883.726 | 0.81549 | 0 | 2.6525 | 0.77854 | 1.631 | Flagged Warnings: | [15 empty] | 1.2235 | 1.1677 | 0.48751 | 0.011574 | 1.14 | 1.0863 | 0.22841 | 0.0042776 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 3:33:02 PM | 55982 | [5 empty] | 55982 | 0.99769 | 0.99767 | 0.99772
11 | 187-1-124-reg2-B--Spectrum--038 | 0.49469 | 0.0069441 | 0.0065326 | 0.0023547 | 103.9236 | 0.014125 | 0.0024783 | 0.013938 | 5.895 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46493 | 0.0085814 | 0.49469 | 0.0069441 | 0.4885 | 0.0078403 | SupCrit | 104.1643 | 0.013938 | 1283.7364 | 0.012806 | 211.3909 | 1283.7364 | 620.5864 | 1.0588 | 3.0677 | 0.72037 | 2.1175 | Flagged Warnings: | 1387.9006 | 0.0055028 | 443.6307 | 1387.9006 | 996.9804 | 0.79797 | 0 | 2.7841 | 0.75719 | 1.5959 | Flagged Warnings: | [15 empty] | 1.3067 | 1.1068 | 0.64943 | 0.010017 | 1.1502 | 1.1451 | 0.23975 | 0.0035974 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:42:05 PM | 56525 | 1073.5137 | 80.0338 | 121.4213 | Spline | 0.049478 | 56525 | 0.99769 | 0.99767 | 0.99771
12 | 187-1-124-reg2-C--Spectrum--040 | 0.50581 | 0.017395 | 0.017235 | 0.0023559 | 103.9476 | 0.037067 | 0.0024954 | 0.037069 | 5.893 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47443 | 0.016108 | 0.50581 | 0.017395 | 0.50144 | 0.01998 | SupCrit | 104.1889 | 0.037069 | 1283.6963 | 0.035114 | 59.6888 | 1283.6963 | 175.0462 | 1.0301 | 1.6386 | 0.78247 | 2.0602 | Flagged Warnings: | 1387.8852 | 0.011879 | 125.6217 | 1387.8852 | 289.5812 | 0.83504 | 0 | 1.6588 | 0.70983 | 1.6701 | Flagged Warnings: | [15 empty] | 1.0838 | 1.0605 | 0.1726 | 0.034515 | 1.0496 | 1.0858 | 0.082814 | 0.013294 | PseudoVoigtModel | PseudoVoigtModel | No | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '1s'] | 3:53:35 PM | 57215 | 1095.4259 | 366.8402 | 32.6625 | Spline | 0.78954 | 57215 | 0.99768 | 0.99766 | 0.99771
13 | FO-1--Spectrum--045 | 0.094709 | 0.00665 | 0.0054557 | 0.0038023 | 102.9893 | 0.013769 | 0.002564 | 0.013559 | 5.907 | 1325.004 | 0 | 0 | Y | SupCrit, low density |  |  | 0.094709 | 0.00665 | 0.097607 | 0.0059773 | -0.1114 | 0.010395 | SupCrit | 103.2299 | 0.013559 | 1285.946 | 0.011675 | 107.9057 | 1285.946 | 147.4029 | 0.52187 | 1.3534 | 0.57915 | 1.0437 | Flagged Warnings: | 1389.176 | 0.0068956 | 186.5394 | 1389.176 | 214.6008 | 0.45188 | 0 | 1.4067 | 0.50807 | 0.90376 | Flagged Warnings: | [15 empty] | 1.0898 | 1.0714 | 0.093748 | 0.0096726 | 1.1456 | 1.2122 | 0.13158 | 0.0048449 | PseudoVoigtModel | PseudoVoigtModel | Yes | February 22, 2024 | February | 22 | 60 | 5 | 50 | ['0h', '5m', '2s'] | 4:34:39 PM | 59679 | [5 empty] | 59679 | 0.99767 | 0.99764 | 0.99769