## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-126-reg1-A--Spectrum--015 | 0.38488 | 0.0055749 | 0.0050561 | 0.0023484 | 103.68 | 0.0115 | 0.00059484 | 0.011512 | 6 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36839 | 0.0071162 | 0.38488 | 0.0055749 | 0.35005 | 0.0070491 | SupCrit | 103.9329 | 0.011512 | 1284.0912 | 0.009973 | 280.4864 | 1284.0912 | 816.4646 | 1.0572 | 2.8283 | 0.70353 | 2.1145 | Flagged Warnings: | 1388.0241 | 0.0057508 | 579.7334 | 1388.0241 | 1282.6438 | 0.796 | 0 | 3.9195 | 0.72611 | 1.592 | Flagged Warnings: | [15 empty] | 1.1475 | 1.1422 | 0.31179 | 0.0075386 | 1.0343 | 1.0811 | 0.054661 | 0.0027461 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 12:29:57 PM | 44997 | [5 empty] | 44997 | 0.99757 | 0.99756 | 0.99757
1 | 187-1-126-reg1-B--Spectrum--018 | 0.34769 | 0.0083299 | 0.0079918 | 0.002349 | 103.5947 | 0.01847 | 0.00059353 | 0.018506 | 5.989 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33461 | 0.0089415 | 0.34769 | 0.0083299 | 0.29861 | 0.011448 | SupCrit | 103.8479 | 0.018506 | 1284.2966 | 0.017206 | 110.2125 | 1284.2966 | 294.222 | 1.0361 | 2.2282 | 0.5389 | 2.0723 | Flagged Warnings: | 1388.1445 | 0.0068128 | 240.7532 | 1388.1445 | 482.4866 | 0.73577 | 0 | 2.1375 | 0.6775 | 1.4715 | Flagged Warnings: | [15 empty] | 1.2765 | 1.3029 | 0.57301 | 0.018802 | 1.0068 | 1.0576 | 0.010056 | 0.0061123 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 12:39:38 PM | 45578 | [5 empty] | 45578 | 0.99756 | 0.99756 | 0.99757
2 | 187-1-126-reg1-C--Spectrum--022 | 0.33285 | 0.0089914 | 0.008679 | 0.0023497 | 103.5603 | 0.020183 | 0.00059283 | 0.020224 | 5.987 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.32097 | 0.0094374 | 0.33285 | 0.0089914 | 0.2774 | 0.012634 | SupCrit | 103.8137 | 0.020224 | 1284.3262 | 0.018827 | 87.8925 | 1284.3262 | 235.5796 | 1.0105 | 1.6829 | 0.61243 | 2.0209 | Flagged Warnings: | 1388.1399 | 0.0073864 | 183.7481 | 1388.1399 | 367.1353 | 0.73288 | 0 | 1.7228 | 0.67975 | 1.4658 | Flagged Warnings: | [15 empty] | 1.4762 | 1.2713 | 0.96234 | 0.022993 | 1.0711 | 1.0298 | 0.1042 | 0.007977 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 12:46:14 PM | 45974 | [5 empty] | 45974 | 0.99756 | 0.99755 | 0.99756
3 | 187-1-126-reg1-D--Spectrum--025 | 0.38121 | 0.014851 | 0.014664 | 0.0023484 | 103.6716 | 0.033404 | 0.00059276 | 0.03348 | 5.998 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36508 | 0.014308 | 0.38121 | 0.014851 | 0.34509 | 0.019987 | SupCrit | 103.9259 | 0.03348 | 1284.1039 | 0.032096 | 52.2063 | 1284.1039 | 151.656 | 1.122 | 1.5429 | 0.55126 | 2.2441 | Flagged Warnings: | 1388.0298 | 0.0095279 | 118.2122 | 1388.0298 | 242.8616 | 0.71785 | 0 | 1.2214 | 0.79459 | 1.4357 | Flagged Warnings: | [15 empty] | 1.614 | 1.3758 | 1.3779 | 0.042985 | 1.0335 | 1.0739 | 0.048086 | 0.012145 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 12:57:09 PM | 46629 | [5 empty] | 46629 | 0.99755 | 0.99755 | 0.99756
4 | 187-1-126-reg1-E--Spectrum--028 | 0.38116 | 0.0043478 | 0.0036589 | 0.0023484 | 103.6715 | 0.0083355 | 0.00059237 | 0.0083348 | 6.005 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36504 | 0.0063577 | 0.38116 | 0.0043478 | 0.34502 | 0.005261 | SupCrit | 103.9261 | 0.0083348 | 1284.0873 | 0.0079033 | 463.2912 | 1284.0873 | 1348.8315 | 1.0809 | 3.9416 | 0.65019 | 2.1619 | Flagged Warnings: | 1388.0135 | 0.0026472 | 984.8121 | 1388.0135 | 2099.8906 | 0.78032 | 0 | 3.1921 | 0.68602 | 1.5606 | Flagged Warnings: |  |  |  | 1409.3694 | 257.0037 | 1.5868 | [9 empty] | 1.1333 | 1.1358 | 0.28825 | 0.0046663 | 1.0484 | 1.0887 | 0.075459 | 0.0015847 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 1:04:14 PM | 47054 | [5 empty] | 47054 | 0.99755 | 0.99754 | 0.99756
5 | 187-1-126-reg1-F--Spectrum--031 | 0.39737 | 0.0045321 | 0.0038761 | 0.0023485 | 103.7083 | 0.0087672 | 0.00059234 | 0.0087687 | 6.012 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.37962 | 0.0065731 | 0.39737 | 0.0045321 | 0.36681 | 0.0054366 | SupCrit | 103.9633 | 0.0087687 | 1284.0362 | 0.008338 | 389.7044 | 1284.0362 | 1122.6355 | 1.0864 | 3.467 | 0.61146 | 2.1729 | Flagged Warnings: | 1387.9996 | 0.0027142 | 834.1036 | 1387.9995 | 1797.4098 | 0.77367 | 0 | 2.4886 | 0.73161 | 1.5473 | Flagged Warnings: |  |  |  | 1409.4018 | 197.4439 | 1.4333 | [9 empty] | 1.1564 | 1.1501 | 0.33985 | 0.0055757 | 1.0625 | 1.1078 | 0.096709 | 0.0018551 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 1:09:11 PM | 47351 | [5 empty] | 47351 | 0.99755 | 0.99754 | 0.99755
6 | 187-1-126-reg1-G--Spectrum--035 | 0.353 | 0.0045593 | 0.0039077 | 0.0023489 | 103.607 | 0.0090111 | 0.00059118 | 0.0090139 | 6.032 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33946 | 0.0062937 | 0.353 | 0.0045593 | 0.30609 | 0.0057662 | SupCrit | 103.8626 | 0.0090139 | 1284.2335 | 0.0084909 | 321.1758 | 1284.2335 | 882.3069 | 1.0238 | 2.7986 | 0.64098 | 2.0475 | Flagged Warnings: | 1388.0961 | 0.0030255 | 658.4609 | 1388.096 | 1386.0966 | 0.75357 | 0 | 2.564 | 0.73858 | 1.5071 | Flagged Warnings: |  |  |  | 1409.5616 | 162.4183 | 1.4522 | [9 empty] | 1.3417 | 1.3217 | 0.69964 | 0.0063751 | 1.0339 | 1.0369 | 0.051032 | 0.0022889 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 1:25:53 PM | 48353 | [5 empty] | 48353 | 0.99754 | 0.99753 | 0.99754
7 | 187-1-126-reg1-H--Spectrum--039 | 0.42327 | 0.0044088 | 0.0037308 | 0.0023493 | 103.7665 | 0.0083407 | 0.00059203 | 0.0083403 | 6.063 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.40269 | 0.0066934 | 0.42327 | 0.0044088 | 0.4007 | 0.005097 | SupCrit | 104.0246 | 0.0083403 | 1283.8963 | 0.0079875 | 454.3295 | 1283.8963 | 1369.6732 | 1.1336 | 3.7557 | 0.61878 | 2.2672 | Flagged Warnings: | 1387.9209 | 0.0024001 | 991.7418 | 1387.9209 | 2188.512 | 0.77994 | 0 | 2.9748 | 0.76866 | 1.5599 | Flagged Warnings: |  |  |  | 1409.4439 | 251.4903 | 1.638 | [9 empty] | 1.1597 | 1.1445 | 0.36218 | 0.0049903 | 1.1114 | 1.0876 | 0.17371 | 0.0015729 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:06:59 PM | 50819 | [5 empty] | 50819 | 0.99752 | 0.99751 | 0.99753
8 | 187-1-126-reg1-I--Spectrum--042 | 0.38339 | 0.0083766 | 0.0080406 | 0.0023484 | 103.6766 | 0.018299 | 0.00059182 | 0.018335 | 6.07 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36705 | 0.0090724 | 0.38339 | 0.0083766 | 0.34804 | 0.011025 | SupCrit | 103.9349 | 0.018335 | 1284.0933 | 0.018158 | 454.0994 | 1284.0933 | 1308.4982 | 1.0789 | 3.6854 | 0.62943 | 2.1578 | Flagged Warnings: | 1388.0282 | 0.0025483 | 972.1868 | 1388.0281 | 2056.1719 | 0.77981 | 0 | 2.8403 | 0.66775 | 1.5596 | Flagged Warnings: |  |  |  | 1409.4133 | 237.8982 | 1.4534 | [9 empty] | 1.1379 | 1.1916 | 0.2975 | 0.0047518 | 1.0459 | 1.0862 | 0.071511 | 0.0016042 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:17:31 PM | 51451 | [5 empty] | 51451 | 0.99752 | 0.99751 | 0.99752
9 | 187-1-126-reg1-J--Spectrum--045 | 0.37153 | 0.0048355 | 0.0042269 | 0.0023485 | 103.6495 | 0.0096698 | 0.00059184 | 0.0096757 | 6.076 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35633 | 0.0065773 | 0.37153 | 0.0048355 | 0.33186 | 0.006063 | SupCrit | 103.9079 | 0.0096757 | 1284.177 | 0.009143 | 255.8139 | 1284.177 | 730.2834 | 1.0719 | 2.389 | 0.62244 | 2.1438 | Flagged Warnings: | 1388.0849 | 0.0031662 | 548.8242 | 1388.0849 | 1153.151 | 0.77802 | 0 | 2.0798 | 0.65741 | 1.556 | Flagged Warnings: |  |  |  | 1409.5099 | 144.9281 | 1.5457 | [9 empty] | 1.1889 | 1.2164 | 0.40498 | 0.0083802 | 1.0393 | 1.0905 | 0.061154 | 0.0028352 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:22:03 PM | 51723 | [5 empty] | 51723 | 0.99751 | 0.99751 | 0.99752
10 | 187-1-126-reg2-A--Spectrum--048 | 0.30665 | 0.0068361 | 0.0064189 | 0.0023515 | 103.499 | 0.015087 | 0.0005913 | 0.015113 | 6.079 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2967 | 0.0076644 | 0.30665 | 0.0068361 | 0.23903 | 0.0097128 | SupCrit | 103.7573 | 0.015113 | 1284.5309 | 0.014408 | 188.4764 | 1284.5309 | 605.9896 | 1.2566 | 3.2223 | 0.5211 | 2.5131 | Flagged Warnings: | 1388.2883 | 0.004564 | 419.6417 | 1388.2882 | 927.2205 | 0.83281 | 0 | 2.5104 | 0.61352 | 1.6656 | Flagged Warnings: |  |  |  | 1409.8442 | 117.6698 | 1.2069 | [9 empty] | 1.5191 | 1.4927 | 1.3045 | 0.013334 | 1.1905 | 1.2181 | 0.31726 | 0.0039691 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:29:24 PM | 52164 | [5 empty] | 52164 | 0.99751 | 0.99751 | 0.99752
11 | 187-1-126-reg2-B--Spectrum--052 | 0.22611 | 0.007738 | 0.0073688 | 0.0023618 | 103.3068 | 0.017848 | 0.00059138 | 0.017883 | 6.083 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22052 | 0.0082413 | 0.22611 | 0.007738 | 0.1134 | 0.012168 | SupCrit | 103.5652 | 0.017883 | 1284.8981 | 0.016041 | 100.7075 | 1284.8981 | 259.7846 | 0.92406 | 1.79 | 0.73641 | 1.8481 | Flagged Warnings: | 1388.4633 | 0.0079041 | 199.5175 | 1388.4633 | 380.4262 | 0.68036 | 0 | 1.949 | 0.74566 | 1.3607 | Flagged Warnings: | [15 empty] | 1.161 | 1.1604 | 0.29761 | 0.018351 | 1.1289 | 1.1259 | 0.17535 | 0.00682 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:49:00 PM | 53340 | [5 empty] | 53340 | 0.9975 | 0.9975 | 0.99751
12 | 187-1-126-reg2-C--Spectrum--055 | 0.29504 | 0.0053926 | 0.0048524 | 0.0023525 | 103.4717 | 0.011458 | 0.00059277 | 0.011471 | 6.084 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28586 | 0.0065385 | 0.29504 | 0.0053926 | 0.22164 | 0.0075327 | SupCrit | 103.7307 | 0.011471 | 1284.5626 | 0.010381 | 171.2878 | 1284.5626 | 439.6154 | 0.96482 | 2.0887 | 0.61948 | 1.9296 | Flagged Warnings: | 1388.2933 | 0.0048803 | 352.9582 | 1388.2933 | 680.0968 | 0.70157 | 0 | 2.1091 | 0.69755 | 1.4031 | Flagged Warnings: | [15 empty] | 1.0122 | 1.0983 | 0.023573 | 0.011265 | 1.0925 | 1.1157 | 0.12973 | 0.0039754 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 2:55:01 PM | 53701 | [5 empty] | 53701 | 0.9975 | 0.9975 | 0.99751
13 | 187-1-126-reg3-A--Spectrum--058 | 0.27239 | 0.0041452 | 0.0034113 | 0.0023549 | 103.418 | 0.0081255 | 0.00059378 | 0.0081241 | 6.088 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26458 | 0.0055626 | 0.27239 | 0.0041452 | 0.18702 | 0.0055804 | SupCrit | 103.6771 | 0.0081241 | 1284.6961 | 0.0077488 | 291.921 | 1284.6961 | 718.1178 | 0.87793 | 2.632 | 0.74522 | 1.7559 | Flagged Warnings: | 1388.3733 | 0.0024406 | 576.1935 | 1388.3733 | 1087.346 | 0.66584 | 0 | 2.0182 | 0.7724 | 1.3317 | Flagged Warnings: |  |  |  | 1409.8812 | 126.1236 | 1.1933 | [9 empty] | 1.1204 | 1.1667 | 0.21142 | 0.0060148 | 1.2129 | 1.1701 | 0.28357 | 0.0023112 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 3:10:07 PM | 54607 | [5 empty] | 54607 | 0.9975 | 0.99749 | 0.99751
14 | 187-1-126-reg3-B--Spectrum--061 | 0.31203 | 0.0090579 | 0.0087475 | 0.002351 | 103.5117 | 0.020516 | 0.00059626 | 0.020559 | 6.088 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3017 | 0.0094606 | 0.31203 | 0.0090579 | 0.24701 | 0.013051 | SupCrit | 103.7713 | 0.020559 | 1284.4794 | 0.018956 | 69.8941 | 1284.4794 | 174.7893 | 0.92146 | 1.3695 | 0.6687 | 1.8429 | Flagged Warnings: | 1388.2507 | 0.0079595 | 135.6755 | 1388.2507 | 256.1304 | 0.68273 | 0 | 1.3539 | 0.71375 | 1.3655 | Flagged Warnings: | [15 empty] | 1.2955 | 1.2877 | 0.5445 | 0.026367 | 1.0918 | 1.1331 | 0.12536 | 0.010064 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 3:28:29 PM | 55709 | [5 empty] | 55709 | 0.9975 | 0.99749 | 0.9975
15 | 187-1-126-reg3-C--Spectrum--065 | 0.38269 | 0.0060722 | 0.0055997 | 0.0023484 | 103.675 | 0.012748 | 0.00060463 | 0.012766 | 6.091 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36641 | 0.0074282 | 0.38269 | 0.0060722 | 0.34709 | 0.0077841 | SupCrit | 103.9348 | 0.012766 | 1284.0919 | 0.011438 | 156.8914 | 1284.0919 | 443.6464 | 1.0162 | 2.0584 | 0.72891 | 2.0323 | Flagged Warnings: | 1388.0267 | 0.0056688 | 329.0569 | 1388.0267 | 700.3736 | 0.76822 | 0 | 2.254 | 0.71848 | 1.5364 | Flagged Warnings: | [15 empty] | 1.0185 | 1.0904 | 0.037636 | 0.012954 | 1.0632 | 1.1266 | 0.097112 | 0.0046692 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 4:19:34 PM | 58774 | [5 empty] | 58774 | 0.9975 | 0.99749 | 0.99751
16 | 187-1-126-reg3-D--Spectrum--068 | 0.29619 | 0.0098676 | 0.0095831 | 0.0023524 | 103.4744 | 0.022618 | 0.00060454 | 0.022667 | 6.09 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.28694 | 0.010126 | 0.29619 | 0.0098676 | 0.22337 | 0.014545 | SupCrit | 103.7336 | 0.022667 | 1284.5831 | 0.021267 | 78.9728 | 1284.5831 | 202.1289 | 0.93827 | 1.4817 | 0.68116 | 1.8765 | Flagged Warnings: | 1388.3167 | 0.0078426 | 165.2614 | 1388.3167 | 319.1759 | 0.70551 | 0 | 1.397 | 0.68966 | 1.411 | Flagged Warnings: | [15 empty] | 1.0911 | 1.1634 | 0.17092 | 0.023762 | 1.0235 | 1.0712 | 0.033123 | 0.0085382 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 4:25:42 PM | 59142 | [5 empty] | 59142 | 0.9975 | 0.9975 | 0.99751
17 | 187-1-126-reg4-A--Spectrum--072 | 0.25872 | 0.0049738 | 0.00438 | 0.0023567 | 103.3853 | 0.010486 | 0.00060535 | 0.010495 | 6.089 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25164 | 0.0060809 | 0.25872 | 0.0049738 | 0.16567 | 0.0071245 | SupCrit | 103.6442 | 0.010495 | 1284.7671 | 0.0092989 | 251.6004 | 1284.7671 | 598.9977 | 0.8656 | 2.5656 | 0.70099 | 1.7312 | Flagged Warnings: | 1388.4113 | 0.004866 | 497.9166 | 1388.4113 | 907.9896 | 0.66874 | 0 | 2.8157 | 0.68029 | 1.3375 | Flagged Warnings: | [15 empty] | 1.1723 | 1.2009 | 0.29823 | 0.0068808 | 1.0895 | 1.0459 | 0.11972 | 0.0026861 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:32:56 PM | 59576 | [5 empty] | 59576 | 0.9975 | 0.9975 | 0.99751
18 | 187-1-126-reg4-B--Spectrum--075 | 0.27674 | 0.038684 | 0.038612 | 0.0023544 | 103.4283 | 0.091801 | 0.00060693 | 0.092029 | 6.095 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26867 | 0.036661 | 0.27674 | 0.038684 | 0.19373 | 0.059521 | SupCrit | 103.6872 | 0.092029 | 1284.6461 | 0.091901 | 194.587 | 1284.6461 | 486.4049 | 0.91013 | 2.7986 | 0.69757 | 1.8203 | Flagged Warnings: | 1388.3332 | 0.0048379 | 411.72 | 1388.3332 | 770.317 | 0.66588 | 0 | 2.634 | 0.75173 | 1.3318 | Flagged Warnings: | [15 empty] | 1.3444 | 1.4154 | 0.62692 | 0.0093545 | 1.3444 | 1.4154 | 0.45867 | 0.0032346 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:39:51 PM | 59991 | [5 empty] | 59991 | 0.9975 | 0.9975 | 0.99751
19 | 187-1-126-reg4-B--Spectrum--076 | 0.27808 | 0.0049481 | 0.0043521 | 0.0023543 | 103.4315 | 0.010344 | 0.00060903 | 0.010352 | 6.096 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26994 | 0.0061444 | 0.27808 | 0.0049481 | 0.19579 | 0.0069321 | SupCrit | 103.6901 | 0.010352 | 1284.6559 | 0.0090976 | 206.1644 | 1284.6559 | 498.5892 | 0.88048 | 2.3048 | 0.69775 | 1.761 | Flagged Warnings: | 1388.3461 | 0.0049395 | 426.2549 | 1388.3461 | 804.884 | 0.67899 | 0 | 2.6853 | 0.72741 | 1.358 | Flagged Warnings: | [15 empty] | 1.0098 | 1.1222 | 0.017197 | 0.0085415 | 1.0741 | 1.0757 | 0.10059 | 0.0031858 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:50:13 PM | 60613 | [5 empty] | 60613 | 0.99751 | 0.9975 | 0.99751
20 | 187-1-126-reg4-C--Spectrum--079 | 0.31721 | 0.0046828 | 0.0040501 | 0.0023507 | 103.5238 | 0.0094793 | 0.00061109 | 0.0094832 | 6.097 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.30651 | 0.006159 | 0.31721 | 0.0046828 | 0.25464 | 0.0062064 | SupCrit | 103.7825 | 0.0094832 | 1284.4443 | 0.0090861 | 345.3256 | 1284.4443 | 929.185 | 0.99739 | 3.3483 | 0.65415 | 1.9948 | Flagged Warnings: | 1388.2269 | 0.0027156 | 736.2278 | 1388.2268 | 1457.0887 | 0.71699 | 0 | 2.5217 | 0.71008 | 1.434 | Flagged Warnings: |  |  |  | 1409.5723 | 162.4334 | 1.2199 | [9 empty] | 1.213 | 1.2343 | 0.42481 | 0.0057765 | 1.0278 | 1.0722 | 0.039925 | 0.0019477 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '1s'] | 4:57:28 PM | 61048 | [5 empty] | 61048 | 0.99751 | 0.9975 | 0.99751
21 | 187-1-126-reg5-A--Spectrum--083 | 0.39034 | 0.0046259 | 0.0039854 | 0.0023485 | 103.6924 | 0.0090427 | 0.00061529 | 0.0090442 | 6.102 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3733 | 0.0065773 | 0.39034 | 0.0046259 | 0.35741 | 0.005621 | SupCrit | 103.9512 | 0.0090442 | 1284.0946 | 0.0084857 | 416.5307 | 1284.0946 | 1224.5128 | 1.0788 | 3.8829 | 0.67859 | 2.1577 | Flagged Warnings: | 1388.0459 | 0.0031289 | 879.7405 | 1388.0458 | 1891.8391 | 0.78527 | 0 | 3.2012 | 0.69111 | 1.5705 | Flagged Warnings: |  |  |  | 1409.4843 | 212.2019 | 1.423 | [9 empty] | 1.0047 | 1.0887 | 0.010051 | 0.0051801 | 1.0325 | 1.0865 | 0.050992 | 0.0017852 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 60 | 5 | 100 | ['0h', '5m', '2s'] | 5:11:54 PM | 61914 | [5 empty] | 61914 | 0.99751 | 0.9975 | 0.99752
22 | 187-1-126-reg5-B--Spectrum--089 | 0.35304 | 0.0048029 | 0.0041894 | 0.0023489 | 103.607 | 0.0096603 | 0.00064188 | 0.009663 | 6.087 | 1325.004 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.3395 | 0.0064434 | 0.35304 | 0.0048029 | 0.30615 | 0.0061446 | SupCrit | 103.8654 | 0.009663 | 1284.2498 | 0.0091635 | 331.2105 | 1284.2498 | 939.2503 | 1.0343 | 3.3382 | 0.69345 | 2.0686 | Flagged Warnings: | 1388.1153 | 0.0030668 | 700.5192 | 1388.1152 | 1473.5676 | 0.74853 | 0 | 2.5646 | 0.7529 | 1.4971 | Flagged Warnings: |  |  |  | 1409.4804 | 191.7795 | 1.768 | [9 empty] | 1.2014 | 1.2647 | 0.41669 | 0.0062455 | 1.0203 | 1.0821 | 0.030414 | 0.0021371 | PseudoVoigtModel | PseudoVoigtModel | No | March 12, 2024 | March | 12 | 45 | 5 | 100 | ['0h', '3m', '46s'] | 6:49:19 PM | 67759 | 1095.4471 | 514.2565 | 39.9568 | Spline | 0.21314 | 67759 | 0.99751 | 0.99751 | 0.99752