## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
0 | 187-1-201-MI1-12mw | 0.12772 | 0.012107 | 0.011481 | 0.0038421 | 103.0726 | 0.028974 | 0.0008209 | 0.029021 | 12.034 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12772 | 0.012107 | 0.13087 | 0.011862 | -0.050337 | 0.021066 | SupCrit | 103.28 | 0.029021 | 1285.8192 | 0.02647 | 113.3936 | 1285.8192 | 244.485 | 0.6863 | 4.5861 | 1 | 1.3726 | Flagged Warnings: | 1389.0992 | 0.011897 | 198.0837 | 1389.0992 | 263.4925 | 0.51896 | 0 | 2.4248 | 0.52564 | 1.0379 | Flagged Warnings: | [15 empty] | 1.0779 | 1.0188 | 0.10687 | 0.012105 | 1.0952 | 1.0786 | 0.098849 | 0.0052398 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:17:28 AM | 40648 | [11 empty] | 40648 | 0.99799 | 0.99798 | 0.998
1 | 187-1-201-MI1-20mw-rep1 | 0.11259 | 0.0097938 | 0.0090193 | 0.003817 | 103.0344 | 0.022762 | 0.0008177 | 0.022794 | 19.92 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11259 | 0.0097938 | 0.11559 | 0.0094016 | -0.078143 | 0.016777 | SupCrit | 103.2425 | 0.022794 | 1285.8682 | 0.021478 | 183.4334 | 1285.8682 | 368.3039 | 0.63911 | 7.3114 | 1 | 1.2782 | Flagged Warnings: | 1389.1106 | 0.0076307 | 298.8242 | 1389.1106 | 388.5842 | 0.52558 | 0 | 2.8932 | 0.4329 | 1.0512 | Flagged Warnings: | [15 empty] | 1.0206 | 1.0191 | 0.026287 | 0.0069683 | 1.1186 | 1.1191 | 0.12471 | 0.0035176 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:26:47 AM | 41207 | [11 empty] | 41207 | 0.99798 | 0.99798 | 0.99799
2 | 187-1-201-MI1-20mw-rep2 | 0.12213 | 0.01313 | 0.012559 | 0.0038315 | 103.0585 | 0.031695 | 0.00081652 | 0.031749 | 19.826 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12213 | 0.01313 | 0.12523 | 0.012915 | -0.060564 | 0.023124 | SupCrit | 103.2669 | 0.031749 | 1285.869 | 0.03066 | 156.5387 | 1285.869 | 346.0387 | 0.70364 | 9.1498 | 1 | 1.4073 | Flagged Warnings: | 1389.1359 | 0.0082437 | 271.1267 | 1389.1359 | 366.3153 | 0.51065 | 0 | 2.4682 | 0.60605 | 1.0213 | Flagged Warnings: | [15 empty] | 1.1927 | 1.2521 | 0.27124 | 0.00899 | 1.1638 | 1.1774 | 0.16725 | 0.0037669 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:31:24 AM | 41484 | [11 empty] | 41484 | 0.99798 | 0.99797 | 0.99799
3 | 187-1-201-MI1-20mw-rep3 | 0.1234 | 0.01098 | 0.010289 | 0.0038338 | 103.0617 | 0.025966 | 0.00081518 | 0.026006 | 19.759 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1234 | 0.01098 | 0.12651 | 0.010672 | -0.058242 | 0.018958 | SupCrit | 103.2705 | 0.026006 | 1285.8594 | 0.024809 | 169.3346 | 1285.8594 | 357.7647 | 0.67251 | 7.9875 | 1 | 1.345 | Flagged Warnings: | 1389.13 | 0.0077973 | 286.3433 | 1389.1299 | 384.9014 | 0.52699 | 0 | 2.1629 | 0.51316 | 1.054 | Flagged Warnings: |  |  |  | 1410.4598 | 49.9156 | 0.65262 | [9 empty] | 1.1447 | 1.1624 | 0.19468 | 0.007943 | 1.1347 | 1.1002 | 0.14195 | 0.0036808 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:36:13 AM | 41773 | [11 empty] | 41773 | 0.99798 | 0.99797 | 0.99799
16 | FG04-A1-4-start-rep1 | 0.68439 | 0.0030464 | 0.00189 | 0.0023892 | 104.3153 | 0.0037212 | 0.00080878 | 0.0036398 | 6.063 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62013 | 0.0084932 | 0.68439 | 0.0030464 | 0.68451 | 0.0023496 | SupCrit | 104.5317 | 0.0036398 | 1283.0272 | 0.0031612 | 721.7943 | 1283.0273 | 2041.1757 | 0.99229 | 2.634 | 0.78672 | 1.9846 | Flagged Warnings: | 1387.5589 | 0.0018041 | 1445.1888 | 1387.5589 | 3296.2157 | 0.82833 | 0 | 2.6281 | 0.72118 | 1.6567 | Flagged Warnings: | 1262.9636 | 284.0231 | 2.6757 | 1409.078 | 354.5713 | 2.1321 |  |  |  | 1384.1752 | 422.3097 | 16.4291 |  |  |  | 1.0684 | 1.0764 | 0.13579 | 0.0027495 | 1.0494 | 1.0306 | 0.08181 | 0.0011463 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:12:24 PM | 47544 | [11 empty] | 47544 | 0.99793 | 0.99792 | 0.99794
17 | FG04-A1-4-start-rep2 | 0.69004 | 0.0029834 | 0.0017848 | 0.0023906 | 104.3264 | 0.0035041 | 0.00080867 | 0.0034166 | 6.054 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62454 | 0.0085329 | 0.69004 | 0.0029834 | 0.6896 | 0.0022717 | SupCrit | 104.5429 | 0.0034166 | 1283.0278 | 0.0029465 | 777.0881 | 1283.0278 | 2228.6207 | 0.99781 | 2.7262 | 0.80658 | 1.9956 | Flagged Warnings: | 1387.5707 | 0.0017296 | 1570.6144 | 1387.5708 | 3620.7151 | 0.83391 | 0 | 2.8421 | 0.72786 | 1.6678 | Flagged Warnings: | 1262.9503 | 314.7955 | 2.9874 | 1409.0132 | 399.6 | 2.0007 |  |  |  | 1382.5761 | 370.6401 | 15.4178 |  |  |  | 1.0537 | 1.0578 | 0.10722 | 0.0025681 | 1.0202 | 1 | 0.033625 | 0.0010619 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:16:16 PM | 47776 | [11 empty] | 47776 | 0.99793 | 0.99792 | 0.99794
18 | FG04-A1-4-start-rep3 | 0.68262 | 0.0029484 | 0.0017283 | 0.0023888 | 104.3118 | 0.0034058 | 0.0008084 | 0.0033154 | 6.049 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.61875 | 0.0084554 | 0.68262 | 0.0029484 | 0.68291 | 0.0022489 | SupCrit | 104.5285 | 0.0033154 | 1283.0543 | 0.0030397 | 811.2511 | 1283.0543 | 2358.3001 | 1.0336 | 2.7694 | 0.75604 | 2.0673 | Flagged Warnings: | 1387.5828 | 0.0013236 | 1670.8264 | 1387.5828 | 3904.6201 | 0.84472 | 0 | 2.4149 | 0.7297 | 1.6894 | Flagged Warnings: | 1262.849 | 339.2071 | 2.8458 | 1408.9772 | 400.2395 | 1.9124 | 1369.9909 | 50.6203 | 0.42162 | 1389.1893 | 447.7837 | 18.2236 |  |  |  | 1.0828 | 1.0832 | 0.17111 | 0.0025483 | 1.0402 | 1.0212 | 0.067985 | 0.0010111 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:20:10 PM | 48010 | [11 empty] | 48010 | 0.99793 | 0.99792 | 0.99794
19 | FG04-A1-16-start-rep1 | 0.50768 | 0.0047054 | 0.004073 | 0.0023561 | 103.9516 | 0.0087523 | 0.00080542 | 0.0087333 | 6.041 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.47602 | 0.0074837 | 0.50768 | 0.0047054 | 0.50361 | 0.0049815 | SupCrit | 104.1678 | 0.0087333 | 1283.828 | 0.0083823 | 408.7273 | 1283.828 | 1222.5001 | 1.0873 | 3.5139 | 0.70147 | 2.1745 | Flagged Warnings: | 1387.9958 | 0.002451 | 863.109 | 1387.9957 | 1890.9011 | 0.82583 | 0 | 2.0448 | 0.63201 | 1.6517 | Flagged Warnings: |  |  |  | 1409.3678 | 195.508 | 1.4243 |  |  |  | 1387.0775 | 310.2635 | 18.9848 |  |  |  | 1.1694 | 1.1214 | 0.36844 | 0.0053202 | 1.0349 | 1.0603 | 0.057656 | 0.0019136 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:27:44 PM | 48464 | [11 empty] | 48464 | 0.99792 | 0.99792 | 0.99793
20 | FG04-A1-16-start-rep2 | 0.51318 | 0.004875 | 0.0042675 | 0.0023568 | 103.9634 | 0.0091459 | 0.00080545 | 0.0091293 | 6.038 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4807 | 0.0076044 | 0.51318 | 0.004875 | 0.50992 | 0.0051584 | SupCrit | 104.1798 | 0.0091293 | 1283.8115 | 0.008835 | 417.8545 | 1283.8115 | 1268.1377 | 1.1381 | 3.8381 | 0.62553 | 2.2762 | Flagged Warnings: | 1387.9912 | 0.0022991 | 906.7217 | 1387.9912 | 2001.8885 | 0.81493 | 0 | 2.1044 | 0.67895 | 1.6299 | Flagged Warnings: |  |  |  | 1409.469 | 236.1769 | 1.6984 |  |  |  | 1383.3312 | 221.3799 | 16.64 |  |  |  | 1.0029 | 1.0239 | 0.0066849 | 0.0054474 | 1.0292 | 1.0669 | 0.047538 | 0.0017975 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:33:27 PM | 48807 | [11 empty] | 48807 | 0.99792 | 0.99792 | 0.99793
21 | FG04-A1-16-start-rep3 | 0.51288 | 0.0047236 | 0.0040937 | 0.0023568 | 103.9628 | 0.0087746 | 0.00080546 | 0.0087558 | 6.034 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.48045 | 0.0075328 | 0.51288 | 0.0047236 | 0.50958 | 0.0049724 | SupCrit | 104.1793 | 0.0087558 | 1283.8148 | 0.0083831 | 405.6045 | 1283.8148 | 1232.0505 | 1.124 | 3.3022 | 0.65835 | 2.248 | Flagged Warnings: | 1387.994 | 0.0025273 | 886.6392 | 1387.994 | 1968.0496 | 0.82102 | 0 | 2.2052 | 0.67301 | 1.642 | Flagged Warnings: |  |  |  | 1409.3658 | 232.7148 | 1.6789 |  |  |  | 1381.0106 | 189.9349 | 14.4196 |  |  |  | 1.0787 | 1.0296 | 0.17693 | 0.0055424 | 1.0373 | 1.0779 | 0.061321 | 0.001852 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:37:33 PM | 49053 | [11 empty] | 49053 | 0.99792 | 0.99791 | 0.99793
22 | FG04-A1-4-middle-rep4 | 0.69142 | 0.0029914 | 0.0017978 | 0.002391 | 104.3291 | 0.0035271 | 0.00082856 | 0.0034356 | 6.026 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62561 | 0.0085475 | 0.69142 | 0.0029914 | 0.69083 | 0.0022774 | SupCrit | 104.5492 | 0.0034356 | 1283.0211 | 0.0029896 | 751.2308 | 1283.0211 | 2145.7874 | 1.0056 | 2.3949 | 0.77939 | 2.0113 | Flagged Warnings: | 1387.5703 | 0.0016929 | 1568.33 | 1387.5703 | 3593.6798 | 0.81606 | 0 | 2.6518 | 0.76422 | 1.6321 | Flagged Warnings: | 1262.8126 | 330.9081 | 3.0104 | 1409.0637 | 408.2415 | 2.1079 |  |  |  | 1381.3376 | 361.5911 | 15.0445 |  |  |  | 1.0254 | 1.0334 | 0.051047 | 0.0026773 | 1.0374 | 1.016 | 0.061078 | 0.0010407 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 3:44:17 PM | 56657 | [11 empty] | 56657 | 0.99789 | 0.99789 | 0.9979
4 | 187-1-210-MI3-rep1 | 0.16639 | 0.0070036 | 0.0057784 | 0.0039574 | 103.1702 | 0.014583 | 0.00082426 | 0.01459 | 12.002 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16639 | 0.0070036 | 0.17023 | 0.0063719 | 0.019314 | 0.010424 | SupCrit | 103.3881 | 0.01459 | 1285.5475 | 0.01336 | 888.4682 | 1285.5476 | 2316.3675 | 0.94796 | 13.2177 | 0.7023 | 1.8959 | Flagged Warnings: | 1388.9357 | 0.0058648 | 1785.3517 | 1388.9356 | 3103.3599 | 0.67353 | 0 | 13.3406 | 0.54361 | 1.3471 | Flagged Warnings: | 1265.362 | 487.1648 | 1.4013 | 1410.4633 | 594.196 | 0.78304 | [9 empty] | 1.1747 | 1.2661 | 0.33115 | 0.0021339 | 1.151 | 1.1641 | 0.20346 | 0.00075451 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:59:31 PM | 57571 | 1178.94 | 51.0631 | 35.4781 | Spline | [5 empty] | 0.0094217 | 0.0040544 | 57571 | 0.99789 | 0.99788 | 0.9979
5 | 187-1-210-MI3-rep2 | 0.16732 | 0.0060938 | 0.0046307 | 0.0039611 | 103.1725 | 0.011687 | 0.00082622 | 0.011682 | 12.007 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16732 | 0.0060938 | 0.17118 | 0.0053012 | 0.020962 | 0.0084225 | SupCrit | 103.3905 | 0.011682 | 1285.5435 | 0.010698 | 732.7577 | 1285.5435 | 1864.2551 | 1.0206 | 9.7159 | 0.45471 | 2.0412 | Flagged Warnings: | 1388.9341 | 0.0046926 | 1537.6381 | 1388.9341 | 2737.1347 | 0.68996 | 0 | 9.8974 | 0.54281 | 1.3799 | Flagged Warnings: | 1265.4276 | 428.5596 | 1.556 | 1410.4492 | 545.7391 | 0.83344 | [9 empty] | 1.1847 | 1.2715 | 0.37706 | 0.0027857 | 1.159 | 1.1855 | 0.21937 | 0.00089743 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:05:08 PM | 57908 | [11 empty] | 57908 | 0.99789 | 0.99788 | 0.9979
6 | 187-1-210-MI3-rep3 | 0.17369 | 0.0049182 | 0.004308 | 0.0023728 | 103.1787 | 0.010613 | 0.00082779 | 0.010603 | 12.012 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.16977 | 0.0057838 | 0.17369 | 0.0049182 | 0.025316 | 0.0076745 | SupCrit | 103.3968 | 0.010603 | 1285.5232 | 0.0098084 | 919.7565 | 1285.5233 | 2355.7579 | 0.99019 | 10.4083 | 0.5504 | 1.9804 | Flagged Warnings: | 1388.9201 | 0.0040274 | 1986.221 | 1388.9201 | 3536.4899 | 0.67258 | 0 | 11.2388 | 0.60783 | 1.3452 | Flagged Warnings: | 1265.5075 | 472.0375 | 1.3843 | 1410.4455 | 602.6305 | 0.71532 | [9 empty] | 1.25 | 1.3088 | 0.4951 | 0.0021532 | 1.2213 | 1.2299 | 0.2977 | 0.00067724 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:09:23 PM | 58163 | [11 empty] | 58163 | 0.99789 | 0.99788 | 0.9979
7 | 187-1-212-MI1-rep1 | 0.19369 | 0.003881 | 0.0030747 | 0.0023682 | 103.2278 | 0.007528 | 0.00085562 | 0.0074952 | 12.073 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.18923 | 0.0050364 | 0.19369 | 0.003881 | 0.059502 | 0.0055208 | SupCrit | 103.4472 | 0.0074952 | 1285.4771 | 0.0067161 | 455.2688 | 1285.4772 | 889.3247 | 0.71377 | 3.5749 | 0.68951 | 1.4275 | Flagged Warnings: | 1388.9244 | 0.0033273 | 880.6883 | 1388.9244 | 1324.439 | 0.5491 | 0 | 3.5988 | 0.691 | 1.0982 | Flagged Warnings: | 1265.378 | 104.4384 | 1.1353 | 1410.3301 | 146.9721 | 0.72364 | [9 empty] | 1.1525 | 1.1254 | 0.2177 | 0.0031356 | 1.2168 | 1.2322 | 0.23812 | 0.001247 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:13:23 PM | 62003 | [11 empty] | 62003 | 0.99788 | 0.99787 | 0.99789
8 | 187-1-212-MI1-rep2 | 0.22012 | 0.0053942 | 0.0048491 | 0.0023629 | 103.2923 | 0.011769 | 0.0008593 | 0.011763 | 5.995 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21477 | 0.0062737 | 0.22012 | 0.0053942 | 0.10358 | 0.0081772 | SupCrit | 103.5119 | 0.011763 | 1285.3703 | 0.010712 | 201.2066 | 1285.3703 | 416.7395 | 0.7324 | 2.8 | 0.76686 | 1.4648 | Flagged Warnings: | 1388.8823 | 0.0048591 | 398.4218 | 1388.8822 | 608.5333 | 0.56185 | 0 | 2.2724 | 0.67292 | 1.1237 | Flagged Warnings: |  |  |  | 1410.2327 | 59.7057 | 0.59793 | [9 empty] | 1.3043 | 1.2138 | 0.44581 | 0.00728 | 1.2043 | 1.1845 | 0.22961 | 0.0028204 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:19:41 PM | 62381 | [11 empty] | 62381 | 0.99788 | 0.99787 | 0.99789
9 | 187-1-212-MI1-rep3 | 0.20671 | 0.0075051 | 0.0071226 | 0.0023655 | 103.2596 | 0.017365 | 0.00086161 | 0.017381 | 6.002 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20184 | 0.0080215 | 0.20671 | 0.0075051 | 0.081379 | 0.012022 | SupCrit | 103.4793 | 0.017381 | 1285.4017 | 0.015752 | 141.4928 | 1285.4017 | 299.1389 | 0.79134 | 2.6243 | 0.63017 | 1.5827 | Flagged Warnings: | 1388.881 | 0.0073462 | 300.9901 | 1388.881 | 456.0164 | 0.52617 | 0 | 2.4733 | 0.80858 | 1.0523 | Flagged Warnings: | [15 empty] | 1.0598 | 1.014 | 0.094691 | 0.011186 | 1.3056 | 1.3473 | 0.32164 | 0.0034962 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:24:43 PM | 62683 | [11 empty] | 62683 | 0.99788 | 0.99787 | 0.99789
10 | 187-1-212-MI2-rep1 | 0.25827 | 0.0057157 | 0.0052072 | 0.0023568 | 103.3842 | 0.012469 | 0.00086524 | 0.012465 | 6.001 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25121 | 0.0066404 | 0.25827 | 0.0057157 | 0.16496 | 0.0083944 | SupCrit | 103.6043 | 0.012465 | 1285.1283 | 0.011701 | 206.237 | 1285.1283 | 468.2667 | 0.8006 | 3.1991 | 0.77348 | 1.6012 | Flagged Warnings: | 1388.7327 | 0.0042968 | 420.5914 | 1388.7327 | 716.265 | 0.63245 | 0 | 2.4132 | 0.64979 | 1.2649 | Flagged Warnings: |  |  |  | 1410.1608 | 75.9072 | 0.81199 | [9 empty] | 1.1028 | 1.2371 | 0.16468 | 0.0077639 | 1.0492 | 1.1195 | 0.062262 | 0.0030074 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:29:41 PM | 62981 |  |  |  |  | 1095.4625 | 1140.9539 | 69.7249 | Spline | 0.96321 |  |  | 62981 | 0.99788 | 0.99787 | 0.99788
11 | 187-1-212-MI2-rep2 | 0.24711 | 0.0053715 | 0.0048261 | 0.0023584 | 103.3575 | 0.011603 | 0.00086761 | 0.011595 | 6 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2406 | 0.0063377 | 0.24711 | 0.0053715 | 0.14727 | 0.007906 | SupCrit | 103.5776 | 0.011595 | 1285.1482 | 0.010664 | 226.4233 | 1285.1482 | 527.7837 | 0.84744 | 3.2024 | 0.70114 | 1.6949 | Flagged Warnings: | 1388.7258 | 0.0045526 | 468.3466 | 1388.7258 | 774.0017 | 0.60951 | 0 | 2.8517 | 0.66644 | 1.219 | Flagged Warnings: | [15 empty] | 1.1143 | 1.1327 | 0.1938 | 0.0074855 | 1.0617 | 1.0097 | 0.075168 | 0.0026028 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:34:34 PM | 63274 |  |  |  |  | 1093.6335 | 2132.044 | 129.6964 | Spline | 1.6378 |  |  | 63274 | 0.99787 | 0.99787 | 0.99788
13 | 187-1-212-MI3-rep1 | 0.23747 | 0.0043136 | 0.0036108 | 0.0023599 | 103.3343 | 0.0087114 | 0.00087094 | 0.0086862 | 6.002 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2314 | 0.0055144 | 0.23747 | 0.0043136 | 0.13183 | 0.0060983 | SupCrit | 103.5545 | 0.0086862 | 1285.2282 | 0.0082841 | 364.9426 | 1285.2282 | 833.1663 | 0.86828 | 3.2388 | 0.59043 | 1.7366 | Flagged Warnings: | 1388.7828 | 0.0026124 | 758.4617 | 1388.7828 | 1332.2544 | 0.63589 | 0 | 2.8459 | 0.71174 | 1.2718 | Flagged Warnings: |  |  |  | 1410.2039 | 178.2974 | 1.0627 | [9 empty] | 1.05 | 1.1721 | 0.086828 | 0.0047584 | 1.0381 | 1.0531 | 0.048418 | 0.0016768 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:41:04 PM | 63664 | [11 empty] | 63664 | 0.99787 | 0.99786 | 0.99788
14 | 187-1-212-MI3-rep2 | 0.23454 | 0.0041962 | 0.0034693 | 0.0023604 | 103.3272 | 0.0083787 | 0.00087319 | 0.0083508 | 6.004 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2286 | 0.0054184 | 0.23454 | 0.0041962 | 0.12709 | 0.0058992 | SupCrit | 103.5475 | 0.0083508 | 1285.2353 | 0.0080129 | 389.8784 | 1285.2353 | 896.796 | 0.87885 | 3.0222 | 0.57883 | 1.7577 | Flagged Warnings: | 1388.7829 | 0.0023517 | 842.1523 | 1388.7828 | 1444.2435 | 0.63311 | 0 | 2.4687 | 0.66436 | 1.2662 | Flagged Warnings: |  |  |  | 1410.2567 | 171.034 | 0.90466 | [9 empty] | 1.0429 | 1.1328 | 0.075379 | 0.0045084 | 1.0919 | 1.1166 | 0.11632 | 0.0015036 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:45:16 PM | 63916 | [11 empty] | 63916 | 0.99787 | 0.99786 | 0.99788
15 | 187-1-212-MI3-rep3 | 0.24661 | 0.0031756 | 0.0021265 | 0.0023585 | 103.3563 | 0.0051136 | 0.00087578 | 0.0050488 | 6.005 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.24013 | 0.0048067 | 0.24661 | 0.0031756 | 0.14649 | 0.0038464 | SupCrit | 103.5768 | 0.0050488 | 1285.183 | 0.004496 | 452.4881 | 1285.1831 | 1011.5303 | 0.8483 | 2.0489 | 0.59656 | 1.6966 | Flagged Warnings: | 1388.7599 | 0.0022969 | 900.6651 | 1388.7599 | 1562.6206 | 0.65396 | 0 | 2.3948 | 0.61315 | 1.3079 | Flagged Warnings: | 1265.0823 | 108.7063 | 1.0552 | 1410.1379 | 186.7594 | 0.90932 | [9 empty] | 1.1113 | 1.1757 | 0.18891 | 0.0037495 | 1.066 | 1.0939 | 0.08631 | 0.0014522 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:49:27 PM | 64167 |  |  |  |  | 1095.3636 | 1019.9278 | 67.3296 | Spline | 0.39622 |  |  | 64167 | 0.99787 | 0.99786 | 0.99788
12 | 187-1-212-MI2-rep3 | 0.23599 | 0.0052683 | 0.0047101 | 0.0023601 | 103.3307 | 0.011369 | 0.00088127 | 0.011359 | 6.009 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22999 | 0.0062217 | 0.23599 | 0.0052683 | 0.12944 | 0.0078201 | SupCrit | 103.5514 | 0.011359 | 1285.1749 | 0.010232 | 220.1354 | 1285.1749 | 496.1005 | 0.79052 | 2.7611 | 0.78555 | 1.581 | Flagged Warnings: | 1388.7264 | 0.0049345 | 436.0264 | 1388.7264 | 740.3744 | 0.63391 | 0 | 2.9031 | 0.63665 | 1.2678 | Flagged Warnings: | [15 empty] | 1.0865 | 1.0329 | 0.13672 | 0.0071822 | 1.0332 | 1.0824 | 0.042045 | 0.0029077 | PseudoVoigtModel | PseudoVoigtModel | No | June 20, 2024 | June | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:59:24 PM | 64764 |  |  |  |  | 1092.0023 | 1621.6308 | 98.592 | Spline | 1.3115 |  |  | 64764 | 0.99787 | 0.99786 | 0.99788
23 | FG04-A1-4-end-rep5 | 0.6907 | 0.0028663 | 0.001581 | 0.0023908 | 104.3277 | 0.003103 | 0.00089658 | 0.002977 | 6.01 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62505 | 0.0085148 | 0.6907 | 0.0028663 | 0.69018 | 0.0021462 | SupCrit | 104.5509 | 0.002977 | 1282.9745 | 0.0026179 | 909.1946 | 1282.9746 | 2572.3608 | 0.9929 | 3.044 | 0.78677 | 1.9858 | Flagged Warnings: | 1387.5255 | 0.0014174 | 1884.48 | 1387.5255 | 4299.8967 | 0.81615 | 0 | 2.3577 | 0.7531 | 1.6323 | Flagged Warnings: | 1262.9319 | 384.8282 | 2.9654 | 1408.9408 | 468.2973 | 1.9638 | 1369.7876 | 52.586 | 0.40782 | 1387.5034 | 402.865 | 16.2953 |  |  |  | 1.0829 | 1.0856 | 0.16461 | 0.0021841 | 1.0439 | 1.022 | 0.071712 | 0.00086618 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:10:48 PM | 65448 | [11 empty] | 65448 | 0.99787 | 0.99786 | 0.99787
24 | FG04-A1-4-end-rep6 | 0.70343 | 0.0045045 | 0.0038156 | 0.0023941 | 104.3526 | 0.0074407 | 0.00089984 | 0.0074019 | 6.016 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63492 | 0.0090431 | 0.70343 | 0.0045045 | 0.70148 | 0.0037197 | SupCrit | 104.576 | 0.0074019 | 1282.9414 | 0.0071309 | 633.1629 | 1282.9414 | 1797.3261 | 0.99021 | 4.9673 | 0.79841 | 1.9804 | Flagged Warnings: | 1387.5175 | 0.0019847 | 1286.7293 | 1387.5175 | 2924.6762 | 0.81197 | 0 | 2.6819 | 0.75714 | 1.6239 | Flagged Warnings: |  |  |  | 1408.9696 | 285.9185 | 1.9269 |  |  |  | 1387.4207 | 352.0095 | 19.0736 |  |  |  | 1.0469 | 1.0466 | 0.092832 | 0.0031278 | 1.0207 | 1.0015 | 0.033692 | 0.0012621 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:15:46 PM | 65746 | [11 empty] | 65746 | 0.99786 | 0.99785 | 0.99787
25 | FG04-A1-4-end-rep7 | 0.70688 | 0.0030426 | 0.0018765 | 0.002395 | 104.3593 | 0.0036531 | 0.00090325 | 0.0035472 | 6.014 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63758 | 0.0087036 | 0.70688 | 0.0030426 | 0.7045 | 0.0022992 | SupCrit | 104.583 | 0.0035472 | 1282.9349 | 0.0030354 | 736.1842 | 1282.9349 | 2037.8503 | 0.96819 | 2.568 | 0.79399 | 1.9364 | Flagged Warnings: | 1387.5178 | 0.0018355 | 1508.2219 | 1387.5179 | 3402.8768 | 0.80355 | 0 | 2.5815 | 0.76617 | 1.6071 | Flagged Warnings: | 1262.7032 | 273.9825 | 2.6185 | 1408.9294 | 392.6047 | 2.1334 |  |  |  | 1382.9888 | 426.663 | 16.8444 |  |  |  | 1.0265 | 1.0623 | 0.051408 | 0.0026303 | 1.0168 | 1.0148 | 0.026954 | 0.0010656 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:21:09 PM | 66069 | [11 empty] | 66069 | 0.99786 | 0.99785 | 0.99787
26 | FG04-A1-16-end-rep4 | 0.49796 | 0.0057533 | 0.0052492 | 0.002355 | 103.9307 | 0.011332 | 0.00090234 | 0.011321 | 6.011 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46772 | 0.0079305 | 0.49796 | 0.0057533 | 0.49233 | 0.0063522 | SupCrit | 104.1535 | 0.011321 | 1283.8329 | 0.00971 | 264.5998 | 1283.8329 | 818.9235 | 1.1432 | 2.5884 | 0.66264 | 2.2865 | Flagged Warnings: | 1387.9864 | 0.0058201 | 602.3511 | 1387.9864 | 1380.5507 | 0.80784 | 0 | 3.8231 | 0.77438 | 1.6157 | Flagged Warnings: | [15 empty] | 1.0703 | 1.0506 | 0.16082 | 0.0086413 | 1.0274 | 1.0557 | 0.044219 | 0.0026823 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:25:37 PM | 66337 | [11 empty] | 66337 | 0.99786 | 0.99785 | 0.99787
27 | FG04-A1-16-end-rep5 | 0.51735 | 0.0060288 | 0.0055488 | 0.0023573 | 103.9723 | 0.011868 | 0.00090568 | 0.011859 | 6.014 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.48423 | 0.008207 | 0.51735 | 0.0060288 | 0.51467 | 0.0065279 | SupCrit | 104.1954 | 0.011859 | 1283.7884 | 0.010393 | 289.9575 | 1283.7884 | 914.5936 | 1.1863 | 2.9584 | 0.61833 | 2.3726 | Flagged Warnings: | 1387.9839 | 0.0057115 | 666.7386 | 1387.9839 | 1529.1128 | 0.81153 | 0 | 4.1774 | 0.76527 | 1.6231 | Flagged Warnings: | [15 empty] | 1.0282 | 1.001 | 0.067023 | 0.0081826 | 1.0357 | 1.0686 | 0.057966 | 0.0024343 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:30:18 PM | 66618 | [11 empty] | 66618 | 0.99786 | 0.99785 | 0.99787
28 | FG04-A1-16-end-rep6 | 0.51255 | 0.0052313 | 0.0046703 | 0.0023567 | 103.9621 | 0.010012 | 0.0009082 | 0.0099924 | 6.01 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.48016 | 0.0077686 | 0.51255 | 0.0052313 | 0.5092 | 0.0056008 | SupCrit | 104.1853 | 0.0099924 | 1283.7525 | 0.0093545 | 331.6851 | 1283.7525 | 1015.4514 | 1.1316 | 2.933 | 0.66107 | 2.2632 | Flagged Warnings: | 1387.9378 | 0.003513 | 733.5893 | 1387.9378 | 1678.5513 | 0.82785 | 0 | 2.6575 | 0.71365 | 1.6557 | Flagged Warnings: |  |  |  | 1409.3142 | 212.9316 | 1.8867 | [9 empty] | 1.0361 | 1.0382 | 0.08168 | 0.0068234 | 1.0665 | 1.0956 | 0.11015 | 0.002257 | PseudoVoigtModel | PseudoVoigtModel | Yes | June 20, 2024 | June | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:34:21 PM | 66861 | [11 empty] | 66861 | 0.99786 | 0.99785 | 0.99787