## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_SO2 | Peak_Area_SO2 | Peak_Height_SO2 | Model_name_x | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name_y | Carb_Diad_Ratio | SO2_Diad_Ratio | SO2_mol_ratio | time | preferred_values | lower_values | upper_values
26 | FG04-A1-4-start-r1 | 0.69466 | 0.0027064 | 0.0012664 | 0.0023918 | 104.3355 | 0.0024805 | 0.00078875 | 0.0023566 | 6.003 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62813 | 0.0085208 | 0.69466 | 0.0027064 | 0.69372 | 0.0019677 | SupCrit | 104.5502 | 0.0023566 | 1282.8901 | 0.0020855 | 1170.3454 | 1282.8901 | 3235.6844 | 0.97719 | 3.2027 | 0.76985 | 1.9544 | Flagged Warnings: | 1387.4403 | 0.0010974 | 2325.0009 | 1387.4403 | 5361.5585 | 0.83185 | 0 | 2.6969 | 0.735 | 1.6637 | Flagged Warnings: | 1262.8046 | 449.7781 | 2.7703 | 1408.9104 | 528.2108 | 2.001 | 1369.7739 | 73.2151 | 0.41586 | 1389.094 | 608.3808 | 17.0519 |  |  |  | 1.0052 | 1.0049 | 0.010126 | 0.0016699 | 1.0101 | 1.0188 | 0.016771 | 0.00071557 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 11:44:28 AM | 42268 | [11 empty] | 42268 | 0.99795 | 0.99794 | 0.99795
27 | FG04-A1-4-start-r2 | 0.69604 | 0.0028492 | 0.0015477 | 0.0023922 | 104.3382 | 0.0030294 | 0.00078735 | 0.0029313 | 6.011 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.6292 | 0.008562 | 0.69604 | 0.0028492 | 0.69495 | 0.002119 | SupCrit | 104.5529 | 0.0029313 | 1282.8921 | 0.002447 | 1023.0333 | 1282.8921 | 2875.6433 | 0.99653 | 3.2295 | 0.76305 | 1.9931 | Flagged Warnings: | 1387.445 | 0.0016139 | 2087.5483 | 1387.4451 | 4748.328 | 0.8192 | 0 | 3.3675 | 0.73819 | 1.6384 | Flagged Warnings: | 1262.9047 | 420.2846 | 2.9839 | 1408.8709 | 520.4592 | 1.8609 |  |  |  | 1383.5366 | 493.0044 | 15.7678 |  |  |  | 1.0292 | 1.0217 | 0.058217 | 0.0019482 | 1.0123 | 1.0191 | 0.020144 | 0.00078484 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:48:36 AM | 42516 | [11 empty] | 42516 | 0.99795 | 0.99794 | 0.99795
28 | FG04-A1-4-start-r3 | 0.69562 | 0.0028897 | 0.0016212 | 0.002392 | 104.3374 | 0.003174 | 0.00078606 | 0.0030814 | 6.023 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62887 | 0.0085661 | 0.69562 | 0.0028897 | 0.69457 | 0.0021625 | SupCrit | 104.5522 | 0.0030814 | 1282.9012 | 0.0027355 | 899.6764 | 1282.9012 | 2555.8092 | 1.0071 | 2.7882 | 0.76316 | 2.0142 | Flagged Warnings: | 1387.4535 | 0.0014186 | 1847.4812 | 1387.4534 | 4270.9964 | 0.8317 | 0 | 2.3275 | 0.73901 | 1.6634 | Flagged Warnings: | 1262.8217 | 370.7489 | 3.0148 | 1408.8152 | 456.0589 | 1.8756 | 1369.8077 | 54.9214 | 0.41557 | 1387.6661 | 378.6877 | 16.185 |  |  |  | 1.0017 | 1.019 | 0.0033795 | 0.0022388 | 1.0121 | 1.0043 | 0.020203 | 0.00090036 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 11:52:26 AM | 42746 | [11 empty] | 42746 | 0.99795 | 0.99794 | 0.99795
10 | 187-1-214-MI1-15mw | 0.13903 | 0.0041068 | 0.0013789 | 0.0038684 | 103.1011 | 0.0034799 | 0.0007652 | 0.0034018 | 15.028 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13903 | 0.0041068 | 0.14235 | 0.002762 | -0.029743 | 0.0031335 | SupCrit | 103.3143 | 0.0034018 | 1285.7031 | 0.0029448 | 802.6353 | 1285.7032 | 1376.2462 | 0.65946 | 2.9553 | 0.56265 | 1.3189 | Flagged Warnings: | 1389.0176 | 0.0017031 | 1473.1462 | 1389.0175 | 2063.7118 | 0.53044 | 0 | 3.5321 | 0.60178 | 1.0609 | Flagged Warnings: | 1265.5138 | 201.7899 | 0.94003 | 1410.3768 | 316.5825 | 0.72952 | [9 empty] | 1.0833 | 1.013 | 0.10991 | 0.0016432 | 1.0521 | 1.0609 | 0.05529 | 0.00072014 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:35:36 PM | 45336 | [11 empty] | 45336 | 0.99794 | 0.99793 | 0.99794
11 | 187-1-214-MI1-12mw | 0.14553 | 0.0041938 | 0.0015763 | 0.0038863 | 103.1175 | 0.0039781 | 0.0007643 | 0.0039121 | 12.06 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14553 | 0.0041938 | 0.14894 | 0.0028689 | -0.018006 | 0.003411 | SupCrit | 103.3309 | 0.0039121 | 1285.6612 | 0.0034607 | 603.5243 | 1285.6613 | 1069.3165 | 0.65333 | 2.4643 | 0.66733 | 1.3067 | Flagged Warnings: | 1388.9922 | 0.0018243 | 1107.4412 | 1388.9921 | 1563.9672 | 0.54073 | 0 | 2.6598 | 0.57368 | 1.0815 | Flagged Warnings: | 1265.4124 | 154.6382 | 0.8657 | 1410.3418 | 204.7427 | 0.75751 | [9 empty] | 1.0822 | 1.013 | 0.10744 | 0.0021651 | 1.0974 | 1.115 | 0.10534 | 0.00097654 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:40:37 PM | 45637 |  |  |  |  | 1095.3636 | 824.72 | 66.6944 | Spline | 0.31319 |  |  | 45637 | 0.99794 | 0.99793 | 0.99794
12 | 187-1-214-MI1-6mw | 0.16666 | 0.0049681 | 0.0030021 | 0.0039585 | 103.1709 | 0.0075763 | 0.00076377 | 0.0075533 | 5.998 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16666 | 0.0049681 | 0.1705 | 0.0038824 | 0.019793 | 0.0056451 | SupCrit | 103.3844 | 0.0075533 | 1285.5816 | 0.0070315 | 285.9565 | 1285.5816 | 524.128 | 0.69407 | 2.4637 | 0.60133 | 1.3881 | Flagged Warnings: | 1388.9661 | 0.0027588 | 527.0944 | 1388.966 | 756.932 | 0.54552 | 0 | 1.8228 | 0.59357 | 1.091 | Flagged Warnings: |  |  |  | 1410.3167 | 85.4514 | 0.69367 | [9 empty] | 1.0097 | 1.023 | 0.01351 | 0.0048544 | 1.1387 | 1.1385 | 0.15134 | 0.0020699 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:45:31 PM | 45931 |  |  |  |  | 1097.0937 | 551.6181 | 38.1392 | Spline | 0.4306 |  |  | 45931 | 0.99793 | 0.99793 | 0.99794
0 | 187-1-215-MI1 | 0.22981 | 0.0029706 | 0.0018026 | 0.0023612 | 103.3157 | 0.0043607 | 0.00076289 | 0.0043023 | 6.003 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22407 | 0.0045909 | 0.22981 | 0.0029706 | 0.11942 | 0.0034523 | SupCrit | 103.5299 | 0.0043023 | 1285.2341 | 0.003763 | 710.3232 | 1285.2341 | 1475.219 | 0.75703 | 3.202 | 0.69553 | 1.5141 | Flagged Warnings: | 1388.7641 | 0.0020858 | 1359.8538 | 1388.764 | 2203.8536 | 0.595 | 0 | 4.5806 | 0.67782 | 1.19 | Flagged Warnings: | 1265.0576 | 184.7426 | 1.3852 | 1410.1642 | 247.5322 | 0.96124 | [9 empty] | 1.0153 | 1.0487 | 0.023191 | 0.0021315 | 1.0238 | 1.0525 | 0.028333 | 0.00087509 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:57:10 PM | 46630 | [11 empty] | 46630 | 0.99793 | 0.99792 | 0.99794
13 | 187-1-215-FI1 | 0.49423 | 0.002868 | 0.0016375 | 0.0023546 | 103.9226 | 0.0035415 | 0.00076557 | 0.0034649 | 6.009 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.46453 | 0.0066503 | 0.49423 | 0.002868 | 0.48797 | 0.0025486 | SupCrit | 104.1383 | 0.0034649 | 1283.8085 | 0.0026633 | 730.7423 | 1283.8085 | 2152.5803 | 1.0899 | 2.168 | 0.66048 | 2.1798 | Flagged Warnings: | 1387.9469 | 0.0022165 | 1559.7555 | 1387.9468 | 3522.5174 | 0.80893 | 0 | 4.0399 | 0.73744 | 1.6179 | Flagged Warnings: | 1263.6738 | 289.2897 | 2.4875 | 1409.3422 | 431.2751 | 1.8528 | [9 empty] | 1.0299 | 1.0302 | 0.065223 | 0.002983 | 1.0511 | 1.0702 | 0.082614 | 0.0010373 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:10:37 PM | 47437 | [11 empty] | 47437 | 0.99793 | 0.99792 | 0.99794
1 | 187-1-215-FI2 | 0.47152 | 0.0066614 | 0.0062322 | 0.0023524 | 103.8732 | 0.013625 | 0.00076458 | 0.013631 | 6.002 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.44496 | 0.0082819 | 0.47152 | 0.0066614 | 0.46092 | 0.0077206 | SupCrit | 104.089 | 0.013631 | 1283.9574 | 0.01191 | 158.6095 | 1283.9574 | 470.9551 | 1.1107 | 2.0927 | 0.63176 | 2.2214 | Flagged Warnings: | 1388.0464 | 0.0066308 | 333.3493 | 1388.0464 | 742.3752 | 0.81712 | 0 | 2.6302 | 0.679 | 1.6342 | Flagged Warnings: | [15 empty] | 1.0802 | 1.0577 | 0.17813 | 0.014005 | 1.1011 | 1.1653 | 0.16518 | 0.0049025 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:16:23 PM | 47783 | [11 empty] | 47783 | 0.99793 | 0.99792 | 0.99793
14 | 187-1-215-FI3 | 0.59138 | 0.0084874 | 0.0081501 | 0.002369 | 104.1279 | 0.016811 | 0.00076602 | 0.016828 | 6.006 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54586 | 0.0099961 | 0.59138 | 0.0084874 | 0.5948 | 0.0085406 | SupCrit | 104.3442 | 0.016828 | 1283.4031 | 0.016639 | 529.2798 | 1283.4031 | 1550.2611 | 1.0814 | 3.8872 | 0.66383 | 2.1628 | Flagged Warnings: | 1387.7474 | 0.0025177 | 1118.7981 | 1387.7474 | 2584.3695 | 0.81694 | 0 | 3.1339 | 0.76753 | 1.6339 | Flagged Warnings: |  |  |  | 1409.0347 | 324.9166 | 2.1649 | [9 empty] | 1.0092 | 1.0023 | 0.019995 | 0.0040864 | 1.1277 | 1.13 | 0.20866 | 0.0014604 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:21:07 PM | 48067 | 1153.226 | 374.9592 | 266.5637 | Spline | [5 empty] | 0.090687 | 0.037706 | 48067 | 0.99793 | 0.99792 | 0.99793
15 | 187-1-215-FI4 | 0.60102 | 0.0052483 | 0.0046823 | 0.0023708 | 104.1477 | 0.0096119 | 0.00076575 | 0.0096012 | 6.005 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55371 | 0.0084546 | 0.60102 | 0.0052483 | 0.60465 | 0.0050258 | SupCrit | 104.3642 | 0.0096012 | 1283.3249 | 0.008038 | 317.7626 | 1283.3249 | 928.3945 | 1.0545 | 2.4352 | 0.71856 | 2.109 | Flagged Warnings: | 1387.6892 | 0.0052511 | 660.369 | 1387.6892 | 1524.1195 | 0.80963 | 0 | 3.7465 | 0.78545 | 1.6193 | Flagged Warnings: | [15 empty] | 1.0404 | 1.0347 | 0.085177 | 0.006637 | 1.0164 | 1.0073 | 0.0266 | 0.0024521 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:26:21 PM | 48381 | [11 empty] | 48381 | 0.99792 | 0.99792 | 0.99793
16 | 187-1-215-FI5 | 0.6299 | 0.0028423 | 0.001559 | 0.0023766 | 104.2065 | 0.0031546 | 0.00076585 | 0.0030666 | 5.999 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.57704 | 0.007931 | 0.6299 | 0.0028423 | 0.63338 | 0.0022276 | SupCrit | 104.4234 | 0.0030666 | 1283.2103 | 0.0024464 | 768.7759 | 1283.2103 | 2171.0808 | 1.0182 | 2.0067 | 0.72265 | 2.0363 | Flagged Warnings: | 1387.6337 | 0.001849 | 1587.2423 | 1387.6337 | 3644.3486 | 0.80342 | 0 | 3.4062 | 0.79205 | 1.6068 | Flagged Warnings: | 1263.0723 | 267.1467 | 2.3484 | 1409.0965 | 416.6911 | 1.94 | [9 empty] | 1.0666 | 1.0035 | 0.13552 | 0.0026488 | 1.0273 | 1.0102 | 0.043884 | 0.0010123 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:31:34 PM | 48694 | [11 empty] | 48694 | 0.99792 | 0.99792 | 0.99793
2 | 187-1-215-FI6 | 0.38219 | 0.0061598 | 0.0056946 | 0.0023484 | 103.6739 | 0.012967 | 0.00076171 | 0.012972 | 5.999 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36597 | 0.0074842 | 0.38219 | 0.0061598 | 0.34642 | 0.0079143 | SupCrit | 103.8897 | 0.012972 | 1284.4124 | 0.011746 | 174.4447 | 1284.4124 | 505.3466 | 1.0907 | 2.2447 | 0.61565 | 2.1814 | Flagged Warnings: | 1388.3021 | 0.0055046 | 386.5238 | 1388.3021 | 787.1261 | 0.73112 | 0 | 2.6371 | 0.73112 | 1.4622 | Flagged Warnings: | [15 empty] | 1.109 | 1.1384 | 0.23771 | 0.012505 | 1.0343 | 1.0547 | 0.050191 | 0.003783 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:35:57 PM | 48957 | [11 empty] | 48957 | 0.99792 | 0.99792 | 0.99793
3 | 187-1-216-MI1-12mw | 0.15227 | 0.0044497 | 0.0021296 | 0.003907 | 103.1345 | 0.0053746 | 0.00075771 | 0.005332 | 11.951 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15227 | 0.0044497 | 0.1558 | 0.0032189 | -0.0058854 | 0.0042582 | SupCrit | 103.35 | 0.005332 | 1285.6902 | 0.0047481 | 960.2322 | 1285.6903 | 1669.9123 | 0.63708 | 6.2333 | 0.68344 | 1.2742 | Flagged Warnings: | 1389.0403 | 0.002426 | 1746.1134 | 1389.0403 | 2416.3198 | 0.52769 | 0 | 6.0358 | 0.58402 | 1.0554 | Flagged Warnings: | 1265.4195 | 245.5428 | 1.2785 | 1410.3791 | 282.3243 | 0.78117 | [9 empty] | 1.1151 | 1.0343 | 0.14661 | 0.0013269 | 1.0064 | 1.0231 | 0.006787 | 0.00060441 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:06:35 PM | 50795 | [11 empty] | 50795 | 0.99792 | 0.99791 | 0.99792
17 | 187-1-216-MI3-12mw | 0.22329 | 0.0030264 | 0.0018918 | 0.0023623 | 103.3 | 0.0045866 | 0.00075979 | 0.0045327 | 11.936 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21781 | 0.0045899 | 0.22329 | 0.0030264 | 0.10878 | 0.0035978 | SupCrit | 103.5161 | 0.0045327 | 1285.2616 | 0.003971 | 1120.0745 | 1285.2616 | 2390.3356 | 0.77252 | 5.5007 | 0.71214 | 1.545 | Flagged Warnings: | 1388.7778 | 0.0021854 | 2230.1883 | 1388.7777 | 3722.3469 | 0.60363 | 0 | 7.2976 | 0.71408 | 1.2073 | Flagged Warnings: | 1265.1299 | 304.1502 | 1.2659 | 1410.1311 | 489.8789 | 1.0628 | [9 empty] | 1.2019 | 1.2422 | 0.31194 | 0.0013794 | 1.1087 | 1.134 | 0.13122 | 0.00054133 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:20:41 PM | 51641 |  |  |  |  | 1095.413 | 563.1248 | 48.7696 | Spline | 0.092124 |  |  | 51641 | 0.99791 | 0.99791 | 0.99792
18 | 187-1-216-FI1 | 0.6072 | 0.0035141 | 0.0025927 | 0.002372 | 104.1603 | 0.005306 | 0.00076661 | 0.0052613 | 6.02 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55873 | 0.0078941 | 0.6072 | 0.0035141 | 0.61089 | 0.0030787 | SupCrit | 104.3784 | 0.0052613 | 1283.3532 | 0.0043496 | 665.6308 | 1283.3532 | 1959.7545 | 1.0493 | 3.3475 | 0.75076 | 2.0986 | Flagged Warnings: | 1387.7316 | 0.0029602 | 1400.0785 | 1387.7316 | 3260.8272 | 0.81261 | 0 | 4.2602 | 0.79902 | 1.6252 | Flagged Warnings: | 1263.4829 | 306.4107 | 2.6634 | 1409.0971 | 420.8884 | 2.2365 | 1370.0485 | 50.9638 | 0.40566 | [6 empty] | 1.0392 | 1.0709 | 0.082163 | 0.0031528 | 1.0608 | 1.0756 | 0.098808 | 0.0011608 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:26:15 PM | 51975 |  |  |  |  | 1095.3142 | 411.1031 | 34.8757 | Spline | 0.078747 |  |  | 51975 | 0.99791 | 0.9979 | 0.99792
19 | 187-1-216-MI3 | 0.23501 | 0.0034823 | 0.0025603 | 0.0023603 | 103.3283 | 0.0061823 | 0.00076102 | 0.0061481 | 6.022 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22905 | 0.0049359 | 0.23501 | 0.0034823 | 0.12785 | 0.0045214 | SupCrit | 103.5447 | 0.0061481 | 1285.1807 | 0.0055158 | 419.8548 | 1285.1808 | 925.3947 | 0.80505 | 2.5493 | 0.69106 | 1.6101 | Flagged Warnings: | 1388.7255 | 0.0027158 | 829.34 | 1388.7255 | 1387.4677 | 0.61892 | 0 | 2.9888 | 0.65923 | 1.2378 | Flagged Warnings: | 1264.626 | 139.288 | 1.8567 | 1410.1097 | 150.0733 | 0.96036 | [9 empty] | 1.0779 | 1.003 | 0.12546 | 0.0038349 | 1.0474 | 1 | 0.058634 | 0.0014926 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:31:23 PM | 52283 | [11 empty] | 52283 | 0.99791 | 0.9979 | 0.99792
20 | 187-1-216-FI2 | 0.58667 | 0.0029741 | 0.0017993 | 0.0023681 | 104.1181 | 0.0037201 | 0.00076864 | 0.0036474 | 6.014 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.542 | 0.0075523 | 0.58667 | 0.0029741 | 0.58994 | 0.0024825 | SupCrit | 104.3365 | 0.0036474 | 1283.3966 | 0.0029601 | 1231.394 | 1283.3967 | 3681.7351 | 1.0808 | 4.4291 | 0.71768 | 2.1615 | Flagged Warnings: | 1387.7332 | 0.0021311 | 2638.1712 | 1387.7332 | 6172.944 | 0.81118 | 0 | 7.5508 | 0.81376 | 1.6224 | Flagged Warnings: | 1263.3998 | 584.4671 | 3.1373 | 1409.0782 | 807.8459 | 2.2562 | 1370.0953 | 104.9947 | 0.40497 | [6 empty] | 1.0806 | 1.0502 | 0.17432 | 0.0017554 | 1.0738 | 1.0851 | 0.11979 | 0.00061496 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:45:13 PM | 53113 | [11 empty] | 53113 | 0.99791 | 0.9979 | 0.99791
21 | 187-1-216-FI3 | 0.6032 | 0.0030253 | 0.0018788 | 0.0023712 | 104.1522 | 0.0038527 | 0.00076961 | 0.003783 | 6.015 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.55549 | 0.007722 | 0.6032 | 0.0030253 | 0.60686 | 0.0025081 | SupCrit | 104.3707 | 0.003783 | 1283.3431 | 0.0031972 | 968.3 | 1283.3431 | 2905.0259 | 1.0874 | 3.6528 | 0.71135 | 2.1748 | Flagged Warnings: | 1387.7139 | 0.0020221 | 2076.7098 | 1387.7138 | 4791.0247 | 0.80634 | 0 | 5.4164 | 0.79499 | 1.6127 | Flagged Warnings: | 1263.2998 | 469.3582 | 3.2534 | 1409.094 | 609.8739 | 2.2608 | 1370.0821 | 84.6247 | 0.40252 | [6 empty] | 1.0202 | 1.043 | 0.04397 | 0.002246 | 1.0832 | 1.0795 | 0.1341 | 0.00077656 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:49:48 PM | 53388 | [11 empty] | 53388 | 0.99791 | 0.9979 | 0.99791
22 | 187-1-216-FI4 | 0.58918 | 0.00593 | 0.0054364 | 0.0023685 | 104.1233 | 0.011226 | 0.0007704 | 0.011223 | 6.012 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54406 | 0.0086612 | 0.58918 | 0.00593 | 0.59253 | 0.005843 | SupCrit | 104.3419 | 0.011223 | 1283.3571 | 0.0089108 | 453.4678 | 1283.3571 | 1367.6947 | 1.0712 | 4.2455 | 0.75667 | 2.1423 | Flagged Warnings: | 1387.6991 | 0.0068224 | 957.3332 | 1387.699 | 2234.0251 | 0.81739 | 0 | 5.8569 | 0.78903 | 1.6348 | Flagged Warnings: |  |  |  | 1409.1775 | 220.7211 | 0.33047 | [9 empty] | 1.0193 | 1 | 0.041398 | 0.0047243 | 1.0561 | 1.0469 | 0.091765 | 0.0017076 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 2:55:42 PM | 53742 | [11 empty] | 53742 | 0.9979 | 0.9979 | 0.99791
4 | 187-1-216-MI1 | 0.15772 | 0.0058176 | 0.0042937 | 0.0039254 | 103.1483 | 0.010836 | 0.00076467 | 0.010832 | 6.005 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15772 | 0.0058176 | 0.16137 | 0.004985 | 0.0038785 | 0.007897 | SupCrit | 103.365 | 0.010832 | 1285.6587 | 0.0097431 | 206.5809 | 1285.6587 | 345.4833 | 0.62575 | 2.5584 | 0.63107 | 1.2515 | Flagged Warnings: | 1389.0238 | 0.0047326 | 361.9632 | 1389.0237 | 508.476 | 0.54867 | 0 | 2.1639 | 0.52292 | 1.0973 | Flagged Warnings: |  |  |  | 1410.4924 | 60.3113 | 0.68793 | [9 empty] | 1.082 | 1.0415 | 0.10258 | 0.0060582 | 1.044 | 1.0755 | 0.04831 | 0.0030316 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:03:36 PM | 54216 | [11 empty] | 54216 | 0.9979 | 0.9979 | 0.99791
5 | 187-1-216-FI5 | 0.58568 | 0.021189 | 0.021057 | 0.0023679 | 104.1161 | 0.043553 | 0.00077317 | 0.043638 | 6.003 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54119 | 0.018776 | 0.58568 | 0.021189 | 0.58891 | 0.021887 | SupCrit | 104.335 | 0.043638 | 1283.3786 | 0.040106 | 63.2616 | 1283.3786 | 188.6733 | 0.94934 | 2.432 | 1 | 1.8987 | Flagged Warnings: | 1387.7135 | 0.017197 | 130.3481 | 1387.7135 | 298.7187 | 0.78583 | 0 | 2.4454 | 0.83759 | 1.5717 | Flagged Warnings: | [15 empty] | 1.46 | 1.21 | 0.87331 | 0.030013 | 1.175 | 1.085 | 0.27504 | 0.012057 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 3:09:56 PM | 54596 | [11 empty] | 54596 | 0.9979 | 0.99789 | 0.99791
23 | 187-1-216-FI6 | 0.5715 | 0.0028141 | 0.0015245 | 0.0023654 | 104.0866 | 0.0031755 | 0.00077448 | 0.0030861 | 6.001 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52953 | 0.007366 | 0.5715 | 0.0028141 | 0.57407 | 0.0023034 | SupCrit | 104.3056 | 0.0030861 | 1283.4791 | 0.0025178 | 1238.7969 | 1283.4792 | 3704.1336 | 1.0887 | 3.6616 | 0.69952 | 2.1775 | Flagged Warnings: | 1387.7848 | 0.0017846 | 2687.7765 | 1387.7848 | 6191.4367 | 0.80026 | 0 | 6.3816 | 0.80884 | 1.6005 | Flagged Warnings: | 1263.2866 | 515.539 | 2.6733 | 1409.1579 | 760.1546 | 2.098 | 1370.0886 | 110.2954 | 0.39953 | [6 empty] | 1.0315 | 1.0448 | 0.06869 | 0.0017577 | 1.1162 | 1.0813 | 0.18602 | 0.00059548 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:16:40 PM | 55000 | [11 empty] | 55000 | 0.9979 | 0.99789 | 0.99791
24 | 187-1-216-FI7 | 0.65841 | 0.0028187 | 0.0015055 | 0.002383 | 104.2638 | 0.0030032 | 0.00078142 | 0.0029058 | 5.985 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.59973 | 0.0081978 | 0.65841 | 0.0028187 | 0.66062 | 0.0021487 | SupCrit | 104.4835 | 0.0029058 | 1283.0983 | 0.0024873 | 2470.5716 | 1283.0983 | 6999.5513 | 1.0102 | 7.4513 | 0.74966 | 2.0203 | Flagged Warnings: | 1387.5819 | 0.0015025 | 5093.4582 | 1387.5818 | 11814.1662 | 0.81326 | 0 | 10.3265 | 0.7876 | 1.6265 | Flagged Warnings: | 1262.9709 | 1004.6856 | 2.9731 | 1408.9496 | 1399.1248 | 2.2022 | 1370.048 | 189.1516 | 0.40615 | [6 empty] | 1.0235 | 1.0356 | 0.047537 | 0.00081775 | 1.044 | 1.0087 | 0.071608 | 0.00031933 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:37:54 PM | 56274 | [11 empty] | 56274 | 0.9979 | 0.99789 | 0.9979
6 | 186-9-202-FIC | 0.059222 | 0.0095241 | 0.0087237 | 0.0038217 | 102.8997 | 0.022016 | 0.00079116 | 0.022048 | 5.992 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.059222 | 0.0095241 | 0.062122 | 0.0090191 | -0.1787 | 0.016869 | SupCrit | 103.1173 | 0.022048 | 1286.2435 | 0.018754 | 101.9439 | 1286.2435 | 136.5852 | 0.50134 | 2.5277 | 0.63094 | 1.0027 | Flagged Warnings: | 1389.3608 | 0.011594 | 193.5036 | 1389.3608 | 219.0823 | 0.40804 | 0 | 2.991 | 0.722 | 0.81609 | Flagged Warnings: | [15 empty] | 1.2186 | 1.2711 | 0.21922 | 0.0098356 | 1.2624 | 1.2917 | 0.21415 | 0.0042174 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:33:19 PM | 59599 | [11 empty] | 59599 | 0.99789 | 0.99788 | 0.9979
7 | 186-9-202-FIB | 0.069872 | 0.0094668 | 0.0086666 | 0.0038091 | 102.9266 | 0.021872 | 0.00079443 | 0.021904 | 5.991 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.069872 | 0.0094668 | 0.072744 | 0.0089808 | -0.15832 | 0.016634 | SupCrit | 103.1443 | 0.021904 | 1286.1879 | 0.020231 | 69.6574 | 1286.1879 | 97.849 | 0.52743 | 1.6126 | 0.62249 | 1.0549 | Flagged Warnings: | 1389.3321 | 0.0083947 | 127.2723 | 1389.3321 | 139.161 | 0.40415 | 0 | 1.781 | 0.6611 | 0.8083 | Flagged Warnings: | [15 empty] | 1.106 | 1.1311 | 0.11177 | 0.015143 | 1.0651 | 1.0643 | 0.052658 | 0.0063509 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:40:20 PM | 60020 | [11 empty] | 60020 | 0.99789 | 0.99788 | 0.9979
8 | 186-9-202-FIA | 0.062824 | 0.0064106 | 0.0051505 | 0.0038168 | 102.9088 | 0.012998 | 0.00079643 | 0.013001 | 5.991 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.062824 | 0.0064106 | 0.065712 | 0.005671 | -0.17179 | 0.010059 | SupCrit | 103.1265 | 0.013001 | 1286.2375 | 0.011438 | 123.005 | 1286.2375 | 153.1804 | 0.48948 | 1.6636 | 0.50633 | 0.97896 | Flagged Warnings: | 1389.364 | 0.0061818 | 223.4238 | 1389.364 | 232.1224 | 0.41301 | 0 | 1.9606 | 0.47676 | 0.82602 | Flagged Warnings: | [15 empty] | 1.1828 | 1.2102 | 0.17895 | 0.0079587 | 1.2138 | 1.2264 | 0.17658 | 0.0036971 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 4:45:03 PM | 60303 | [11 empty] | 60303 | 0.99789 | 0.99788 | 0.9979
25 | 186-9-204-FIB | 0.15877 | 0.0076893 | 0.0066096 | 0.0039291 | 103.1509 | 0.016681 | 0.00083728 | 0.016695 | 5.98 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15877 | 0.0076893 | 0.16244 | 0.0071543 | 0.0057559 | 0.011947 | SupCrit | 103.3691 | 0.016695 | 1285.613 | 0.016525 | 376.7324 | 1285.613 | 674.3356 | 0.67515 | 1.7651 | 0.6114 | 1.3503 | Flagged Warnings: | 1388.9821 | 0.0023765 | 704.6646 | 1388.9821 | 1043.1446 | 0.56566 | 0 | 2.0519 | 0.57887 | 1.1313 | Flagged Warnings: | 1265.441 | 71.1331 | 0.83678 | 1410.3927 | 138.9421 | 0.79378 | [9 empty] | 1.0332 | 1.0108 | 0.04478 | 0.0035842 | 1.1191 | 1.1455 | 0.13477 | 0.0016055 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '2s'] | 5:57:08 PM | 64628 | [11 empty] | 64628 | 0.99789 | 0.99788 | 0.9979
9 | 186-9-208-FIA | 0.23092 | 0.0060746 | 0.005597 | 0.002361 | 103.3184 | 0.013534 | 0.00084338 | 0.013536 | 5.982 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22513 | 0.0068489 | 0.23092 | 0.0060746 | 0.12122 | 0.0092701 | SupCrit | 103.5368 | 0.013536 | 1285.2321 | 0.012344 | 146.214 | 1285.2321 | 303.5741 | 0.81027 | 2.4784 | 0.5248 | 1.6205 | Flagged Warnings: | 1388.7689 | 0.005555 | 285.2543 | 1388.7689 | 477.8539 | 0.62335 | 0 | 2.2335 | 0.64469 | 1.2467 | Flagged Warnings: | [15 empty] | 1.164 | 1.2017 | 0.26584 | 0.011083 | 1.0283 | 1.0467 | 0.035254 | 0.0043705 | PseudoVoigtModel | PseudoVoigtModel | No | August 20, 2024 | August | 20 | 60 | 4 | 100 | ['0h', '4m', '2s'] | 6:04:41 PM | 65081 | [11 empty] | 65081 | 0.99789 | 0.99788 | 0.9979
29 | FG04-A1-4-end-r4 | 0.68666 | 0.0052413 | 0.0046648 | 0.0023898 | 104.3198 | 0.0091739 | 0.00087735 | 0.0091511 | 5.998 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62191 | 0.0091403 | 0.68666 | 0.0052413 | 0.68656 | 0.0044978 | SupCrit | 104.5397 | 0.0091511 | 1282.934 | 0.0086368 | 475.6387 | 1282.934 | 1363.5773 | 0.99046 | 4.686 | 0.8205 | 1.9809 | Flagged Warnings: | 1387.4737 | 0.0030247 | 952.9637 | 1387.4737 | 2207.313 | 0.83364 | 0 | 3.0186 | 0.74011 | 1.6673 | Flagged Warnings: |  |  |  | 1409.0844 | 238.3187 | 1.7732 |  |  |  | 1384.7654 | 243.7775 | 16.9659 |  |  |  | 1.0343 | 1.0242 | 0.067956 | 0.0041647 | 1.0101 | 1 | 0.016807 | 0.0017496 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:42:39 PM | 67359 | [11 empty] | 67359 | 0.9979 | 0.99789 | 0.99791
30 | FG04-A1-4-end-r5 | 0.68979 | 0.0050815 | 0.004484 | 0.0023906 | 104.3259 | 0.0088046 | 0.0008803 | 0.0087789 | 5.999 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62434 | 0.0091111 | 0.68979 | 0.0050815 | 0.68937 | 0.0043295 | SupCrit | 104.5457 | 0.0087789 | 1282.913 | 0.0082581 | 443.9978 | 1282.913 | 1256.1878 | 0.96618 | 4.195 | 0.84687 | 1.9324 | Flagged Warnings: | 1387.4587 | 0.0029787 | 897.4679 | 1387.4588 | 2035.0396 | 0.81956 | 0 | 2.8353 | 0.73613 | 1.6391 | Flagged Warnings: |  |  |  | 1408.8935 | 208.6284 | 1.7347 |  |  |  | 1385.3795 | 317.6836 | 16.4325 |  |  |  | 1.0406 | 1.0452 | 0.078523 | 0.0043522 | 1.0041 | 1.0192 | 0.0066631 | 0.0018264 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:46:41 PM | 67601 | [11 empty] | 67601 | 0.9979 | 0.99789 | 0.99791
31 | FG04-A1-4-end-r6 | 0.69318 | 0.0049259 | 0.0043065 | 0.0023914 | 104.3326 | 0.0084415 | 0.00088338 | 0.0084128 | 6.002 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62698 | 0.0090876 | 0.69318 | 0.0049259 | 0.6924 | 0.0041649 | SupCrit | 104.5523 | 0.0084128 | 1282.9047 | 0.0080262 | 547.8433 | 1282.9047 | 1555.9589 | 0.98544 | 5.3925 | 0.81074 | 1.9709 | Flagged Warnings: | 1387.4569 | 0.0025211 | 1095.7622 | 1387.457 | 2497.3143 | 0.81194 | 0 | 2.7788 | 0.76499 | 1.6239 | Flagged Warnings: |  |  |  | 1408.727 | 324.4486 | 2.3604 |  |  |  | 1380.4607 | 273.8601 | 14.3712 |  |  |  | 1.0103 | 1.027 | 0.020318 | 0.0035975 | 1.0166 | 1.0343 | 0.026952 | 0.001482 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 20, 2024 | August | 20 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:50:50 PM | 67850 | [11 empty] | 67850 | 0.9979 | 0.99789 | 0.99791