## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
18 | FG04-A1-4-start | 0.69984 | 0.0045004 | 0.0038113 | 0.0023931 | 104.3456 | 0.0074459 | 0.00055149 | 0.0074407 | 6.054 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63214 | 0.0090109 | 0.69984 | 0.0045004 | 0.69831 | 0.0037322 | SupCrit | 104.5597 | 0.0074407 | 1282.8566 | 0.0070974 | 702.7018 | 1282.8566 | 1983.9998 | 0.98622 | 5.7027 | 0.7953 | 1.9724 | Flagged Warnings: | 1387.4163 | 0.0022341 | 1396.1329 | 1387.4163 | 3204.1243 | 0.83095 | 0 | 3.1866 | 0.72751 | 1.6619 | Flagged Warnings: |  |  |  | 1408.7717 | 404.6128 | 2.1264 |  |  |  | 1380.4332 | 362.4555 | 14.1146 |  |  |  | 1.0173 | 1.0314 | 0.034125 | 0.0028069 | 1.0452 | 1.055 | 0.075076 | 0.0011904 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 21, 2024 | August | 21 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 9:15:04 AM | 33304 | [5 empty] | 33304 | 0.99795 | 0.99795 | 0.99796
13 | 187-1-210-MI1-12mw | 0.13713 | 0.0042735 | 0.0018266 | 0.0038635 | 103.0963 | 0.0046097 | 0.00051772 | 0.00459 | 11.977 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13713 | 0.0042735 | 0.14041 | 0.0030177 | -0.033203 | 0.0038168 | SupCrit | 103.309 | 0.00459 | 1285.6828 | 0.0040245 | 567.0519 | 1285.6828 | 942.8625 | 0.64337 | 2.9642 | 0.54709 | 1.2867 | Flagged Warnings: | 1388.9919 | 0.0022071 | 1074.106 | 1388.9918 | 1473.3112 | 0.5198 | 0 | 3.0592 | 0.59969 | 1.0396 | Flagged Warnings: | 1265.3961 | 109.8309 | 0.95375 | 1410.3279 | 193.0612 | 0.73936 | [9 empty] | 1.0637 | 1.0057 | 0.081914 | 0.0022692 | 1.098 | 1.1174 | 0.10185 | 0.00096787 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:47:24 PM | 53244 | 1095.3142 | 294.1516 | 26.6699 | Spline | 0.12174 | 53244 | 0.99794 | 0.99794 | 0.99795
0 | 187-1-210-MI1 | 0.13747 | 0.0053379 | 0.0036824 | 0.0038644 | 103.0972 | 0.0092933 | 0.00051822 | 0.009298 | 5.997 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13747 | 0.0053379 | 0.14076 | 0.0044311 | -0.032584 | 0.0069432 | SupCrit | 103.3098 | 0.009298 | 1285.6636 | 0.0085941 | 252.3737 | 1285.6636 | 422.3203 | 0.64327 | 2.8874 | 0.56343 | 1.2865 | Flagged Warnings: | 1388.9735 | 0.0035489 | 458.2222 | 1388.9734 | 635.6509 | 0.53887 | 0 | 2.1298 | 0.53695 | 1.0777 | Flagged Warnings: |  |  |  | 1410.4138 | 72.6357 | 0.85946 | [9 empty] | 1.0615 | 1.0172 | 0.079119 | 0.0050977 | 1.1279 | 1.131 | 0.13781 | 0.002352 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:51:55 PM | 53515 | [5 empty] | 53515 | 0.99794 | 0.99794 | 0.99795
14 | 187-1-210-MI2-rep1 | 0.27459 | 0.0047506 | 0.004126 | 0.0023547 | 103.4232 | 0.0098198 | 0.00052046 | 0.0098262 | 6 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26665 | 0.0059884 | 0.27459 | 0.0047506 | 0.19042 | 0.0066221 | SupCrit | 103.6365 | 0.0098262 | 1284.9319 | 0.0090109 | 415.4848 | 1284.9319 | 971.1369 | 0.83251 | 4.6101 | 0.74992 | 1.665 | Flagged Warnings: | 1388.5685 | 0.003919 | 807.2486 | 1388.5684 | 1416.1585 | 0.65178 | 0 | 3.9498 | 0.64873 | 1.3036 | Flagged Warnings: |  |  |  | 1410.0832 | 139.3904 | 1.0496 | [9 empty] | 1.109 | 1.1193 | 0.18144 | 0.0040074 | 1.0261 | 1.0864 | 0.034036 | 0.0016148 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:57:04 PM | 53824 | 1093.1886 | 1104.9207 | 77.6456 | Spline | 0.46283 | 53824 | 0.99794 | 0.99794 | 0.99795
1 | 187-1-210-MI2-rep2 | 0.2805 | 0.0060475 | 0.0055706 | 0.002354 | 103.4373 | 0.013228 | 0.00052111 | 0.013245 | 6.001 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27222 | 0.0069706 | 0.2805 | 0.0060475 | 0.19951 | 0.0087328 | SupCrit | 103.6506 | 0.013245 | 1284.9081 | 0.012272 | 269.6554 | 1284.9081 | 637.9667 | 0.838 | 4.1866 | 0.76291 | 1.676 | Flagged Warnings: | 1388.5587 | 0.0049817 | 524.9614 | 1388.5587 | 945.9831 | 0.65399 | 0 | 3.6555 | 0.70575 | 1.308 | Flagged Warnings: |  |  |  | 1409.8796 | 107.904 | 1.1899 | [9 empty] | 1.2394 | 1.2371 | 0.40119 | 0.0062154 | 1.05 | 1.011 | 0.065399 | 0.0024916 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:01:48 PM | 54108 | 1092.546 | 1128.5697 | 78.627 | Spline | 0.7125 | 54108 | 0.99794 | 0.99794 | 0.99795
15 | 187-1-210-MI2-rep3 | 0.27296 | 0.0048299 | 0.0042169 | 0.0023549 | 103.4193 | 0.010042 | 0.00052172 | 0.01005 | 6.004 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26511 | 0.0060371 | 0.27296 | 0.0048299 | 0.18789 | 0.0067697 | SupCrit | 103.6326 | 0.01005 | 1284.9392 | 0.0091346 | 366.8 | 1284.9392 | 866.9609 | 0.86955 | 3.7942 | 0.67251 | 1.7391 | Flagged Warnings: | 1388.5718 | 0.0041895 | 743.23 | 1388.5718 | 1313.4071 | 0.6622 | 0 | 4.257 | 0.62802 | 1.3244 | Flagged Warnings: |  |  |  | 1409.9444 | 184.6632 | 1.4787 | [9 empty] | 1.06 | 1.0971 | 0.10435 | 0.0047413 | 1.0228 | 1.0603 | 0.030253 | 0.001782 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:07:16 PM | 54436 | 1095.8579 | 776.899 | 52.4239 | Spline | 0.35632 | 54436 | 0.99794 | 0.99794 | 0.99795
16 | 187-1-210-MI3 | 0.24228 | 0.0033072 | 0.0023178 | 0.0023591 | 103.3458 | 0.0055823 | 0.00052216 | 0.0055693 | 6.003 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.236 | 0.004863 | 0.24228 | 0.0033072 | 0.13956 | 0.0041358 | SupCrit | 103.5589 | 0.0055693 | 1285.0985 | 0.0048287 | 676.7544 | 1285.0985 | 1517.8217 | 0.81969 | 3.7811 | 0.6893 | 1.6394 | Flagged Warnings: | 1388.6575 | 0.002775 | 1347.9649 | 1388.6575 | 2312.4996 | 0.6446 | 0 | 4.1776 | 0.62105 | 1.2892 | Flagged Warnings: | 1264.8363 | 209.2542 | 1.4323 | 1410.064 | 266.8726 | 0.95777 | 1370.393 | 26.6836 | 0.322 | [6 empty] | 1.0593 | 1.163 | 0.097251 | 0.0024224 | 1.0362 | 1.0597 | 0.046638 | 0.0009564 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:13:21 PM | 54801 | 1095.413 | 542.8742 | 46.0572 | Spline | 0.14173 | 54801 | 0.99794 | 0.99794 | 0.99795
17 | 187-1-210-MI4 | 0.26353 | 0.0052964 | 0.0047435 | 0.0023561 | 103.3968 | 0.011336 | 0.00052321 | 0.011348 | 6 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.2562 | 0.0063393 | 0.26353 | 0.0052964 | 0.17323 | 0.0076383 | SupCrit | 103.61 | 0.011348 | 1284.9886 | 0.010557 | 352.6629 | 1284.9886 | 795.3888 | 0.83181 | 4.1677 | 0.66646 | 1.6636 | Flagged Warnings: | 1388.5986 | 0.0041622 | 683.5848 | 1388.5986 | 1210.884 | 0.65463 | 0 | 3.8253 | 0.66172 | 1.3093 | Flagged Warnings: |  |  |  | 1409.9353 | 116.677 | 0.9435 | [9 empty] | 1.0264 | 1.034 | 0.043868 | 0.0047173 | 1.0743 | 1.0297 | 0.097239 | 0.0019153 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:18:58 PM | 55138 | [5 empty] | 55138 | 0.99794 | 0.99794 | 0.99795
2 | 187-1-211-MI2-46mw | 0.11075 | 0.010328 | 0.0095977 | 0.0038147 | 103.0297 | 0.024222 | 0.0005247 | 0.024266 | 46.127 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11075 | 0.010328 | 0.11374 | 0.0099626 | -0.081544 | 0.017864 | SupCrit | 103.2421 | 0.024266 | 1285.8758 | 0.021009 | 355.6306 | 1285.8758 | 503.4379 | 0.55671 | 9.6717 | 0.50496 | 1.1134 | Flagged Warnings: | 1389.1179 | 0.012144 | 614.079 | 1389.1179 | 746.8775 | 0.50342 | 0 | 10.1483 | 0.36883 | 1.0068 | Flagged Warnings: | 1265.7302 | 96.5049 | 0.93033 | 1410.4928 | 156.4784 | 0.46953 | [9 empty] | 1.1353 | 1.1367 | 0.15064 | 0.0031308 | 1.1263 | 1.1325 | 0.12718 | 0.0016396 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 1 | 50 | ['0h', '1m', '1s'] | 3:40:36 PM | 56436 | 1096.0556 | 1011.7971 | 85.7814 | Spline | 0.80923 | 56436 | 0.99794 | 0.99794 | 0.99795
3 | 187-1-211-MI2-12mw | 0.12816 | 0.011517 | 0.010857 | 0.003843 | 103.0737 | 0.027401 | 0.00052529 | 0.027452 | 11.961 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12816 | 0.011517 | 0.13132 | 0.011246 | -0.049534 | 0.019925 | SupCrit | 103.2861 | 0.027452 | 1285.7783 | 0.024228 | 107.5013 | 1285.7783 | 173.6097 | 0.65188 | 3.5483 | 0.43634 | 1.3038 | Flagged Warnings: | 1389.0644 | 0.012908 | 198.4154 | 1389.0644 | 248.9411 | 0.50892 | 0 | 3.4258 | 0.42328 | 1.0178 | Flagged Warnings: | [15 empty] | 1.1698 | 1.183 | 0.22133 | 0.012128 | 1.0338 | 1.042 | 0.034387 | 0.0051299 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:42:45 PM | 56565 | 1093.2875 | 483.4162 | 31.7563 | Spline | 1.144 | 56565 | 0.99794 | 0.99794 | 0.99795
4 | 187-1-211-MI2 | 0.12587 | 0.015002 | 0.014502 | 0.0038384 | 103.0679 | 0.0366 | 0.00052651 | 0.036671 | 6.023 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12587 | 0.015002 | 0.12901 | 0.014864 | -0.053713 | 0.026606 | SupCrit | 103.2804 | 0.036671 | 1285.778 | 0.030643 | 64.8119 | 1285.778 | 94.2009 | 0.54372 | 2.6677 | 0.6316 | 1.0874 | Flagged Warnings: | 1389.0583 | 0.020144 | 117.7106 | 1389.0583 | 153.9513 | 0.48135 | 0 | 2.9638 | 0.67158 | 0.96269 | Flagged Warnings: | [15 empty] | 1.0114 | 1.0467 | 0.012357 | 0.016778 | 1.0214 | 1.005 | 0.020629 | 0.0081785 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:50:01 PM | 57001 | 1094.8199 | 365.8364 | 31.506 | Spline | 1.4742 | 57001 | 0.99794 | 0.99794 | 0.99795
5 | 187-1-211-FI2 | 0.30056 | 0.011902 | 0.011668 | 0.002352 | 103.4847 | 0.027491 | 0.00053449 | 0.027542 | 5.99 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29101 | 0.011883 | 0.30056 | 0.011902 | 0.22993 | 0.017575 | SupCrit | 103.698 | 0.027542 | 1284.7904 | 0.025213 | 180.5066 | 1284.7905 | 424.9519 | 0.89308 | 4.8416 | 0.5974 | 1.7862 | Flagged Warnings: | 1388.4886 | 0.011085 | 366.2148 | 1388.4885 | 694.6817 | 0.69936 | 0 | 4.5236 | 0.66834 | 1.3987 | Flagged Warnings: | 1264.8452 | 57.5175 | 0.91262 | 1409.2632 | 119.2183 | 1.7376 | [9 empty] | 1.2152 | 1.0053 | 0.38437 | 0.0098953 | 1.0487 | 1.0991 | 0.068064 | 0.0038194 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:20:10 PM | 58810 | [5 empty] | 58810 | 0.99794 | 0.99794 | 0.99795
6 | 187-1-211-FI3 | 0.30903 | 0.0088463 | 0.0085282 | 0.0023513 | 103.5046 | 0.020026 | 0.00053574 | 0.02006 | 6.005 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.29892 | 0.0092817 | 0.30903 | 0.0088463 | 0.24257 | 0.012775 | SupCrit | 103.718 | 0.02006 | 1284.7347 | 0.018455 | 386.6278 | 1284.7348 | 1006.2715 | 0.97163 | 6.3707 | 0.63794 | 1.9433 | Flagged Warnings: | 1388.4528 | 0.007862 | 809.3118 | 1388.4528 | 1541.1506 | 0.72676 | 0 | 8.7863 | 0.58243 | 1.4535 | Flagged Warnings: | 1264.1486 | 122.8083 | 2.1353 | 1409.6209 | 199.2873 | 1.7326 | [9 empty] | 1.0856 | 1.2129 | 0.16636 | 0.0050262 | 1.0516 | 1.0522 | 0.075065 | 0.001796 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:25:34 PM | 59134 | [5 empty] | 59134 | 0.99794 | 0.99794 | 0.99795
7 | 187-1-211-FI1 | 0.27994 | 0.0076994 | 0.0073307 | 0.0023541 | 103.4359 | 0.017411 | 0.00053641 | 0.017439 | 6.007 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27169 | 0.0082871 | 0.27994 | 0.0076994 | 0.19866 | 0.011397 | SupCrit | 103.6492 | 0.017439 | 1284.916 | 0.016307 | 268.1006 | 1284.916 | 652.4745 | 0.89541 | 4.8623 | 0.67233 | 1.7908 | Flagged Warnings: | 1388.5653 | 0.0061816 | 525.2417 | 1388.5652 | 939.4512 | 0.67314 | 0 | 4.1312 | 0.61693 | 1.3463 | Flagged Warnings: |  |  |  | 1409.7856 | 96.5963 | 1.011 | [9 empty] | 1.2276 | 1.2431 | 0.40767 | 0.0066796 | 1.0277 | 1.0741 | 0.037303 | 0.0025632 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:30:18 PM | 59418 | 1095.6108 | 143.5149 | 17.2317 | Spline | 0.090152 | 59418 | 0.99794 | 0.99794 | 0.99795
8 | 187-1-213-FIC-49mw-weak | 0.015688 | 0.0094084 | 0.0085473 | 0.0039321 | 102.7898 | 0.021571 | 0.00054119 | 0.021609 | 49.21 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015688 | 0.0094084 | 0.018913 | 0.008795 | -0.2636 | 0.01704 | SupCrit | 103.0019 | 0.021609 | 1286.5085 | 0.018408 | 103.3171 | 1286.5085 | 106.7776 | 0.48545 | 2.9688 | 1.1063e-10 | 0.9709 | Flagged Warnings: | 1389.5104 | 0.011317 | 177.5201 | 1389.5104 | 151.2069 | 0.40009 | 0 | 3.1568 | 2.4916e-08 | 0.80019 | Flagged Warnings: | [15 empty] | 1.1895 | 1.1858 | 0.18396 | 0.0093973 | 1.1073 | 1.1362 | 0.085857 | 0.0045076 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:04:43 PM | 61483 | [5 empty] | 61483 | 0.99794 | 0.99794 | 0.99795
9 | 187-1-213-FIC | 0.03976 | 0.023028 | 0.022702 | 0.0038596 | 102.8506 | 0.057294 | 0.00054269 | 0.05741 | 11.996 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.03976 | 0.023028 | 0.042765 | 0.02267 | -0.21634 | 0.044248 | SupCrit | 103.0628 | 0.05741 | 1286.4986 | 0.049096 | 26.2822 | 1286.4986 | 27.7547 | 0.49603 | 1.8365 | 2.2996e-09 | 0.99207 | Flagged Warnings: | 1389.5615 | 0.029756 | 46.1636 | 1389.5615 | 45.4867 | 0.40626 | 0 | 1.836 | 0.37918 | 0.81252 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0376 | 1.0944 | 0.037319 | 0.037747 | 1.0248 | 1.0312 | 0.020145 | 0.017601 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:09:19 PM | 61759 | [5 empty] | 61759 | 0.99794 | 0.99794 | 0.99795
10 | 187-9-201-MIA | 0.020904 | 0.041062 | 0.040875 | 0.003914 | 102.803 | 0.10316 | 0.00054604 | 0.10337 | 5.988 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.020904 | 0.041062 | 0.024074 | 0.040544 | -0.25329 | 0.080662 | SupCrit | 103.0153 | 0.10337 | 1286.4204 | 0.10297 | 79.7882 | 1286.4204 | 92.5243 | 0.48224 | 1.6515 | 0.35571 | 0.96448 | Flagged Warnings: | 1389.4357 | 0.0090725 | 119.4445 | 1389.4357 | 116.4677 | 0.4419 | 0 | 1.511 | 0.10915 | 0.8838 | Flagged Warnings: | [15 empty] | 1.0259 | 1.037 | 0.024987 | 0.012088 | 1.2171 | 1.2508 | 0.19183 | 0.0073992 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:22:56 PM | 62576 | [5 empty] | 62576 | 0.99794 | 0.99793 | 0.99794
11 | 187-9-202-MID-49mw-weak | 0.018043 | 0.01019 | 0.0094041 | 0.0039238 | 102.7958 | 0.023733 | 0.00055461 | 0.023776 | 49.174 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.018043 | 0.01019 | 0.021242 | 0.0096152 | -0.25894 | 0.018696 | SupCrit | 103.0084 | 0.023776 | 1286.4792 | 0.020229 | 126.0231 | 1286.4792 | 126.1341 | 0.47013 | 3.7457 | 3.5338e-10 | 0.94027 | Flagged Warnings: | 1389.4877 | 0.012494 | 196.8207 | 1389.4876 | 192.6783 | 0.45984 | 0 | 3.0792 | 8.3419e-09 | 0.91968 | Flagged Warnings: |  |  |  | 1410.6271 | 33.7637 | 0.35964 | [9 empty] | 1.2985 | 1.3382 | 0.28068 | 0.0074611 | 1.1628 | 1.2047 | 0.14972 | 0.0046727 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:53:09 PM | 64389 | [5 empty] | 64389 | 0.99794 | 0.99793 | 0.99794
12 | 187-9-202-MIE-49mw-weak | -0.01911 | 0 | 0 | 0 | 102.702 | 0.056329 | 0.00055689 | 0.056443 | 49.196 | 1324.964 | 0 | 0 | N | Below lower calibration limit |  |  | -0.01911 | 0.02269 | -0.015426 | 0.022118 | -0.33332 | 0.045293 | SupCrit | 102.9146 | 0.056443 | 1286.5024 | 0.050088 | 77.2676 | 1286.5024 | 118.541 | 0.48834 | 5.3153 | 1 | 0.97668 | Flagged Warnings: | 1389.417 | 0.026018 | 107.2015 | 1389.417 | 102.1467 | 0.37591 | 0 | 2.8383 | 0.4967 | 0.75182 | Flagged Warnings: | [15 empty] | 1.1875 | 1.1787 | 0.18313 | 0.01264 | 1.2821 | 1.4027 | 0.21205 | 0.0070132 | PseudoVoigtModel | PseudoVoigtModel | No | August 21, 2024 | August | 21 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:02:19 PM | 64939 | [5 empty] | 64939 | 0.99793 | 0.99793 | 0.99794
19 | FG04-A1-4-end | 0.68924 | 0.0035693 | 0.0026507 | 0.0023904 | 104.3248 | 0.0052061 | 0.00056837 | 0.0051857 | 5.997 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62391 | 0.0086606 | 0.68924 | 0.0035693 | 0.68887 | 0.002873 | SupCrit | 104.5409 | 0.0051857 | 1282.8761 | 0.0045994 | 613.2426 | 1282.8762 | 1743.6193 | 1.0019 | 3.1933 | 0.77679 | 2.0038 | Flagged Warnings: | 1387.417 | 0.0023952 | 1228.0498 | 1387.4171 | 2826.4675 | 0.82906 | 0 | 3.1644 | 0.73666 | 1.6581 | Flagged Warnings: | 1262.6332 | 237.7548 | 2.6595 | 1408.6358 | 334.4985 | 2.136 |  |  |  | 1380.4387 | 242.1532 | 13.0234 |  |  |  | 1.0533 | 1.024 | 0.10673 | 0.0032676 | 1.0498 | 1.0758 | 0.082562 | 0.0013502 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 21, 2024 | August | 21 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:10:49 PM | 65449 | [5 empty] | 65449 | 0.99793 | 0.99793 | 0.99794