## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
49 | FG04-A1-4-start | 0.69962 | 0.0052983 | 0.004727 | 0.0023931 | 104.3452 | 0.0092358 | 0.00066014 | 0.0092311 | 6.078 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63197 | 0.0092654 | 0.69962 | 0.0052983 | 0.69812 | 0.0044765 | SupCrit | 104.5585 | 0.0092311 | 1282.8872 | 0.0089145 | 466.9145 | 1282.8872 | 1357.0129 | 0.99945 | 5.0014 | 0.83108 | 1.9989 | Flagged Warnings: | 1387.4457 | 0.0023967 | 938.1757 | 1387.4458 | 2166.1637 | 0.82435 | 0 | 2.5619 | 0.75895 | 1.6487 | Flagged Warnings: |  |  |  | 1408.8814 | 229.7713 | 1.854 |  |  |  | 1383.9029 | 218.8633 | 15.3217 |  |  |  | 1.0275 | 1.0613 | 0.054953 | 0.0042811 | 1.0184 | 1.026 | 0.030406 | 0.0017573 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 22, 2024 | August | 22 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 10:53:53 AM | 39233 | [5 empty] | 39233 | 0.99796 | 0.99795 | 0.99797
0 | 187-9-203a-MIA-49mw | 0.016093 | 0.0056033 | 0.0039933 | 0.0039306 | 102.7909 | 0.010078 | 0.00064654 | 0.010078 | 49.159 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.016093 | 0.0056033 | 0.019314 | 0.004635 | -0.2628 | 0.0081529 | SupCrit | 103.0011 | 0.010078 | 1286.4413 | 0.0081065 | 319.0437 | 1286.4413 | 336.1495 | 0.45565 | 3.8791 | 0.24605 | 0.9113 | Flagged Warnings: | 1389.4424 | 0.0059873 | 478.7098 | 1389.4424 | 486.7496 | 0.44188 | 0 | 4.5614 | 0.23206 | 0.88376 | Flagged Warnings: | 1266.1372 | 30.3431 | 0.66915 | 1410.7837 | 56.0735 | 0.51093 | [9 empty] | 1.1759 | 1.1858 | 0.16026 | 0.0028564 | 1.2362 | 1.2927 | 0.20876 | 0.0018461 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 30 | 1 | 50 | ['0h', '0m', '32s'] | 11:05:20 AM | 39920 | [5 empty] | 39920 | 0.99796 | 0.99795 | 0.99797
1 | 187-9-203a-MIA | 0.026194 | 0.0062829 | 0.0049283 | 0.003897 | 102.8164 | 0.012438 | 0.00064286 | 0.012446 | 10.169 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.026194 | 0.0062829 | 0.029312 | 0.0054493 | -0.24287 | 0.0098891 | SupCrit | 103.0267 | 0.012446 | 1286.4297 | 0.010336 | 118.7083 | 1286.4297 | 134.3475 | 0.47595 | 1.877 | 0.32477 | 0.9519 | Flagged Warnings: | 1389.4564 | 0.0069336 | 198.4221 | 1389.4564 | 196.656 | 0.40683 | 0 | 1.7071 | 0.3912 | 0.81367 | Flagged Warnings: | [15 empty] | 1.057 | 1.0473 | 0.054222 | 0.0080188 | 1.2033 | 1.2669 | 0.16543 | 0.0041007 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:17:51 AM | 40671 | [5 empty] | 40671 | 0.99796 | 0.99795 | 0.99796
2 | 187-9-203a-MIC | -0.077243 | 0 | 0 | 0 | 102.5553 | 0.27005 | 0.00063496 | 0.2706 | 11.978 | 1324.964 | 0 | 0 | N | Below lower calibration limit |  |  | -0.077243 | 0.1071 | -0.07254 | 0.10521 | -0.45347 | 0.2254 | SupCrit | 102.7652 | 0.2706 | 1286.7258 | 0.26919 | 205.7716 | 1286.7258 | 1939.3521 | 3 | 49.1819 | 1 | 6 | Flagged Warnings: | 1389.4911 | 0.027593 | 257.8408 | 1389.491 | 234.0711 | 0.42642 | 0 | 5.7426 | 2.4555e-08 | 0.85284 | Flagged Warnings: |  |  |  | 1410.7127 | 9.9351 | 0.10262 | [9 empty] | 1.017 | 3.4998 | 0.10191 | 0.029159 | 1.1397 | 1.1849 | 0.11917 | 0.0033076 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 11:40:46 AM | 42046 | [5 empty] | 42046 | 0.99796 | 0.99795 | 0.99796
3 | 187-9-203b-MIA-49mw | 0.05479 | 0.0077452 | 0.0067327 | 0.0038287 | 102.8885 | 0.016991 | 0.00063073 | 0.017015 | 49.561 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.05479 | 0.0077452 | 0.057707 | 0.0071223 | -0.18722 | 0.013119 | SupCrit | 103.0993 | 0.017015 | 1286.2233 | 0.015596 | 176.43 | 1286.2233 | 214.901 | 0.4716 | 3.7219 | 0.54519 | 0.94319 | Flagged Warnings: | 1389.3227 | 0.0068004 | 293.4404 | 1389.3227 | 324.9314 | 0.46142 | 0 | 3.649 | 0.35029 | 0.92284 | Flagged Warnings: |  |  |  | 1410.7358 | 49.3964 | 0.70786 | [9 empty] | 1.1673 | 1.2381 | 0.15778 | 0.005346 | 1.0774 | 1.0765 | 0.071446 | 0.0031449 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 30 | 1 | 50 | ['0h', '0m', '32s'] | 12:08:37 PM | 43717 | 1093.2381 | 1072.7838 | 65.6119 | Spline | 1.9873 | 43717 | 0.99796 | 0.99795 | 0.99796
4 | 187-9-203b-MIA-rep1 | 0.066058 | 0.0080228 | 0.0070588 | 0.003813 | 102.917 | 0.017814 | 0.00062912 | 0.01784 | 5.986 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.066058 | 0.0080228 | 0.068936 | 0.0074417 | -0.1656 | 0.013632 | SupCrit | 103.1279 | 0.01784 | 1286.2066 | 0.016573 | 87.09 | 1286.2066 | 112.5203 | 0.54535 | 1.4522 | 0.31451 | 1.0907 | Flagged Warnings: | 1389.3345 | 0.0066014 | 156.2567 | 1389.3345 | 173.3732 | 0.4462 | 0 | 1.5774 | 0.44631 | 0.89239 | Flagged Warnings: | [15 empty] | 1.1197 | 1.1021 | 0.1306 | 0.012524 | 1.0747 | 1.0692 | 0.06664 | 0.0057111 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 12:17:59 PM | 44279 | [5 empty] | 44279 | 0.99795 | 0.99795 | 0.99796
5 | 187-9-203b-MIA-rep2 | 0.068568 | 0.011334 | 0.010674 | 0.0038103 | 102.9233 | 0.026938 | 0.00062831 | 0.026986 | 5.989 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.068568 | 0.011334 | 0.071442 | 0.010923 | -0.16081 | 0.020458 | SupCrit | 103.1343 | 0.026986 | 1286.1778 | 0.025802 | 49.1547 | 1286.1778 | 60.7875 | 0.50687 | 1.3419 | 0.39528 | 1.0137 | Flagged Warnings: | 1389.312 | 0.0079052 | 97.7436 | 1389.312 | 103.7006 | 0.38922 | 0 | 1.4169 | 0.67931 | 0.77845 | Flagged Warnings: | [15 empty] | 1.0957 | 1.1749 | 0.09706 | 0.020623 | 1.099 | 1.1132 | 0.077074 | 0.0079642 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:22:49 PM | 44569 | 1095.413 | 140.2505 | 21.3261 | Spline | 0.85265 | 44569 | 0.99795 | 0.99795 | 0.99796
6 | 187-9-203b-MIA-rep3 | 0.058098 | 0.011511 | 0.010858 | 0.0038234 | 102.8969 | 0.027402 | 0.00062717 | 0.027451 | 5.999 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.058098 | 0.011511 | 0.061002 | 0.011081 | -0.18086 | 0.020962 | SupCrit | 103.1079 | 0.027451 | 1286.2117 | 0.024937 | 51.5919 | 1286.2117 | 61.3425 | 0.52525 | 1.588 | 0.18465 | 1.0505 | Flagged Warnings: | 1389.3195 | 0.011476 | 94.6417 | 1389.3195 | 96.6509 | 0.42397 | 0 | 1.729 | 0.36033 | 0.84795 | Flagged Warnings: | [15 empty] | 1.1046 | 1.0941 | 0.10986 | 0.020362 | 1.1044 | 1.1156 | 0.088506 | 0.0089596 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:28:45 PM | 44925 | 1095.413 | 466.6725 | 34.1147 | Spline | 2.9537 | 44925 | 0.99795 | 0.99795 | 0.99796
40 | 187-9-203b-FIA | 0.36592 | 0.0030869 | 0.0020034 | 0.0023486 | 103.6367 | 0.0045943 | 0.00062933 | 0.0045603 | 5.986 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.35123 | 0.0056003 | 0.36592 | 0.0030869 | 0.32412 | 0.0032721 | SupCrit | 103.8493 | 0.0045603 | 1284.4095 | 0.0042584 | 625.6304 | 1284.4095 | 1732.5897 | 1.0181 | 2.991 | 0.67554 | 2.0361 | Flagged Warnings: | 1388.2589 | 0.0016316 | 1320.9047 | 1388.2588 | 2675.4743 | 0.73694 | 0 | 2.6041 | 0.6999 | 1.4739 | Flagged Warnings: | 1264.2775 | 212.9029 | 1.8717 | 1409.6935 | 306.5703 | 1.3768 | 1370.2887 | 44.2987 | 0.36785 | [6 empty] | 1.1493 | 1.1752 | 0.30395 | 0.0032545 | 1.0505 | 1.068 | 0.07437 | 0.0011158 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 12:45:01 PM | 45901 | [5 empty] | 45901 | 0.99795 | 0.99795 | 0.99796
7 | 187-9-204-MIA-49mw | 0.011109 | 0.0063619 | 0.0049879 | 0.003949 | 102.7783 | 0.012588 | 0.00062273 | 0.012599 | 49.249 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.011109 | 0.0063619 | 0.014385 | 0.0054954 | -0.27268 | 0.010107 | SupCrit | 102.9893 | 0.012599 | 1286.4918 | 0.010782 | 386.1043 | 1286.4919 | 435.9679 | 0.47622 | 6.0631 | 0.31692 | 0.95244 | Flagged Warnings: | 1389.4812 | 0.0065169 | 575.6373 | 1389.4812 | 553.7285 | 0.44147 | 0 | 5.702 | 0.071348 | 0.88294 | Flagged Warnings: | 1266.1422 | 88.078 | 0.56544 | 1410.7302 | 158.5792 | 0.4685 | [9 empty] | 1.3199 | 1.384 | 0.30464 | 0.0024668 | 1.1673 | 1.2092 | 0.14774 | 0.0015339 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 1 | 50 | ['0h', '1m', '1s'] | 12:57:06 PM | 46626 | [5 empty] | 46626 | 0.99795 | 0.99795 | 0.99796
8 | 187-9-204-MIA-rep1 | 0.020666 | 0.0070923 | 0.005914 | 0.0039148 | 102.8024 | 0.014925 | 0.00062214 | 0.014943 | 10.008 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.020666 | 0.0070923 | 0.023839 | 0.0063354 | -0.25376 | 0.011838 | SupCrit | 103.0135 | 0.014943 | 1286.4359 | 0.011563 | 112.1817 | 1286.4359 | 117.7568 | 0.42878 | 1.9901 | 0.40448 | 0.85755 | Flagged Warnings: | 1389.4494 | 0.0094651 | 157.7156 | 1389.4494 | 167.2269 | 0.43311 | 0 | 2.1579 | 0.40451 | 0.86621 | Flagged Warnings: | [15 empty] | 1.1882 | 1.1989 | 0.16135 | 0.0076443 | 1.1914 | 1.2266 | 0.1658 | 0.0054922 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:04:58 PM | 47098 | [5 empty] | 47098 | 0.99795 | 0.99794 | 0.99796
9 | 187-9-204-MIA-rep2 | 0.026153 | 0.0071048 | 0.0059406 | 0.0038972 | 102.8163 | 0.014992 | 0.00062164 | 0.01501 | 10.008 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.026153 | 0.0071048 | 0.029271 | 0.0063633 | -0.24296 | 0.011845 | SupCrit | 103.0275 | 0.01501 | 1286.4228 | 0.013941 | 164.2865 | 1286.4228 | 184.2533 | 0.48622 | 2.5936 | 0.23901 | 0.97244 | Flagged Warnings: | 1389.4503 | 0.0055648 | 256.9396 | 1389.4502 | 259.3607 | 0.42233 | 0 | 1.885 | 0.33909 | 0.84467 | Flagged Warnings: |  |  |  | 1410.7129 | 46.6333 | 0.48707 | [9 empty] | 1.0531 | 1.0545 | 0.051661 | 0.0059192 | 1.2088 | 1.2617 | 0.1764 | 0.0032874 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:12:18 PM | 47538 | [5 empty] | 47538 | 0.99795 | 0.99794 | 0.99796
10 | 187-9-204-MIA-rep3 | 0.01441 | 0.0077457 | 0.0066707 | 0.0039367 | 102.7866 | 0.016835 | 0.00062115 | 0.016858 | 10.005 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.01441 | 0.0077457 | 0.017649 | 0.0070285 | -0.26613 | 0.013369 | SupCrit | 102.9978 | 0.016858 | 1286.435 | 0.013832 | 99.8507 | 1286.435 | 109.4739 | 0.48304 | 2.0054 | 0.19246 | 0.96608 | Flagged Warnings: | 1389.4328 | 0.0096377 | 162.8646 | 1389.4328 | 164.5181 | 0.41872 | 0 | 2.0196 | 0.36459 | 0.83745 | Flagged Warnings: | [15 empty] | 1.1852 | 1.1947 | 0.1789 | 0.0096753 | 1.246 | 1.3176 | 0.20599 | 0.005142 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:17:01 PM | 47821 | [5 empty] | 47821 | 0.99795 | 0.99794 | 0.99796
41 | 187-9-204-FIB | 0.26456 | 0.0046137 | 0.0039668 | 0.0023559 | 103.3993 | 0.0094765 | 0.00062436 | 0.0094754 | 5.996 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25718 | 0.0058459 | 0.26456 | 0.0046137 | 0.17484 | 0.0064563 | SupCrit | 103.6119 | 0.0094754 | 1284.9265 | 0.0089393 | 268.7201 | 1284.9265 | 636.3232 | 0.87578 | 2.5587 | 0.65963 | 1.7516 | Flagged Warnings: | 1388.5385 | 0.0031421 | 537.9918 | 1388.5384 | 958.1283 | 0.66675 | 0 | 2.1602 | 0.63013 | 1.3335 | Flagged Warnings: |  |  |  | 1409.9401 | 120.5439 | 1.1962 | [9 empty] | 1.1622 | 1.2462 | 0.28404 | 0.0065182 | 1.0075 | 1.0297 | 0.010001 | 0.0024787 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:26:24 PM | 48384 | [5 empty] | 48384 | 0.99795 | 0.99794 | 0.99795
42 | 187-9-204-FIC | 0.22495 | 0.0029813 | 0.001819 | 0.002362 | 103.304 | 0.0044076 | 0.0006236 | 0.0043723 | 6.005 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21941 | 0.0045713 | 0.22495 | 0.0029813 | 0.1115 | 0.0034904 | SupCrit | 103.5164 | 0.0043723 | 1285.1748 | 0.0038013 | 601.7953 | 1285.1749 | 1275.8945 | 0.78333 | 2.4686 | 0.66284 | 1.5667 | Flagged Warnings: | 1388.6913 | 0.0021604 | 1155.9486 | 1388.6912 | 1932.5355 | 0.62854 | 0 | 3.4955 | 0.61957 | 1.2571 | Flagged Warnings: | 1264.9398 | 156.823 | 1.4659 | 1410.0774 | 227.3268 | 1.0094 | [9 empty] | 1.0708 | 1.1614 | 0.11091 | 0.0026033 | 1.0365 | 1.0213 | 0.045831 | 0.0010875 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:30:58 PM | 48658 | [5 empty] | 48658 | 0.99795 | 0.99794 | 0.99795
43 | 187-9-204-FIE | 0.27701 | 0.0044643 | 0.003793 | 0.0023544 | 103.429 | 0.0090191 | 0.00062421 | 0.0090159 | 6.015 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.26893 | 0.0058011 | 0.27701 | 0.0044643 | 0.19414 | 0.0061123 | SupCrit | 103.6417 | 0.0090159 | 1284.8869 | 0.0084247 | 281.1931 | 1284.8869 | 688.6688 | 0.89458 | 2.4173 | 0.68984 | 1.7892 | Flagged Warnings: | 1388.5286 | 0.0032111 | 566.2254 | 1388.5285 | 1030.3507 | 0.67908 | 0 | 2.1729 | 0.63797 | 1.3582 | Flagged Warnings: |  |  |  | 1409.9635 | 113.9544 | 1.2237 | [9 empty] | 1.1612 | 1.2268 | 0.28846 | 0.0063628 | 1.0224 | 1.0951 | 0.030406 | 0.0023986 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:36:05 PM | 48965 | [5 empty] | 48965 | 0.99795 | 0.99794 | 0.99795
44 | 187-9-204-FID | 0.22906 | 0.0038999 | 0.0031038 | 0.0023613 | 103.3139 | 0.0075102 | 0.00062343 | 0.0074997 | 6.022 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22335 | 0.0051873 | 0.22906 | 0.0038999 | 0.1182 | 0.0053703 | SupCrit | 103.5265 | 0.0074997 | 1285.1975 | 0.0070756 | 366.2928 | 1285.1975 | 771.7329 | 0.7929 | 2.7187 | 0.61674 | 1.5858 | Flagged Warnings: | 1388.724 | 0.0024862 | 704.4259 | 1388.724 | 1167.9476 | 0.62361 | 0 | 2.3538 | 0.61855 | 1.2472 | Flagged Warnings: |  |  |  | 1410.0798 | 139.5162 | 1.0392 | [9 empty] | 1.0719 | 1.1438 | 0.11401 | 0.0043293 | 1.0181 | 1.0736 | 0.02256 | 0.0017705 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:41:15 PM | 49275 | [5 empty] | 49275 | 0.99795 | 0.99794 | 0.99795
11 | 187-9-204-MIB | 0.033311 | 0.021505 | 0.021153 | 0.0038763 | 102.8343 | 0.053384 | 0.0006205 | 0.05349 | 11.996 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.033311 | 0.021505 | 0.036366 | 0.021119 | -0.22892 | 0.04142 | SupCrit | 103.0459 | 0.05349 | 1286.3666 | 0.034816 | 33.3992 | 1286.3666 | 29.0541 | 0.40861 | 1.8725 | 7.1526e-11 | 0.81722 | Flagged Warnings: | 1389.4126 | 0.040609 | 44.2604 | 1389.4126 | 51.7141 | 0.4066 | 0 | 1.8764 | 0.80394 | 0.8132 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.1667 | 1.171 | 0.1362 | 0.024468 | 1.2614 | 1.3401 | 0.21254 | 0.018373 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 1:46:03 PM | 49563 | [5 empty] | 49563 | 0.99795 | 0.99794 | 0.99795
12 | 187-9-205-MIA-rep1 | 0 | 0 | 0 | 0 | 102.7233 | 0.050142 | 0.00062048 | 0.050242 | 12.011 | 1324.964 | 0 | 0 | Y | not in range |  |  | -0.010672 | 0.020275 | -0.0071133 | 0.019737 | -0.31626 | 0.040101 | SupCrit | 102.935 | 0.050242 | 1286.5719 | 0.042403 | 30.7882 | 1286.5719 | 27.1239 | 0.41381 | 1.6335 | 2.0923e-09 | 0.82763 | Flagged Warnings: | 1389.5069 | 0.026949 | 45.6952 | 1389.5069 | 44.6822 | 0.40424 | 0 | 1.5217 | 0.3719 | 0.80849 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.1603 | 1.2098 | 0.1327 | 0.026881 | 1.1088 | 1.1447 | 0.087953 | 0.017693 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:12:40 PM | 51160 | [5 empty] | 51160 | 0.99794 | 0.99794 | 0.99795
13 | 187-9-205-MIA-rep2 | 0.020292 | 0.029231 | 0.028967 | 0.0039161 | 102.8015 | 0.073105 | 0.00062151 | 0.073253 | 12.008 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.020292 | 0.029231 | 0.023469 | 0.028777 | -0.2545 | 0.057204 | SupCrit | 103.0134 | 0.073253 | 1286.5766 | 0.063784 | 19.6451 | 1286.5766 | 19.2846 | 0.4611 | 1.7354 | 2.8013e-09 | 0.9222 | Flagged Warnings: | 1389.59 | 0.036021 | 30.0172 | 1389.59 | 28.255 | 0.44214 | 0 | 1.634 | 5.6845e-11 | 0.88429 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0402 | 1.0553 | 0.0371 | 0.046943 | 1.0272 | 1.0381 | 0.024086 | 0.029459 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:21:48 PM | 51708 | 1095.3636 | 395.6454 | 32.38 | Spline | 8.3224 | 51708 | 0.99794 | 0.99794 | 0.99795
14 | 187-9-205-MIA-rep3 | 0.029089 | 0.030592 | 0.030344 | 0.0038883 | 102.8237 | 0.07658 | 0.00062212 | 0.076735 | 12.011 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.029089 | 0.030592 | 0.032181 | 0.030176 | -0.23719 | 0.059557 | SupCrit | 103.0357 | 0.076735 | 1286.5377 | 0.070477 | 19.6325 | 1286.5377 | 23.2962 | 0.47794 | 1.5646 | 0.44215 | 0.95587 | Flagged Warnings: | 1389.5734 | 0.030352 | 34.5943 | 1389.5734 | 32.7361 | 0.42404 | 0 | 1.5569 | 0.14269 | 0.84809 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.2073 | 1.225 | 0.19813 | 0.048688 | 1.0081 | 1.0091 | 0.0068394 | 0.024515 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:27:56 PM | 52076 | 1095.4625 | 684.6797 | 55.4004 | Spline | 12.2194 | 52076 | 0.99794 | 0.99794 | 0.99795
15 | 187-9-205-MIA-20mw | 0.0095594 | 0.019107 | 0.018693 | 0.0039549 | 102.7744 | 0.047176 | 0.00062222 | 0.047269 | 19.951 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0095594 | 0.019107 | 0.012854 | 0.018633 | -0.27576 | 0.03722 | SupCrit | 102.9864 | 0.047269 | 1286.5251 | 0.042344 | 42.6195 | 1286.5251 | 41.5318 | 0.39708 | 1.7679 | 0.41107 | 0.79416 | Flagged Warnings: | 1389.5115 | 0.021008 | 62.5082 | 1389.5115 | 52.0224 | 0.37526 | 0 | 1.7557 | 0.12432 | 0.75051 | Flagged Warnings: | [15 empty] | 1.2172 | 1.262 | 0.1725 | 0.018634 | 1.0995 | 1.1484 | 0.074712 | 0.012007 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:32:28 PM | 52348 | 1095.413 | 867.526 | 61.4654 | Spline | 9.273 | 52348 | 0.99794 | 0.99794 | 0.99795
16 | 187-9-206-MIA-rep1 | 0.032038 | 0.0070868 | 0.0059304 | 0.0038798 | 102.8311 | 0.014967 | 0.00062588 | 0.014985 | 10.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.032038 | 0.0070868 | 0.035104 | 0.0063582 | -0.23141 | 0.011778 | SupCrit | 103.0435 | 0.014985 | 1286.3535 | 0.014321 | 295.3392 | 1286.3536 | 352.6763 | 0.47667 | 2.9843 | 0.46597 | 0.95334 | Flagged Warnings: | 1389.3971 | 0.0044101 | 454.6629 | 1389.3971 | 496.2615 | 0.43014 | 0 | 2.7313 | 0.49969 | 0.86029 | Flagged Warnings: | 1265.9938 | 54.3663 | 0.57839 | 1410.6371 | 89.6042 | 0.50262 | [9 empty] | 1.1788 | 1.1813 | 0.17047 | 0.003228 | 1.2622 | 1.2974 | 0.22554 | 0.0018921 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:00:06 PM | 54006 | [5 empty] | 54006 | 0.99794 | 0.99793 | 0.99794
17 | 187-9-206-MIA-rep2 | 0.034709 | 0.0050805 | 0.0032887 | 0.0038725 | 102.8379 | 0.0082997 | 0.0006267 | 0.0082931 | 10.011 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.034709 | 0.0050805 | 0.037753 | 0.0040602 | -0.22619 | 0.0067247 | SupCrit | 103.0503 | 0.0082931 | 1286.3459 | 0.007065 | 280.7854 | 1286.346 | 358.1419 | 0.50692 | 2.7377 | 0.47767 | 1.0138 | Flagged Warnings: | 1389.3963 | 0.004343 | 494.4856 | 1389.3963 | 513.381 | 0.40743 | 0 | 3.0176 | 0.51056 | 0.81485 | Flagged Warnings: | 1266.0259 | 54.7332 | 0.61069 | 1410.6979 | 88.9984 | 0.50487 | [9 empty] | 1.1254 | 1.1141 | 0.12713 | 0.0036108 | 1.2868 | 1.3435 | 0.23372 | 0.0016479 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:05:11 PM | 54311 | [5 empty] | 54311 | 0.99794 | 0.99793 | 0.99794
18 | 187-9-206-MIA-rep3 | 0.027221 | 0.0047663 | 0.0027486 | 0.0038939 | 102.819 | 0.0069367 | 0.00062726 | 0.0069226 | 10.004 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.027221 | 0.0047663 | 0.03033 | 0.0036434 | -0.24086 | 0.0057534 | SupCrit | 103.0314 | 0.0069226 | 1286.3602 | 0.0058929 | 319.7187 | 1286.3603 | 374.0976 | 0.46967 | 2.7788 | 0.45126 | 0.93934 | Flagged Warnings: | 1389.3917 | 0.0036326 | 533.7424 | 1389.3917 | 570.3245 | 0.42416 | 0 | 2.8131 | 0.48077 | 0.84831 | Flagged Warnings: | 1266.0454 | 47.0215 | 0.46163 | 1410.7054 | 101.3889 | 0.52599 | [9 empty] | 1.1755 | 1.1797 | 0.16485 | 0.002938 | 1.2509 | 1.2749 | 0.21287 | 0.0015894 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:09:23 PM | 54563 | [5 empty] | 54563 | 0.99794 | 0.99793 | 0.99794
19 | 187-9-207-MIA-rep1 | 0.01696 | 0.01414 | 0.013584 | 0.0039276 | 102.7931 | 0.034282 | 0.00062937 | 0.034347 | 11.971 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.01696 | 0.01414 | 0.020171 | 0.013655 | -0.26108 | 0.026945 | SupCrit | 103.0056 | 0.034347 | 1286.5343 | 0.030074 | 46.3559 | 1286.5343 | 51.1326 | 0.44978 | 1.6922 | 0.40921 | 0.89956 | Flagged Warnings: | 1389.5399 | 0.016592 | 76.8127 | 1389.5399 | 70.1692 | 0.39114 | 0 | 1.7977 | 0.27442 | 0.78227 | Flagged Warnings: | [15 empty] | 1.2337 | 1.2735 | 0.21024 | 0.019405 | 1.0517 | 1.0831 | 0.040462 | 0.010184 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:22:02 PM | 55322 | [5 empty] | 55322 | 0.99794 | 0.99793 | 0.99794
20 | 187-9-207-MIA-rep2 | 0 | 0 | 0 | 0 | 102.761 | 0.028645 | 0.00063029 | 0.028697 | 11.976 | 1324.964 | 0 | 0 | Y | not in range |  |  | 0.0042447 | 0.012026 | 0.0076038 | 0.011469 | -0.28635 | 0.022738 | SupCrit | 102.9735 | 0.028697 | 1286.5301 | 0.023357 | 55.8882 | 1286.5301 | 51.755 | 0.43498 | 1.6164 | 6.4246e-09 | 0.86996 | Flagged Warnings: | 1389.5036 | 0.016672 | 81.8544 | 1389.5036 | 86.8741 | 0.43541 | 0 | 1.931 | 0.39276 | 0.87082 | Flagged Warnings: | [15 empty] | 1.2095 | 1.2346 | 0.18224 | 0.015566 | 1.1235 | 1.1896 | 0.10755 | 0.010639 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:27:44 PM | 55664 | [5 empty] | 55664 | 0.99794 | 0.99793 | 0.99794
21 | 187-9-207-MIA-rep3 | 0.010754 | 0.014354 | 0.0138 | 0.0039503 | 102.7774 | 0.034828 | 0.00063141 | 0.034894 | 11.972 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.010754 | 0.014354 | 0.014035 | 0.013855 | -0.27338 | 0.027488 | SupCrit | 102.99 | 0.034894 | 1286.5361 | 0.03126 | 40.8775 | 1286.5361 | 42.8358 | 0.43342 | 1.4617 | 0.37062 | 0.86684 | Flagged Warnings: | 1389.5261 | 0.015505 | 69.082 | 1389.5261 | 63.5332 | 0.40579 | 0 | 1.5272 | 0.18813 | 0.81159 | Flagged Warnings: | [15 empty] | 1.2275 | 1.2957 | 0.19716 | 0.021206 | 1.0802 | 1.1003 | 0.065064 | 0.011748 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:32:38 PM | 55958 | [5 empty] | 55958 | 0.99794 | 0.99793 | 0.99794
22 | 187-9-207-MIB-rep1 | 0.029349 | 0.023953 | 0.023635 | 0.0038875 | 102.8243 | 0.059648 | 0.00063491 | 0.059768 | 11.999 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.029349 | 0.023953 | 0.032438 | 0.023552 | -0.23668 | 0.046398 | SupCrit | 103.0371 | 0.059768 | 1286.514 | 0.055069 | 54.0047 | 1286.514 | 58.5767 | 0.38349 | 2.9116 | 0.76718 | 0.76699 | Flagged Warnings: | 1389.5511 | 0.023231 | 66.113 | 1389.5511 | 57.2731 | 0.40029 | 0 | 2.337 | 0.050513 | 0.80057 | Flagged Warnings: | [15 empty] | 1.25 | 1.3634 | 0.19175 | 0.014202 | 1.034 | 1.0592 | 0.027254 | 0.012109 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:46:52 PM | 56812 | [5 empty] | 56812 | 0.99793 | 0.99793 | 0.99794
23 | 187-9-207-MIB-rep2 | -0.028498 | 0 | 0 | 0 | 102.6783 | 0.054214 | 0.00063507 | 0.054323 | 11.988 | 1324.964 | 0 | 0 | N | Below lower calibration limit |  |  | -0.028498 | 0.021876 | -0.024668 | 0.021279 | -0.35241 | 0.043871 | SupCrit | 102.8909 | 0.054323 | 1286.6245 | 0.050435 | 48.7502 | 1286.6245 | 66.6575 | 0.44321 | 2.7461 | 0.96149 | 0.88641 | Flagged Warnings: | 1389.5154 | 0.020181 | 66.9649 | 1389.5154 | 58.6698 | 0.41153 | 0 | 2.1425 | 1.1739e-09 | 0.82307 | Flagged Warnings: | [15 empty] | 1.0674 | 1.0551 | 0.059758 | 0.018183 | 1.097 | 1.1275 | 0.079876 | 0.012291 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:51:15 PM | 57075 | [5 empty] | 57075 | 0.99793 | 0.99793 | 0.99794
24 | 187-9-207-MIB-rep3 | 0.023635 | 0.02839 | 0.02812 | 0.0039051 | 102.8099 | 0.070968 | 0.00063694 | 0.071112 | 11.984 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.023635 | 0.02839 | 0.026778 | 0.027955 | -0.24791 | 0.055407 | SupCrit | 103.0228 | 0.071112 | 1286.5472 | 0.067495 | 47.0317 | 1286.5472 | 57.099 | 0.39303 | 2.4794 | 0.96417 | 0.78606 | Flagged Warnings: | 1389.57 | 0.022393 | 75.1601 | 1389.57 | 71.8278 | 0.36932 | 0 | 2.0764 | 0.54994 | 0.73864 | Flagged Warnings: | [15 empty] | 1.1673 | 1.2141 | 0.13153 | 0.016714 | 1.0044 | 1.01 | 0.0032255 | 0.0098275 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:55:28 PM | 57328 | [5 empty] | 57328 | 0.99793 | 0.99793 | 0.99794
25 | 187-9-208-MIA-rep1 | 0.014565 | 0.033025 | 0.03279 | 0.0039361 | 102.787 | 0.082752 | 0.0006409 | 0.082921 | 11.997 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.014565 | 0.033025 | 0.017802 | 0.032523 | -0.26582 | 0.065 | SupCrit | 102.9999 | 0.082921 | 1286.4974 | 0.01595 | 93.7813 | 1286.4974 | 100.9808 | 0.45887 | 2.1281 | 0.28772 | 0.91774 | Flagged Warnings: | 1389.4973 | 0.081372 | 144.6419 | 1389.4973 | 140.9451 | 0.42461 | 0 | 2.0386 | 0.22439 | 0.84921 | Flagged Warnings: | [15 empty] | 1.2981 | 1.3599 | 0.27359 | 0.009786 | 2.0607 | 1.7262 | 0.90077 | 0.0058712 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:10:40 PM | 58240 | 1095.413 | 331.9707 | 29.8726 | Spline | 1.3722 | 58240 | 0.99793 | 0.99793 | 0.99794
26 | 187-9-208-MIA-rep2 | 0.025057 | 0.0061179 | 0.0047132 | 0.0039006 | 102.8135 | 0.011895 | 0.00064318 | 0.011902 | 11.998 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.025057 | 0.0061179 | 0.028186 | 0.0052588 | -0.24511 | 0.0094828 | SupCrit | 103.0265 | 0.011902 | 1286.4716 | 0.010641 | 154.232 | 1286.4716 | 173.6363 | 0.45448 | 2.7054 | 0.4361 | 0.90896 | Flagged Warnings: | 1389.4982 | 0.0053325 | 249.9195 | 1389.4981 | 236.6806 | 0.41509 | 0 | 1.9086 | 0.20751 | 0.83017 | Flagged Warnings: |  |  |  | 1410.7606 | 28.3884 | 0.38512 | [9 empty] | 1.2367 | 1.2521 | 0.21519 | 0.0058934 | 1.1292 | 1.1768 | 0.10723 | 0.0033218 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:17:56 PM | 58676 | 1095.6108 | 122.9131 | 19.4754 | Spline | 0.29956 | 58676 | 0.99793 | 0.99793 | 0.99794
27 | 187-9-208-MIA-rep3 | 0.0083674 | 0.007457 | 0.0063189 | 0.0039596 | 102.7714 | 0.015947 | 0.00064467 | 0.015967 | 11.999 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0083674 | 0.007457 | 0.011676 | 0.0066992 | -0.27813 | 0.012733 | SupCrit | 102.9844 | 0.015967 | 1286.4865 | 0.013879 | 106.769 | 1286.4865 | 115.9424 | 0.51008 | 1.8137 | 9.2596e-08 | 1.0202 | Flagged Warnings: | 1389.4708 | 0.0078953 | 179.8099 | 1389.4708 | 166.3674 | 0.41382 | 0 | 1.9774 | 0.14832 | 0.82765 | Flagged Warnings: | [15 empty] | 1.1523 | 1.1366 | 0.15539 | 0.0095548 | 1.1708 | 1.2265 | 0.14139 | 0.0046029 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:23:42 PM | 59022 | 1095.2647 | 521.8185 | 43.659 | Spline | 1.8484 | 59022 | 0.99793 | 0.99793 | 0.99794
45 | 187-9-208-FIA | 0.16077 | 0.0046713 | 0.0025153 | 0.0039363 | 103.156 | 0.006348 | 0.00064858 | 0.0063279 | 6.016 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16077 | 0.0046713 | 0.16448 | 0.0034992 | 0.0093144 | 0.0048591 | SupCrit | 103.3698 | 0.0063279 | 1285.5705 | 0.0059399 | 331.9605 | 1285.5705 | 600.8186 | 0.6566 | 2.0352 | 0.70629 | 1.3132 | Flagged Warnings: | 1388.9404 | 0.0021816 | 618.7466 | 1388.9403 | 873.572 | 0.53524 | 0 | 1.7546 | 0.59865 | 1.0705 | Flagged Warnings: |  |  |  | 1410.3449 | 100.3465 | 0.7622 | [9 empty] | 1.0393 | 1.0591 | 0.051565 | 0.0039559 | 1.1854 | 1.1816 | 0.1985 | 0.0017301 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 4:28:29 PM | 59309 | [5 empty] | 59309 | 0.99793 | 0.99793 | 0.99794
28 | 187-9-208-FIB | 0.15912 | 0.0050209 | 0.0031244 | 0.0039303 | 103.1518 | 0.007885 | 0.00064993 | 0.0078745 | 6.011 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15912 | 0.0050209 | 0.1628 | 0.0039775 | 0.0063818 | 0.0058827 | SupCrit | 103.3657 | 0.0078745 | 1285.5582 | 0.0066978 | 248.5108 | 1285.5582 | 433.9009 | 0.65112 | 2.2442 | 0.63933 | 1.3022 | Flagged Warnings: | 1388.9239 | 0.0041409 | 447.6496 | 1388.9239 | 647.3904 | 0.5394 | 0 | 2.4157 | 0.63894 | 1.0788 | Flagged Warnings: | [15 empty] | 1.0501 | 1.0673 | 0.065284 | 0.0052402 | 1.1883 | 1.179 | 0.20315 | 0.0024099 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 4:32:46 PM | 59566 | [5 empty] | 59566 | 0.99793 | 0.99793 | 0.99794
29 | 187-9-209-MIA-rep1 | 0.083048 | 0.013551 | 0.013007 | 0.0038015 | 102.9598 | 0.032825 | 0.00065293 | 0.032887 | 6.004 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.083048 | 0.013551 | 0.085917 | 0.013242 | -0.13332 | 0.024636 | SupCrit | 103.1733 | 0.032887 | 1286.0946 | 0.032409 | 243.0888 | 1286.0946 | 472.1568 | 0.61826 | 14.0934 | 1 | 1.2365 | Flagged Warnings: | 1389.268 | 0.0055869 | 386.0875 | 1389.2679 | 454.5371 | 0.48332 | 0 | 2.4438 | 0.39108 | 0.96665 | Flagged Warnings: |  |  |  | 1410.5918 | 66.2256 | 0.69754 | [9 empty] | 1.0719 | 1.0991 | 0.088875 | 0.0050867 | 1.1107 | 1.0995 | 0.10706 | 0.0025037 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:45:17 PM | 60317 | 1094.0784 | 751.1417 | 53.6732 | Spline | 0.81056 | 60317 | 0.99793 | 0.99792 | 0.99794
30 | 187-9-209-MIA-rep2 | 0.064597 | 0.015129 | 0.014641 | 0.0038146 | 102.9133 | 0.036949 | 0.00065415 | 0.03702 | 6.006 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.064597 | 0.015129 | 0.067479 | 0.0148 | -0.16839 | 0.02808 | SupCrit | 103.1267 | 0.03702 | 1286.1199 | 0.036596 | 242.0236 | 1286.1199 | 506.9996 | 0.66681 | 16.2752 | 1 | 1.3336 | Flagged Warnings: | 1389.2467 | 0.0055871 | 394.7774 | 1389.2467 | 452.8967 | 0.46899 | 0 | 2.4184 | 0.40241 | 0.93798 | Flagged Warnings: |  |  |  | 1410.5891 | 48.0504 | 0.41324 | [9 empty] | 1.024 | 1.029 | 0.031943 | 0.0055103 | 1.1951 | 1.1929 | 0.18302 | 0.002376 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:49:37 PM | 60577 | 1095.3636 | 580.7849 | 45.7396 | Spline | 0.60505 | 60577 | 0.99793 | 0.99792 | 0.99794
31 | 187-9-209-MIA-rep3 | 0.087882 | 0.009942 | 0.0091867 | 0.003801 | 102.972 | 0.023185 | 0.00065611 | 0.023223 | 6.007 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.087882 | 0.009942 | 0.09076 | 0.0095147 | -0.12421 | 0.017394 | SupCrit | 103.1856 | 0.023223 | 1286.0604 | 0.022659 | 214.8622 | 1286.0604 | 380.3646 | 0.5635 | 8.0018 | 1 | 1.127 | Flagged Warnings: | 1389.2461 | 0.0050905 | 348.2785 | 1389.2461 | 395.34 | 0.48969 | 0 | 1.9586 | 0.25324 | 0.97937 | Flagged Warnings: |  |  |  | 1410.5838 | 44.3103 | 0.55742 | [9 empty] | 1.1242 | 1.1595 | 0.13998 | 0.0052452 | 1.1225 | 1.1057 | 0.11999 | 0.002812 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:54:01 PM | 60841 | 1093.6335 | 1745.5974 | 119.5159 | Spline | 2.2503 | 60841 | 0.99793 | 0.99792 | 0.99794
32 | 187-9-209-FIA | 0.45322 | 0.0049237 | 0.0043262 | 0.002351 | 103.833 | 0.0095392 | 0.00066372 | 0.0095358 | 6.005 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.42904 | 0.00718 | 0.45322 | 0.0049237 | 0.43852 | 0.0056182 | SupCrit | 104.0484 | 0.0095358 | 1283.9817 | 0.0092458 | 1268.0614 | 1283.9819 | 4090.9491 | 1.1135 | 13.8336 | 0.82641 | 2.2271 | Flagged Warnings: | 1388.0304 | 0.0023336 | 2679.0641 | 1388.0303 | 5833.6004 | 0.7957 | 0 | 7.9932 | 0.68953 | 1.5914 | Flagged Warnings: | 1264.1893 | 793.0077 | 3.3381 | 1409.4339 | 683.0675 | 1.603 | [9 empty] | 1.0773 | 1.114 | 0.17211 | 0.0017563 | 1.0085 | 1.0354 | 0.013486 | 0.00059401 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:59:46 PM | 61186 | [5 empty] | 61186 | 0.99793 | 0.99792 | 0.99794
33 | 187-9-210-MIA-rep1 | 0.070204 | 0.0052091 | 0.0035535 | 0.0038088 | 102.9274 | 0.008968 | 0.0006617 | 0.0089621 | 6.007 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.070204 | 0.0052091 | 0.073075 | 0.0042856 | -0.15769 | 0.007047 | SupCrit | 103.141 | 0.0089621 | 1286.139 | 0.0083598 | 230.2184 | 1286.139 | 319.9968 | 0.52596 | 2.4869 | 0.60315 | 1.0519 | Flagged Warnings: | 1389.28 | 0.00323 | 398.7064 | 1389.2799 | 458.8385 | 0.46743 | 0 | 1.9638 | 0.41973 | 0.93487 | Flagged Warnings: |  |  |  | 1410.5246 | 37.9701 | 0.2938 | [9 empty] | 1.0195 | 1.035 | 0.020559 | 0.0045692 | 1.0639 | 1.0525 | 0.059736 | 0.0023447 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:09:39 PM | 61779 | 1095.413 | 401.0219 | 33.4569 | Spline | 0.5149 | 61779 | 0.99793 | 0.99792 | 0.99794
46 | 187-9-210-MIA-rep2 | 0.073737 | 0.0042125 | 0.0018055 | 0.003806 | 102.9363 | 0.0045565 | 0.00066561 | 0.004517 | 9.98 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.073737 | 0.0042125 | 0.076604 | 0.0030041 | -0.15096 | 0.0039457 | SupCrit | 103.1499 | 0.004517 | 1286.1419 | 0.0041665 | 452.6888 | 1286.142 | 608.8636 | 0.5272 | 2.1081 | 0.5138 | 1.0544 | Flagged Warnings: | 1389.292 | 0.0017445 | 790.781 | 1389.2919 | 892.0688 | 0.45886 | 0 | 2.3735 | 0.41595 | 0.91771 | Flagged Warnings: | 1265.7125 | 93.7154 | 0.73781 | 1410.6001 | 101.6718 | 0.53256 | [9 empty] | 1.0194 | 1.0164 | 0.020474 | 0.0023292 | 1.0315 | 1.0248 | 0.02895 | 0.0011605 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:19:21 PM | 62361 | 1095.413 | 220.4272 | 30.689 | Spline | 0.14686 | 62361 | 0.99793 | 0.99792 | 0.99794
34 | 187-9-210-MIA-rep3 | 0.074732 | 0.0062527 | 0.0049615 | 0.0038053 | 102.9389 | 0.012521 | 0.00066775 | 0.01253 | 9.973 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.074732 | 0.0062527 | 0.077598 | 0.0055097 | -0.14907 | 0.0096232 | SupCrit | 103.1525 | 0.01253 | 1286.1457 | 0.012216 | 256.7148 | 1286.1457 | 348.3281 | 0.5219 | 2.6498 | 0.56196 | 1.0438 | Flagged Warnings: | 1389.2982 | 0.0027874 | 438.9561 | 1389.2981 | 490.5607 | 0.45611 | 0 | 2.0622 | 0.40682 | 0.91223 | Flagged Warnings: |  |  |  | 1410.5678 | 55.5503 | 0.30391 | [9 empty] | 1.0329 | 1.0356 | 0.034335 | 0.004066 | 1 | 1.0099 | 0 | 0.0020782 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:24:31 PM | 62671 | 1095.3636 | 579.0958 | 48.3481 | Spline | 0.69031 | 62671 | 0.99793 | 0.99792 | 0.99794
35 | 187-9-211-MIA-rep1 | 0.074402 | 0.0052306 | 0.0035885 | 0.0038055 | 102.938 | 0.0090565 | 0.00067851 | 0.0090497 | 9.975 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.074402 | 0.0052306 | 0.077269 | 0.0043163 | -0.1497 | 0.0070904 | SupCrit | 103.1516 | 0.0090497 | 1286.138 | 0.0087101 | 303.762 | 1286.138 | 440.5882 | 0.53196 | 4.2864 | 0.68002 | 1.0639 | Flagged Warnings: | 1389.2897 | 0.0024559 | 499.701 | 1389.2897 | 570.9235 | 0.46365 | 0 | 1.9051 | 0.42218 | 0.92729 | Flagged Warnings: |  |  |  | 1410.6189 | 63.1665 | 0.62027 | [9 empty] | 1.0127 | 1 | 0.013467 | 0.0035025 | 1.0605 | 1.0551 | 0.05611 | 0.0018557 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:49:18 PM | 64158 | 1092.7438 | 1073.2127 | 67.1127 | Spline | 1.061 | 64158 | 0.99793 | 0.99792 | 0.99794
36 | 187-9-211-MIA-rep2 | 0.074666 | 0.0064846 | 0.0052507 | 0.0038053 | 102.9387 | 0.013251 | 0.00068092 | 0.013261 | 9.977 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.074666 | 0.0064846 | 0.077532 | 0.0057712 | -0.1492 | 0.010162 | SupCrit | 103.1523 | 0.013261 | 1286.1302 | 0.012934 | 255.9531 | 1286.1302 | 393.1876 | 0.54806 | 6.0898 | 0.74597 | 1.0961 | Flagged Warnings: | 1389.2826 | 0.0029289 | 428.7398 | 1389.2825 | 482.0092 | 0.45339 | 0 | 1.93 | 0.43891 | 0.90677 | Flagged Warnings: |  |  |  | 1410.6413 | 54.7672 | 0.52598 | [9 empty] | 1 | 1.0022 | 4.4808e-13 | 0.0042825 | 1.0984 | 1.0956 | 0.089191 | 0.002115 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:54:33 PM | 64473 | 1095.3636 | 557.3839 | 43.6575 | Spline | 0.63687 | 64473 | 0.99793 | 0.99792 | 0.99794
37 | 187-9-211-MIA-rep3 | 0.076959 | 0.0065345 | 0.0053132 | 0.0038039 | 102.9445 | 0.013409 | 0.00068293 | 0.013419 | 9.977 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.076959 | 0.0065345 | 0.079824 | 0.0058301 | -0.14485 | 0.010262 | SupCrit | 103.1581 | 0.013419 | 1286.1126 | 0.013115 | 316.0055 | 1286.1126 | 475.4517 | 0.52684 | 7.9382 | 0.78964 | 1.0537 | Flagged Warnings: | 1389.2707 | 0.0028439 | 495.7573 | 1389.2707 | 562.4294 | 0.47209 | 0 | 1.7447 | 0.35403 | 0.94417 | Flagged Warnings: |  |  |  | 1410.5922 | 55.1425 | 0.50886 | [9 empty] | 1.0289 | 1.03 | 0.030492 | 0.0033344 | 1.1049 | 1.0951 | 0.099061 | 0.0019045 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:58:47 PM | 64727 | 1095.413 | 351.5152 | 31.0503 | Spline | 0.33869 | 64727 | 0.99793 | 0.99792 | 0.99794
38 | 187-9-212-MIA | 0.094254 | 0.0073828 | 0.0063285 | 0.0038021 | 102.9881 | 0.015971 | 0.00068722 | 0.01599 | 10.016 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.094254 | 0.0073828 | 0.097151 | 0.0067886 | -0.11225 | 0.012009 | SupCrit | 103.2018 | 0.01599 | 1286.0211 | 0.01577 | 491.7046 | 1286.0211 | 740.7819 | 0.52556 | 5.3603 | 0.79884 | 1.0511 | Flagged Warnings: | 1389.223 | 0.0026394 | 818.9021 | 1389.223 | 983.2693 | 0.48774 | 0 | 3.1685 | 0.41958 | 0.97548 | Flagged Warnings: | 1265.8577 | 134.4958 | 1.051 | 1410.4946 | 121.1649 | 0.68045 | [9 empty] | 1.1821 | 1.1981 | 0.19143 | 0.0021377 | 1.1729 | 1.1562 | 0.16864 | 0.0011912 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 6:07:12 PM | 65232 | [5 empty] | 65232 | 0.99793 | 0.99792 | 0.99794
47 | 187-9-214-MIA-rep1 | 0.026823 | 0.0043108 | 0.001847 | 0.0038951 | 102.8179 | 0.0046613 | 0.00069067 | 0.0046194 | 9.995 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.026823 | 0.0043108 | 0.029935 | 0.0030343 | -0.24164 | 0.0041382 | SupCrit | 103.0313 | 0.0046194 | 1286.4377 | 0.0038042 | 375.2962 | 1286.4378 | 420.7125 | 0.46426 | 2.1871 | 0.36717 | 0.92851 | Flagged Warnings: | 1389.4691 | 0.0026205 | 601.2725 | 1389.4691 | 598.0732 | 0.41381 | 0 | 2.0738 | 0.35474 | 0.82761 | Flagged Warnings: | 1265.9605 | 40.3263 | 0.38488 | 1410.7904 | 72.6772 | 0.43918 | [9 empty] | 1.1567 | 1.1609 | 0.14547 | 0.0024741 | 1.1818 | 1.2492 | 0.15048 | 0.0013764 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:16:35 PM | 65795 | [5 empty] | 65795 | 0.99793 | 0.99792 | 0.99794
39 | 187-9-214-MIA-rep2 | 0.026754 | 0.0047912 | 0.0027897 | 0.0038953 | 102.8178 | 0.0070404 | 0.00069285 | 0.0070208 | 10.003 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.026754 | 0.0047912 | 0.029867 | 0.0036739 | -0.24177 | 0.005831 | SupCrit | 103.0311 | 0.0070208 | 1286.4447 | 0.0062992 | 313.6845 | 1286.4447 | 360.3544 | 0.45504 | 3.5279 | 0.48618 | 0.91008 | Flagged Warnings: | 1389.4758 | 0.0031001 | 467.1119 | 1389.4758 | 448.785 | 0.42299 | 0 | 2.0153 | 0.19455 | 0.84599 | Flagged Warnings: |  |  |  | 1410.7777 | 42.4324 | 0.49803 | [9 empty] | 1.1209 | 1.1128 | 0.11004 | 0.0029013 | 1.168 | 1.2286 | 0.14215 | 0.0018111 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:20:57 PM | 66057 | [5 empty] | 66057 | 0.99793 | 0.99792 | 0.99794
48 | 187-9-214-MIA-rep3 | 0.023842 | 0.0046545 | 0.0025337 | 0.0039044 | 102.8104 | 0.0063945 | 0.00069494 | 0.0063698 | 10.001 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.023842 | 0.0046545 | 0.026982 | 0.0034872 | -0.2475 | 0.0053713 | SupCrit | 103.0237 | 0.0063698 | 1286.4555 | 0.0057634 | 407.2645 | 1286.4555 | 467.1791 | 0.42899 | 3.7813 | 0.63258 | 0.85798 | Flagged Warnings: | 1389.4793 | 0.0027124 | 599.6582 | 1389.4792 | 584.9603 | 0.41208 | 0 | 2.2451 | 0.31242 | 0.82416 | Flagged Warnings: | 1266.1112 | 70.7799 | 0.66703 | 1410.78 | 80.6465 | 0.43741 | [9 empty] | 1.2351 | 1.25 | 0.2017 | 0.0021067 | 1.1674 | 1.233 | 0.13793 | 0.0013744 | PseudoVoigtModel | PseudoVoigtModel | No | August 22, 2024 | August | 22 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 6:25:11 PM | 66311 | [5 empty] | 66311 | 0.99793 | 0.99792 | 0.99794
50 | FG04-A1-4-end | 0.68801 | 0.0049324 | 0.0043146 | 0.0023901 | 104.3224 | 0.0084794 | 0.0007084 | 0.0084673 | 6.012 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62296 | 0.0090465 | 0.68801 | 0.0049324 | 0.68778 | 0.0041982 | SupCrit | 104.5388 | 0.0084673 | 1282.907 | 0.0080907 | 583.6305 | 1282.907 | 1640.8168 | 0.96725 | 5.6612 | 0.83003 | 1.9345 | Flagged Warnings: | 1387.4458 | 0.0024972 | 1158.3052 | 1387.4458 | 2657.6074 | 0.82935 | 0 | 3.2077 | 0.73673 | 1.6587 | Flagged Warnings: |  |  |  | 1408.8438 | 274.3736 | 1.9963 |  |  |  | 1385.2895 | 533.9885 | 20.7407 |  |  |  | 1.0087 | 1.0321 | 0.016734 | 0.0033146 | 1.0183 | 1.0319 | 0.030281 | 0.001432 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 22, 2024 | August | 22 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:31:25 PM | 66685 | 1091.6563 | 554.6495 | 38.4185 | Spline | 0.12904 | 66685 | 0.99793 | 0.99792 | 0.99794