## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
42 | FG04-A1-4-start | 0.69821 | 0.0028675 | 0.0015804 | 0.0023927 | 104.3424 | 0.0030901 | 0.00075761 | 0.003002 | 5.976 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63088 | 0.0085861 | 0.69821 | 0.0028675 | 0.69687 | 0.0021348 | SupCrit | 104.5591 | 0.003002 | 1282.8485 | 0.0027316 | 1092.8093 | 1282.8485 | 3069.706 | 0.99281 | 3.825 | 0.77013 | 1.9856 | Flagged Warnings: | 1387.4076 | 0.0012451 | 2157.491 | 1387.4076 | 4956.3262 | 0.82661 | 0 | 2.9175 | 0.74082 | 1.6532 | Flagged Warnings: | 1262.7375 | 438.6208 | 2.9735 | 1408.8095 | 579.0131 | 2.1394 | 1369.7313 | 65.5942 | 0.41322 | 1384.7183 | 450.1386 | 13.8383 |  |  |  | 1.0085 | 1.006 | 0.016942 | 0.001817 | 1.0474 | 1.0425 | 0.0784 | 0.00076627 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 23, 2024 | August | 23 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 1:02:16 PM | 46936 | 1091.854 | 321.7397 | 25.4209 | Spline | 0.040087 | 46936 | 0.99793 | 0.99792 | 0.99794
0 | 187-9-201-MIA-rep1 | 0.020852 | 0.0049235 | 0.0029866 | 0.0039142 | 102.8029 | 0.0075375 | 0.00074216 | 0.0075164 | 11.965 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.020852 | 0.0049235 | 0.024022 | 0.0038223 | -0.25339 | 0.0062206 | SupCrit | 103.0164 | 0.0075164 | 1286.413 | 0.0063846 | 233.7609 | 1286.413 | 254.268 | 0.47947 | 2.5839 | 0.19101 | 0.95894 | Flagged Warnings: | 1389.4294 | 0.0039665 | 403.1216 | 1389.4293 | 392.2332 | 0.41317 | 0 | 1.9545 | 0.29781 | 0.82633 | Flagged Warnings: |  |  |  | 1410.8018 | 45.7294 | 0.41878 | [9 empty] | 1.1039 | 1.1137 | 0.09963 | 0.0041022 | 1.2429 | 1.2934 | 0.20073 | 0.0020498 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:11:16 PM | 47476 | [5 empty] | 47476 | 0.99793 | 0.99792 | 0.99793
1 | 187-9-201-MIA-rep2 | 0.019276 | 0.0055021 | 0.0038614 | 0.0039195 | 102.7989 | 0.0097451 | 0.0007402 | 0.0097371 | 11.97 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.019276 | 0.0055021 | 0.022462 | 0.004525 | -0.25651 | 0.0078831 | SupCrit | 103.0124 | 0.0097371 | 1286.4336 | 0.0086904 | 186.7228 | 1286.4336 | 203.1494 | 0.50016 | 2.7342 | 0.066082 | 1.0003 | Flagged Warnings: | 1389.4461 | 0.0043917 | 303.7907 | 1389.446 | 303.5454 | 0.43008 | 0 | 1.8098 | 0.25955 | 0.86016 | Flagged Warnings: |  |  |  | 1410.7305 | 32.1489 | 0.36547 | [9 empty] | 1.2177 | 1.2372 | 0.21775 | 0.0053572 | 1.2151 | 1.2562 | 0.18506 | 0.0028314 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:15:31 PM | 47731 | [5 empty] | 47731 | 0.99793 | 0.99792 | 0.99793
2 | 187-9-201-MIA-rep3 | 0.036787 | 0.0057167 | 0.0042103 | 0.003867 | 102.8431 | 0.010626 | 0.00073807 | 0.010622 | 11.984 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.036787 | 0.0057167 | 0.039814 | 0.0048265 | -0.22213 | 0.0084503 | SupCrit | 103.0567 | 0.010622 | 1286.4036 | 0.0084039 | 156.9824 | 1286.4036 | 174.5301 | 0.45584 | 2.0801 | 0.39439 | 0.91167 | Flagged Warnings: | 1389.4603 | 0.0064963 | 249.8449 | 1389.4603 | 248.7198 | 0.41309 | 0 | 2.025 | 0.36168 | 0.82618 | Flagged Warnings: | [15 empty] | 1.0671 | 1.0789 | 0.061166 | 0.0058075 | 1.2075 | 1.2821 | 0.17141 | 0.0033068 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:21:05 PM | 48065 | [5 empty] | 48065 | 0.99793 | 0.99792 | 0.99793
3 | 187-9-202-MIC-rep1 | -0.034019 | 0 | 0 | 0 | 102.6644 | 0.074256 | 0.00073163 | 0.074407 | 11.981 | 1324.964 | 0 | 0 | N | Below lower calibration limit |  |  | -0.034019 | 0.029717 | -0.030099 | 0.029043 | -0.3637 | 0.06028 | SupCrit | 102.8776 | 0.074407 | 1286.6342 | 0.060011 | 24.3217 | 1286.6342 | 27.4538 | 0.53021 | 2.0033 | 1.7225e-13 | 1.0604 | Flagged Warnings: | 1389.5118 | 0.043989 | 42.3471 | 1389.5118 | 47.4193 | 0.40833 | 0 | 1.9008 | 0.69395 | 0.81665 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0323 | 1.0386 | 0.034207 | 0.043599 | 1.0988 | 1.1402 | 0.080657 | 0.019285 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:33:40 PM | 48820 | [5 empty] | 48820 | 0.99793 | 0.99792 | 0.99793
4 | 187-9-202-MIC-rep2 | -0.01548 | 0 | 0 | 0 | 102.7112 | 0.061518 | 0.00072957 | 0.061642 | 12.014 | 1324.964 | 0 | 0 | N | Below lower calibration limit |  |  | -0.01548 | 0.024713 | -0.011851 | 0.024141 | -0.32597 | 0.049337 | SupCrit | 102.9245 | 0.061642 | 1286.5812 | 0.051863 | 25.1256 | 1286.5812 | 23.1623 | 0.43302 | 1.7065 | 3.6426e-12 | 0.86603 | Flagged Warnings: | 1389.5057 | 0.033316 | 41.0494 | 1389.5057 | 35.9589 | 0.41147 | 0 | 1.5657 | 3.236e-08 | 0.82294 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.1378 | 1.1754 | 0.11934 | 0.034468 | 1.1074 | 1.1314 | 0.088415 | 0.020048 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:40:00 PM | 49200 | [5 empty] | 49200 | 0.99793 | 0.99792 | 0.99793
5 | 187-9-202-MIC-rep3 | 0.037438 | 0.02561 | 0.025316 | 0.0038654 | 102.8447 | 0.063891 | 0.00072808 | 0.06402 | 12.005 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.037438 | 0.02561 | 0.040461 | 0.025244 | -0.22086 | 0.049414 | SupCrit | 103.0583 | 0.06402 | 1286.457 | 0.053265 | 24.8845 | 1286.457 | 22.2212 | 0.41945 | 1.894 | 1.1552e-07 | 0.83889 | Flagged Warnings: | 1389.5153 | 0.035516 | 40.7436 | 1389.5153 | 33.5814 | 0.38715 | 0 | 1.9228 | 5.6496e-12 | 0.7743 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0051 | 1.008 | 0.0042368 | 0.033711 | 1.0965 | 1.1541 | 0.074713 | 0.019004 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:46:49 PM | 49609 | [5 empty] | 49609 | 0.99793 | 0.99792 | 0.99793
6 | 187-9-202-MIB-rep1 | 0 | 0 | 0 | 0 | 102.7595 | 0.036612 | 0.00072579 | 0.036681 | 11.994 | 1324.964 | 0 | 0 | Y | not in range |  |  | 0.0036635 | 0.015043 | 0.0070299 | 0.01453 | -0.28751 | 0.02903 | SupCrit | 102.9729 | 0.036681 | 1286.4885 | 0.03058 | 57.5721 | 1286.4885 | 56.6212 | 0.39211 | 1.8141 | 0.46912 | 0.78421 | Flagged Warnings: | 1389.4614 | 0.020257 | 77.0521 | 1389.4614 | 66.1313 | 0.39848 | 0 | 1.9199 | 0.035908 | 0.79696 | Flagged Warnings: | [15 empty] | 1.2549 | 1.2963 | 0.1999 | 0.013621 | 1.2026 | 1.2862 | 0.16145 | 0.010343 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:51:48 PM | 49908 | 1095.3636 | 779.2837 | 58.2764 | Spline | 6.3484 | 49908 | 0.99793 | 0.99792 | 0.99793
7 | 187-9-202-MIB-rep2 | 0.011932 | 0.013456 | 0.012864 | 0.0039459 | 102.7804 | 0.032466 | 0.00072442 | 0.032525 | 12.006 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.011932 | 0.013456 | 0.015199 | 0.012947 | -0.27104 | 0.025614 | SupCrit | 102.9938 | 0.032525 | 1286.5184 | 0.026119 | 54.9857 | 1286.5184 | 55.0672 | 0.43582 | 1.6551 | 0.22817 | 0.87163 | Flagged Warnings: | 1389.5122 | 0.019382 | 74.864 | 1389.5122 | 67.6247 | 0.4243 | 0 | 1.7331 | 2.8904e-10 | 0.84859 | Flagged Warnings: | [15 empty] | 1.2717 | 1.3642 | 0.23678 | 0.015852 | 1.1048 | 1.1464 | 0.088965 | 0.011335 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:56:31 PM | 50191 | 1095.3636 | 766.9479 | 56.059 | Spline | 6.251 | 50191 | 0.99793 | 0.99792 | 0.99793
8 | 187-9-202-MIB-rep3 | 0.014069 | 0.068534 | 0.068421 | 0.0039379 | 102.7858 | 0.17268 | 0.0007229 | 0.17303 | 12.015 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.014069 | 0.068534 | 0.017312 | 0.067761 | -0.26681 | 0.13563 | SupCrit | 102.9992 | 0.17303 | 1286.5152 | 0.17216 | 52.4237 | 1286.5152 | 48.9775 | 0.39447 | 6.5874 | 0.3137 | 0.78893 | Flagged Warnings: | 1389.5144 | 0.01737 | 80.9017 | 1389.5144 | 74.6896 | 0.41335 | 0 | 1.7526 | 0.14523 | 0.8267 | Flagged Warnings: | 1264.4938 | 47.8521 | 0.36053 | [12 empty] | 1.0553 | 1.062 | 0.043599 | 0.015049 | 1.1 | 1.1415 | 0.08267 | 0.010219 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:01:37 PM | 50497 | 1095.413 | 817.9994 | 54.2644 | Spline | 6.6145 | 50497 | 0.99793 | 0.99792 | 0.99793
9 | 187-9-202-MID-rep1 | 0.01705 | 0.022346 | 0.021998 | 0.0039272 | 102.7933 | 0.055517 | 0.00072151 | 0.055628 | 12.015 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.01705 | 0.022346 | 0.02026 | 0.021899 | -0.2609 | 0.043559 | SupCrit | 103.0068 | 0.055628 | 1286.4444 | 0.04197 | 34.5815 | 1286.4444 | 30.4756 | 0.41395 | 2.3332 | 1.7504e-10 | 0.82789 | Flagged Warnings: | 1389.4512 | 0.03651 | 51.1951 | 1389.4512 | 53.0016 | 0.42005 | 0 | 2.1742 | 0.42259 | 0.8401 | Flagged Warnings: | [15 empty] | 1.2463 | 1.2627 | 0.20388 | 0.02394 | 1.2658 | 1.4416 | 0.22332 | 0.01641 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:06:37 PM | 50797 | [5 empty] | 50797 | 0.99793 | 0.99792 | 0.99793
10 | 187-9-202-MID-rep2 | 0.035921 | 0.15641 | 0.15636 | 0.0038693 | 102.8409 | 0.3946 | 0.00072061 | 0.39542 | 12.016 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.035921 | 0.15641 | 0.038956 | 0.15588 | -0.22382 | 0.30527 | SupCrit | 103.0545 | 0.39542 | 1286.415 | 0.39397 | 352.5832 | 1286.415 | 101.8276 | 0.12 | 1.7612 | 0.35805 | 0.24 | Flagged Warnings: | 1389.4695 | 0.033825 | 46.4265 | 1389.4695 | 37.5663 | 0.38008 | 0 | 1.8499 | 4.169e-11 | 0.76015 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.5381 | 1.8195 | 0.12915 | 0.00068069 | 1.16 | 1.2091 | 0.12162 | 0.016373 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:11:08 PM | 51068 | [5 empty] | 51068 | 0.99793 | 0.99792 | 0.99793
11 | 187-9-202-MID-rep3 | 0.041538 | 0.025918 | 0.02563 | 0.0038554 | 102.8551 | 0.064682 | 0.00071944 | 0.064813 | 12.013 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.041538 | 0.025918 | 0.044531 | 0.025571 | -0.21287 | 0.049881 | SupCrit | 103.0687 | 0.064813 | 1286.4053 | 0.054039 | 28.533 | 1286.4053 | 31.9384 | 0.52578 | 2.4751 | 6.4019e-07 | 1.0516 | Flagged Warnings: | 1389.474 | 0.035784 | 44.3228 | 1389.474 | 45.8129 | 0.48551 | 0 | 1.9292 | 8.3334e-12 | 0.97102 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.3592 | 1.4858 | 0.37767 | 0.036854 | 1.175 | 1.2017 | 0.16993 | 0.021908 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:16:06 PM | 51366 | [5 empty] | 51366 | 0.99793 | 0.99792 | 0.99793
12 | 187-9-213-MIA-rep1 | 0.1086 | 0.0059101 | 0.0045162 | 0.0038123 | 103.0243 | 0.011398 | 0.00071641 | 0.011399 | 6.006 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1086 | 0.0059101 | 0.11157 | 0.0051383 | -0.085525 | 0.0085871 | SupCrit | 103.2383 | 0.011399 | 1285.8729 | 0.0091547 | 154.4335 | 1285.8729 | 234.1148 | 0.56079 | 2.0132 | 0.6591 | 1.1216 | Flagged Warnings: | 1389.1112 | 0.0067913 | 271.706 | 1389.1112 | 348.025 | 0.50199 | 0 | 1.881 | 0.51393 | 1.004 | Flagged Warnings: | [15 empty] | 1.1701 | 1.1896 | 0.19077 | 0.0072626 | 1.1154 | 1.134 | 0.11584 | 0.0036951 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:35:47 PM | 52547 | [5 empty] | 52547 | 0.99793 | 0.99792 | 0.99793
13 | 187-9-213-MIA-rep2 | 0.1085 | 0.0055677 | 0.0040579 | 0.0038122 | 103.0241 | 0.010241 | 0.00071525 | 0.010237 | 6.012 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1085 | 0.0055677 | 0.11147 | 0.0047345 | -0.085711 | 0.007762 | SupCrit | 103.238 | 0.010237 | 1285.8769 | 0.0079974 | 162.0588 | 1285.8769 | 242.8689 | 0.55511 | 1.7991 | 0.65591 | 1.1102 | Flagged Warnings: | 1389.1149 | 0.0063907 | 273.0841 | 1389.1149 | 347.2359 | 0.50372 | 0 | 1.8765 | 0.48588 | 1.0074 | Flagged Warnings: | [15 empty] | 1.1686 | 1.1936 | 0.18723 | 0.0068507 | 1.122 | 1.1333 | 0.12286 | 0.0036891 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:42:41 PM | 52961 | [5 empty] | 52961 | 0.99793 | 0.99792 | 0.99793
14 | 187-9-213-MIA-rep3 | 0.10435 | 0.0061685 | 0.0048526 | 0.0038082 | 103.0136 | 0.012247 | 0.00071406 | 0.012251 | 6.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10435 | 0.0061685 | 0.10729 | 0.0054366 | -0.093416 | 0.0092241 | SupCrit | 103.2276 | 0.012251 | 1285.8732 | 0.0098644 | 127.3741 | 1285.8732 | 194.3439 | 0.61195 | 1.4975 | 0.45337 | 1.2239 | Flagged Warnings: | 1389.1008 | 0.0072653 | 230.9644 | 1389.1008 | 297.0352 | 0.51339 | 0 | 1.804 | 0.46578 | 1.0268 | Flagged Warnings: | [15 empty] | 1.1154 | 1.1132 | 0.14122 | 0.0096087 | 1.1027 | 1.1206 | 0.10549 | 0.0044456 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:50:31 PM | 53431 | [5 empty] | 53431 | 0.99793 | 0.99792 | 0.99793
25 | 187-9-213-FIB | 0.34836 | 0.0037352 | 0.0029041 | 0.002349 | 103.5963 | 0.00671 | 0.0007166 | 0.0066855 | 6.014 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.33522 | 0.0057893 | 0.34836 | 0.0037352 | 0.29956 | 0.004464 | SupCrit | 103.8114 | 0.0066855 | 1284.459 | 0.0058169 | 413.686 | 1284.4591 | 1156.6433 | 1.0633 | 2.2991 | 0.59177 | 2.1266 | Flagged Warnings: | 1388.2705 | 0.0032953 | 886.0654 | 1388.2705 | 1819.1209 | 0.73365 | 0 | 3.7276 | 0.74282 | 1.4673 | Flagged Warnings: | 1264.3849 | 150.9968 | 1.6369 | 1409.6974 | 228.5582 | 1.5474 | [9 empty] | 1.193 | 1.2183 | 0.41052 | 0.0051406 | 1.0621 | 1.08 | 0.091073 | 0.001656 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:05:08 PM | 54308 | [5 empty] | 54308 | 0.99793 | 0.99792 | 0.99793
26 | 187-9-213-FIA | 0.1339 | 0.0047613 | 0.0027936 | 0.0038557 | 103.0882 | 0.0070502 | 0.00071264 | 0.0070287 | 6.008 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.1339 | 0.0047613 | 0.13714 | 0.0037009 | -0.039061 | 0.0054235 | SupCrit | 103.3023 | 0.0070287 | 1285.6942 | 0.0066532 | 301.8659 | 1285.6942 | 516.7648 | 0.637 | 2.279 | 0.64474 | 1.274 | Flagged Warnings: | 1388.9966 | 0.0022665 | 544.9929 | 1388.9965 | 726.9442 | 0.51137 | 0 | 1.5487 | 0.57039 | 1.0227 | Flagged Warnings: |  |  |  | 1410.3689 | 79.1305 | 0.69006 | [9 empty] | 1.1068 | 1.021 | 0.13613 | 0.0042204 | 1.0887 | 1.1042 | 0.090756 | 0.0018766 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:12:10 PM | 54730 | [5 empty] | 54730 | 0.99793 | 0.99792 | 0.99793
27 | 187-9-215-MIA-rep1 | 0.012299 | 0.0043711 | 0.0018836 | 0.0039445 | 102.7813 | 0.0047536 | 0.00071017 | 0.00471 | 11.996 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.012299 | 0.0043711 | 0.015562 | 0.0030588 | -0.27032 | 0.0042404 | SupCrit | 102.9948 | 0.00471 | 1286.4748 | 0.0038491 | 388.3343 | 1286.4748 | 414.9984 | 0.46539 | 2.0257 | 0.22617 | 0.93077 | Flagged Warnings: | 1389.4697 | 0.0027145 | 649.1939 | 1389.4696 | 634.4358 | 0.40793 | 0 | 2.2602 | 0.34547 | 0.81586 | Flagged Warnings: | 1266.1195 | 42.2174 | 0.48521 | 1410.8083 | 73.6198 | 0.4281 | [9 empty] | 1.2366 | 1.2472 | 0.22018 | 0.0023968 | 1.1799 | 1.2492 | 0.14679 | 0.0012567 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:28:38 PM | 55718 | [5 empty] | 55718 | 0.99793 | 0.99792 | 0.99793
28 | 187-9-215-MIA-rep2 | 0.023276 | 0.0043076 | 0.0018156 | 0.0039062 | 102.809 | 0.004582 | 0.00071049 | 0.0045359 | 11.997 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.023276 | 0.0043076 | 0.026422 | 0.0030163 | -0.24862 | 0.0040933 | SupCrit | 103.0226 | 0.0045359 | 1286.4429 | 0.0036563 | 420.849 | 1286.443 | 461.6856 | 0.4723 | 2.3594 | 0.25894 | 0.9446 | Flagged Warnings: | 1389.4656 | 0.0026845 | 742.2447 | 1389.4655 | 720.688 | 0.40523 | 0 | 2.7552 | 0.34595 | 0.81046 | Flagged Warnings: | 1266.1876 | 45.6668 | 0.4724 | 1410.7266 | 98.9149 | 0.4777 | [9 empty] | 1.1544 | 1.1592 | 0.14581 | 0.0022445 | 1.1799 | 1.2468 | 0.14582 | 0.0010919 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:35:15 PM | 56115 | [5 empty] | 56115 | 0.99793 | 0.99792 | 0.99793
15 | 187-9-215-MIA-rep3 | 0.022043 | 0.0047612 | 0.0027164 | 0.0039103 | 102.8059 | 0.0068553 | 0.00071072 | 0.0068325 | 11.994 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.022043 | 0.0047612 | 0.025201 | 0.0036194 | -0.25105 | 0.0057135 | SupCrit | 103.0194 | 0.0068325 | 1286.4376 | 0.0059144 | 284.4557 | 1286.4376 | 306.7502 | 0.48097 | 2.5092 | 0.15659 | 0.96193 | Flagged Warnings: | 1389.4571 | 0.003421 | 486.6928 | 1389.457 | 462.8184 | 0.40558 | 0 | 2.1102 | 0.28545 | 0.81117 | Flagged Warnings: |  |  |  | 1410.7766 | 47.4277 | 0.34997 | [9 empty] | 1.0909 | 1.0846 | 0.087448 | 0.0033817 | 1.2008 | 1.2769 | 0.16291 | 0.0016667 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:41:21 PM | 56481 | [5 empty] | 56481 | 0.99793 | 0.99792 | 0.99793
29 | 187-9-215-FIA | 0.42848 | 0.003542 | 0.0026505 | 0.0023495 | 103.7782 | 0.0059116 | 0.00071784 | 0.00588 | 6.026 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4073 | 0.0063197 | 0.42848 | 0.003542 | 0.40739 | 0.0037937 | SupCrit | 103.9937 | 0.00588 | 1284.0818 | 0.0052085 | 488.8834 | 1284.0818 | 1451.2063 | 1.1282 | 2.3106 | 0.59394 | 2.2564 | Flagged Warnings: | 1388.0756 | 0.0027288 | 1074.065 | 1388.0755 | 2341.5142 | 0.78425 | 0 | 3.255 | 0.72702 | 1.5685 | Flagged Warnings: | 1263.8902 | 206.8429 | 2.1865 | 1409.5773 | 276.5491 | 1.5147 | [9 empty] | 1.2358 | 1.2386 | 0.53202 | 0.0046153 | 1.0086 | 1.0609 | 0.013435 | 0.0014603 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:47:24 PM | 56844 | [5 empty] | 56844 | 0.99793 | 0.99792 | 0.99793
16 | 187-9-215-FIB | 0.41857 | 0.0066609 | 0.006233 | 0.0023491 | 103.756 | 0.013964 | 0.00071814 | 0.013975 | 6.028 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.39853 | 0.0079991 | 0.41857 | 0.0066609 | 0.39464 | 0.0082511 | SupCrit | 103.9716 | 0.013975 | 1284.1868 | 0.012819 | 204.7556 | 1284.1868 | 588.5159 | 1.0822 | 2.8638 | 0.61549 | 2.1645 | Flagged Warnings: | 1388.1584 | 0.0055653 | 448.6786 | 1388.1584 | 947.7162 | 0.76131 | 0 | 3.2534 | 0.72183 | 1.5226 | Flagged Warnings: | [15 empty] | 1.0742 | 1.0749 | 0.16059 | 0.010571 | 1.0244 | 1.1026 | 0.037137 | 0.0033936 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:52:49 PM | 57169 | [5 empty] | 57169 | 0.99793 | 0.99792 | 0.99793
17 | 187-9-215-FIC | 0.38029 | 0.0035276 | 0.0026322 | 0.0023484 | 103.6695 | 0.0059988 | 0.000718 | 0.0059681 | 6.029 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.36425 | 0.0059225 | 0.38029 | 0.0035276 | 0.34383 | 0.0039745 | SupCrit | 103.8849 | 0.0059681 | 1284.3358 | 0.0054252 | 528.9867 | 1284.3359 | 1463.3911 | 1.0591 | 3.2645 | 0.57494 | 2.1182 | Flagged Warnings: | 1388.2208 | 0.002487 | 1141.5699 | 1388.2208 | 2372.6022 | 0.76141 | 0 | 3.9467 | 0.68336 | 1.5228 | Flagged Warnings: | 1264.3538 | 175.0498 | 1.7879 | 1409.6591 | 282.2609 | 1.5819 | [9 empty] | 1.2595 | 1.2425 | 0.54959 | 0.0040043 | 1.0354 | 1.0679 | 0.053905 | 0.001334 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:57:14 PM | 57434 | [5 empty] | 57434 | 0.99793 | 0.99792 | 0.99793
18 | 187-9-215-FID | 0.44358 | 0.0055241 | 0.0049992 | 0.0023503 | 103.8117 | 0.011073 | 0.00072033 | 0.011072 | 6.025 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.4206 | 0.0074432 | 0.44358 | 0.0055241 | 0.42651 | 0.0064945 | SupCrit | 104.0274 | 0.011072 | 1284.071 | 0.010332 | 383.9632 | 1284.071 | 1136.4033 | 1.1227 | 4.8116 | 0.59697 | 2.2454 | Flagged Warnings: | 1388.0984 | 0.0039804 | 841.0214 | 1388.0984 | 1819.2969 | 0.78215 | 0 | 4.2425 | 0.71495 | 1.5643 | Flagged Warnings: |  |  |  | 1409.6754 | 221.7481 | 1.5731 | [9 empty] | 1.0766 | 1.1572 | 0.17191 | 0.0058479 | 1.0172 | 1.0452 | 0.026971 | 0.00186 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:07:40 PM | 58060 | [5 empty] | 58060 | 0.99793 | 0.99792 | 0.99793
19 | 187-9-216-MIA-rep1 | 0.018745 | 0.0093582 | 0.008497 | 0.0039214 | 102.7976 | 0.021444 | 0.00071678 | 0.021477 | 11.956 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.018745 | 0.0093582 | 0.021937 | 0.0087504 | -0.25755 | 0.016906 | SupCrit | 103.0111 | 0.021477 | 1286.4774 | 0.01893 | 166.0702 | 1286.4774 | 148.6462 | 0.42044 | 4.7058 | 6.6917e-09 | 0.84087 | Flagged Warnings: | 1389.4886 | 0.010144 | 257.1343 | 1389.4886 | 251.2358 | 0.42472 | 0 | 3.3453 | 0.23131 | 0.84945 | Flagged Warnings: | [15 empty] | 1.249 | 1.2716 | 0.2094 | 0.0050634 | 1.1475 | 1.2025 | 0.12533 | 0.0033035 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:27:00 PM | 59220 | 1095.5119 | 153.77 | 27.4346 | Spline | 0.38454 | 59220 | 0.99793 | 0.99792 | 0.99793
30 | 187-9-216-MIA-rep2 | 0.023035 | 0.0046181 | 0.0024621 | 0.003907 | 102.8084 | 0.0062137 | 0.00071791 | 0.0061849 | 11.957 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.023035 | 0.0046181 | 0.026183 | 0.0034365 | -0.24909 | 0.0052434 | SupCrit | 103.022 | 0.0061849 | 1286.4436 | 0.0048732 | 377.2892 | 1286.4437 | 438.6184 | 0.45348 | 3.0171 | 0.52632 | 0.90695 | Flagged Warnings: | 1389.4657 | 0.0038085 | 547.8295 | 1389.4657 | 533.2869 | 0.42081 | 0 | 2.3944 | 0.24727 | 0.84163 | Flagged Warnings: | 1266.0391 | 67.0399 | 0.76316 | 1410.725 | 64.4643 | 0.46438 | [9 empty] | 1.1959 | 1.2048 | 0.17771 | 0.0024039 | 1.1885 | 1.2444 | 0.15867 | 0.0015363 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:31:47 PM | 59507 | [5 empty] | 59507 | 0.99793 | 0.99792 | 0.99793
31 | 187-9-216-MIA-rep3 | 0.021127 | 0.004588 | 0.0023949 | 0.0039133 | 102.8036 | 0.006044 | 0.00071938 | 0.0060135 | 11.944 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.021127 | 0.004588 | 0.024294 | 0.0033897 | -0.25285 | 0.0051275 | SupCrit | 103.0171 | 0.0060135 | 1286.467 | 0.0047222 | 403.161 | 1286.4671 | 448.544 | 0.42576 | 2.7071 | 0.57504 | 0.85152 | Flagged Warnings: | 1389.4843 | 0.0037234 | 577.5109 | 1389.4842 | 558.4723 | 0.40627 | 0 | 2.4516 | 0.32765 | 0.81254 | Flagged Warnings: | 1266.125 | 61.9006 | 0.63579 | 1410.7821 | 62.463 | 0.44179 | [9 empty] | 1.2701 | 1.2971 | 0.22997 | 0.0021121 | 1.1471 | 1.2078 | 0.11949 | 0.001407 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:38:01 PM | 59881 | 1095.413 | 131.2228 | 19.1495 | Spline | 0.13031 | 59881 | 0.99793 | 0.99792 | 0.99793
32 | 187-9-217-MIA-rep1 | 0.11786 | 0.0044157 | 0.0022073 | 0.0038244 | 103.0477 | 0.0055706 | 0.00072454 | 0.0055348 | 11.961 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11786 | 0.0044157 | 0.12091 | 0.0032656 | -0.068409 | 0.0044893 | SupCrit | 103.2618 | 0.0055348 | 1285.8211 | 0.0051374 | 807.5053 | 1285.8211 | 1327.4824 | 0.58003 | 8.6015 | 0.77307 | 1.1601 | Flagged Warnings: | 1389.083 | 0.0020593 | 1375.1527 | 1389.0829 | 1803.8227 | 0.51434 | 0 | 4.0692 | 0.51281 | 1.0287 | Flagged Warnings: | 1265.5575 | 279.7196 | 1.7351 | 1410.4461 | 245.6654 | 0.65156 | [9 empty] | 1.0371 | 1.002 | 0.043079 | 0.0014366 | 1.0642 | 1.0613 | 0.06603 | 0.00074804 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:50:36 PM | 60636 | [5 empty] | 60636 | 0.99793 | 0.99792 | 0.99793
33 | 187-9-217-MIA-rep2 | 0.11723 | 0.0041995 | 0.001737 | 0.0038234 | 103.0461 | 0.0043838 | 0.00072587 | 0.0043323 | 11.96 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11723 | 0.0041995 | 0.12027 | 0.0029621 | -0.069578 | 0.0037256 | SupCrit | 103.2602 | 0.0043323 | 1285.8196 | 0.0040565 | 1010.5291 | 1285.8196 | 1647.8101 | 0.57851 | 8.1424 | 0.76011 | 1.157 | Flagged Warnings: | 1389.0799 | 0.0015209 | 1804.8575 | 1389.0798 | 2318.7233 | 0.49338 | 0 | 3.6897 | 0.56608 | 0.98676 | Flagged Warnings: | 1265.5974 | 323.3674 | 1.6702 | 1410.4209 | 309.5883 | 0.70325 | [9 empty] | 1.0159 | 1.0201 | 0.018366 | 0.001145 | 1.0596 | 1.0691 | 0.05886 | 0.00054673 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:55:02 PM | 60902 | [5 empty] | 60902 | 0.99793 | 0.99792 | 0.99793
34 | 187-9-217-MIA-rep3 | 0.11723 | 0.004106 | 0.0014967 | 0.0038234 | 103.0461 | 0.0037774 | 0.00072723 | 0.0037144 | 11.929 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11723 | 0.004106 | 0.12027 | 0.0028253 | -0.069583 | 0.0033532 | SupCrit | 103.2602 | 0.0037144 | 1285.8201 | 0.0034171 | 1095.5014 | 1285.8201 | 1756.8381 | 0.57181 | 7.5637 | 0.74799 | 1.1436 | Flagged Warnings: | 1389.0804 | 0.0014562 | 1917.3547 | 1389.0803 | 2470.858 | 0.49816 | 0 | 3.7066 | 0.54943 | 0.99631 | Flagged Warnings: | 1265.6276 | 302.6162 | 1.2085 | 1410.3836 | 327.79 | 0.70706 | [9 empty] | 1.0323 | 1 | 0.036891 | 0.0010439 | 1.0627 | 1.0709 | 0.062486 | 0.00051963 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:59:18 PM | 61158 | [5 empty] | 61158 | 0.99793 | 0.99792 | 0.99793
35 | 187-9-218-MIA-rep1 | 0.05226 | 0.0040664 | 0.0013575 | 0.0038331 | 102.8821 | 0.0034261 | 0.00073086 | 0.0033542 | 11.946 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.05226 | 0.0040664 | 0.055189 | 0.0027629 | -0.1921 | 0.0032757 | SupCrit | 103.0959 | 0.0033542 | 1286.255 | 0.0029364 | 584.5993 | 1286.255 | 755.0786 | 0.52789 | 2.0897 | 0.40304 | 1.0558 | Flagged Warnings: | 1389.351 | 0.0016211 | 991.4289 | 1389.3509 | 1069.4177 | 0.44016 | 0 | 2.1763 | 0.40722 | 0.88033 | Flagged Warnings: | 1265.9444 | 66.8475 | 0.569 | 1410.6707 | 104.4823 | 0.52229 | [9 empty] | 1.1683 | 1.1535 | 0.17771 | 0.001806 | 1.173 | 1.1776 | 0.15231 | 0.00088794 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:13:06 PM | 61986 | [5 empty] | 61986 | 0.99793 | 0.99792 | 0.99793
36 | 187-9-218-MIA-rep2 | 0.058646 | 0.0040897 | 0.0014539 | 0.0038226 | 102.8983 | 0.0036692 | 0.0007333 | 0.0036027 | 11.957 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.058646 | 0.0040897 | 0.061548 | 0.0028098 | -0.1798 | 0.0034127 | SupCrit | 103.1121 | 0.0036027 | 1286.2414 | 0.0031708 | 529.8912 | 1286.2414 | 669.6289 | 0.51532 | 2.195 | 0.40925 | 1.0306 | Flagged Warnings: | 1389.3535 | 0.0017105 | 898.8903 | 1389.3535 | 969.4921 | 0.43439 | 0 | 2.1775 | 0.44235 | 0.86878 | Flagged Warnings: | 1265.9451 | 75.7112 | 0.54362 | 1410.6719 | 102.2368 | 0.51662 | [9 empty] | 1.1775 | 1.1709 | 0.18291 | 0.001945 | 1.1812 | 1.1901 | 0.15741 | 0.0009665 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:19:13 PM | 62353 | [5 empty] | 62353 | 0.99793 | 0.99792 | 0.99793
37 | 187-9-218-MIA-rep3 | 0.054132 | 0.0039714 | 0.001051 | 0.0038298 | 102.8869 | 0.0026525 | 0.00073669 | 0.0025535 | 11.959 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.054132 | 0.0039714 | 0.057053 | 0.0026268 | -0.18849 | 0.0028218 | SupCrit | 103.1006 | 0.0025535 | 1286.2403 | 0.002247 | 763.4621 | 1286.2404 | 968.7889 | 0.5073 | 2.1599 | 0.46206 | 1.0146 | Flagged Warnings: | 1389.3411 | 0.0012129 | 1240.017 | 1389.341 | 1320.7631 | 0.43728 | 0 | 2.333 | 0.39093 | 0.87455 | Flagged Warnings: | 1265.8973 | 108.303 | 0.61803 | 1410.6413 | 155.7411 | 0.47274 | [9 empty] | 1.184 | 1.1979 | 0.18672 | 0.001329 | 1.1361 | 1.1402 | 0.11899 | 0.00070527 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:27:49 PM | 62869 | [5 empty] | 62869 | 0.99793 | 0.99792 | 0.99793
20 | 187-9-219-MIA-rep1 | 0.040738 | 0.026478 | 0.026196 | 0.0038572 | 102.8531 | 0.066111 | 0.00074382 | 0.066244 | 11.948 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.040738 | 0.026478 | 0.043737 | 0.026127 | -0.21443 | 0.051009 | SupCrit | 103.0668 | 0.066244 | 1286.5299 | 0.056642 | 22.6145 | 1286.5299 | 20.69 | 0.42975 | 1.7769 | 4.2877e-09 | 0.85949 | Flagged Warnings: | 1389.5967 | 0.034351 | 41.6015 | 1389.5967 | 39.5462 | 0.3803 | 0 | 1.6846 | 0.46007 | 0.76059 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0383 | 1.0111 | 0.032942 | 0.038006 | 1.026 | 1.0331 | 0.019756 | 0.018283 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:44:25 PM | 63865 | 1095.4625 | 194.8255 | 22.9894 | Spline | 3.2344 | 63865 | 0.99793 | 0.99792 | 0.99793
21 | 187-9-219-MIA-rep2 | 0 | 0 | 0 | 0 | 102.762 | 0.063483 | 0.0007452 | 0.063611 | 11.951 | 1324.964 | 0 | 0 | Y | not in range |  |  | 0.0046429 | 0.025467 | 0.007997 | 0.024964 | -0.28555 | 0.050222 | SupCrit | 102.9755 | 0.063611 | 1286.5614 | 0.058202 | 29.839 | 1286.5614 | 35.0631 | 0.43351 | 1.7768 | 0.66572 | 0.86703 | Flagged Warnings: | 1389.5369 | 0.025669 | 54.2739 | 1389.5369 | 45.7106 | 0.39561 | 0 | 1.7902 | 5.9835e-13 | 0.79121 | Flagged Warnings: | [15 empty] | 1.1829 | 1.2411 | 0.15856 | 0.029057 | 1.0647 | 1.0936 | 0.051156 | 0.014578 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:48:42 PM | 64122 | [5 empty] | 64122 | 0.99793 | 0.99792 | 0.99793
22 | 187-9-219-MIA-rep3 | 0 | 0 | 0 | 0 | 102.7255 | 0.058326 | 0.00074735 | 0.058442 | 11.95 | 1324.964 | 0 | 0 | Y | not in range |  |  | -0.0097938 | 0.023461 | -0.0062473 | 0.022915 | -0.31449 | 0.046602 | SupCrit | 102.939 | 0.058442 | 1286.6156 | 0.052582 | 30.1476 | 1286.6156 | 33.7592 | 0.43711 | 1.8199 | 0.52424 | 0.87421 | Flagged Warnings: | 1389.5546 | 0.025506 | 54.0129 | 1389.5546 | 45.1174 | 0.38497 | 0 | 1.7707 | 0.058441 | 0.76994 | Flagged Warnings: | [15 empty] | 1.098 | 1.0819 | 0.085707 | 0.028998 | 1.0357 | 1.0515 | 0.027498 | 0.014255 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:53:37 PM | 64417 | 1095.4625 | 295.7437 | 28.9625 | Spline | 3.7494 | 64417 | 0.99793 | 0.99792 | 0.99793
23 | 187-9-220-FIA | 0.5999 | 0.0092922 | 0.0089847 | 0.0023706 | 104.1454 | 0.018454 | 0.00076324 | 0.018476 | 6.023 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.5528 | 0.010501 | 0.5999 | 0.0092922 | 0.60351 | 0.0092776 | SupCrit | 104.3618 | 0.018476 | 1283.3389 | 0.016784 | 90.2427 | 1283.3389 | 269.1251 | 1.1095 | 1.4687 | 0.64513 | 2.219 | Flagged Warnings: | 1387.7006 | 0.0077238 | 193.8148 | 1387.7006 | 445.7845 | 0.81594 | 0 | 1.7609 | 0.75934 | 1.6319 | Flagged Warnings: | [15 empty] | 1.1653 | 1.0816 | 0.36681 | 0.02459 | 1.0594 | 1.0478 | 0.097012 | 0.0084198 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:04:18 PM | 65058 | [5 empty] | 65058 | 0.99793 | 0.99792 | 0.99793
38 | 187-9-220-FIB | 0.56997 | 0.0043956 | 0.0037051 | 0.0023651 | 104.0834 | 0.0077236 | 0.00076507 | 0.0077016 | 6.024 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52826 | 0.0078628 | 0.56997 | 0.0043956 | 0.57245 | 0.0042557 | SupCrit | 104.2997 | 0.0077016 | 1283.4416 | 0.0073755 | 391.4659 | 1283.4416 | 1162.849 | 1.0988 | 2.6669 | 0.65933 | 2.1975 | Flagged Warnings: | 1387.7414 | 0.0022174 | 844.2052 | 1387.7413 | 1912.1407 | 0.80158 | 0 | 2.1816 | 0.76569 | 1.6032 | Flagged Warnings: |  |  |  | 1409.192 | 211.6816 | 1.7494 | [9 empty] | 1.0374 | 1.0451 | 0.082278 | 0.0056136 | 1.0954 | 1.0836 | 0.15301 | 0.001899 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:08:30 PM | 65310 | [5 empty] | 65310 | 0.99793 | 0.99792 | 0.99793
24 | 187-9-220-FIC | 0.56043 | 0.0065811 | 0.006142 | 0.0023636 | 104.0635 | 0.012864 | 0.00076838 | 0.012867 | 6.023 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.52036 | 0.0087799 | 0.56043 | 0.0065811 | 0.56228 | 0.0067941 | SupCrit | 104.2797 | 0.012867 | 1283.4934 | 0.011525 | 181.6645 | 1283.4934 | 565.7105 | 1.1086 | 2.6197 | 0.75104 | 2.2172 | Flagged Warnings: | 1387.7732 | 0.005723 | 399.4908 | 1387.7732 | 906.6961 | 0.77412 | 0 | 2.8726 | 0.84964 | 1.5482 | Flagged Warnings: | [15 empty] | 1.0859 | 1.0815 | 0.19054 | 0.012205 | 1.1759 | 1.1343 | 0.27237 | 0.0038755 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:14:41 PM | 65681 | [5 empty] | 65681 | 0.99793 | 0.99792 | 0.99793
39 | 187-9-220-MIA | 0.091316 | 0.0039838 | 0.001192 | 0.0038013 | 102.9807 | 0.0030082 | 0.00076294 | 0.0029159 | 11.953 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.091316 | 0.0039838 | 0.094202 | 0.0026777 | -0.11776 | 0.0029557 | SupCrit | 103.1947 | 0.0029159 | 1286.021 | 0.0025354 | 760.3924 | 1286.021 | 1086.9233 | 0.54423 | 2.2226 | 0.58797 | 1.0885 | Flagged Warnings: | 1389.2158 | 0.0014402 | 1308.8612 | 1389.2157 | 1575.8462 | 0.48507 | 0 | 2.8871 | 0.44153 | 0.97015 | Flagged Warnings: | 1265.7006 | 125.8973 | 0.77339 | 1410.564 | 196.8498 | 0.55415 | [9 empty] | 1.1863 | 1.1918 | 0.20275 | 0.0014314 | 1.2 | 1.1905 | 0.19403 | 0.00074121 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 6:19:11 PM | 65951 | [5 empty] | 65951 | 0.99793 | 0.99792 | 0.99793
40 | 187-9-220-FIE | 0.61572 | 0.0041466 | 0.0034 | 0.0023737 | 104.1778 | 0.0069286 | 0.00077508 | 0.0068994 | 6.018 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.56563 | 0.0081679 | 0.61572 | 0.0041466 | 0.61942 | 0.0037543 | SupCrit | 104.3942 | 0.0068994 | 1283.2494 | 0.0065495 | 628.4491 | 1283.2494 | 1848.6414 | 1.049 | 4.1424 | 0.74698 | 2.0981 | Flagged Warnings: | 1387.6437 | 0.0021694 | 1327.4267 | 1387.6436 | 3075.2428 | 0.8162 | 0 | 3.3496 | 0.7763 | 1.6324 | Flagged Warnings: |  |  |  | 1409.028 | 356.8095 | 2.0094 | [9 empty] | 1.1014 | 1.0919 | 0.21264 | 0.0033385 | 1.0438 | 1.0577 | 0.071566 | 0.0012297 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:24:43 PM | 66283 | [5 empty] | 66283 | 0.99793 | 0.99792 | 0.99793
41 | 187-9-220-FID | 0.59489 | 0.0043889 | 0.0036943 | 0.0023696 | 104.1351 | 0.0076067 | 0.00077973 | 0.0075824 | 6.023 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.54872 | 0.0080717 | 0.59489 | 0.0043889 | 0.5984 | 0.0041208 | SupCrit | 104.3515 | 0.0075824 | 1283.3306 | 0.0072657 | 634.9614 | 1283.3306 | 1910.9749 | 1.0788 | 4.727 | 0.73479 | 2.1577 | Flagged Warnings: | 1387.6822 | 0.0021683 | 1366.9473 | 1387.6821 | 3133.5678 | 0.79992 | 0 | 3.7992 | 0.79866 | 1.5998 | Flagged Warnings: |  |  |  | 1409.0431 | 400.0615 | 2.161 | [9 empty] | 1.0431 | 1.0233 | 0.092914 | 0.0033981 | 1.0316 | 1.0521 | 0.050521 | 0.0011704 | PseudoVoigtModel | PseudoVoigtModel | No | August 23, 2024 | August | 23 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 6:32:52 PM | 66772 | [5 empty] | 66772 | 0.99793 | 0.99792 | 0.99793
43 | FG04-A1-4-end | 0.70292 | 0.0070719 | 0.0066544 | 0.0023939 | 104.3516 | 0.01298 | 0.00078567 | 0.012983 | 6.026 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.63452 | 0.0099726 | 0.70292 | 0.0070719 | 0.70102 | 0.0060691 | SupCrit | 104.5685 | 0.012983 | 1282.8593 | 0.012427 | 482.5238 | 1282.8593 | 1435.7533 | 1.0017 | 7.8371 | 0.87878 | 2.0035 | Flagged Warnings: | 1387.4276 | 0.0037583 | 957.9351 | 1387.4277 | 2188.9621 | 0.83246 | 0 | 4.1713 | 0.71615 | 1.6649 | Flagged Warnings: |  |  |  | 1408.7822 | 278.7948 | 2.1914 |  |  |  | 1380.4387 | 287.787 | 13.3412 |  |  |  | 1 | 1.0501 | 0 | 0.0041521 | 1.0182 | 1.0276 | 0.030333 | 0.001738 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 23, 2024 | August | 23 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:39:42 PM | 67182 | [5 empty] | 67182 | 0.99793 | 0.99792 | 0.99793