## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
13 | FG04-A1-4-start | 0.69495 | 0.0028659 | 0.0015787 | 0.0023919 | 104.336 | 0.0030918 | 0.00074053 | 0.0030079 | 6.045 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62835 | 0.008555 | 0.69495 | 0.0028659 | 0.69398 | 0.0021385 | SupCrit | 104.5499 | 0.0030079 | 1282.8345 | 0.0026827 | 1011.5005 | 1282.8346 | 2894.8612 | 1.0128 | 3.2022 | 0.76737 | 2.0256 | Flagged Warnings: | 1387.3844 | 0.0013604 | 2044.2803 | 1387.3845 | 4799.4977 | 0.8383 | 0 | 3.0021 | 0.75647 | 1.6766 | Flagged Warnings: | 1262.87 | 427.5655 | 2.9822 | 1408.728 | 550.5308 | 2.0704 | 1369.6769 | 60.3314 | 0.41862 | 1385.1402 | 405.9121 | 16.126 |  |  |  | 1.0067 | 1.0106 | 0.013526 | 0.0020025 | 1.083 | 1.0757 | 0.13914 | 0.00082014 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 25, 2024 | August | 25 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 2:36:54 PM | 52614 | [5 empty] | 52614 | 0.99795 | 0.99795 | 0.99796
0 | 187-9-221-MIA-rep1 | 0.024468 | 0.0048474 | 0.0028754 | 0.0039024 | 102.812 | 0.0072567 | 0.00071753 | 0.007236 | 11.937 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.024468 | 0.0048474 | 0.027603 | 0.003738 | -0.24627 | 0.0059987 | SupCrit | 103.0229 | 0.007236 | 1286.3863 | 0.0059807 | 234.2503 | 1286.3863 | 265.7156 | 0.51096 | 2.0655 | 0.12725 | 1.0219 | Flagged Warnings: | 1389.4092 | 0.0040731 | 389.3859 | 1389.4092 | 404.816 | 0.44155 | 0 | 1.8286 | 0.29734 | 0.8831 | Flagged Warnings: | 1265.9738 | 31.7619 | 0.52422 | 1410.6699 | 58.5802 | 0.49913 | [9 empty] | 1.0491 | 1.0435 | 0.050156 | 0.0043625 | 1.2471 | 1.2692 | 0.21826 | 0.0022679 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 2:50:49 PM | 53449 | [5 empty] | 53449 | 0.99795 | 0.99795 | 0.99796
1 | 187-9-221-MIA-rep2 | 0.029946 | 0.0094299 | 0.008592 | 0.0038858 | 102.8258 | 0.021684 | 0.00071384 | 0.021717 | 11.863 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.029946 | 0.0094299 | 0.03303 | 0.0088536 | -0.23551 | 0.016961 | SupCrit | 103.0367 | 0.021717 | 1286.379 | 0.018068 | 210.9435 | 1286.379 | 244.9602 | 0.51477 | 2.3164 | 0.17457 | 1.0295 | Flagged Warnings: | 1389.4158 | 0.012048 | 343.8794 | 1389.4158 | 349.8124 | 0.42272 | 0 | 1.921 | 0.35786 | 0.84543 | Flagged Warnings: |  |  |  | 1410.6319 | 43.6842 | 0.38048 | [9 empty] | 1.1786 | 1.1923 | 0.18385 | 0.0048807 | 1.251 | 1.2936 | 0.21219 | 0.0024585 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:56:01 PM | 53761 | [5 empty] | 53761 | 0.99795 | 0.99795 | 0.99796
2 | 187-9-221-MIA-rep3 | 0.018671 | 0.0055665 | 0.0039506 | 0.0039216 | 102.7974 | 0.0099702 | 0.00070991 | 0.0099653 | 11.824 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.018671 | 0.0055665 | 0.021864 | 0.0045997 | -0.2577 | 0.0080569 | SupCrit | 103.0083 | 0.0099653 | 1286.4042 | 0.0081983 | 189.2853 | 1286.4042 | 214.7187 | 0.49691 | 2.4449 | 0.20912 | 0.99383 | Flagged Warnings: | 1389.4126 | 0.0056654 | 294.7919 | 1389.4125 | 311.5071 | 0.44124 | 0 | 1.8469 | 0.34452 | 0.88248 | Flagged Warnings: |  |  |  | 1410.7197 | 34.2075 | 0.42866 | [9 empty] | 1.0061 | 1.0096 | 0.0060232 | 0.0052504 | 1.2424 | 1.2618 | 0.21393 | 0.0029936 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:01:49 PM | 54109 | [5 empty] | 54109 | 0.99795 | 0.99795 | 0.99796
3 | 187-9-221-FIA | 0.25769 | 0.0083893 | 0.0080515 | 0.0023568 | 103.3829 | 0.019283 | 0.00071105 | 0.01931 | 6.045 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.25067 | 0.0088337 | 0.25769 | 0.0083893 | 0.16406 | 0.012812 | SupCrit | 103.595 | 0.01931 | 1285.0237 | 0.016387 | 102.2925 | 1285.0237 | 226.3759 | 0.80066 | 1.8946 | 0.71279 | 1.6013 | Flagged Warnings: | 1388.6187 | 0.010215 | 199.4772 | 1388.6187 | 356.1059 | 0.65323 | 0 | 1.9294 | 0.6856 | 1.3065 | Flagged Warnings: | [15 empty] | 1.0458 | 1.1158 | 0.073263 | 0.015654 | 1.1008 | 1.0471 | 0.13168 | 0.0065494 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:07:00 PM | 54420 | 1097.0443 | 104.3716 | 12.6343 | Spline | 0.17918 | 54420 | 0.99795 | 0.99795 | 0.99796
4 | 187-9-221-FIB | 0.11572 | 0.041631 | 0.041455 | 0.0038212 | 103.0423 | 0.10462 | 0.00070592 | 0.10483 | 6.095 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11572 | 0.041631 | 0.11875 | 0.041908 | -0.072365 | 0.076456 | SupCrit | 103.2538 | 0.10483 | 1285.625 | 0.084267 | 18.3782 | 1285.625 | 35.2838 | 0.61112 | 1.5582 | 1 | 1.2222 | Flagged Warnings: | 1388.8788 | 0.062363 | 34.5088 | 1388.8788 | 52.3721 | 0.48308 | 0 | 1.6976 | 0.99999 | 0.96616 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0726 | 1.0804 | 0.088766 | 0.066505 | 1.1763 | 1.1303 | 0.17031 | 0.027998 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:12:59 PM | 54779 | [5 empty] | 54779 | 0.99795 | 0.99794 | 0.99796
12 | 187-9-222-FIA | 0.21121 | 0.002658 | 0.001214 | 0.0023646 | 103.2706 | 0.0029554 | 0.00070219 | 0.0028767 | 5.957 | 1324.767 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20618 | 0.0043092 | 0.21121 | 0.002658 | 0.088861 | 0.0027271 | SupCrit | 103.4828 | 0.0028767 | 1285.3102 | 0.0025586 | 1096.9384 | 1285.3103 | 2256.77 | 0.75856 | 3.2666 | 0.66769 | 1.5171 | Flagged Warnings: | 1388.7931 | 0.0013149 | 2129.7176 | 1388.793 | 3415.0797 | 0.59565 | 0 | 4.0712 | 0.64926 | 1.1913 | Flagged Warnings: | 1265.0781 | 260.7207 | 1.2347 | 1410.156 | 387.6411 | 0.94919 | 1370.9121 | 45.1948 | 0.29769 | [6 empty] | 1.1121 | 1.1254 | 0.17014 | 0.001383 | 1.1059 | 1.1069 | 0.12614 | 0.00055937 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:36:28 PM | 56188 | [5 empty] | 56188 | 0.99795 | 0.99794 | 0.99796
5 | 187-9-224-MIA-rep1 | 0.011886 | 0.0071302 | 0.0059387 | 0.003946 | 102.7803 | 0.014988 | 0.00070764 | 0.015002 | 11.88 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.011886 | 0.0071302 | 0.015154 | 0.0063525 | -0.27114 | 0.011958 | SupCrit | 102.9917 | 0.015002 | 1286.5879 | 0.012515 | 130.3104 | 1286.5879 | 131.1566 | 0.44322 | 2.0873 | 0.19389 | 0.88644 | Flagged Warnings: | 1389.5796 | 0.008272 | 196.7186 | 1389.5796 | 183.6163 | 0.41256 | 0 | 2.0846 | 0.18306 | 0.82513 | Flagged Warnings: | [15 empty] | 1.1468 | 1.2202 | 0.13015 | 0.0068025 | 1.0041 | 1.0155 | 0.0033542 | 0.0041944 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:10:53 PM | 58253 | [5 empty] | 58253 | 0.99795 | 0.99794 | 0.99795
6 | 187-9-224-MIA-rep2 | 0.016702 | 0.0083969 | 0.0074212 | 0.0039285 | 102.7924 | 0.018729 | 0.00071013 | 0.018754 | 11.885 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.016702 | 0.0083969 | 0.019916 | 0.0077313 | -0.26159 | 0.014818 | SupCrit | 103.0039 | 0.018754 | 1286.5538 | 0.01556 | 91.0257 | 1286.5538 | 97.5037 | 0.48095 | 1.7484 | 0.13689 | 0.96189 | Flagged Warnings: | 1389.5577 | 0.01047 | 153.4803 | 1389.5577 | 142.4429 | 0.38005 | 0 | 2.0245 | 0.3977 | 0.76011 | Flagged Warnings: | [15 empty] | 1.2037 | 1.26 | 0.19594 | 0.010567 | 1.0261 | 1.0368 | 0.019829 | 0.0049525 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:15:06 PM | 58506 | [5 empty] | 58506 | 0.99795 | 0.99794 | 0.99795
7 | 187-9-224-MIA-rep3 | 0 | 0 | 0 | 0 | 102.7439 | 0.017231 | 0.00071264 | 0.017252 | 11.886 | 1324.964 | 0 | 0 | Y | not in range |  |  | -0.0025013 | 0.0079155 | 0.00094489 | 0.0071626 | -0.29984 | 0.013835 | SupCrit | 102.9554 | 0.017252 | 1286.6038 | 0.01494 | 96.7646 | 1286.6038 | 100.4271 | 0.4875 | 2.0464 | 1.5665e-09 | 0.97499 | Flagged Warnings: | 1389.5592 | 0.0086257 | 164.9753 | 1389.5592 | 145.9007 | 0.40494 | 0 | 2.0824 | 0.078186 | 0.80988 | Flagged Warnings: | [15 empty] | 1.1032 | 1.1057 | 0.10062 | 0.010076 | 1.0294 | 1.0321 | 0.02382 | 0.0049091 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:19:34 PM | 58774 | [5 empty] | 58774 | 0.99795 | 0.99794 | 0.99795
8 | 187-9-219-MIA-rep1 | 0.015148 | 0.014679 | 0.014142 | 0.003934 | 102.7885 | 0.03569 | 0.00073116 | 0.035756 | 11.956 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.015148 | 0.014679 | 0.018379 | 0.014196 | -0.26467 | 0.028081 | SupCrit | 103.0002 | 0.035756 | 1286.5652 | 0.027338 | 50.852 | 1286.5652 | 53.288 | 0.45841 | 1.7485 | 0.21308 | 0.91682 | Flagged Warnings: | 1389.5654 | 0.023047 | 80.9995 | 1389.5654 | 71.3352 | 0.39916 | 0 | 1.9101 | 0.10887 | 0.79832 | Flagged Warnings: | [15 empty] | 1.1617 | 1.1763 | 0.14821 | 0.018029 | 1.0211 | 1.029 | 0.016842 | 0.0098558 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:41:14 PM | 60074 | 1097.0937 | 259.0503 | 19.1257 | Spline | 2.0787 | 60074 | 0.99794 | 0.99794 | 0.99795
9 | 187-9-219-MIA-rep2 | 0 | 0 | 0 | 0 | 102.7218 | 0.038748 | 0.00073844 | 0.038821 | 11.965 | 1324.964 | 0 | 0 | Y | not in range |  |  | -0.011287 | 0.015878 | -0.0077188 | 0.015329 | -0.3175 | 0.031028 | SupCrit | 102.9334 | 0.038821 | 1286.6005 | 0.02946 | 46.3868 | 1286.6005 | 53.6299 | 0.5417 | 1.9649 | 0.0077697 | 1.0834 | Flagged Warnings: | 1389.5339 | 0.025282 | 74.4528 | 1389.5339 | 68.2869 | 0.40297 | 0 | 1.8206 | 0.20055 | 0.80594 | Flagged Warnings: | [15 empty] | 1.1118 | 1.0651 | 0.12117 | 0.023356 | 1.0678 | 1.0912 | 0.05464 | 0.010825 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:48:35 PM | 60515 | 1089.1353 | 306.6473 | 20.0427 | Spline | 2.5152 | 60515 | 0.99794 | 0.99794 | 0.99795
10 | 187-9-219-MIA-rep3 | -0.017809 | 0 | 0 | 0 | 102.7053 | 0.053451 | 0.00074311 | 0.053556 | 11.973 | 1324.964 | 0 | 0 | N | Below lower calibration limit |  |  | -0.017809 | 0.021568 | -0.014146 | 0.021005 | -0.33068 | 0.042946 | SupCrit | 102.917 | 0.053556 | 1286.6247 | 0.043602 | 28.6652 | 1286.6247 | 27.9602 | 0.4433 | 1.7854 | 0.10064 | 0.88661 | Flagged Warnings: | 1389.5417 | 0.031099 | 51.9916 | 1389.5417 | 42.5309 | 0.34339 | 0 | 1.605 | 0.32983 | 0.68679 | Flagged Warnings: | [15 empty] | 1.0797 | 1.0838 | 0.070646 | 0.03093 | 1.0421 | 1.0471 | 0.028884 | 0.01321 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:52:48 PM | 60768 | 1093.5347 | 517.001 | 34.8371 | Spline | 7.3343 | 60768 | 0.99794 | 0.99794 | 0.99795
11 | 187-9-223-FIA | 0.28677 | 0.0083269 | 0.0079875 | 0.0023533 | 103.4521 | 0.018921 | 0.00077548 | 0.018945 | 6.007 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.27811 | 0.0088182 | 0.28677 | 0.0083269 | 0.2091 | 0.012297 | SupCrit | 103.6655 | 0.018945 | 1284.8513 | 0.016731 | 136.6784 | 1284.8513 | 353.7281 | 0.87603 | 2.7249 | 0.86671 | 1.7521 | Flagged Warnings: | 1388.5169 | 0.0088867 | 277.3323 | 1388.5169 | 498.4252 | 0.66608 | 0 | 2.621 | 0.65451 | 1.3322 | Flagged Warnings: | [15 empty] | 1.0692 | 1.0168 | 0.12119 | 0.012819 | 1.0025 | 1.0128 | 0.0033304 | 0.0048035 | PseudoVoigtModel | PseudoVoigtModel | No | August 25, 2024 | August | 25 | 60 | 4 | 100 | ['0h', '4m', '2s'] | 5:13:21 PM | 62001 | [5 empty] | 62001 | 0.99794 | 0.99793 | 0.99795
14 | FG04-A1-4-end | 0.69606 | 0.0031205 | 0.0020037 | 0.0023922 | 104.3382 | 0.0039219 | 0.00081326 | 0.0038446 | 6.014 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62922 | 0.0086188 | 0.69606 | 0.0031205 | 0.69497 | 0.0024014 | SupCrit | 104.5536 | 0.0038446 | 1282.8921 | 0.0034774 | 857.0172 | 1282.8922 | 2419.9327 | 0.98474 | 3.5343 | 0.80107 | 1.9695 | Flagged Warnings: | 1387.4457 | 0.0016397 | 1705.7005 | 1387.4458 | 3886.896 | 0.81549 | 0 | 3.2544 | 0.75327 | 1.631 | Flagged Warnings: | 1263.0252 | 333.8249 | 2.9506 | 1408.9098 | 390.7184 | 1.8687 | 1369.7587 | 46.9459 | 0.4077 | 1385.5352 | 420.2248 | 16.7309 |  |  |  | 1.0258 | 1.0012 | 0.05076 | 0.0022981 | 1.0144 | 1.0235 | 0.02354 | 0.00095619 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 25, 2024 | August | 25 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 5:33:05 PM | 63185 | [5 empty] | 63185 | 0.99794 | 0.99793 | 0.99795