## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | time | preferred_values | lower_values | upper_values
22 | FG04-A1-4-start | 0.69143 | 0.0046848 | 0.0040287 | 0.002391 | 104.3291 | 0.007904 | 0.0012249 | 0.0078246 | 6 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62562 | 0.0089954 | 0.69143 | 0.0046848 | 0.69084 | 0.0039461 | SupCrit | 104.5431 | 0.0078246 | 1282.9913 | 0.0074655 | 619.444 | 1282.9913 | 1818.3888 | 1.0076 | 5.4967 | 0.83528 | 2.0152 | Flagged Warnings: | 1387.5344 | 0.0023432 | 1237.0881 | 1387.5344 | 2885.8624 | 0.84316 | 0 | 3.0283 | 0.73339 | 1.6863 | Flagged Warnings: |  |  |  | 1409.0583 | 337.1608 | 2.1156 |  |  |  | 1384.6525 | 444.3201 | 19.5508 |  |  |  | 1.06 | 1.0636 | 0.12098 | 0.0032533 | 1.012 | 1.0458 | 0.020195 | 0.0013631 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 29, 2024 | August | 29 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 12:01:25 PM | 43285 | 43285 | 0.99795 | 0.99794 | 0.99797
0 | 186-11-201-MIA-rep1 | 0.14723 | 0.0059017 | 0.0044371 | 0.0038913 | 103.1218 | 0.011198 | 0.0011563 | 0.011161 | 12.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14723 | 0.0059017 | 0.15068 | 0.0051033 | -0.014929 | 0.0082098 | SupCrit | 103.3345 | 0.011161 | 1285.6971 | 0.010047 | 235.4461 | 1285.6971 | 405.9077 | 0.65841 | 3.0602 | 0.57994 | 1.3168 | Flagged Warnings: | 1389.0316 | 0.0048604 | 410.2391 | 1389.0316 | 603.3431 | 0.56557 | 0 | 2.5033 | 0.56259 | 1.1311 | Flagged Warnings: |  |  |  | 1410.3581 | 77.5883 | 0.70091 | [9 empty] | 1.1216 | 1.0588 | 0.16015 | 0.0055929 | 1.0272 | 1.0438 | 0.030756 | 0.0027573 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:17:27 PM | 47847 | 47847 | 0.99794 | 0.99793 | 0.99795
1 | 186-11-201-MIA-rep2 | 0.13559 | 0.0066785 | 0.0054502 | 0.0038597 | 103.0924 | 0.013755 | 0.0011537 | 0.013735 | 12.019 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13559 | 0.0066785 | 0.13885 | 0.0060193 | -0.03599 | 0.010081 | SupCrit | 103.3051 | 0.013735 | 1285.7383 | 0.012039 | 175.1578 | 1285.7383 | 323.275 | 0.68228 | 2.6247 | 0.66076 | 1.3646 | Flagged Warnings: | 1389.0434 | 0.0066102 | 317.6119 | 1389.0434 | 468.9138 | 0.5501 | 0 | 2.2874 | 0.64165 | 1.1002 | Flagged Warnings: |  |  |  | 1410.442 | 69.9866 | 0.76362 | [9 empty] | 1.0246 | 1.0861 | 0.033527 | 0.0077905 | 1.0031 | 1.0022 | 0.0033957 | 0.003464 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:22:40 PM | 48160 | 48160 | 0.99794 | 0.99793 | 0.99795
2 | 186-11-201-MIA-rep3 | 0.15398 | 0.0069327 | 0.005723 | 0.0039127 | 103.1389 | 0.014443 | 0.0011482 | 0.014427 | 12.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15398 | 0.0069327 | 0.15755 | 0.0063005 | -0.0028139 | 0.010425 | SupCrit | 103.3519 | 0.014427 | 1285.6468 | 0.012947 | 167.8473 | 1285.6468 | 296.2112 | 0.67448 | 2.6718 | 0.57807 | 1.349 | Flagged Warnings: | 1388.9987 | 0.0063653 | 307.3925 | 1388.9987 | 442.3519 | 0.55678 | 0 | 1.9395 | 0.54714 | 1.1136 | Flagged Warnings: |  |  |  | 1410.3877 | 63.0377 | 0.70379 | [9 empty] | 1.0718 | 1.0445 | 0.096849 | 0.0080368 | 1.0815 | 1.0719 | 0.09076 | 0.0036226 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:39:45 PM | 49185 | 49185 | 0.99794 | 0.99793 | 0.99795
3 | 186-11-201-MIA-rep4 | 0.13851 | 0.0075225 | 0.0064525 | 0.003867 | 103.0998 | 0.016284 | 0.0011466 | 0.016277 | 12.006 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.13851 | 0.0075225 | 0.14181 | 0.0069691 | -0.030699 | 0.011849 | SupCrit | 103.3128 | 0.016277 | 1285.7153 | 0.013341 | 131.8205 | 1285.7153 | 230.5037 | 0.65099 | 2.1398 | 0.64348 | 1.302 | Flagged Warnings: | 1389.0281 | 0.0093252 | 230.1297 | 1389.0281 | 341.9741 | 0.58236 | 0 | 2.3909 | 0.51399 | 1.1647 | Flagged Warnings: | [15 empty] | 1.1355 | 1.0744 | 0.17642 | 0.009877 | 1.0292 | 1.0254 | 0.034056 | 0.0050612 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:44:10 PM | 49450 | 49450 | 0.99794 | 0.99793 | 0.99795
4 | 186-11-202-MIA-rep1 | 0.013992 | 0.0068322 | 0.0055829 | 0.0039382 | 102.7856 | 0.01409 | 0.0011404 | 0.014073 | 12.017 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.013992 | 0.0068322 | 0.017235 | 0.0060301 | -0.26696 | 0.011246 | SupCrit | 102.9988 | 0.014073 | 1286.5695 | 0.012236 | 145.4651 | 1286.5695 | 158.5013 | 0.45587 | 2.3097 | 0.33908 | 0.91174 | Flagged Warnings: | 1389.5683 | 0.0069508 | 232.0457 | 1389.5682 | 219.8709 | 0.41791 | 0 | 1.7698 | 0.18935 | 0.83582 | Flagged Warnings: |  |  |  | 1410.9061 | 23.1786 | 0.38015 | [9 empty] | 1.1724 | 1.2324 | 0.1572 | 0.0062678 | 1.0121 | 1.0122 | 0.010152 | 0.0036019 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:39:57 PM | 52797 | 52797 | 0.99793 | 0.99792 | 0.99794
5 | 186-11-202-MIA-rep2 | 0.010942 | 0.00645 | 0.0050993 | 0.0039496 | 102.7779 | 0.012869 | 0.0011412 | 0.012845 | 12.011 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.010942 | 0.00645 | 0.014221 | 0.0055943 | -0.27301 | 0.010325 | SupCrit | 102.9911 | 0.012845 | 1286.5685 | 0.010733 | 155.4885 | 1286.5685 | 162.0024 | 0.45863 | 2.5218 | 0.19506 | 0.91725 | Flagged Warnings: | 1389.5596 | 0.0070575 | 248.0326 | 1389.5596 | 234.5822 | 0.4124 | 0 | 2.2849 | 0.22238 | 0.8248 | Flagged Warnings: |  |  |  | 1410.9732 | 28.4205 | 0.47468 | [9 empty] | 1.1776 | 1.2337 | 0.16291 | 0.0058992 | 1.0245 | 1.0374 | 0.020199 | 0.0033254 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:44:33 PM | 53073 | 53073 | 0.99793 | 0.99792 | 0.99794
6 | 186-11-202-MIA-rep3 | 0 | 0 | 0 | 0 | 102.7585 | 0.023565 | 0.0011426 | 0.023586 | 12.008 | 1324.964 | 0 | 0 | Y | not in range |  |  | 0.0032689 | 0.01015 | 0.0066402 | 0.0095349 | -0.28829 | 0.018753 | SupCrit | 102.9718 | 0.023586 | 1286.5502 | 0.018497 | 81.3688 | 1286.5502 | 75.7307 | 0.41802 | 1.9453 | 0.13588 | 0.83605 | Flagged Warnings: | 1389.5221 | 0.014634 | 123.2766 | 1389.5221 | 115.8928 | 0.40762 | 0 | 2.1177 | 0.23859 | 0.81525 | Flagged Warnings: | [15 empty] | 1.2025 | 1.2669 | 0.16928 | 0.010275 | 1.084 | 1.1197 | 0.068508 | 0.0066131 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:52:02 PM | 53522 | 53522 | 0.99793 | 0.99792 | 0.99794
7 | 186-11-203-MIA-rep1 | 0.018986 | 0.0071731 | 0.0060069 | 0.0039205 | 102.7982 | 0.01516 | 0.0011537 | 0.015147 | 12.024 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.018986 | 0.0071731 | 0.022176 | 0.0064193 | -0.25708 | 0.012033 | SupCrit | 103.012 | 0.015147 | 1286.5495 | 0.013043 | 164.0046 | 1286.5495 | 166.804 | 0.45023 | 2.9924 | 0.17864 | 0.90045 | Flagged Warnings: | 1389.5615 | 0.0077016 | 260.5569 | 1389.5615 | 254.8263 | 0.42807 | 0 | 2.5684 | 0.21147 | 0.85615 | Flagged Warnings: |  |  |  | 1410.9193 | 30.5408 | 0.53586 | [9 empty] | 1.2118 | 1.2628 | 0.19068 | 0.0054904 | 1.0238 | 1.036 | 0.020384 | 0.0032858 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:21:46 PM | 55306 | 55306 | 0.99792 | 0.99791 | 0.99794
8 | 186-11-203-MIA-rep2 | 0.026123 | 0.0090529 | 0.0081711 | 0.0038973 | 102.8162 | 0.020622 | 0.0011587 | 0.020632 | 12.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.026123 | 0.0090529 | 0.029242 | 0.0084488 | -0.24301 | 0.016184 | SupCrit | 103.0302 | 0.020632 | 1286.5371 | 0.017162 | 97.5692 | 1286.5371 | 93.7264 | 0.45122 | 2.6789 | 6.8535e-10 | 0.90244 | Flagged Warnings: | 1389.5674 | 0.011452 | 165.3421 | 1389.5674 | 162.622 | 0.40428 | 0 | 2.4687 | 0.38753 | 0.80856 | Flagged Warnings: | [15 empty] | 1.2305 | 1.2896 | 0.20798 | 0.0092492 | 1.0165 | 1.0187 | 0.01331 | 0.0048902 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:31:20 PM | 55880 | 55880 | 0.99792 | 0.99791 | 0.99793
9 | 186-11-203-MIA-rep3 | 0.011135 | 0.006943 | 0.0057106 | 0.0039489 | 102.7784 | 0.014412 | 0.001162 | 0.014395 | 12.016 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.011135 | 0.006943 | 0.014411 | 0.0061443 | -0.27263 | 0.011517 | SupCrit | 102.9924 | 0.014395 | 1286.5637 | 0.012309 | 164.0009 | 1286.5637 | 177.2655 | 0.48086 | 3.0335 | 0.16406 | 0.96172 | Flagged Warnings: | 1389.5561 | 0.0074639 | 264.529 | 1389.5561 | 254.5698 | 0.40176 | 0 | 2.7621 | 0.34512 | 0.80353 | Flagged Warnings: |  |  |  | 1410.7412 | 36.6217 | 0.41753 | [9 empty] | 1.1866 | 1.2188 | 0.17943 | 0.0058641 | 1.0292 | 1.0446 | 0.023436 | 0.0030376 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:38:03 PM | 56283 | 56283 | 0.99792 | 0.99791 | 0.99793
10 | 186-11-203-MIB-rep1 | 0.020586 | 0.0080625 | 0.0070481 | 0.0039151 | 102.8022 | 0.017787 | 0.001169 | 0.017786 | 12.046 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.020586 | 0.0080625 | 0.02376 | 0.007385 | -0.25392 | 0.01405 | SupCrit | 103.0165 | 0.017786 | 1286.5789 | 0.015122 | 117.7094 | 1286.5789 | 128.5976 | 0.47186 | 2.3959 | 0.24972 | 0.94372 | Flagged Warnings: | 1389.5954 | 0.0093627 | 184.3986 | 1389.5954 | 180.5154 | 0.41435 | 0 | 2.3411 | 0.30679 | 0.82871 | Flagged Warnings: | [15 empty] | 1.145 | 1.1521 | 0.13682 | 0.0080174 | 1.0327 | 1.0401 | 0.02706 | 0.0044941 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:48:48 PM | 56928 | 56928 | 0.99792 | 0.99791 | 0.99793
11 | 186-11-203-MIB-rep2 | 0.0065329 | 0.0071598 | 0.0059605 | 0.0039668 | 102.7667 | 0.015043 | 0.0011756 | 0.015028 | 12.057 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0065329 | 0.0071598 | 0.0098637 | 0.0063694 | -0.28178 | 0.012044 | SupCrit | 102.9811 | 0.015028 | 1286.6097 | 0.012777 | 131.6578 | 1286.6097 | 141.5736 | 0.48574 | 2.551 | 0.11886 | 0.97149 | Flagged Warnings: | 1389.5908 | 0.0079109 | 219.8021 | 1389.5908 | 206.8207 | 0.38934 | 0 | 2.3151 | 0.36947 | 0.77868 | Flagged Warnings: | [15 empty] | 1.1107 | 1.1468 | 0.10754 | 0.0073789 | 1.0213 | 1.0293 | 0.016568 | 0.0035426 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:58:57 PM | 57537 | 57537 | 0.99792 | 0.99791 | 0.99793
12 | 186-11-203-MIB-rep3 | 0.0079001 | 0.0071997 | 0.006012 | 0.0039614 | 102.7702 | 0.015173 | 0.0011847 | 0.015158 | 12.039 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0079001 | 0.0071997 | 0.011214 | 0.0064172 | -0.27906 | 0.012134 | SupCrit | 102.9847 | 0.015158 | 1286.5804 | 0.012774 | 129.6546 | 1286.5804 | 128.5968 | 0.446 | 2.3779 | 0.13241 | 0.89201 | Flagged Warnings: | 1389.5651 | 0.0081605 | 213.5743 | 1389.5651 | 194.7197 | 0.41617 | 0 | 2.5427 | 0.087547 | 0.83233 | Flagged Warnings: | [15 empty] | 1.1587 | 1.2263 | 0.14159 | 0.0068799 | 1.0204 | 1.0311 | 0.016986 | 0.0038972 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:10:49 PM | 58249 | 58249 | 0.99792 | 0.99791 | 0.99793
13 | 187-9-219-MIA-49mw-rep1 | 0 | 0 | 0 | 0 | 102.7547 | 0.052161 | 0.0011995 | 0.052257 | 49.276 | 1324.964 | 0 | 0 | Y | not in range |  |  | 0.001779 | 0.021049 | 0.0051692 | 0.02055 | -0.29127 | 0.041361 | SupCrit | 102.9695 | 0.052257 | 1286.6359 | 0.041374 | 46.6554 | 1286.6359 | 38.2249 | 0.38484 | 2.752 | 1.3297e-10 | 0.76968 | Flagged Warnings: | 1389.6055 | 0.03192 | 69.7121 | 1389.6055 | 62.0252 | 0.41792 | 0 | 3.065 | 3.3387e-10 | 0.83585 | Flagged Warnings: | [15 empty] | 1.0529 | 1.051 | 0.040688 | 0.016497 | 1.0482 | 1.0798 | 0.040282 | 0.01199 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:28:13 PM | 59293 | 59293 | 0.99791 | 0.9979 | 0.99793
14 | 187-9-219-MIA-49mw-rep2 | -0.021205 | 0 | 0 | 0 | 102.6967 | 0.052419 | 0.0012041 | 0.052515 | 49.326 | 1324.964 | 0 | 0 | N | Below lower calibration limit |  |  | -0.021205 | 0.02117 | -0.01749 | 0.020598 | -0.33757 | 0.042215 | SupCrit | 102.9115 | 0.052515 | 1286.6308 | 0.043521 | 56.5054 | 1286.6308 | 61.8538 | 0.49132 | 3.8322 | 0.13793 | 0.98264 | Flagged Warnings: | 1389.5423 | 0.029388 | 92.9938 | 1389.5423 | 90.3315 | 0.3988 | 0 | 3.4092 | 0.3908 | 0.79759 | Flagged Warnings: | [15 empty] | 1.0647 | 1.0052 | 0.063624 | 0.01739 | 1.0504 | 1.0671 | 0.040215 | 0.0085768 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:33:47 PM | 59627 | 59627 | 0.99791 | 0.9979 | 0.99792
15 | 187-9-219-MIA-49mw-rep3 | -0.016836 | 0 | 0 | 0 | 102.7078 | 0.072096 | 0.0012127 | 0.072237 | 49.365 | 1324.964 | 0 | 0 | N | Below lower calibration limit |  |  | -0.016836 | 0.028856 | -0.013187 | 0.02825 | -0.32871 | 0.05786 | SupCrit | 102.9227 | 0.072237 | 1286.6627 | 0.061315 | 43.3348 | 1286.6627 | 34.0164 | 0.3516 | 3.4637 | 0.14397 | 0.70321 | Flagged Warnings: | 1389.5854 | 0.038192 | 64.4783 | 1389.5854 | 55.6077 | 0.4051 | 0 | 3.0441 | 1.9482e-07 | 0.8102 | Flagged Warnings: | [15 empty] | 1.0092 | 1.0107 | 0.0064514 | 0.016227 | 1.012 | 1.0092 | 0.0097614 | 0.012565 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:42:27 PM | 60147 | 60147 | 0.99791 | 0.9979 | 0.99792
20 | 186-11-204-MIA-rep1 | 0.12416 | 0.004817 | 0.0029146 | 0.0038352 | 103.0636 | 0.0073557 | 0.0012298 | 0.0072673 | 11.948 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12416 | 0.004817 | 0.12728 | 0.0037915 | -0.056842 | 0.0056694 | SupCrit | 103.2794 | 0.0072673 | 1285.8555 | 0.0043008 | 532.4096 | 1285.8555 | 827.5228 | 0.57553 | 2.899 | 0.6571 | 1.1511 | Flagged Warnings: | 1389.135 | 0.0058581 | 903.441 | 1389.135 | 1215.0282 | 0.51922 | 0 | 2.9689 | 0.55267 | 1.0384 | Flagged Warnings: | 1265.606 | 118.9907 | 0.87837 | 1410.505 | 168.1404 | 0.63111 | [9 empty] | 1 | 1.0082 | 0 | 0.002162 | 1.1525 | 1.1517 | 0.1584 | 0.0011494 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:54:46 PM | 60886 | 60886 | 0.99791 | 0.9979 | 0.99792
21 | 186-11-204-MIA-rep2 | 0.12305 | 0.0049184 | 0.0030818 | 0.0038331 | 103.0608 | 0.0077776 | 0.0012351 | 0.007695 | 11.937 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12305 | 0.0049184 | 0.12616 | 0.0039238 | -0.058872 | 0.0059635 | SupCrit | 103.2767 | 0.007695 | 1285.841 | 0.0067705 | 297.8018 | 1285.841 | 479.7099 | 0.56776 | 2.8219 | 0.77443 | 1.1355 | Flagged Warnings: | 1389.1177 | 0.0036569 | 528.9716 | 1389.1177 | 701.4331 | 0.50308 | 0 | 2.5498 | 0.5969 | 1.0062 | Flagged Warnings: |  |  |  | 1410.4842 | 106.7809 | 0.79113 | [9 empty] | 1.0214 | 1.0494 | 0.024354 | 0.003813 | 1.1333 | 1.1458 | 0.13415 | 0.0019021 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:59:36 PM | 61176 | 61176 | 0.99791 | 0.9979 | 0.99792
16 | 186-11-204-MIA-rep3 | 0.12239 | 0.0054325 | 0.0038508 | 0.0038319 | 103.0591 | 0.0097182 | 0.0012445 | 0.0096584 | 11.945 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12239 | 0.0054325 | 0.12549 | 0.004565 | -0.060082 | 0.0073171 | SupCrit | 103.2752 | 0.0096584 | 1285.8459 | 0.0082155 | 210.8057 | 1285.8459 | 320.0309 | 0.56491 | 2.5135 | 0.64468 | 1.1298 | Flagged Warnings: | 1389.1211 | 0.0050784 | 370.3825 | 1389.1211 | 491.6152 | 0.49147 | 0 | 2.0578 | 0.65699 | 0.98294 | Flagged Warnings: |  |  |  | 1410.4505 | 67.9333 | 0.70401 | [9 empty] | 1.108 | 1.1087 | 0.12197 | 0.0053595 | 1.1317 | 1.151 | 0.12943 | 0.0026539 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:07:54 PM | 61674 | 61674 | 0.99791 | 0.9979 | 0.99792
17 | 186-11-205-MIA-rep1 | 0.0302 | 0.010559 | 0.0098188 | 0.0038851 | 102.8265 | 0.02478 | 0.0012808 | 0.024799 | 11.943 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.0302 | 0.010559 | 0.033282 | 0.010029 | -0.23501 | 0.019348 | SupCrit | 103.0425 | 0.024799 | 1286.4769 | 0.022249 | 110.1993 | 1286.4769 | 126.1647 | 0.41633 | 2.3432 | 0.70055 | 0.83267 | Flagged Warnings: | 1389.5194 | 0.010953 | 174.3157 | 1389.5194 | 162.8523 | 0.40177 | 0 | 2.455 | 0.262 | 0.80354 | Flagged Warnings: | [15 empty] | 1.2555 | 1.2805 | 0.21272 | 0.007556 | 1.0847 | 1.1242 | 0.068096 | 0.0046097 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:39:14 PM | 63554 | 63554 | 0.9979 | 0.99789 | 0.99792
18 | 186-11-205-MIA-rep2 | 0.013424 | 0.0084506 | 0.0074758 | 0.0039403 | 102.7841 | 0.018867 | 0.0012875 | 0.018862 | 11.946 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.013424 | 0.0084506 | 0.016674 | 0.0077797 | -0.26809 | 0.014959 | SupCrit | 103.0001 | 0.018862 | 1286.5219 | 0.016074 | 111.5985 | 1286.5219 | 119.7791 | 0.45214 | 2.5652 | 0.32005 | 0.90428 | Flagged Warnings: | 1389.5221 | 0.00987 | 181.6282 | 1389.5221 | 173.9867 | 0.40409 | 0 | 2.4322 | 0.31625 | 0.80817 | Flagged Warnings: | [15 empty] | 1.2218 | 1.2413 | 0.20057 | 0.008103 | 1.0844 | 1.1234 | 0.0682 | 0.0044496 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:44:34 PM | 63874 | 63874 | 0.9979 | 0.99789 | 0.99792
19 | 186-11-205-MIA-rep3 | 0.022967 | 0.0094445 | 0.0085984 | 0.0039072 | 102.8082 | 0.0217 | 0.001296 | 0.021707 | 11.957 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.022967 | 0.0094445 | 0.026116 | 0.0088515 | -0.24922 | 0.017055 | SupCrit | 103.0244 | 0.021707 | 1286.5262 | 0.019437 | 94.1596 | 1286.5262 | 114.1832 | 0.46345 | 2.0051 | 0.5782 | 0.92689 | Flagged Warnings: | 1389.5505 | 0.0096632 | 151.1104 | 1389.5505 | 145.9191 | 0.41197 | 0 | 2.4385 | 0.28458 | 0.82395 | Flagged Warnings: | [15 empty] | 1.2299 | 1.2801 | 0.21312 | 0.0098438 | 1.041 | 1.0531 | 0.033768 | 0.0054526 | PseudoVoigtModel | PseudoVoigtModel | No | August 29, 2024 | August | 29 | 60 | 4 | 100 | ['0h', '4m', '1s'] | 5:50:33 PM | 64233 | 64233 | 0.9979 | 0.99789 | 0.99791
23 | FG04-A1-4-end | 0.68687 | 0.0031365 | 0.0020313 | 0.0023898 | 104.3202 | 0.0039944 | 0.001331 | 0.003774 | 5.991 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62207 | 0.0085364 | 0.68687 | 0.0031365 | 0.68675 | 0.0024386 | SupCrit | 104.5397 | 0.003774 | 1282.9964 | 0.0034271 | 964.5214 | 1282.9965 | 2792.2496 | 1.0061 | 3.8791 | 0.80954 | 2.0121 | Flagged Warnings: | 1387.5361 | 0.0015807 | 1945.165 | 1387.5361 | 4520.2834 | 0.83426 | 0 | 2.9652 | 0.74396 | 1.6685 | Flagged Warnings: | 1262.8609 | 446.8545 | 3.0124 | 1408.9409 | 526.0646 | 2.142 | 1369.8187 | 55.1948 | 0.41683 | 1384.9903 | 341.1523 | 13.9214 |  |  |  | 1.1294 | 1.1122 | 0.26043 | 0.0020861 | 1.0101 | 1 | 0.016786 | 0.00085778 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 29, 2024 | August | 29 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:01:35 PM | 64895 | 64895 | 0.9979 | 0.99789 | 0.99791