## Sheet1
| filename | Density g/cm3 | σ Density g/cm3 | σ Density g/cm3 (from Ne+peakfit) | σ Density g/cm3 (from densimeter) | Corrected_Splitting | Corrected_Splitting_σ | Corrected_Splitting_σ_Ne | Corrected_Splitting_σ_peak_fit | power (mW) | Spectral Center | Preferred D_σ_Ne | Preferred D_σ_pkfit | in range | Notes | LowD_RT | HighD_RT | LowD_SC | LowD_SC_σ | MedD_SC | MedD_SC_σ | HighD_SC | HighD_SC_σ | Temperature | Splitting | Split_σ | Diad1_Combofit_Cent | Diad1_cent_err | Diad1_Combofit_Height | Diad1_Voigt_Cent | Diad1_Voigt_Area | Diad1_Voigt_Sigma | Diad1_Residual | Diad1_Prop_Lor | Diad1_fwhm | Diad1_refit | Diad2_Combofit_Cent | Diad2_cent_err | Diad2_Combofit_Height | Diad2_Voigt_Cent | Diad2_Voigt_Area | Diad2_Voigt_Sigma | Diad2_Voigt_Gamma | Diad2_Residual | Diad2_Prop_Lor | Diad2_fwhm | Diad2_refit | HB1_Cent | HB1_Area | HB1_Sigma | HB2_Cent | HB2_Area | HB2_Sigma | C13_Cent | C13_Area | C13_Sigma | Diad2_Gauss_Cent | Diad2_Gauss_Area | Diad2_Gauss_Sigma | Diad1_Gauss_Cent | Diad1_Gauss_Area | Diad1_Gauss_Sigma | Diad1_Asym50 | Diad1_Asym70 | Diad1_Yuan2017_sym_factor | Diad1_Remigi2021_BSF | Diad2_Asym50 | Diad2_Asym70 | Diad2_Yuan2017_sym_factor | Diad2_Remigi2021_BSF | Diad1_PDF_Model | Diad2_PDF_Model | Standard | date | Month | Day | Int_time (s) | accumulations | Mag (X) | duration | 24hr_time | sec since midnight | Peak_Cent_Carb | Peak_Area_Carb | Peak_Height_Carb | Model_name | Carb_Diad_Ratio | time | preferred_values | lower_values | upper_values
36 | FG04-A1-4-start | 0.68511 | 0.0055794 | 0.0050419 | 0.0023894 | 104.3167 | 0.0099233 | 0.0022465 | 0.0096859 | 6.041 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.6207 | 0.0092487 | 0.68511 | 0.0055794 | 0.68516 | 0.0048256 | SupCrit | 104.5353 | 0.0096859 | 1282.9336 | 0.0093802 | 529.7355 | 1282.9336 | 1611.5623 | 1.0375 | 5.9853 | 0.84997 | 2.0749 | Flagged Warnings: | 1387.4689 | 0.0024143 | 1069.4115 | 1387.4689 | 2484.608 | 0.83724 | 0 | 2.6627 | 0.7372 | 1.6745 | Flagged Warnings: |  |  |  | 1408.9107 | 265.3594 | 1.9028 |  |  |  | 1382.977 | 243.9772 | 14.5742 |  |  |  | 1.0584 | 1.1229 | 0.12124 | 0.0039169 | 1.0181 | 1.023 | 0.030384 | 0.0015658 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 30, 2024 | August | 30 | 45 | 5 | 50 | ['0h', '3m', '46s'] | 1:31:01 PM | 48661 | [5 empty] | 48661 | 0.99791 | 0.99789 | 0.99793
0 | 186-11-206-MIA-rep1 | 0.051948 | 0.012658 | 0.012064 | 0.0038337 | 102.8814 | 0.030446 | 0.0021655 | 0.030432 | 12.028 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.051948 | 0.012658 | 0.054879 | 0.012243 | -0.1927 | 0.023372 | SupCrit | 103.0972 | 0.030432 | 1286.1597 | 0.026745 | 77.9634 | 1286.1597 | 90.9707 | 0.51725 | 3.2292 | 0.17454 | 1.0345 | Flagged Warnings: | 1389.257 | 0.014521 | 129.3259 | 1389.257 | 123.9529 | 0.44823 | 0 | 3.1867 | 0.01361 | 0.89646 | Flagged Warnings: | [15 empty] | 1.0526 | 1.1491 | 0.054447 | 0.013269 | 1.0724 | 1.0545 | 0.064916 | 0.0069318 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 1:53:08 PM | 49988 | [5 empty] | 49988 | 0.99791 | 0.99788 | 0.99793
1 | 186-11-206-MIA-rep2 | 0.062409 | 0.0077606 | 0.0067568 | 0.0038174 | 102.9078 | 0.017052 | 0.0021546 | 0.016951 | 12.03 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.062409 | 0.0077606 | 0.065297 | 0.0071531 | -0.17258 | 0.013095 | SupCrit | 103.1238 | 0.016951 | 1286.0761 | 0.014637 | 115.3499 | 1286.0761 | 134.5908 | 0.51918 | 2.51 | 0.16351 | 1.0384 | Flagged Warnings: | 1389.1999 | 0.0085496 | 189.568 | 1389.1999 | 211.337 | 0.46368 | 0 | 2.2528 | 0.35534 | 0.92736 | Flagged Warnings: | [15 empty] | 1.0983 | 1.1196 | 0.10208 | 0.0090019 | 1.2206 | 1.2351 | 0.20456 | 0.004892 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 1:58:49 PM | 50329 | [5 empty] | 50329 | 0.99791 | 0.99788 | 0.99793
2 | 186-11-206-MIA-rep3 | 0.048994 | 0.0088676 | 0.0079933 | 0.0038393 | 102.8739 | 0.020173 | 0.0021448 | 0.020101 | 12.024 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.048994 | 0.0088676 | 0.05194 | 0.0083067 | -0.19841 | 0.015588 | SupCrit | 103.0899 | 0.020101 | 1286.0656 | 0.017779 | 98.4399 | 1286.0656 | 128.3727 | 0.50519 | 2.202 | 0.54373 | 1.0104 | Flagged Warnings: | 1389.1556 | 0.0093772 | 166.8334 | 1389.1556 | 181.2204 | 0.47021 | 0 | 2.2639 | 0.24331 | 0.94042 | Flagged Warnings: | [15 empty] | 1.1189 | 1.1487 | 0.12011 | 0.010264 | 1.171 | 1.1875 | 0.16082 | 0.0056369 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:03:31 PM | 50611 | [5 empty] | 50611 | 0.9979 | 0.99788 | 0.99793
3 | 186-11-206-MIB-rep1 | 0.010764 | 0.013731 | 0.01315 | 0.0039503 | 102.7774 | 0.033188 | 0.0021293 | 0.033189 | 12.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.010764 | 0.013731 | 0.014045 | 0.013223 | -0.27336 | 0.026201 | SupCrit | 102.9934 | 0.033189 | 1286.3329 | 0.031936 | 112.3661 | 1286.3329 | 117.5231 | 0.3606 | 2.4165 | 0.82519 | 0.7212 | Flagged Warnings: | 1389.3262 | 0.0090332 | 143.3629 | 1389.3262 | 134.4154 | 0.43775 | 0 | 2.2004 | 0.01866 | 0.87551 | Flagged Warnings: | [15 empty] | 1.303 | 1.3609 | 0.21855 | 0.0064183 | 1.0969 | 1.1053 | 0.084824 | 0.0061069 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:11:02 PM | 51062 | [5 empty] | 51062 | 0.9979 | 0.99788 | 0.99792
4 | 186-11-206-MIB-rep2 | 0 | 0 | 0 | 0 | 102.7448 | 0.063964 | 0.0021216 | 0.064063 | 12 | 1324.964 | 0 | 0 | Y | not in range |  |  | -0.0021572 | 0.025659 | 0.0012843 | 0.025129 | -0.29915 | 0.050836 | SupCrit | 102.9608 | 0.064063 | 1286.3532 | 0.060819 | 107.0798 | 1286.3532 | 97.4077 | 0.30813 | 2.1648 | 0.86519 | 0.61625 | Flagged Warnings: | 1389.3139 | 0.020128 | 95.5196 | 1389.3139 | 130.1472 | 0.64 | 0 | 2.5641 | 1.7581e-08 | 1.28 | Flagged Warnings: V_Sigma_too_High | [15 empty] | 1.295 | 1.3373 | 0.18181 | 0.0057551 | 1.0857 | 1.0951 | 0.10971 | 0.0134 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:15:13 PM | 51313 | [5 empty] | 51313 | 0.9979 | 0.99788 | 0.99792
5 | 186-11-206-MIB-rep3 | 0.021263 | 0.041477 | 0.041292 | 0.0039128 | 102.8039 | 0.10421 | 0.0021155 | 0.10441 | 11.991 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.021263 | 0.041477 | 0.02443 | 0.040959 | -0.25258 | 0.081464 | SupCrit | 103.0201 | 0.10441 | 1286.3218 | 0.10266 | 50.1251 | 1286.3218 | 66.452 | 0.45116 | 2.3178 | 0.8547 | 0.90231 | Flagged Warnings: | 1389.3419 | 0.018992 | 65.4546 | 1389.3419 | 64.921 | 0.45059 | 0 | 2.2137 | 0.10189 | 0.90117 | Flagged Warnings: | [15 empty] | 1.0176 | 1.0171 | 0.015886 | 0.018001 | 1.0633 | 1.0613 | 0.057074 | 0.013768 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:19:46 PM | 51586 | [5 empty] | 51586 | 0.9979 | 0.99788 | 0.99792
6 | 186-11-207-MIA-rep1 | 0.033427 | 0.0063229 | 0.0049956 | 0.003876 | 102.8346 | 0.012608 | 0.0021049 | 0.012457 | 12.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.033427 | 0.0063229 | 0.036481 | 0.005513 | -0.22869 | 0.0099693 | SupCrit | 103.0509 | 0.012457 | 1286.1979 | 0.010439 | 148.9844 | 1286.1979 | 166.2746 | 0.48969 | 2.3088 | 0.20439 | 0.97939 | Flagged Warnings: | 1389.2489 | 0.0067966 | 241.225 | 1389.2489 | 247.2121 | 0.42883 | 0 | 2.3558 | 0.33867 | 0.85765 | Flagged Warnings: | [15 empty] | 1.1107 | 1.0989 | 0.10843 | 0.0065738 | 1.1957 | 1.2029 | 0.1678 | 0.0035554 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:27:21 PM | 52041 | [5 empty] | 52041 | 0.9979 | 0.99788 | 0.99792
7 | 186-11-207-MIA-rep2 | 0.054372 | 0.0067816 | 0.0055969 | 0.0038294 | 102.8875 | 0.014125 | 0.0020978 | 0.013998 | 12.014 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.054372 | 0.0067816 | 0.057292 | 0.00607 | -0.18803 | 0.010964 | SupCrit | 103.104 | 0.013998 | 1286.1537 | 0.012872 | 174.1141 | 1286.1537 | 185.3245 | 0.45227 | 2.026 | 0.29596 | 0.90453 | Flagged Warnings: | 1389.2577 | 0.0055003 | 261.388 | 1389.2577 | 264.1446 | 0.43218 | 0 | 2.0529 | 0.27769 | 0.86437 | Flagged Warnings: | [15 empty] | 1.042 | 1.0543 | 0.037976 | 0.005195 | 1.1864 | 1.1898 | 0.1611 | 0.0033068 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:33:26 PM | 52406 | [5 empty] | 52406 | 0.9979 | 0.99788 | 0.99792
8 | 186-11-207-MIA-rep3 | 0.037146 | 0.0063677 | 0.0050597 | 0.0038661 | 102.844 | 0.012769 | 0.0020908 | 0.012624 | 12.013 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.037146 | 0.0063677 | 0.040171 | 0.0055723 | -0.22143 | 0.010066 | SupCrit | 103.0605 | 0.012624 | 1286.1707 | 0.010835 | 140.2846 | 1286.1707 | 159.8617 | 0.49401 | 2.1416 | 0.23914 | 0.98802 | Flagged Warnings: | 1389.2313 | 0.0064774 | 232.8485 | 1389.2313 | 247.6091 | 0.44152 | 0 | 2.0664 | 0.36005 | 0.88305 | Flagged Warnings: | [15 empty] | 1.0791 | 1.112 | 0.078188 | 0.0070429 | 1.2109 | 1.2159 | 0.18624 | 0.0037924 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:38:22 PM | 52702 | [5 empty] | 52702 | 0.9979 | 0.99788 | 0.99792
32 | 187-9-220-MIB-edgecarb | 0.076298 | 0.0040549 | 0.0014034 | 0.0038043 | 102.9428 | 0.0035418 | 0.0020817 | 0.0028714 | 10.034 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.076298 | 0.0040549 | 0.079164 | 0.0027811 | -0.1461 | 0.0032972 | SupCrit | 103.1597 | 0.0028714 | 1285.9073 | 0.0024468 | 614.2957 | 1285.9073 | 816.0216 | 0.50579 | 1.9287 | 0.5878 | 1.0116 | Flagged Warnings: | 1389.0671 | 0.0015028 | 1011.4947 | 1389.067 | 1163.0054 | 0.4658 | 0 | 1.8096 | 0.4268 | 0.93159 | Flagged Warnings: | 1265.6361 | 94.7069 | 0.69484 | 1410.3889 | 134.1784 | 0.49995 | [9 empty] | 1.1804 | 1.1838 | 0.18247 | 0.0016467 | 1.033 | 1.0461 | 0.030712 | 0.00092101 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:48:37 PM | 53317 | 1095.3636 | 1408.4791 | 93.3522 | Spline | 0.7117 | 53317 | 0.9979 | 0.99788 | 0.99792
33 | 187-9-220-MIB-rep2 | 0.080406 | 0.0040743 | 0.0014636 | 0.0038023 | 102.9532 | 0.0036937 | 0.0020743 | 0.0030626 | 10.025 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.080406 | 0.0040743 | 0.083272 | 0.0028113 | -0.13832 | 0.0033814 | SupCrit | 103.1702 | 0.0030626 | 1285.9107 | 0.0025543 | 579.7254 | 1285.9108 | 777.768 | 0.52778 | 1.7841 | 0.50433 | 1.0556 | Flagged Warnings: | 1389.0811 | 0.0016898 | 966.2268 | 1389.081 | 1144.3418 | 0.46998 | 0 | 2.0663 | 0.48156 | 0.93995 | Flagged Warnings: | 1265.6441 | 94.4763 | 0.70617 | 1410.3869 | 139.3187 | 0.5803 | [9 empty] | 1.1887 | 1.1864 | 0.19916 | 0.0018208 | 1.0662 | 1.0759 | 0.062203 | 0.00097281 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 2:57:13 PM | 53833 | [5 empty] | 53833 | 0.9979 | 0.99788 | 0.99792
34 | 187-9-220-MIB-rep3 | 0.079046 | 0.0040493 | 0.001391 | 0.0038029 | 102.9497 | 0.0035106 | 0.002071 | 0.0028406 | 10.041 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.079046 | 0.0040493 | 0.081912 | 0.0027744 | -0.14089 | 0.0032727 | SupCrit | 103.1669 | 0.0028406 | 1285.9212 | 0.0023865 | 613.6234 | 1285.9212 | 821.108 | 0.51753 | 1.753 | 0.54814 | 1.0351 | Flagged Warnings: | 1389.0881 | 0.0015407 | 1037.5992 | 1389.0881 | 1207.9331 | 0.46627 | 0 | 2.0047 | 0.45715 | 0.93254 | Flagged Warnings: | 1265.664 | 101.5069 | 0.65257 | 1410.4353 | 133.4429 | 0.50968 | 1372.3946 | 487.7772 | 0.096687 | [6 empty] | 1.1943 | 1.1912 | 0.20108 | 0.0016868 | 1.0743 | 1.0937 | 0.069334 | 0.00089875 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:01:36 PM | 54096 | [5 empty] | 54096 | 0.9979 | 0.99788 | 0.99792
9 | 186-11-208-MIA-rep1 | 0.16476 | 0.011177 | 0.010455 | 0.0039512 | 103.1661 | 0.026386 | 0.0020685 | 0.02636 | 12.008 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.16476 | 0.011177 | 0.16856 | 0.010954 | 0.016429 | 0.018672 | SupCrit | 103.3838 | 0.02636 | 1285.416 | 0.024384 | 56.6613 | 1285.416 | 97.0868 | 0.66552 | 1.3073 | 0.53704 | 1.331 | Flagged Warnings: | 1388.7998 | 0.010013 | 105.3772 | 1388.7998 | 155.9988 | 0.5657 | 0 | 1.5054 | 0.57847 | 1.1314 | Flagged Warnings: | [15 empty] | 1.1654 | 1.1845 | 0.22009 | 0.023491 | 1.1786 | 1.1922 | 0.20204 | 0.010737 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 3:13:16 PM | 54796 | [5 empty] | 54796 | 0.99789 | 0.99787 | 0.99791
10 | 186-11-208-MIA-rep2 | 0.14198 | 0.0097986 | 0.0089992 | 0.0038763 | 103.1086 | 0.022712 | 0.0020655 | 0.022665 | 12.003 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14198 | 0.0097986 | 0.14534 | 0.0094485 | -0.024405 | 0.01638 | SupCrit | 103.3263 | 0.022665 | 1285.4405 | 0.020812 | 57.3299 | 1285.4405 | 93.0573 | 0.60281 | 1.4084 | 0.64952 | 1.2056 | Flagged Warnings: | 1388.7668 | 0.0089752 | 106.0535 | 1388.7668 | 150.1405 | 0.5297 | 0 | 1.4801 | 0.63114 | 1.0594 | Flagged Warnings: | [15 empty] | 1.216 | 1.1991 | 0.26039 | 0.02103 | 1.0198 | 1.0219 | 0.020949 | 0.0099893 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:17:49 PM | 55069 | [5 empty] | 55069 | 0.99789 | 0.99787 | 0.99791
11 | 186-11-208-MIA-rep3 | 0.14307 | 0.012994 | 0.012401 | 0.0038793 | 103.1113 | 0.031298 | 0.0020642 | 0.031296 | 12.002 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14307 | 0.012994 | 0.14645 | 0.012827 | -0.022438 | 0.022483 | SupCrit | 103.3291 | 0.031296 | 1285.4564 | 0.02991 | 48.3488 | 1285.4564 | 74.7752 | 0.52836 | 1.4352 | 0.84599 | 1.0567 | Flagged Warnings: | 1388.7855 | 0.0092088 | 96.4355 | 1388.7855 | 125.7871 | 0.41519 | 0 | 1.3896 | 1 | 0.83038 | Flagged Warnings: | [15 empty] | 1.2925 | 1.3854 | 0.30911 | 0.021856 | 1.1558 | 1.1854 | 0.12934 | 0.0086108 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:22:05 PM | 55325 | [5 empty] | 55325 | 0.99789 | 0.99787 | 0.99791
12 | 186-11-208-MIE-rep1 | 0.077176 | 0.0072175 | 0.0061338 | 0.0038038 | 102.945 | 0.01548 | 0.0020598 | 0.015375 | 12.005 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.077176 | 0.0072175 | 0.080042 | 0.0065867 | -0.14443 | 0.011792 | SupCrit | 103.1625 | 0.015375 | 1285.8946 | 0.013453 | 113.1937 | 1285.8946 | 152.5118 | 0.54604 | 2.0073 | 0.42565 | 1.0921 | Flagged Warnings: | 1389.0571 | 0.0074428 | 200.9307 | 1389.0571 | 226.9669 | 0.45699 | 0 | 1.9566 | 0.43029 | 0.91398 | Flagged Warnings: | [15 empty] | 1.1287 | 1.1302 | 0.1406 | 0.009648 | 1.0224 | 1.0192 | 0.020462 | 0.0045488 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:27:07 PM | 55627 | [5 empty] | 55627 | 0.99789 | 0.99787 | 0.99791
13 | 186-11-208-MIE-rep2 | 0.075057 | 0.0073981 | 0.0063446 | 0.0038051 | 102.9397 | 0.016012 | 0.0020591 | 0.015913 | 11.98 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.075057 | 0.0073981 | 0.077923 | 0.006781 | -0.14845 | 0.012205 | SupCrit | 103.1573 | 0.015913 | 1285.8809 | 0.014098 | 97.9468 | 1285.8809 | 128.4258 | 0.58565 | 1.776 | 0.15232 | 1.1713 | Flagged Warnings: | 1389.0382 | 0.0073803 | 177.6938 | 1389.0382 | 203.5471 | 0.4717 | 0 | 1.8417 | 0.38263 | 0.94339 | Flagged Warnings: | [15 empty] | 1.0391 | 1.0303 | 0.045805 | 0.011958 | 1.0144 | 1.0132 | 0.013623 | 0.0053091 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:33:17 PM | 55997 | [5 empty] | 55997 | 0.99789 | 0.99787 | 0.99791
14 | 186-11-208-MIE-rep3 | 0.079227 | 0.0096527 | 0.008872 | 0.0038028 | 102.9502 | 0.02239 | 0.0020595 | 0.022343 | 11.993 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.079227 | 0.0096527 | 0.082093 | 0.0091944 | -0.14055 | 0.01691 | SupCrit | 103.1679 | 0.022343 | 1285.8935 | 0.020254 | 68.6373 | 1285.8935 | 91.8309 | 0.61383 | 1.6924 | 0.072124 | 1.2277 | Flagged Warnings: | 1389.0614 | 0.0094336 | 138.5741 | 1389.0614 | 161.6682 | 0.45346 | 0 | 1.5638 | 0.53521 | 0.90692 | Flagged Warnings: | [15 empty] | 1.3364 | 1.3614 | 0.41305 | 0.017886 | 1.0301 | 1.0276 | 0.027276 | 0.0065446 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:38:28 PM | 56308 | [5 empty] | 56308 | 0.99789 | 0.99787 | 0.99791
15 | 186-11-209-MIA | 0.046621 | 0.01443 | 0.013908 | 0.0038441 | 102.8679 | 0.035101 | 0.0020587 | 0.035114 | 12.005 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.046621 | 0.01443 | 0.049581 | 0.014034 | -0.20301 | 0.027023 | SupCrit | 103.0855 | 0.035114 | 1286.1136 | 0.029863 | 51.6121 | 1286.1136 | 58.6554 | 0.50044 | 2.0918 | 0.19399 | 1.0009 | Flagged Warnings: | 1389.1992 | 0.018473 | 104.4752 | 1389.1992 | 106.2338 | 0.38697 | 0 | 1.8619 | 0.58882 | 0.77394 | Flagged Warnings: | [15 empty] | 1.0243 | 1 | 0.024327 | 0.019392 | 1.2697 | 1.3742 | 0.20874 | 0.0074079 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:44:30 PM | 56670 | [5 empty] | 56670 | 0.99789 | 0.99787 | 0.99791
16 | 186-11-210-MIA-rep1 | 0.20776 | 0.0087402 | 0.008414 | 0.0023653 | 103.2622 | 0.020506 | 0.0020695 | 0.020445 | 6 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20286 | 0.0091142 | 0.20776 | 0.0087402 | 0.08313 | 0.014138 | SupCrit | 103.4808 | 0.020445 | 1285.1495 | 0.018039 | 90.6995 | 1285.1495 | 183.0534 | 0.74581 | 1.9814 | 0.66167 | 1.4916 | Flagged Warnings: | 1388.6303 | 0.0096214 | 181.5698 | 1388.6303 | 281.0063 | 0.56886 | 0 | 1.8559 | 0.67468 | 1.1377 | Flagged Warnings: | [15 empty] | 1.0872 | 1.0601 | 0.13002 | 0.016446 | 1.2069 | 1.2146 | 0.23539 | 0.0062661 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:53:52 PM | 57232 | [5 empty] | 57232 | 0.99789 | 0.99787 | 0.99791
17 | 186-11-210-MIA-rep2 | 0.2145 | 0.0093866 | 0.0090841 | 0.002364 | 103.2786 | 0.02209 | 0.0020723 | 0.022039 | 5.996 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.20935 | 0.0096933 | 0.2145 | 0.0093866 | 0.094311 | 0.015134 | SupCrit | 103.4973 | 0.022039 | 1285.1343 | 0.018662 | 85.8711 | 1285.1343 | 169.645 | 0.68451 | 1.8274 | 0.81391 | 1.369 | Flagged Warnings: | 1388.6316 | 0.011723 | 162.6783 | 1388.6316 | 254.4724 | 0.56295 | 0 | 1.9416 | 0.72542 | 1.1259 | Flagged Warnings: | [15 empty] | 1.0984 | 1.0672 | 0.13477 | 0.015943 | 1.1491 | 1.0652 | 0.16784 | 0.0069211 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 3:59:03 PM | 57543 | [5 empty] | 57543 | 0.99789 | 0.99787 | 0.99791
18 | 186-11-210-MIA-rep3 | 0.222 | 0.010664 | 0.010399 | 0.0023626 | 103.2968 | 0.025223 | 0.0020769 | 0.025191 | 5.996 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.21657 | 0.010844 | 0.222 | 0.010664 | 0.10667 | 0.017153 | SupCrit | 103.5157 | 0.025191 | 1285.1082 | 0.022861 | 92.7825 | 1285.1082 | 192.882 | 0.76127 | 1.8952 | 0.68373 | 1.5225 | Flagged Warnings: | 1388.6239 | 0.010581 | 187.7699 | 1388.6239 | 297.0524 | 0.58212 | 0 | 1.8897 | 0.67204 | 1.1642 | Flagged Warnings: | [15 empty] | 1.0515 | 1.0663 | 0.078341 | 0.01641 | 1.1437 | 1.0925 | 0.16732 | 0.0062004 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:06:06 PM | 57966 | [5 empty] | 57966 | 0.99789 | 0.99787 | 0.99791
19 | 186-11-211-MIA | 0.10342 | 0.007374 | 0.006315 | 0.0038074 | 103.0113 | 0.015937 | 0.0020808 | 0.015834 | 5.995 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.10342 | 0.007374 | 0.10636 | 0.0067877 | -0.095131 | 0.011905 | SupCrit | 103.2297 | 0.015834 | 1285.7697 | 0.013454 | 123.9343 | 1285.7697 | 181.2535 | 0.55175 | 1.9093 | 0.61064 | 1.1035 | Flagged Warnings: | 1388.9994 | 0.0083505 | 219.2041 | 1388.9994 | 262.6434 | 0.4898 | 0 | 2.3029 | 0.40243 | 0.97959 | Flagged Warnings: | [15 empty] | 1.1581 | 1.1321 | 0.17441 | 0.0089038 | 1.0857 | 1.0945 | 0.083965 | 0.0044689 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:18:09 PM | 58689 | [5 empty] | 58689 | 0.99788 | 0.99786 | 0.9979
20 | 186-11-212-MIA | 0.11603 | 0.0098935 | 0.0091256 | 0.0038217 | 103.0431 | 0.02303 | 0.0020932 | 0.022984 | 5.993 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.11603 | 0.0098935 | 0.11906 | 0.0095127 | -0.07179 | 0.016929 | SupCrit | 103.2618 | 0.022984 | 1285.6222 | 0.020652 | 67.817 | 1285.6222 | 102.7516 | 0.60555 | 1.6988 | 0.46267 | 1.2111 | Flagged Warnings: | 1388.8839 | 0.010086 | 127.2369 | 1388.8839 | 162.4395 | 0.48008 | 0 | 1.6954 | 0.61868 | 0.96017 | Flagged Warnings: | [15 empty] | 1.0794 | 1.1013 | 0.096175 | 0.017858 | 1.2589 | 1.2865 | 0.24855 | 0.0075463 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 4:29:30 PM | 59370 | [5 empty] | 59370 | 0.99788 | 0.99786 | 0.9979
21 | 186-11-212-MIB | 0.12129 | 0.0055578 | 0.0040274 | 0.00383 | 103.0564 | 0.010164 | 0.0021039 | 0.009965 | 5.991 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.12129 | 0.0055578 | 0.12438 | 0.0047173 | -0.062102 | 0.0076366 | SupCrit | 103.2752 | 0.009965 | 1285.6449 | 0.0084879 | 185.641 | 1285.6449 | 286.8812 | 0.59136 | 1.8159 | 0.57493 | 1.1827 | Flagged Warnings: | 1388.9201 | 0.0052207 | 314.3453 | 1388.9201 | 403.0463 | 0.50418 | 0 | 1.962 | 0.50524 | 1.0084 | Flagged Warnings: | [15 empty] | 1.0947 | 1.0633 | 0.11197 | 0.006371 | 1.2211 | 1.2421 | 0.2229 | 0.0032078 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:37:52 PM | 59872 | [5 empty] | 59872 | 0.99788 | 0.99786 | 0.9979
22 | 186-11-213-MIA-rep1 | 0.042451 | 0.011069 | 0.010377 | 0.0038532 | 102.8574 | 0.026188 | 0.002115 | 0.026158 | 5.991 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.042451 | 0.011069 | 0.045438 | 0.010586 | -0.2111 | 0.020263 | SupCrit | 103.076 | 0.026158 | 1286.1253 | 0.022824 | 55.5136 | 1286.1253 | 60.3695 | 0.44977 | 1.5446 | 0.37068 | 0.89954 | Flagged Warnings: | 1389.2012 | 0.012779 | 84.7428 | 1389.2012 | 87.6582 | 0.45303 | 0 | 1.5024 | 0.20973 | 0.90606 | Flagged Warnings: | [15 empty] | 1.0074 | 1.0168 | 0.0066881 | 0.016204 | 1.2045 | 1.211 | 0.18525 | 0.010692 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:48:28 PM | 60508 | [5 empty] | 60508 | 0.99788 | 0.99786 | 0.9979
23 | 186-11-213-MIA-rep2 | 0.053786 | 0.0080663 | 0.0070988 | 0.0038304 | 102.886 | 0.017915 | 0.0021242 | 0.017827 | 5.985 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.053786 | 0.0080663 | 0.056708 | 0.0074651 | -0.18916 | 0.013827 | SupCrit | 103.1047 | 0.017827 | 1286.0987 | 0.015795 | 86.6518 | 1286.0987 | 106.7384 | 0.50227 | 1.8088 | 0.40928 | 1.0045 | Flagged Warnings: | 1389.2034 | 0.0082659 | 152.6149 | 1389.2034 | 156.6733 | 0.44564 | 0 | 1.7179 | 0.2353 | 0.89127 | Flagged Warnings: | [15 empty] | 1.041 | 1.0149 | 0.041141 | 0.011593 | 1.249 | 1.2738 | 0.22196 | 0.00584 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:53:51 PM | 60831 | [5 empty] | 60831 | 0.99788 | 0.99786 | 0.9979
24 | 186-11-213-MIA-rep3 | 0.036404 | 0.006404 | 0.0051039 | 0.003868 | 102.8421 | 0.012881 | 0.0021315 | 0.01273 | 5.983 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.036404 | 0.006404 | 0.039435 | 0.0056114 | -0.22288 | 0.010156 | SupCrit | 103.0608 | 0.01273 | 1286.1209 | 0.010852 | 133.1606 | 1286.1209 | 162.1683 | 0.48815 | 1.5994 | 0.45499 | 0.97629 | Flagged Warnings: | 1389.1817 | 0.0066549 | 225.574 | 1389.1817 | 232.7702 | 0.42337 | 0 | 1.8449 | 0.39259 | 0.84673 | Flagged Warnings: | [15 empty] | 1.0175 | 1.0308 | 0.017068 | 0.0073317 | 1.2143 | 1.2685 | 0.18144 | 0.0037537 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 4:58:43 PM | 61123 | [5 empty] | 61123 | 0.99788 | 0.99786 | 0.9979
25 | 186-11-217-MIA | 0.2273 | 0.004044 | 0.0032828 | 0.0023616 | 103.3097 | 0.0079481 | 0.0021925 | 0.007656 | 5.988 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.22167 | 0.0052804 | 0.2273 | 0.004044 | 0.11534 | 0.0056554 | SupCrit | 103.5298 | 0.007656 | 1285.0358 | 0.0071362 | 249.1674 | 1285.0358 | 492.9163 | 0.73587 | 2.2382 | 0.64555 | 1.4717 | Flagged Warnings: | 1388.5657 | 0.0027728 | 460.8458 | 1388.5656 | 733.9303 | 0.6016 | 0 | 1.7404 | 0.60762 | 1.2032 | Flagged Warnings: |  |  |  | 1410.0317 | 80.393 | 0.91023 | [9 empty] | 1.0207 | 1.0491 | 0.03045 | 0.0059066 | 1.0778 | 1.0347 | 0.093621 | 0.0026109 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '2s'] | 5:24:30 PM | 62670 | [5 empty] | 62670 | 0.99787 | 0.99785 | 0.9979
26 | 186-11-218-MIA-rep1 | 0.075089 | 0.031043 | 0.030809 | 0.003805 | 102.9398 | 0.077752 | 0.0022064 | 0.077887 | 9.949 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.075089 | 0.031043 | 0.077955 | 0.030893 | -0.14839 | 0.058539 | SupCrit | 103.1592 | 0.077887 | 1285.9129 | 0.062755 | 17.1475 | 1285.9129 | 16.95 | 0.45458 | 1.2912 | 0.065024 | 0.90915 | Flagged Warnings: | 1389.0721 | 0.046132 | 24.5578 | 1389.0721 | 27.8001 | 0.46366 | 0 | 1.3176 | 0.39719 | 0.92731 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0159 | 1.0168 | 0.014431 | 0.05302 | 1.0604 | 1.0752 | 0.055989 | 0.03776 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:33:55 PM | 63235 | [5 empty] | 63235 | 0.99787 | 0.99785 | 0.99789
27 | 186-11-218-MIA-rep2 | 0.055837 | 0.029204 | 0.028952 | 0.003827 | 102.8912 | 0.073067 | 0.0022163 | 0.073189 | 9.948 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.055837 | 0.029204 | 0.05875 | 0.028932 | -0.18521 | 0.055774 | SupCrit | 103.1106 | 0.073189 | 1285.9376 | 0.065444 | 19.3527 | 1285.9376 | 24.3601 | 0.53904 | 1.487 | 0.27396 | 1.0781 | Flagged Warnings: | 1389.0482 | 0.032768 | 38.2332 | 1389.0482 | 46.4128 | 0.50865 | 0 | 1.4235 | 0.33493 | 1.0173 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0054 | 1.0086 | 0.0058592 | 0.055707 | 1.0068 | 1.0576 | 0.0069204 | 0.026608 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:38:28 PM | 63508 | [5 empty] | 63508 | 0.99787 | 0.99785 | 0.99789
28 | 186-11-218-MIA-rep3 | 0.082942 | 0.036816 | 0.03662 | 0.0038016 | 102.9596 | 0.092418 | 0.0022287 | 0.092588 | 9.943 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.082942 | 0.036816 | 0.08581 | 0.036751 | -0.13352 | 0.069178 | SupCrit | 103.1792 | 0.092588 | 1285.8178 | 0.078753 | 15.6452 | 1285.8178 | 19.4822 | 0.58429 | 1.5716 | 0.0032981 | 1.1686 | Flagged Warnings: | 1388.9971 | 0.048688 | 27.8827 | 1388.9971 | 35.2166 | 0.47816 | 0 | 1.5532 | 0.6019 | 0.95633 | Flagged Warnings: Below threshold intensity | [15 empty] | 1.0165 | 1.0219 | 0.019262 | 0.074693 | 1.0794 | 1.1823 | 0.075954 | 0.034298 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:42:49 PM | 63769 | [5 empty] | 63769 | 0.99787 | 0.99785 | 0.99789
29 | 186-11-218-MIB-rep1 | 0.14944 | 0.0072537 | 0.0061173 | 0.0038981 | 103.1274 | 0.015438 | 0.0022443 | 0.015307 | 9.942 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14944 | 0.0072537 | 0.15292 | 0.0066672 | -0.010964 | 0.011158 | SupCrit | 103.3475 | 0.015307 | 1285.4308 | 0.012982 | 125.3579 | 1285.4308 | 201.4689 | 0.6127 | 1.898 | 0.5844 | 1.2254 | Flagged Warnings: | 1388.7783 | 0.0081095 | 220.4902 | 1388.7783 | 301.5371 | 0.53336 | 0 | 1.9133 | 0.5265 | 1.0667 | Flagged Warnings: | [15 empty] | 1.2153 | 1.1978 | 0.26388 | 0.0097752 | 1.0374 | 1.0403 | 0.039849 | 0.0048379 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:47:27 PM | 64047 | [5 empty] | 64047 | 0.99787 | 0.99785 | 0.99789
30 | 186-11-218-MIB-rep2 | 0.15597 | 0.0077956 | 0.0067387 | 0.0039194 | 103.1439 | 0.017007 | 0.0022557 | 0.016892 | 10.053 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.15597 | 0.0077956 | 0.15958 | 0.0072736 | 0.0007548 | 0.012201 | SupCrit | 103.3641 | 0.016892 | 1285.4292 | 0.015096 | 94.8608 | 1285.4292 | 159.8157 | 0.67677 | 1.6571 | 0.44919 | 1.3535 | Flagged Warnings: | 1388.7933 | 0.0075803 | 187.5307 | 1388.7933 | 258.2738 | 0.48918 | 0 | 2.0717 | 0.75644 | 0.97835 | Flagged Warnings: | [15 empty] | 1.147 | 1.0925 | 0.19895 | 0.014269 | 1.0744 | 1.081 | 0.072794 | 0.005217 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:51:36 PM | 64296 | [5 empty] | 64296 | 0.99787 | 0.99785 | 0.99789
31 | 186-11-218-MIB-rep3 | 0.14075 | 0.0077059 | 0.006662 | 0.0038729 | 103.1055 | 0.016813 | 0.0022768 | 0.016694 | 9.958 | 1324.964 | 0 | 0 | Y | SupCrit, low density |  |  | 0.14075 | 0.0077059 | 0.14409 | 0.0071731 | -0.026635 | 0.012203 | SupCrit | 103.3257 | 0.016694 | 1285.4948 | 0.014485 | 106.5961 | 1285.4948 | 169.0699 | 0.62671 | 1.8607 | 0.49263 | 1.2534 | Flagged Warnings: | 1388.8206 | 0.0082983 | 194.8203 | 1388.8206 | 267.4502 | 0.52324 | 0 | 1.9 | 0.58497 | 1.0465 | Flagged Warnings: | [15 empty] | 1.1676 | 1.1563 | 0.21011 | 0.011759 | 1.1807 | 1.1799 | 0.18908 | 0.0053715 | PseudoVoigtModel | PseudoVoigtModel | No | August 30, 2024 | August | 30 | 60 | 4 | 50 | ['0h', '4m', '1s'] | 5:59:35 PM | 64775 | [5 empty] | 64775 | 0.99787 | 0.99785 | 0.99789
35 | FG04-A1-4-end | 0.69273 | 0.0033813 | 0.0023905 | 0.0023913 | 104.3317 | 0.004687 | 0.002329 | 0.0040761 | 6.019 | 1324.964 | 0 | 0 | Y | SupCrit, Med density |  |  | 0.62663 | 0.0086471 | 0.69273 | 0.0033813 | 0.692 | 0.0026744 | SupCrit | 104.5547 | 0.0040761 | 1282.7078 | 0.0036705 | 790.406 | 1282.7078 | 2250.7353 | 0.99406 | 3.4521 | 0.79908 | 1.9881 | Flagged Warnings: | 1387.2625 | 0.0017725 | 1577.6735 | 1387.2625 | 3630.1809 | 0.81666 | 0 | 3.0107 | 0.77264 | 1.6333 | Flagged Warnings: | 1262.9413 | 343.6473 | 2.977 | 1408.6766 | 405.5832 | 2.1427 | 1371.0395 | 2.4171 | 0.04072 | 1384.3005 | 391.6412 | 16.859 |  |  |  | 1.029 | 1.0228 | 0.057578 | 0.0025153 | 1.0653 | 1.0643 | 0.1066 | 0.0010353 | PseudoVoigtModel | PseudoVoigtModel | Yes | August 30, 2024 | August | 30 | 45 | 5 | 50 | ['0h', '3m', '47s'] | 6:08:10 PM | 65290 | [5 empty] | 65290 | 0.99787 | 0.99784 | 0.99789